## BoQ1
Government eProcurement System Created By: Mousumi Dey Created Date/Time: 11-Aug-2022 01:38 PM Tender Title: Provision for window / split AC at various locations of AAI Offices, Equipment Rooms, Server Rooms and Ancillary buildings at NSCBI Airport, Kolkata. Tender ID: 2022_AAI_117960_1
Tender Inviting Authority: AGM EE I
Name of Work: Provision for window / split AC at various locations of AAI Offices, Equipment Rooms, Server Rooms and Ancillary buildings at NSCBI Airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Mercantile Agency(GSTN-19AALFM1805G1ZB) |  | Lyric International(GSTN-19AAGFL4997B1Z0) |  | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: I - Supply
2.00 | Supply of remote operated 1.5 TR Window AC of minimum 5 star rating with hermetically sealed rotary compressor complete with initial charging with proper environment friendly refrigerant suitable to work on voltage 230 V +/- 10 % AC, 50 Hz, single phase, in built over load protection meeting the specifications as attached complete as required. Make: (HITACHI / VOLTAS / BLUE STAR / LG / CARRIER AIRCON / DAIKIN). | 17.00 | Each |  | 24490.00 | 416330.00 | 30078.13 | 511328.21 | 26750.00 | 454750.00 | 416330.00 | Mercantile Agency
3.00 | Supply of remote operated 1.0 TR Split AC of minimum 3 star rating with hermetically sealed rotary compressor complete with initial charging with proper environment friendly refrigerant suitable to work on voltage 230 V +/- 10 % AC, 50 Hz, single phase, in built over load protection meeting the specifications as attached complete as required. Make: (HITACHI / VOLTAS / BLUE STAR / LG / CARRIER AIRCON / DAIKIN). | 4.00 | Each |  | 24249.00 | 96996.00 | 23828.12 | 95312.50 | 31281.00 | 125124.00 | 95312.50 | Lyric International
4.00 | Supply of remote operated 2.0 TR Split AC of minimum 3 star rating with hermetically sealed rotary compressor complete with initial charging with proper environment friendly refrigerant suitable to work on voltage 230 V +/- 10 % AC, 50 Hz, single phase, in built over load protection meeting the specifications as attached complete as required. Make: (HITACHI / VOLTAS / BLUE STAR / LG / CARRIER AIRCON / DAIKIN). | 22.00 | Each |  | 35234.40 | 775156.80 | 38203.12 | 840468.75 | 43800.00 | 963600.00 | 775156.80 | Mercantile Agency
5.00 | Supply of remote operated 3.0 TR SLIM LINE Tower AC with hermetically sealed rotary compressor complete with initial charging with proper environment friendly refrigerant suitable to work on voltage 230 V +/- 10 % AC, 50 Hz, single phase, in built over load protection meeting the specifications as attached complete as required. Make: (HITACHI / VOLTAS / BLUE STAR / LG / CARRIER AIRCON / DAIKIN). | 14.00 | Each |  | 68332.00 | 956648.00 | 76171.88 | 1066406.25 | 85890.00 | 1202460.00 | 956648.00 | Mercantile Agency
6.00 | SH:II - Installation of air conditioners and related accessories
7.00 | Installation, Testing and commissioning of 1.5 TR Window AC complete with initial charging with proper environment friendly refrigerant including making suitable opening on the existing wall, supplying and fixing suitable wooden frame for the window AC and minor Civil work as per necessity etc. complete as required. | 17.00 | Each |  | 1690.00 | 28730.00 | 3262.71 | 55466.07 | 800.00 | 13600.00 | 13600.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
8.00 | Installation, Testing and commissioning of 1.0 TR Split AC including providing & fixing of suitable clamp for installation of outdoor unit and minor Civil work as per necessity etc. complete as required. | 4.00 | Each |  | 1790.00 | 7160.00 | 1737.29 | 6949.16 | 1752.00 | 7008.00 | 6949.16 | Lyric International
9.00 | Installation, Testing and commissioning of 2.0 TR Split AC including providing & fixing of suitable clamp for installation of outdoor unit and minor Civil work as per necessity etc. complete as required. | 22.00 | Each |  | 1790.00 | 39380.00 | 1906.78 | 41949.16 | 2250.00 | 49500.00 | 39380.00 | Mercantile Agency
10.00 | Installation, Testing and commissioning of 3.0 TR Slimline Tower AC including providing & fixing of suitable clamp for installation of outdoor unit and minor Civil work as per necessity etc. complete as required. | 14.00 | Each |  | 3900.00 | 54600.00 | 3177.97 | 44491.58 | 3000.00 | 42000.00 | 42000.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
11.00 | Supply and charging with Refrigerant (R-410 / R-32) to commission the new 1.5 TR Split / 2.0 TR Split /1.0 TR Ductable Split air conditioners complete as required. | 50.00 | Kg |  | 700.00 | 35000.00 | 635.60 | 31780.00 | 850.00 | 42500.00 | 31780.00 | Lyric International
12.00 | Supply of refrigerant grade copper tube interconnecting outdoor and indoor units of various capacity air conditioners for extra length duly insulated with nitrile rubber for insulation to prevent any heat loss complete as required.
12.01 | (a) 1/2" discharge line(Quarter) | 50.00 | Mtrs |  | 450.00 | 22500.00 | 253.39 | 12669.50 | 350.00 | 17500.00 | 12669.50 | Lyric International
12.02 | (b) 1/4" discharge line(Quarter) | 100.00 | Mtrs |  | 280.00 | 28000.00 | 148.31 | 14831.00 | 175.00 | 17500.00 | 14831.00 | Lyric International
12.03 | (c) 3/8" discharge line(Quarter) | 100.00 | Mtrs |  | 333.00 | 33300.00 | 211.86 | 21186.00 | 250.00 | 25000.00 | 21186.00 | Lyric International
12.04 | (d) 5/8" dia suction line | 200.00 | Mtrs |  | 530.00 | 106000.00 | 351.70 | 70340.00 | 425.00 | 85000.00 | 70340.00 | Lyric International
13.00 | Providing and fixing of circuit wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit / GI flexible / PVC flexible conduit as required.
13.01 | (a) 4 X 4 sq. mm | 100.00 | Mtrs |  | 201.21 | 20121.00 | 178.00 | 17800.00 | 230.00 | 23000.00 | 17800.00 | Lyric International
13.02 | (b) 3 X 1.5 sq. mm | 100.00 | Mtrs |  | 63.00 | 6300.00 | 65.56 | 6556.00 | 100.00 | 10000.00 | 6300.00 | Mercantile Agency
13.03 | (c) 4 X 2.5 sq. mm | 200.00 | Mtrs |  | 268.00 | 53600.00 | 122.90 | 24580.00 | 180.00 | 36000.00 | 24580.00 | Lyric International
13.04 | (d) 1 X 2.5 sq. mm | 50.00 | Mtrs |  | 74.00 | 3700.00 | 38.14 | 1907.00 | 90.00 | 4500.00 | 1907.00 | Lyric International
14.00 | Supply and fixing of heavy duty rigid UPVC Drain pipe of 25mm dia suitable for indoor units complete with necessary elbow, tees, reducer, connector complete as required. | 300.00 | Mtrs |  | 99.00 | 29700.00 | 156.80 | 47040.00 | 125.00 | 37500.00 | 29700.00 | Mercantile Agency
15.00 | Dismantling of 1.5/2.0 TR Window and split AC from existing location and shifting the same in departmental store complete as required. | 53.00 | Nos |  | 500.00 | 26500.00 | 550.85 | 29195.05 | 501.00 | 26553.00 | 26500.00 | Mercantile Agency
| Total in Figures |  |  |  |  | 2739721.80 |  | 2940256.23 |  | 3183095.00
Lowest Amount Quoted BY: Mercantile Agency(2739721.80)

## BOQ Summary
BOQ Summary Details Tender Title: Provision for window / split AC at various locations of AAI Offices, Equipment Rooms, Server Rooms and Ancillary buildings at NSCBI Airport, Kolkata. Tender ID: 2022_AAI_117960_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mercantile Agency | 2739721.80 | L1
| 2 | Lyric International | 2940256.23 | L2
| 3 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED | 3183095.00 | L3