## BoQ1
Government eProcurement System Created By: Pramod Soni Created Date/Time: 16-Sep-2022 12:32 PM Tender Title: ARMO 2022-24 of E and M Installation at S V Airport, Raipur SH Annual Operation and Preventive Maintenance Job contract for E and M installations of Terminal Buildings and ancillary buildings installations Located on City Side at S V Airport, Raipur Tender ID: 2022_AAI_118054_1
Tender Inviting Authority: Asst. Gen. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: ARMO 2022-24 of E & M Installation at S.V. Airport, Raipur. SH: Annual Operation and Preventive Maintenance Job contract for E & M installations of Terminal Buildings and ancillary buildings/ installations Located on City Side at S. V. Airport, Raipur during 2022-24.
Contract No: 2022_AAI_118054
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | M/s CGPL ELECTROMECH PVT LTD(GSTN-07AAGCC8228F1ZO) |  | SWASTIK ELECTROTECH PRIVATE LIMITED(GSTN-07AANCS9215R1ZF) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE) |  | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | JAI ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for Operation and Maintenance (both preventive and breakdown) of various Electrical & Mechanical installations of NITB, OTB, Service Block, New ATC cum Technical Block, STP, Residential Colony, Car Parking Area, Ancillary Buildings/offices in city side consisting of Internal & External installations, 33/0.433 kV Substation, 200 KLD STP, Water pumping system, etc. i/c operation of Escalators, Elevators & Conveyor Belts along with tools and plants required etc. in shifts on all days including Sundays and public holidays complete as required as per terms and conditions of the contract. (**Total Manpower Not less than 57 nos. Including Reliever) | 24.00 | Months | 1186282.00 | 1115000.00 | 26760000.00 | 1100797.00 | 26419128.00 | 1297545.00 | 31141080.00 | 1131512.10 | 27156290.34 | 1075750.00 | 25818000.00 | 1173000.00 | 28152000.00 | 1066716.00 | 25601184.00 | 1085000.00 | 26040000.00 | 1191634.00 | 28599216.00 | 1070000.00 | 25680000.00 | 1200000.00 | 28800000.00 | 1077083.00 | 25849992.00 | 1066888.00 | 25605312.00 | 1037747.00 | 24905928.00 | 24905928.00 | JAI ENTERPRISES
2.00 | Annual Maintenance contract 0f 200 KLD STP comprising of both preventive and breakdown maintenance along with replacement of worn out /defective components including consumables/ chemicals/ spares such as chlorine dosing, grease filling gasket replacement etc. complete etc. as required. | 24.00 | Months | 5049.00 | 6500.00 | 156000.00 | 600.00 | 14400.00 | 20000.00 | 480000.00 | 2500.00 | 60000.00 | 3000.00 | 72000.00 | 15000.00 | 360000.00 | 7500.00 | 180000.00 | 20000.00 | 480000.00 | 9800.00 | 235200.00 | 3000.00 | 72000.00 | 25000.00 | 600000.00 | 6000.00 | 144000.00 | 5000.00 | 120000.00 | 4390.00 | 105360.00 | 14400.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
3.00 | Providing Overhauling of 200 KLD STP including replacement of multi media filter, activated carbon filter, mbbr media, bacteria, strainer, rubber gasket, nut bolts etc, alongwith carrying out the quarterly testing of treated water from CSPCB approved lab to meet the requirements as per the environmental consent and as per design data etc complete as required as per the terms and special conditions of the contract. Approximate Quantity of Material: Multi Media Filter - 600 KG, Activated Carbon Filter - 200 KG, MBBR Media - 4 Sq. Feet, Rubber Gasket - 4 Piece, Nut Bolt - 25 KG, Bacteria - 2 KG, Strainer - 200 Each. | 2.00 | Job | 149278.00 | 125000.00 | 250000.00 | 35000.00 | 70000.00 | 35000.00 | 70000.00 | 850.00 | 1700.00 | 10000.00 | 20000.00 | 75000.00 | 150000.00 | 130000.00 | 260000.00 | 90000.00 | 180000.00 | 80000.00 | 160000.00 | 115000.00 | 230000.00 | 50000.00 | 100000.00 | 15000.00 | 30000.00 | 157080.00 | 314160.00 | 129807.00 | 259614.00 | 1700.00 | INTEGER INFRATECH PRIVATE LIMITED
4.00 | Overhauling of the Multigrade Sand Filter, Dual Media Filter with Multigrade quartz sand and anthracite (Capacity : 27600 LPH, Filtration : 18-20 Cum/sqm/hrs.) and Water Softener having media for softener with cation exchange resin, brine tank. (Inlet : upto 400 ppm, Outlet : Commercial zero (<5ppm)) capacity : 13200 LPH) | 1.00 | Job | 358550.00 | 15000.00 | 15000.00 | 18500.00 | 18500.00 | 35000.00 | 35000.00 | 1500.00 | 1500.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 240000.00 | 240000.00 | 40000.00 | 40000.00 | 40000.00 | 40000.00 | 250000.00 | 250000.00 | 100000.00 | 100000.00 | 15000.00 | 15000.00 | 355000.00 | 355000.00 | 311782.00 | 311782.00 | 1500.00 | INTEGER INFRATECH PRIVATE LIMITED
5.00 | Complete items of CPWD Schedule of Rates - 2018. Executions of DSR items 2018 of amount Rs. 1,00,000/- (Rate shall be quoted in % age above/below which shall be excluding GST). | 200000.00 | Rs. | 1.00 | .90 | 180000.00 | .50 | 100000.00 | .80 | 160000.00 | .50 | 100000.00 | .90 | 180000.00 | 1.12 | 225000.00 | .80 | 160000.00 | 1.00 | 200000.00 | .90 | 180000.00 | .70 | 140000.00 | 1.05 | 210000.00 | 1.00 | 200000.00 | .85 | 170000.00 | .90 | 180000.00 | 100000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, INTEGER INFRATECH PRIVATE LIMITED
6.00 | Servicing of following 33 KV / 0.433 KV Circuit Breakers alongwith carrying out the maintenance/service as per the manufacturers recommendations and submission of service reports etc., twice during the contract period complete as required.
7.00 | 33kV, 1250 A, SF6/VCB Circuit Breakers (ABB/ L&T Make) | 9.00 | Job | 20907.00 | 4500.00 | 40500.00 | 3750.00 | 33750.00 | 20000.00 | 180000.00 | 350.00 | 3150.00 | 4500.00 | 40500.00 | 9000.00 | 81000.00 | 9000.00 | 81000.00 | 10000.00 | 90000.00 | 2200.00 | 19800.00 | 13000.00 | 117000.00 | 18000.00 | 162000.00 | 3000.00 | 27000.00 | 17000.00 | 153000.00 | 18180.00 | 163620.00 | 3150.00 | INTEGER INFRATECH PRIVATE LIMITED
8.00 | Upto 1600 A, Air Circuit Breakers (L&T / ABB Make) | 19.00 | Job | 13938.00 | 2500.00 | 47500.00 | 3250.00 | 61750.00 | 3500.00 | 66500.00 | 350.00 | 6650.00 | 1800.00 | 34200.00 | 9000.00 | 171000.00 | 6500.00 | 123500.00 | 6500.00 | 123500.00 | 2200.00 | 41800.00 | 10000.00 | 190000.00 | 8000.00 | 152000.00 | 1000.00 | 19000.00 | 7000.00 | 133000.00 | 12120.00 | 230280.00 | 6650.00 | INTEGER INFRATECH PRIVATE LIMITED
9.00 | 2000 A to 2500 A, Air Circuit Breakers (L&T) | 23.00 | Job | 13938.00 | 2500.00 | 57500.00 | 3250.00 | 74750.00 | 4000.00 | 92000.00 | 500.00 | 11500.00 | 1800.00 | 41400.00 | 9000.00 | 207000.00 | 6500.00 | 149500.00 | 7000.00 | 161000.00 | 2200.00 | 50600.00 | 10000.00 | 230000.00 | 8000.00 | 184000.00 | 1000.00 | 23000.00 | 8400.00 | 193200.00 | 12120.00 | 278760.00 | 11500.00 | INTEGER INFRATECH PRIVATE LIMITED
10.00 | Testing & Calibration of following protective relays fitted in the 33 kV cubicle panels by using secondary and primary injection kit including submission of test report etc.,Twice during the contract period as required.
11.00 | Differential Relay (ABB, Model: RADSBIMYN 745031-A) | 3.00 | Each | 11615.00 | 1000.00 | 3000.00 | 3750.00 | 11250.00 | 1500.00 | 4500.00 | 500.00 | 1500.00 | 1000.00 | 3000.00 | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 500.00 | 1500.00 | 12000.00 | 36000.00 | 8000.00 | 24000.00 | 6000.00 | 18000.00 | 3000.00 | 9000.00 | 13000.00 | 39000.00 | 8500.00 | 25500.00 | 1500.00 | INTEGER INFRATECH PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
12.00 | OC / EF Relay (L&T, Model No.: MC61A) | 4.00 | Each | 9292.00 | 1000.00 | 4000.00 | 3250.00 | 13000.00 | 1500.00 | 6000.00 | 200.00 | 800.00 | 1000.00 | 4000.00 | 4000.00 | 16000.00 | 3000.00 | 12000.00 | 500.00 | 2000.00 | 3000.00 | 12000.00 | 6000.00 | 24000.00 | 5000.00 | 20000.00 | 500.00 | 2000.00 | 4000.00 | 16000.00 | 8080.00 | 32320.00 | 800.00 | INTEGER INFRATECH PRIVATE LIMITED
13.00 | Master Trip Relay (ABB, Model: 1MYN563613BAC) | 4.00 | Each | 1742.00 | 1000.00 | 4000.00 | 550.00 | 2200.00 | 1500.00 | 6000.00 | 200.00 | 800.00 | 1000.00 | 4000.00 | 4000.00 | 16000.00 | 1000.00 | 4000.00 | 500.00 | 2000.00 | 850.00 | 3400.00 | 1100.00 | 4400.00 | 2000.00 | 8000.00 | 500.00 | 2000.00 | 900.00 | 3600.00 | 800.00 | 3200.00 | 800.00 | INTEGER INFRATECH PRIVATE LIMITED
14.00 | Trip Circuit Supervision Relay(ABB, Model: 1MYN 569697-B) | 5.00 | Each | 1742.00 | 1000.00 | 5000.00 | 550.00 | 2750.00 | 1500.00 | 7500.00 | 200.00 | 1000.00 | 1000.00 | 5000.00 | 4000.00 | 20000.00 | 1000.00 | 5000.00 | 500.00 | 2500.00 | 850.00 | 4250.00 | 1100.00 | 5500.00 | 4000.00 | 20000.00 | 500.00 | 2500.00 | 900.00 | 4500.00 | 800.00 | 4000.00 | 1000.00 | INTEGER INFRATECH PRIVATE LIMITED
15.00 | Auxiliary Relay (ABB, Model: Type CV2 DLT) | 9.00 | Each | 1742.00 | 1000.00 | 9000.00 | 550.00 | 4950.00 | 1500.00 | 13500.00 | 200.00 | 1800.00 | 1000.00 | 9000.00 | 3000.00 | 27000.00 | 1000.00 | 9000.00 | 500.00 | 4500.00 | 750.00 | 6750.00 | 1100.00 | 9900.00 | 2000.00 | 18000.00 | 500.00 | 4500.00 | 900.00 | 8100.00 | 800.00 | 7200.00 | 1800.00 | INTEGER INFRATECH PRIVATE LIMITED
16.00 | Tripping Relay (ABB, Model: RTNO1MYN - 563613 BAC ) | 1.00 | Each | 1742.00 | 1000.00 | 1000.00 | 550.00 | 550.00 | 1500.00 | 1500.00 | 200.00 | 200.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 500.00 | 500.00 | 500.00 | 500.00 | 850.00 | 850.00 | 1100.00 | 1100.00 | 6000.00 | 6000.00 | 500.00 | 500.00 | 900.00 | 900.00 | 800.00 | 800.00 | 200.00 | INTEGER INFRATECH PRIVATE LIMITED
17.00 | FDR Port Relay (ABB, Model: REJ601) | 1.00 | Each | 11615.00 | 1000.00 | 1000.00 | 3250.00 | 3250.00 | 1500.00 | 1500.00 | 200.00 | 200.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 4000.00 | 4000.00 | 7500.00 | 7500.00 | 6000.00 | 6000.00 | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 9500.00 | 9500.00 | 200.00 | INTEGER INFRATECH PRIVATE LIMITED
18.00 | Relay Combiflex (ABB, Model: 1MYN-560004-A) | 1.00 | Each | 1765.00 | 1000.00 | 1000.00 | 550.00 | 550.00 | 1500.00 | 1500.00 | 200.00 | 200.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 850.00 | 850.00 | 1100.00 | 1100.00 | 7000.00 | 7000.00 | 2000.00 | 2000.00 | 2400.00 | 2400.00 | 1200.00 | 1200.00 | 200.00 | INTEGER INFRATECH PRIVATE LIMITED
19.00 | IDMT Feeder Protection Relay (Siemens &SR1003-KA20-2CA0/DD) | 4.00 | Each | 11615.00 | 1500.00 | 6000.00 | 3250.00 | 13000.00 | 1500.00 | 6000.00 | 200.00 | 800.00 | 1000.00 | 4000.00 | 4000.00 | 16000.00 | 6000.00 | 24000.00 | 500.00 | 2000.00 | 950.00 | 3800.00 | 7500.00 | 30000.00 | 6000.00 | 24000.00 | 2000.00 | 8000.00 | 4000.00 | 16000.00 | 9200.00 | 36800.00 | 800.00 | INTEGER INFRATECH PRIVATE LIMITED
20.00 | Transformer Auxiliary Relay (Ashida AVA33-AM-021) | 4.00 | Each | 1742.00 | 1500.00 | 6000.00 | 550.00 | 2200.00 | 1500.00 | 6000.00 | 200.00 | 800.00 | 1000.00 | 4000.00 | 4000.00 | 16000.00 | 1000.00 | 4000.00 | 500.00 | 2000.00 | 850.00 | 3400.00 | 1100.00 | 4400.00 | 2000.00 | 8000.00 | 500.00 | 2000.00 | 900.00 | 3600.00 | 800.00 | 3200.00 | 800.00 | INTEGER INFRATECH PRIVATE LIMITED
21.00 | Testing & Calibration of following protective relays fitted in the 415 V cubicle panels by using secondary and primary injection kit including submission of test report etc., Twice during the contract period as required.
22.00 | O/C - E/F Relay (L&T, Model No.: MC12A & MC31A) | 13.00 | Each | 9292.00 | 2000.00 | 26000.00 | 2500.00 | 32500.00 | 500.00 | 6500.00 | 100.00 | 1300.00 | 1000.00 | 13000.00 | 3000.00 | 39000.00 | 2000.00 | 26000.00 | 500.00 | 6500.00 | 1800.00 | 23400.00 | 5000.00 | 65000.00 | 5000.00 | 65000.00 | 1000.00 | 13000.00 | 4000.00 | 52000.00 | 6800.00 | 88400.00 | 1300.00 | INTEGER INFRATECH PRIVATE LIMITED
23.00 | Reverse Power Relay (L&T, Model No.: MRP11) | 4.00 | Each | 9292.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 800.00 | 3200.00 | 100.00 | 400.00 | 1000.00 | 4000.00 | 3000.00 | 12000.00 | 3000.00 | 12000.00 | 500.00 | 2000.00 | 2200.00 | 8800.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 1000.00 | 4000.00 | 2400.00 | 9600.00 | 6900.00 | 27600.00 | 400.00 | INTEGER INFRATECH PRIVATE LIMITED
24.00 | Inspection, Testing, adjusting, preventive maintenance of 33/0.433 KV, 1600 KVA VOLTAMP make oil cooled transformer to assess the overall healthiness of the transformer by OEM i/c Overhauling of OLTC, checking, adjusting of RTCC and submission of reports etc. complete as required. Dehydration/Filtration of transformer oil to attain acceptable di-electric strength by hot streamline process for the oil cooled transformers, voltage regulators/stabilizers including transportation of equipment, Trial of Tap changer electrical and mechanical operation, refilling of Transformer Oil, OLTC to converter levelsubmission of test reports etc. as required. (Tentative Qty. of Each Transformer 1955 ltrs.) As required. Supply & top up of transformer oil for transformer, voltage regulator/OLTC/stabilizers as required. | 3.00 | Jobs | 98728.00 | 15000.00 | 45000.00 | 50000.00 | 150000.00 | 30000.00 | 90000.00 | 4500.00 | 13500.00 | 14000.00 | 42000.00 | 25000.00 | 75000.00 | 40000.00 | 120000.00 | 35000.00 | 105000.00 | 18500.00 | 55500.00 | 80000.00 | 240000.00 | 35000.00 | 105000.00 | 10000.00 | 30000.00 | 104000.00 | 312000.00 | 40500.00 | 121500.00 | 13500.00 | INTEGER INFRATECH PRIVATE LIMITED
25.00 | Supply of new transformer oil for transformer, OLTC as required having relevent IS standard. | 2500.00 | Ltrs. | 105.00 | 135.00 | 337500.00 | 92.00 | 230000.00 | 125.00 | 312500.00 | 80.00 | 200000.00 | 95.00 | 237500.00 | 350.00 | 875000.00 | 120.00 | 300000.00 | 200.00 | 500000.00 | 116.00 | 290000.00 | 100.00 | 250000.00 | 120.00 | 300000.00 | 55.00 | 137500.00 | 110.00 | 275000.00 | 88.98 | 222450.00 | 137500.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
26.00 | Supply & Replacement of Silica Gel Breather for Voltamp make 33/0.433KV, 1600 KVA Transformers. | 5.00 | Each | 5227.00 | 200.00 | 1000.00 | 500.00 | 2500.00 | 800.00 | 4000.00 | 50.00 | 250.00 | 1000.00 | 5000.00 | 5000.00 | 25000.00 | 3000.00 | 15000.00 | 1000.00 | 5000.00 | 1200.00 | 6000.00 | 500.00 | 2500.00 | 400.00 | 2000.00 | 1500.00 | 7500.00 | 5000.00 | 25000.00 | 2200.00 | 11000.00 | 250.00 | INTEGER INFRATECH PRIVATE LIMITED
27.00 | Supply of following spares for the OLTCs of 33/0.433 KV, 1600 KVA Transformers, as per requirement. a) Supply of Fixed Contact -10.00 b) Supply of Main Moving Contacts-3.00 c) Supply of Top/bottom cover gasket-3.00 d) Supply of Transition Resistance-3.00 e) Supply of Silica Gel Breather-3.00 f) Supply of Gasket Sheet(6 MM Thickness, 915mm Length)-3.00 g) Supply of Oil seal for Mechanism Centre shaft-3.00 | 2.00 | Each | 159242.00 | 10000.00 | 20000.00 | 35000.00 | 70000.00 | 30000.00 | 60000.00 | 25000.00 | 50000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 20000.00 | 40000.00 | 45000.00 | 90000.00 | 38500.00 | 77000.00 | 110000.00 | 220000.00 | 600000.00 | 1200000.00 | 45000.00 | 90000.00 | 150200.00 | 300400.00 | 110000.00 | 220000.00 | 20000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, SWASTIK ELECTROTECH PRIVATE LIMITED
28.00 | Inspection, Testing, adjusting, preventive maintenance of 33/0.433 KV, 800 kVA VOLTAMP make dry type transformer to assess the overall healthiness of the transformer by OEM i/c Overhauling of tap changer, checking, adjusting of RTCC and submission of reports etc. complete as required. Trial of Tap changer electrical and mechanical operation, submission of test reports etc. as required. | 2.00 | Each | 36007.00 | 25000.00 | 50000.00 | 20000.00 | 40000.00 | 20000.00 | 40000.00 | 3500.00 | 7000.00 | 7000.00 | 14000.00 | 15000.00 | 30000.00 | 25000.00 | 50000.00 | 25000.00 | 50000.00 | 20000.00 | 40000.00 | 25000.00 | 50000.00 | 30000.00 | 60000.00 | 4000.00 | 8000.00 | 75000.00 | 150000.00 | 15000.00 | 30000.00 | 7000.00 | INTEGER INFRATECH PRIVATE LIMITED
29.00 | Spray painting of electrical panels, feeder pillar box, DBs, metal structures, members, equipments etc., with two coats of synthetic enamel paint of approved colour (all shades except black or chocolate shade) by using spray gun to give an even shade including cleaning the rusted area, scrapping of surface, applying metal primer on rusted surface, covering of meters, switches, glass etc. with masking stickers etc.,as required. | 15.00 | Sqm | 134.00 | 250.00 | 3750.00 | 95.00 | 1425.00 | 1500.00 | 22500.00 | 85.00 | 1275.00 | 300.00 | 4500.00 | 125.00 | 1875.00 | 210.00 | 3150.00 | 150.00 | 2250.00 | 350.00 | 5250.00 | 50.00 | 750.00 | 600.00 | 9000.00 | 300.00 | 4500.00 | 80.00 | 1200.00 | 70.00 | 1050.00 | 750.00 | M/S DURGA SUPPLY AGENCIES
30.00 | Painting of following MS street light pole, using one coat of metal primer on rusted surface and two coats of approved aluminium paint including scrapping and thoroughly cleaning the surface, as required as per the directions of Engineer- in-Charge.
31.00 | 12 Mtr. Street light poles (including round bracket) | 12.00 | Each | 431.00 | 250.00 | 3000.00 | 300.00 | 3600.00 | 3000.00 | 36000.00 | 175.00 | 2100.00 | 650.00 | 7800.00 | 1000.00 | 12000.00 | 350.00 | 4200.00 | 1000.00 | 12000.00 | 1350.00 | 16200.00 | 150.00 | 1800.00 | 1200.00 | 14400.00 | 500.00 | 6000.00 | 400.00 | 4800.00 | 250.00 | 3000.00 | 1800.00 | M/S DURGA SUPPLY AGENCIES
32.00 | 9 Mtr. Street light poles (including upto 1.5 meter arm bracket) | 189.00 | Each | 305.00 | 180.00 | 34020.00 | 175.00 | 33075.00 | 1500.00 | 283500.00 | 125.00 | 23625.00 | 550.00 | 103950.00 | 1000.00 | 189000.00 | 300.00 | 56700.00 | 750.00 | 141750.00 | 650.00 | 122850.00 | 150.00 | 28350.00 | 700.00 | 132300.00 | 400.00 | 75600.00 | 250.00 | 47250.00 | 150.00 | 28350.00 | 23625.00 | INTEGER INFRATECH PRIVATE LIMITED
33.00 | 4 Mtr. Street light poles (including upto 1.5 meter arm bracket) | 37.00 | Each | 98.00 | 250.00 | 9250.00 | 70.00 | 2590.00 | 1500.00 | 55500.00 | 75.00 | 2775.00 | 450.00 | 16650.00 | 700.00 | 25900.00 | 150.00 | 5550.00 | 500.00 | 18500.00 | 450.00 | 16650.00 | 50.00 | 1850.00 | 300.00 | 11100.00 | 300.00 | 11100.00 | 90.00 | 3330.00 | 40.00 | 1480.00 | 1480.00 | JAI ENTERPRISES
34.00 | Lifting and lowering of upto 10 HP submersible motor along with column pipe detaching one length of column pipe from rest of column pipe by opening nut and bolts in this manner taking out entire pump system and lowering of entire pump system in the reverse order of the above process including chain block and supporting pipes transportation, testing and commissioning etc as required (up to 3 inch G.I. Pipe). | 10.00 | Job | 7813.00 | 3500.00 | 35000.00 | 3500.00 | 35000.00 | 18000.00 | 180000.00 | 250.00 | 2500.00 | 5500.00 | 55000.00 | 15000.00 | 150000.00 | 8000.00 | 80000.00 | 7000.00 | 70000.00 | 5500.00 | 55000.00 | 4000.00 | 40000.00 | 8000.00 | 80000.00 | 2000.00 | 20000.00 | 6500.00 | 65000.00 | 2500.00 | 25000.00 | 2500.00 | INTEGER INFRATECH PRIVATE LIMITED
35.00 | Rewinding and overhauling of ceiling fans of size upto 1400mm sweep with copper winding, replacement of bearings as required including assembling testing, transportation charges etc. (old/burnt copper need not to be returned). | 20.00 | Each | 691.00 | 450.00 | 9000.00 | 350.00 | 7000.00 | 550.00 | 11000.00 | 200.00 | 4000.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 580.00 | 11600.00 | 450.00 | 9000.00 | 650.00 | 13000.00 | 400.00 | 8000.00 | 1000.00 | 20000.00 | 300.00 | 6000.00 | 450.00 | 9000.00 | 150.00 | 3000.00 | 3000.00 | JAI ENTERPRISES
36.00 | Rewinding and overhauling of submersible pump of power upto 5HP with copper winding, replacement of bearing, lead cable etc. as required including assembling testing, to and fro transportation from the site to workshop etc. (old/burnt copper need not to be returned). | 5.00 | Each | 5122.00 | 2500.00 | 12500.00 | 4000.00 | 20000.00 | 5000.00 | 25000.00 | 1000.00 | 5000.00 | 2900.00 | 14500.00 | 15000.00 | 75000.00 | 7000.00 | 35000.00 | 7000.00 | 35000.00 | 8500.00 | 42500.00 | 3500.00 | 17500.00 | 10000.00 | 50000.00 | 2000.00 | 10000.00 | 4500.00 | 22500.00 | 2500.00 | 12500.00 | 5000.00 | INTEGER INFRATECH PRIVATE LIMITED
37.00 | Repairing of Hand Drier including replacement of heating coil, sensor and other associated accessories etc. as required. | 20.00 | Each | 1510.00 | 580.00 | 11600.00 | 500.00 | 10000.00 | 1500.00 | 30000.00 | 50.00 | 1000.00 | 300.00 | 6000.00 | 250.00 | 5000.00 | 1000.00 | 20000.00 | 2000.00 | 40000.00 | 850.00 | 17000.00 | 350.00 | 7000.00 | 3000.00 | 60000.00 | 800.00 | 16000.00 | 1000.00 | 20000.00 | 900.00 | 18000.00 | 1000.00 | INTEGER INFRATECH PRIVATE LIMITED
38.00 | Supply of Matt finish, 304 grade Stainless steel automatic, touch free infrared activated type wall mounting Hand dryer suitable for 230 V, 50 HZ, 1 Ph supply as required. (Make: Euronics, Model: EH27 or Technocrats T 107 SS or equivalent) | 10.00 | Each | 10412.00 | 10500.00 | 105000.00 | 5000.00 | 50000.00 | 13500.00 | 135000.00 | 3500.00 | 35000.00 | 4500.00 | 45000.00 | 1500.00 | 15000.00 | 12500.00 | 125000.00 | 12000.00 | 120000.00 | 9500.00 | 95000.00 | 8000.00 | 80000.00 | 10000.00 | 100000.00 | 2000.00 | 20000.00 | 12900.00 | 129000.00 | 5200.00 | 52000.00 | 15000.00 | SWASTIK ELECTROTECH PRIVATE LIMITED
39.00 | Supply of Indian National Flag of size 20ft x 30ft. in 100% knitted polyester (140gsm), with reinforced super strong nylon webbing on all 3 sides & rope/toggle sleeve. | 5.00 | Each | 14438.00 | 25576.00 | 127880.00 | 6000.00 | 30000.00 | 25000.00 | 125000.00 | .01 | .05 | 1500.00 | 7500.00 | 10000.00 | 50000.00 | 12000.00 | 60000.00 | 13000.00 | 65000.00 | 1500.00 | 7500.00 | 8000.00 | 40000.00 | 5000.00 | 25000.00 | 11000.00 | 55000.00 | 9000.00 | 45000.00 | 9500.00 | 47500.00 | .05 | INTEGER INFRATECH PRIVATE LIMITED
40.00 | Providing 01 No. Vehicle i.e. TATA Sumo/Mahindra Bolero, Mahindra Camper or Equivalent, Vehicle model or as per direction of Engineer-in-charge for full month including Saturday, Sunday and all national holidays without driver in two shifts per day (One shift of 08 Hrs. total 16 Hrs.) for each vehicle with fuel expenses, minor and major maintenance etc. has to be carried out by agency without any delay, limited to 1200 Kms per vehicle per month as per condition of contract. | 24.00 | Months | 32479.00 | 35000.00 | 840000.00 | 23000.00 | 552000.00 | 45100.00 | 1082400.00 | 17000.00 | 408000.00 | 28000.00 | 672000.00 | 40000.00 | 960000.00 | 29000.00 | 696000.00 | 45000.00 | 1080000.00 | 52000.00 | 1248000.00 | 30000.00 | 720000.00 | 50000.00 | 1200000.00 | 22000.00 | 528000.00 | 13000.00 | 312000.00 | 30000.00 | 720000.00 | 312000.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 29225000.00 |  | 28125668.00 |  | 34780680.00 |  | 28106615.39 |  | 27541500.00 |  | 32071775.00 |  | 28530884.00 |  | 29684500.00 |  | 31541566.00 |  | 28813650.00 |  | 33896800.00 |  | 27384692.00 |  | 28924852.00 |  | 28191894.00
Lowest Amount Quoted BY: SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.(27384692.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO 2022-24 of E and M Installation at S V Airport, Raipur SH Annual Operation and Preventive Maintenance Job contract for E and M installations of Terminal Buildings and ancillary buildings installations Located on City Side at S V Airport, Raipur Tender ID: 2022_AAI_118054_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD. | 27384692.00 | L1
| 2 | M/s CGPL ELECTROMECH PVT LTD | 27541500.00 | L2
| 3 | INTEGER INFRATECH PRIVATE LIMITED | 28106615.39 | L3
| 4 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 28125668.00 | L4
| 5 | JAI ENTERPRISES | 28191894.00 | L5
| 6 | Manish Electricals | 28530884.00 | L6
| 7 | M/S DURGA SUPPLY AGENCIES | 28813650.00 | L7
| 8 | ABHISHEK INTEGRATIONS LIMITED | 28924852.00 | L8
| 9 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 29225000.00 | L9
| 10 | NATIONAL SAFETY ENGINEERS | 29684500.00 | L10
| 11 | Ascent Electrification Engineers | 31541566.00 | L11
| 12 | SWASTIK ELECTROTECH PRIVATE LIMITED | 32071775.00 | L12
| 13 | SHREE GOURI ELECTRIC ENTERPRISE | 33896800.00 | L13
| 14 | Sew Engineering Works Pvt Ltd | 34780680.00 | L14