## BoQ1
Government eProcurement System Created By: SUJATHA R Created Date/Time: 01-Jul-2022 03:16 PM Tender Title: Replacement of AHUs (Phase-I, 8 Nos) of ATS Complex, Southern Region, Chennai Airport. SH SITC of Split type AC units Tender ID: 2022_AAI_118433_1
Tender Inviting Authority: Asst. General Manager (Engg-Electrical), AAI, RHQ SR, Chennai Airport, Chennai - 600027
Name of Work: Replacement of AHUs (Phase-I, 8 Nos) of ATS Complex, Southern Region, Chennai Airport. SH: SITC of Split type AC units.
Contract No: 2022_AAI_118433_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED(GSTN-33AABCG0898A1Z0) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Supply of 4TR capacity Floor standing tower type Split AC unit fitted with hermetically sealed compressor operating on 415 V +10% 50 Hz 3 phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, Angle iron floor stand for indoor unit, Angle iron wall / floor stand for condensing unit, etc complete as required. | 10.00 | Nos | Item No.1 | 972000.00 | 1146960.00 | 980000.00 | 1156400.00 | 989820.00 | 1167988.00 | 1092500.00 | 1289150.00 | 972000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 1146960.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.00 | Supply of 2TR capacity wall mounted type Split AC unit (5 star rating invertor type) fitted with hermetically sealed compressor operating on 220 V +10% 50 Hz Single phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, copper piping for both suction and discharge of 4 metres length, power and control cabling of 4 meters length, metal frame for mounting condensing unit, etc complete as per specifications complete as required | 5.00 | Nos | Item No.2 | 230000.00 | 271400.00 | 294490.00 | 347498.00 | 250250.00 | 295295.00 | 210000.00 | 247800.00 | 210000.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED | 247800.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
3.00 | ITC of 4TR capacity Floor standing tower type Split AC unit including all accessories as per above item complete etc, as required. | 10.00 | Nos | Item No.3 | 27500.00 | 32450.00 | 65000.00 | 76700.00 | 49500.00 | 58410.00 | 50000.00 | 59000.00 | 27500.00 | LAKSHMI ELECTRICAL ENTERPRISES | 32450.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.00 | ITC of 2TR capacity wall mounted type Split AC unit including all accessories as per above item complete etc. as per specifications complete as required | 5.00 | Nos | Item No.4 | 10750.00 | 12685.00 | 15000.00 | 17700.00 | 9625.00 | 11358.00 | 12500.00 | 14750.00 | 9625.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 11358.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
5.00 | Supply and Installation of Copper pipe for 4TR capacity floor standing tower type ACs including suction and delivery line with all accessories such as insulation, power & control cabling, etc. as per specifications complete as required | 100.00 | RM | Item No.5 | 125000.00 | 147500.00 | 263000.00 | 310340.00 | 148500.00 | 175230.00 | 85000.00 | 100300.00 | 85000.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED | 100300.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
6.00 | Supply and Installation of additional Copper pipe for 2TR Split AC (beyond 4 meters per Split AC unit) including suction and delivery copper pipes with all accessories such as insulation, power & control cabling, etc. as per specifications complete as required | 20.00 | RM | Item No.6 | 19000.00 | 22420.00 | 29000.00 | 34220.00 | 20900.00 | 24662.00 | 13000.00 | 15340.00 | 13000.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED | 15340.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
7.00 | SITC of 5 KVA capacity voltage stabilisers with copper wound coil having range of 200 to 275 voltage single phase, 50 Hz AC supply i/c necessary fixing arrangements, clamps, screws, metal clad top, connecting 3 core cable of 1 metre length, complete, etc on as and when required basis as per specifications complete as required. (Prices shall be firm for 1 year period from the date of start of work) | 5.00 | Jobs | Item No.7 | 15500.00 | 18290.00 | 20500.00 | 24190.00 | 13750.00 | 16225.00 | 12500.00 | 14750.00 | 12500.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED | 14750.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
8.00 | Supplying & laying of condensate water drain pipe made of PVC having size of 40mm 6kg/cm capacity, for additional requirement for AC units i/c necessary clamps, screws, supports, etc as per specifications complete as required | 110.00 | RM | Item No.8 | 15400.00 | 18172.00 | 41800.00 | 49324.00 | 30250.00 | 35695.00 | 19800.00 | 23364.00 | 15400.00 | LAKSHMI ELECTRICAL ENTERPRISES | 18172.00 | LAKSHMI ELECTRICAL ENTERPRISES
9.00 | SITC of 8-way TP&N three phase Vertical DB suitable for MCCB incomer, double door, consists of sheet steel enclosures with detachable gland plates for flush / surface mounting with bus bar, neutral link, earth bar, wiring connections, i/c following switch gears 8 Way - 3Phase TPN Vertical MCCB DB Incomer 100A 16KA 4 Pole MCCB - 1 No Outgoing 25A 10KA TP MCB - 8 Nos | 2.00 | Job | Item No.9 | 30000.00 | 35400.00 | 13000.00 | 15340.00 | 27500.00 | 32450.00 | 37000.00 | 43660.00 | 13000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED | 15340.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
10.00 | Supply of 4C x 25 sq.mm size PVC insulated PVC sheathed XLPE power cable of 1.1KV grade confirming to IS 7098 PART-l with aluminium conductor armoured upto date amendments. | 150.00 | RM | Item No.10 | 49500.00 | 58410.00 | 33000.00 | 38940.00 | 31500.00 | 37170.00 | 41250.00 | 48675.00 | 31500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 37170.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
11.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of 4Cx25 Sqmm size on cable tray as required. | 75.00 | RM | Item No.11 | 4500.00 | 5310.00 | 8250.00 | 9735.00 | 1500.00 | 1770.00 | 5625.00 | 6638.00 | 1500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 1770.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
12.00 | Laying and fixing of one number PVC insulated and PVC sheathed /XLPE power cable of 1.1KV grade of 4Cx25 sq.mm size on wall surface as required. | 75.00 | RM | Item No.12 | 4500.00 | 5310.00 | 8250.00 | 9735.00 | 1875.00 | 2213.00 | 4500.00 | 5310.00 | 1875.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 2213.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
13.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulaterd and PVC sheathed /XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 25 Sq.mm (28mm) | 4.00 | Jobs | Item No.13 | 2000.00 | 2360.00 | 680.00 | 802.00 | 1200.00 | 1416.00 | 2000.00 | 2360.00 | 680.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED | 802.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
14.00 | Providing and fixing 6 SWG dia G.I wire on surface or in recess for loop earthing as reqired | 300.00 | RM | Item No.14 | 9000.00 | 10620.00 | 22500.00 | 26550.00 | 9000.00 | 10620.00 | 10500.00 | 12390.00 | 9000.00 | LAKSHMI ELECTRICAL ENTERPRISES, PREMIER ENGINEERING TECHNICS PVT. LTD. | 10620.00 | LAKSHMI ELECTRICAL ENTERPRISES, PREMIER ENGINEERING TECHNICS PVT. LTD.
15.00 | Wiring for power plug with 4x4 sq.mm FRLS PVC insulated copper conductor single core cable in surface/ recesssed medium class PVC conduit alongwith 2x4sq.mm FRLS PVC insulated copper conductoe single core cable for loop earthing as required. | 220.00 | RM | Item No.15 | 79200.00 | 93456.00 | 20900.00 | 24662.00 | 88000.00 | 103840.00 | 66000.00 | 77880.00 | 20900.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED | 24662.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
16.00 | Wiring for power plug with 2x4 sq.mm FRLS PVC insulated copper conductor single core cable in surface/ recesssed medium class PVC conduit alongwith 1x4sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 85.00 | RM | Item No.16 | 17850.00 | 21063.00 | 8075.00 | 9529.00 | 17000.00 | 20060.00 | 15300.00 | 18054.00 | 8075.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED | 9529.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
17.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 5.00 | Jobs | Item No.17 | 6000.00 | 7080.00 | 800.00 | 944.00 | 6250.00 | 7375.00 | 6250.00 | 7375.00 | 800.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED | 944.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
18.00 | Supplying and fixing 25 A "C" curve, 4 pole, MCB in sheet steel enclosure, on surface or in recess complete with connections, testing and commissioning etc. as required. | 10.00 | Jobs | Item No.18 | 16000.00 | 18880.00 | 15500.00 | 18290.00 | 2250.00 | 2655.00 | 16500.00 | 19470.00 | 2250.00 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 2655.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
| Total in Figures |  |  |  | 1633700.00 | 1927766.00 | 1839745.00 | 2170899.00 | 1698670.00 | 2004432.00 | 1700225.00 | 2006266.00

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of AHUs (Phase-I, 8 Nos) of ATS Complex, Southern Region, Chennai Airport. SH SITC of Split type AC units Tender ID: 2022_AAI_118433_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 1927766.00 | L1
| 2 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 2004432.00 | L2
| 3 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED | 2006266.00 | L3
| 4 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED | 2170899.00 | L4