## BoQ1
Government eProcurement System Created By: DOMA JAWALEKAR Created Date/Time: 06-Jul-2022 06:19 PM Tender Title: Provision of Automatic Transfer switch at various locations of Aurangabad Airport. Tender ID: 2022_AAI_118438_1
Tender Inviting Authority: Asstt. Gen.Manager (Engg.-Electrical), Airports Authority of India, Aurangabad Airport, Aurangabad - 431007 (Maharashtra).
Name of Work: Provision of Automatic Transfer switch at various locations of Aurangabad Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AIRTECH ENGINEERS(GSTN-27AJHPB7042D1ZM) |  | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD(GSTN-27AAIAB4511C1Z9) |  | RB MULTITECH(GSTN-24COFPP5237R1ZA) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of Four Pole, 100 A, Automatic Transfer switch confirming to IS/IEC:60947-3 having Automatic and Manual mode with inbuilt time delay, complete electrical protection suitable for operation of 415 V, 3 phase, 50 Hz, AC supply, totally enclosed in dust and vermin proof indoor cubicle of MS (1.6 mm thick) enclosure, complete with separate MS (2 mm thick) cable gland box having size suitable for glanding of three nos. armoured aluminium conductor cable of various sizes, connections & interconnections etc. as per site requirement. | 2.00 | Job |  | 43000.00 | 86000.00 | 45950.00 | 91900.00 | 55890.00 | 111780.00 | 45000.00 | 90000.00 | 44500.00 | 89000.00 | 86000.00 | AIRTECH ENGINEERS
2.00 | Supply, Installation, Testing and Commissioning of Four Pole, 250 A, Automatic Transfer switch confirming to IS/IEC:60947-3 having Automatic and Manual mode with inbuilt time delay, complete electrical protection suitable for operation of 415 V, 3 phase, 50 Hz, AC supply, totally enclosed in dust and vermin proof indoor cubicle of MS (1.6 mm thick) enclosure, complete with separate MS (2 mm thick) cable gland box having size suitable for glanding of three nos. armoured aluminium conductor cable of various sizes, connections & interconnections etc. as per site requirement. | 3.00 | Job |  | 73000.00 | 219000.00 | 67599.00 | 202797.00 | 85484.00 | 256452.00 | 65000.00 | 195000.00 | 68000.00 | 204000.00 | 195000.00 | Manish Electricals
3.00 | Supply, Installation, Testing and Commissioning of Four Pole, 400 A, Automatic Transfer switch confirming to IS/IEC:60947-3 having Automatic and Manual mode with inbuilt time delay, complete electrical protection suitable for operation of 415 V, 3 phase, 50 Hz, AC supply, totally enclosed in dust and vermin proof indoor cubicle of MS (1.6 mm thick) enclosure, complete with separate MS (2 mm thick) cable gland box having size suitable for glanding of three nos. armoured aluminium conductor cable of various sizes, connections & interconnections etc. as per site requirement. | 2.00 | Job |  | 90000.00 | 180000.00 | 82650.00 | 165300.00 | 98892.00 | 197784.00 | 125000.00 | 250000.00 | 84000.00 | 168000.00 | 165300.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
4.00 | Supply, Installation, Testing and Commissioning of Industrial Plug of 63 Amp, poles - 3P+N+E, suitable to operate on 415V, 50 Hz, AC supply, along with four pole, 63 Amp, 10 kA, C curve MCB, totally enclosed in dust and vermin proof indoor cubicle of MS (1.6 mm thick) enclosure having size suitable for glanding of one no. armoured aluminium conductor cable of 3.5 C X 70 sq.mm ,including connections & interconnections etc. as per site requirement. | 1.00 | Job |  | 7000.00 | 7000.00 | 19520.00 | 19520.00 | 8960.00 | 8960.00 | 35000.00 | 35000.00 | 6000.00 | 6000.00 | 6000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
| Total in Figures |  |  |  |  | 492000.00 |  | 479517.00 |  | 574976.00 |  | 570000.00 |  | 467000.00
Lowest Amount Quoted BY: Krishsons International Engineers And Consultants (I) Pvt. Ltd(467000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Automatic Transfer switch at various locations of Aurangabad Airport. Tender ID: 2022_AAI_118438_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Krishsons International Engineers And Consultants (I) Pvt. Ltd | 467000.00 | L1
| 2 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD | 479517.00 | L2
| 3 | AIRTECH ENGINEERS | 492000.00 | L3
| 4 | Manish Electricals | 570000.00 | L4
| 5 | RB MULTITECH | 574976.00 | L5