## BoQ1
Government eProcurement System Created By: BIJU K G Created Date/Time: 08-Jul-2022 04:19 PM Tender Title: Provision of Solar Powered Obstruction Light atop of Vallanadu hill at Tuticorin Airport. SH II Design Supply Installation Testing and Commissioning of Aviation Obstacle Lights Tender ID: 2022_AAI_118514_1
Tender Inviting Authority: Airports Authority of India, Tuticorin Airport, Tuticorin - 628103.
Name of Work: Provision of Solar Powered Obstruction Light atop of Vallanadu hill at Tuticorin Airport. SH-II : Design, Supply, Installation, Testing and Commissioning of Aviation Obstacle Lights.
Tender ID: 2022_AAI_118514_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Vistar Electronics Pvt Ltd(GSTN-27AAACV9821B1ZG) |  | Fairway Marine Services(GSTN-33AAFPV5837M1Z4)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation, Testing and Commissioning of High power LED cluster module medium intensity Aviation Obstacle Lights Type 'B' conforming to ICAO Annex-14, Chapter 6, having light intensity of 2000 Cd ± 25% during Night, Flash rate (20-60 fpm), Colour - Red along with Control panel for operating the above light having following features :- a) Solar charge controller, with MPPT control, indicators and suitable battery management system. b) Automatic selection of Day / Twilight / Night mode. c) Provision for GSM based remote monitoring. d) Solar Photovoltaic module, of suitable voltage and wattage peak necessary for designed battery capacity and 3 days autonomy including necessary mounting arrangement, provision for adjusting the tilt angle of the panels. - 1 panels e) Maintenance free sealed VRLA/ Lithium ion battery of suitable capacity for ensuring minimum 3 days autonomy operation and rating. f) Battery Housing of weatherproof and corrosion proof material suitable for mounting on the pole at height of 1 mtr above the ground using SS bolts. g) Connection & interconnecting wiring using FR PVC insulated and sheathed copper cables of 2 core 2.5 sq.mm. h) Suitable mounting arrangements for Aviation Obstacle Lights & solar Modules suitable as per item no.2 i) Solar and LED controller for the LED Aviation Obstacle Light Flash head assembly j) Flash head control unit Including transportation of all materials including light fixture, panels, battery, tools any other materials required at site for carrying out the work, from the bottom of the Vallanadu hill to the top of the hill located at a height of approx. 320 meter, by traversing a distance of not less than 3 km by foot on non-motorable rocky road. | 1.00 | Job |  | 376000.00 | 376000.00 | 150000.00 | 150000.00 | 150000.00 | Fairway Marine Services
2.00 | Supply of High power LED cluster module medium intensity Aviation Obstacle Lights Type 'B' conforming to ICAO Annex-14, Chapter 6, having light intensity of 2000 Cd ± 25% during Night, Flash rate (20-60 fpm), Colour - Red suitable for the item No.1 as spare. | 1.00 | Set |  | 78000.00 | 78000.00 | 130000.00 | 130000.00 | 78000.00 | Vistar Electronics Pvt Ltd
3.00 | Supply of Solar charge controller, LED driver and flasher unit module for the Aviation Obstacle Lights spares suitable for the solar powered Aviation Obstruction Lighting system as specified in the item no.1. | 1.00 | Set |  | 8600.00 | 8600.00 | 40000.00 | 40000.00 | 8600.00 | Vistar Electronics Pvt Ltd
| Total in Figures |  |  |  |  | 462600.00 |  | 320000.00
Lowest Amount Quoted BY: Fairway Marine Services(320000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Solar Powered Obstruction Light atop of Vallanadu hill at Tuticorin Airport. SH II Design Supply Installation Testing and Commissioning of Aviation Obstacle Lights Tender ID: 2022_AAI_118514_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Fairway Marine Services | 320000.00 | L1
| 2 | Vistar Electronics Pvt Ltd | 462600.00 | L2