## BoQ1
Government eProcurement System Created By: Anand Gupta Created Date/Time: 19-Jul-2022 04:08 PM Tender Title: Supply of GLF and Electrical Spares at Barapani Airport, Shillong. (Year 2022-23). Tender ID: 2022_AAI_118521_1
Tender Inviting Authority: AAI, Shillong Airport
Name of Work:Supply of GLF and Electrical Spares at Barapani Airport, Shillong. (Year 2022-23).
Contract No: Tender ID: 2022_AAI_118521_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following type 5 KV grade 50Hz series type Isolating Transformers, encapsulated in polyester resin finally moulded in neoprene type rubber with primary & secondary connections and ready to install etc. complete as required and technical specifications as specified. (a). 300W, 6.6A/6.6A Isolating Transformer | 5.00 | Each |  | 6400.00 | 32000.00 | 7000.00 | 35000.00 | 32000.00 | Bafna Electric Corp
2.00 | Supply of following type 5 KV grade 50Hz series type Isolating Transformers, encapsulated in polyester resin finally moulded in neoprene type rubber with primary & secondary connections and ready to install etc. complete as required and technical specifications as specified. (b). 200W, 6.6A/6.6A Isolating Transformer | 20.00 | Each |  | 4700.00 | 94000.00 | 5000.00 | 100000.00 | 94000.00 | Bafna Electric Corp
3.00 | Supply of following type 5 KV grade 50Hz series type Isolating Transformers, encapsulated in polyester resin finally moulded in neoprene type rubber with primary & secondary connections and ready to install etc. complete as required and technical specifications as specified. (c). 100W, 6.6A/6.6A Isolating Transformer | 5.00 | Each |  | 3800.00 | 19000.00 | 4500.00 | 22500.00 | 19000.00 | Bafna Electric Corp
4.00 | Supply of following size 5 KV grade plug and receptacle of type I class "B" connector suitable for field attachment with 5 KV grade Airfield Lighting cable conforming to the relevant IS specification etc. complete as required and technical specifications as specified. (a). 6 sq. mm. size | 50.00 | Set |  | 360.00 | 18000.00 | 500.00 | 25000.00 | 18000.00 | Bafna Electric Corp
5.00 | Supply of following size 5 KV grade plug and receptacle of type I class "B" connector suitable for field attachment with 5 KV grade Airfield Lighting cable conforming to the relevant IS specification etc. complete as required and technical specifications as specified. (b). 25 sq. mm. size | 10.00 | Set |  | 425.00 | 4250.00 | 650.00 | 6500.00 | 4250.00 | Bafna Electric Corp
6.00 | Supply of Halogen lamp holder suitable for 200W, 6.6A. High Intensity Runway Light Elevated fittings/ CEGELEC make PAPI light fittings. | 150.00 | Each |  | 198.00 | 29700.00 | 275.00 | 41250.00 | 29700.00 | Bafna Electric Corp
7.00 | Supply of two pin halogen lamp of 200 wattage, 6.6 Amps., suitable for use in all halogen type HIRL / PAPI fittings. (Make: OSRAM 64386 or equivalent as per approved makes) | 500.00 | Each |  | 390.00 | 195000.00 | 425.00 | 212500.00 | 195000.00 | Bafna Electric Corp
8.00 | Supply of Halogen lamp for Inset fitting 105W,6.6A (Make: OSRAM 64339 A or equivalent as per approved makes) | 20.00 | Each |  | 794.00 | 15880.00 | 950.00 | 19000.00 | 15880.00 | Bafna Electric Corp
9.00 | Supply of 180° Red/ Clear/ Yellow Filter suitable for AMA make Runway edge light fittings. | 10.00 | Each |  | 1475.00 | 14750.00 | 2750.00 | 27500.00 | 14750.00 | Bafna Electric Corp
10.00 | Supply of Outer/Spreader clear glass of 183 mm dia. suitable for AMA make Elevated type approach light fittings. | 6.00 | Each |  | 1535.00 | 9210.00 | 2750.00 | 16500.00 | 9210.00 | Bafna Electric Corp
11.00 | Supply of LED converter suitable for use in Operational area signage of all sizes operated through series circuit with current range from 2.8 to 6.6 Amps with inbuilt dual circuit to work on main and standby circuit complete as required. | 15.00 | Each |  | 3300.00 | 49500.00 | 3750.00 | 56250.00 | 49500.00 | Bafna Electric Corp
12.00 | Supply of retrofit LED driver suitable for using on 1 wattage LED type Taxiway light fittings AMA makes. | 35.00 | Each |  | 2175.00 | 76125.00 | 1600.00 | 56000.00 | 56000.00 | Techno Electricals
13.00 | Supply of medium intensity elevated unidirectional flashing yellow Runway Guard Lights, voltage driven - powered from 240VAC +/- 10%, 50Hz parallel lighting circuit and equipped with photo cell to control intensity, flash rate - alternating flashes, 45-50 per minute, cable connector kits, with all required accessories, ready to operate, complete as required as per relevant ICAO specification and technical specifications as specified. | 2.00 | Each |  | 185000.00 | 370000.00 | 220000.00 | 440000.00 | 370000.00 | Bafna Electric Corp
14.00 | Porcelin connector having 04 terminals suitable to all type of elevated High Intensity Runway edge fittings. | 100.00 | Each |  | 40.00 | 4000.00 | 85.00 | 8500.00 | 4000.00 | Bafna Electric Corp
15.00 | Supply of H.T. Tape 38 mm. width, 9 mtrs. length. suitable for HT Airfield Lighting cable and technical specifications as specified. (Make: 3M Scotch 23 or equivalent) | 25.00 | Each |  | 685.00 | 17125.00 | 1400.00 | 35000.00 | 17125.00 | Bafna Electric Corp
16.00 | Cable Tie (Nylon) - 300 mm x 3.6 mm (1 Packet = 100 Nos.) | 5.00 | Pkt |  | 115.00 | 575.00 | 500.00 | 2500.00 | 575.00 | Bafna Electric Corp
17.00 | Cable Tie (Nylon) - 400 mm x 4.8 mm (1 Packet = 100 Nos.) | 5.00 | Pkt |  | 150.00 | 750.00 | 600.00 | 3000.00 | 750.00 | Bafna Electric Corp
18.00 | Cable 4 x 4 Sqmm (Flexible) copper, 1.1 kV Grade as per IS: 694: 2010 or as amended. | 100.00 | Mtr. |  | 175.00 | 17500.00 | 115.00 | 11500.00 | 11500.00 | Techno Electricals
19.00 | Casing Caping 25 x 12 mm (Length 2 mtr) | 100.00 | Each |  | 62.00 | 6200.00 | 70.00 | 7000.00 | 6200.00 | Bafna Electric Corp
20.00 | TPN1 Insulator (4 way) 63 A Connector | 100.00 | Each |  | 70.00 | 7000.00 | 125.00 | 12500.00 | 7000.00 | Bafna Electric Corp
21.00 | Power Contactor 32A, 3 pole (Schneider - LC1D32 or Equivalent) | 5.00 | Each |  | 2625.00 | 13125.00 | 7500.00 | 37500.00 | 13125.00 | Bafna Electric Corp
22.00 | Air Break (Power) Contactor 16Amp, 415V with Coil 230V, 50 Hz (Siemens - 3TF32 00-0AP0 or Equivalent) | 2.00 | Each |  | 860.00 | 1720.00 | 9000.00 | 18000.00 | 1720.00 | Bafna Electric Corp
23.00 | 32mm din rails (mounting rails with zinc plating) - 2000mm Length (Make : Elmex Electric, Cat Type - CHS 20 or Equivalent) | 20.00 | Each |  | 350.00 | 7000.00 | 750.00 | 15000.00 | 7000.00 | Bafna Electric Corp
24.00 | Analog Time Switch - Quartz daily, 240 VAC, base/ DIN Mounting (Make L&T, J648B1 or equivalent) | 5.00 | Each |  | 2300.00 | 11500.00 | 3750.00 | 18750.00 | 11500.00 | Bafna Electric Corp
25.00 | Digital Time Switch - Crono, 240 VAC, base/ DIN Mounting (Make L&T, 67DDT0 or equivalent) | 5.00 | Each |  | 1680.00 | 8400.00 | 3200.00 | 16000.00 | 8400.00 | Bafna Electric Corp
26.00 | Exhaust Fan 300 mm, Metal body, speed 1350-1400 rpm, power consumption shall not be more than 50 Watt. | 5.00 | Each |  | 1670.00 | 8350.00 | 4785.00 | 23925.00 | 8350.00 | Bafna Electric Corp
27.00 | Gang Box for Switch & Socket (Anchor Code - 7112 or Equivalent) | 50.00 | Each |  | 25.00 | 1250.00 | 200.00 | 10000.00 | 1250.00 | Bafna Electric Corp
28.00 | Gang Box for Two Switch & Socket (Anchor Code - 7203 or Equivalent) | 15.00 | Each |  | 52.00 | 780.00 | 200.00 | 3000.00 | 780.00 | Bafna Electric Corp
29.00 | HSS Bi-Metal Holesaw Set (9 Pieces) 20mm, 25mm, 35mm, 40mm, 51mm and 68mm HSS holesaw, 2 Pcs Hex Socket Adaptor, 1 Pcs Hex Nut Setter BiM and Allen Key. (Make : Bosch or equivalent) | 1.00 | Each |  | 3800.00 | 3800.00 | 585.00 | 585.00 | 585.00 | Techno Electricals
30.00 | Indicator lamp: (HT Panel ) Suitable for 24V/48V DC Red/ Yellow/ Green/ Amber/ White | 20.00 | Each |  | 115.00 | 2300.00 | 250.00 | 5000.00 | 2300.00 | Bafna Electric Corp
31.00 | Indicator lamp: (HT Panel ) Suitable for 24V/48V DC Blue | 5.00 | Each |  | 198.00 | 990.00 | 400.00 | 2000.00 | 990.00 | Bafna Electric Corp
32.00 | Indicator lamp : (LT Panel ) Suitable for 220 V AC Red/ Yellow/ Green | 75.00 | Each |  | 115.00 | 8625.00 | 225.00 | 16875.00 | 8625.00 | Bafna Electric Corp
33.00 | Indicator lamp : (LT Panel ) Suitable for 220 V AC Blue | 20.00 | Each |  | 198.00 | 3960.00 | 400.00 | 8000.00 | 3960.00 | Bafna Electric Corp
34.00 | Single phase Motor Starter 240 V, 50 Hz, AC, 20 Amp, 2 module size, Product housing is a mix of Poly Carbonate & PBT which is FR Grade & UV stabilized (Make: Anchor / Havells or equivalent) | 5.00 | Each |  | 665.00 | 3325.00 | 3200.00 | 16000.00 | 3325.00 | Bafna Electric Corp
35.00 | LED Aviation Obstruction Light fixture (Make Bajaj BGAV 302 LED or equivalent) | 5.00 | Each |  | 4400.00 | 22000.00 | 7500.00 | 37500.00 | 22000.00 | Bafna Electric Corp
36.00 | 9/10 W LED Bulb (Make: Wipro / Bajaj / Phillips / Havells or approved equivalent) | 100.00 | Each |  | 72.00 | 7200.00 | 350.00 | 35000.00 | 7200.00 | Bafna Electric Corp
37.00 | Lugs Aluminium 16/25 Sqmm (Round Type) | 50.00 | Each |  | 6.00 | 300.00 | 50.00 | 2500.00 | 300.00 | Bafna Electric Corp
38.00 | Lugs Aluminium 35 Sqmm (Round Type) | 40.00 | Each |  | 8.00 | 320.00 | 50.00 | 2000.00 | 320.00 | Bafna Electric Corp
39.00 | Lugs Aluminium 50 Sqmm (Round Type) | 24.00 | Each |  | 11.00 | 264.00 | 50.00 | 1200.00 | 264.00 | Bafna Electric Corp
40.00 | Lugs Aluminium 95 Sqmm (Round Type) | 12.00 | Each |  | 20.00 | 240.00 | 50.00 | 600.00 | 240.00 | Bafna Electric Corp
41.00 | Lugs Copper 4 Sqmm (Pin Type) | 100.00 | Each |  | 8.00 | 800.00 | 50.00 | 5000.00 | 800.00 | Bafna Electric Corp
42.00 | MCB SP 6-32A, 240/415 V 10kA C Series | 150.00 | Each |  | 110.00 | 16500.00 | 125.00 | 18750.00 | 16500.00 | Bafna Electric Corp
43.00 | MCB DP 6-32A, 240/415 V 10kA C Series | 20.00 | Each |  | 390.00 | 7800.00 | 250.00 | 5000.00 | 5000.00 | Techno Electricals
44.00 | MCB TPN 32A, 240/415 V 10kA C Series | 15.00 | Each |  | 865.00 | 12975.00 | 1000.00 | 15000.00 | 12975.00 | Bafna Electric Corp
45.00 | MCB FP 40A, 240/415 Volt, 10kA, C Series | 12.00 | Each |  | 1190.00 | 14280.00 | 1250.00 | 15000.00 | 14280.00 | Bafna Electric Corp
46.00 | MCB FP 63A, 240/415 Volt, 10kA, C Series | 12.00 | Each |  | 1225.00 | 14700.00 | 1250.00 | 15000.00 | 14700.00 | Bafna Electric Corp
47.00 | Modular Switch One Way 6A (Anchor Code No. 47101 or Equivalent) | 50.00 | Each |  | 33.00 | 1650.00 | 90.00 | 4500.00 | 1650.00 | Bafna Electric Corp
48.00 | Modular Switch One Way 16A (Anchor Code No. 47161 or Equivalent) | 50.00 | Each |  | 63.00 | 3150.00 | 100.00 | 5000.00 | 3150.00 | Bafna Electric Corp
49.00 | Modular Twin Socket 20A & 10A (Anchor Code No. 47366 or Equivalent) | 50.00 | Each |  | 115.00 | 5750.00 | 125.00 | 6250.00 | 5750.00 | Bafna Electric Corp
50.00 | Modular Combi Socket 6/10/13A (Anchor Code No. 47363 or Equivalent) | 10.00 | Each |  | 115.00 | 1150.00 | 150.00 | 1500.00 | 1150.00 | Bafna Electric Corp
51.00 | Modular Single Blanking Plate (Anchor Code No. 47684 or Equivalent) | 50.00 | Each |  | 18.00 | 900.00 | 30.00 | 1500.00 | 900.00 | Bafna Electric Corp
52.00 | Plug Top 6A 3 Pin - (Anchor Code No. 39571) | 20.00 | Each |  | 52.00 | 1040.00 | 50.00 | 1000.00 | 1000.00 | Techno Electricals
53.00 | Plug Top 16A 3 pin - (Anchor Code No. 39582) | 50.00 | Each |  | 70.00 | 3500.00 | 70.00 | 3500.00 | 3500.00 | Bafna Electric Corp, Techno Electricals
54.00 | LT/ HT panel Push Button 2 NO/ 2 NC, contact rating 6A @ 240 AC | 25.00 | Each |  | 150.00 | 3750.00 | 300.00 | 7500.00 | 3750.00 | Bafna Electric Corp
55.00 | Corrugated flexible conduit pipe 25 mm (Precision make or equivalent) | 200.00 | Mtr. |  | 12.00 | 2400.00 | 65.00 | 13000.00 | 2400.00 | Bafna Electric Corp
56.00 | Steel Wire Reinforced Flexible uPVC Conduit Pipe 25 mm (Precision make or equivalent) | 90.00 | Mtr. |  | 35.00 | 3150.00 | 125.00 | 11250.00 | 3150.00 | Bafna Electric Corp
57.00 | RCCB 40A /300 mA DP | 5.00 | Each |  | 1900.00 | 9500.00 | 4500.00 | 22500.00 | 9500.00 | Bafna Electric Corp
58.00 | RCCB 63A / 300 mA DP | 10.00 | Each |  | 2375.00 | 23750.00 | 5000.00 | 50000.00 | 23750.00 | Bafna Electric Corp
59.00 | RCCB 63A / 300 mA FP | 3.00 | Each |  | 2470.00 | 7410.00 | 6000.00 | 18000.00 | 7410.00 | Bafna Electric Corp
60.00 | RCCB 100A / 300 mA FP | 3.00 | Each |  | 3880.00 | 11640.00 | 6500.00 | 19500.00 | 11640.00 | Bafna Electric Corp
61.00 | Selector Switch - Ammeter, 6 Amp (R, Y, B and OFF position) (Make: L&T; Cat No. 61325 SAB13TDYR or equivalent) | 15.00 | Each |  | 240.00 | 3600.00 | 325.00 | 4875.00 | 3600.00 | Bafna Electric Corp
62.00 | Selector Switch - Voltmeter, 6 Amp (Voltage between phases and OFF position) (Make: L&T; Cat No. 61312 SAB13TDYR or equivalent) | 10.00 | Each |  | 175.00 | 1750.00 | 325.00 | 3250.00 | 1750.00 | Bafna Electric Corp
63.00 | Sintex Junction Box JS-JB-2520 | 100.00 | Each |  | 615.00 | 61500.00 | 1450.00 | 145000.00 | 61500.00 | Bafna Electric Corp
64.00 | Sintex Junction Box JS-JB-3726 | 2.00 | Each |  | 1060.00 | 2120.00 | 1950.00 | 3900.00 | 2120.00 | Bafna Electric Corp
65.00 | Single Phase (1P) kWh Meter 5-30 Amp. with LCD Display and box for complete unit. (L&T make ; Model EM101+ Class 1 base mounting, Cat No. WM101BC5DL0BOX or Equivalent). | 5.00 | Each |  | 1700.00 | 8500.00 | 1250.00 | 6250.00 | 6250.00 | Techno Electricals
66.00 | Switch One Way 6A (Anchor Code No. 38058 or Equivalent) | 50.00 | Each |  | 15.00 | 750.00 | 50.00 | 2500.00 | 750.00 | Bafna Electric Corp
67.00 | Socket Two in One 6A (Anchor Code No. 38320 or Equivalent) | 40.00 | Each |  | 29.00 | 1160.00 | 65.00 | 2600.00 | 1160.00 | Bafna Electric Corp
68.00 | Socket Combi 6A & 10/13A (Anchor Code No. 38717 or Equivalent) | 80.00 | Each |  | 50.00 | 4000.00 | 100.00 | 8000.00 | 4000.00 | Bafna Electric Corp
69.00 | Switch One Way 20A (Anchor Code No. 39989 or Equivalent) | 80.00 | Each |  | 72.00 | 5760.00 | 60.00 | 4800.00 | 4800.00 | Techno Electricals
70.00 | Heat shrink tube (Red, 5mm- 2mtr.) | 50.00 | Each |  | 25.00 | 1250.00 | 200.00 | 10000.00 | 1250.00 | Bafna Electric Corp
71.00 | Three Phase (3P), 4 Wire kWh meter 10-60 Amp. LCD Type (Accuracy Class 1.0) (L&T make ; Model ER300P Base mounting, Cat No. WR301BC7D10 or Equivalent). | 5.00 | Each |  | 4400.00 | 22000.00 | 3000.00 | 15000.00 | 15000.00 | Techno Electricals
72.00 | Wire 1.5 Sqmm (Flexible), FR-LSH, PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volt Conforming to IS 694. (1 Coil = 90 mtr. ). | 6.00 | Coil |  | 1470.00 | 8820.00 | 2200.00 | 13200.00 | 8820.00 | Bafna Electric Corp
73.00 | Wire 2.5 Sqmm (Flexible), FR-LSH, PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volt Conforming to IS 694. (1 Coil = 90 mtr. ). | 4.00 | Coil |  | 2350.00 | 9400.00 | 3500.00 | 14000.00 | 9400.00 | Bafna Electric Corp
74.00 | Wire 4 Sqmm (Flexible), FR-LSH, PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volt Conforming to IS 694. (1 Coil = 90 mtr. ). | 6.00 | Coil |  | 3590.00 | 21540.00 | 5500.00 | 33000.00 | 21540.00 | Bafna Electric Corp
75.00 | Wire 6 Sqmm (Flexible), FR-LSH, PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volt Conforming to IS 694. (1 Coil = 90 mtr. ). | 2.00 | Coil |  | 5700.00 | 11400.00 | 7500.00 | 15000.00 | 11400.00 | Bafna Electric Corp
76.00 | Ceiling Rose, 240V~50Hz, 6A. (Anchor Code No. 39028 or Equivalent) | 20.00 | Each |  | 32.00 | 640.00 | 30.00 | 600.00 | 600.00 | Techno Electricals
77.00 | Supply of extension board 16 amp., 3 pin, 4 no. sockets, 1 switch, with 4 mtr. power cable. (Anchor Code No. 22068 or Equivalent) | 15.00 | Each |  | 765.00 | 11475.00 | 650.00 | 9750.00 | 9750.00 | Techno Electricals
78.00 | Ceiling fan having BLDC motor with a sweep of 1200 mm with remote, power wattage shall not be more than 32 watt, Air delivery shall not be less than 220 cmm (m3/min.) and technical specifications as specified. Colour: White/ Ivory | 25.00 | Each |  | 3200.00 | 80000.00 | 2000.00 | 50000.00 | 50000.00 | Techno Electricals
79.00 | Supply of 1.1 KV Straight through Heat shrinkable jointing kits. (a). 4 C x 16 Sq.mm. | 4.00 | Each |  | 850.00 | 3400.00 | 2000.00 | 8000.00 | 3400.00 | Bafna Electric Corp
80.00 | Supply of 1.1 KV Straight through Heat shrinkable jointing kits. (b). 3.5 C x 25 Sq.mm. | 2.00 | Each |  | 950.00 | 1900.00 | 2250.00 | 4500.00 | 1900.00 | Bafna Electric Corp
81.00 | Supply of 1.1 KV Straight through Heat shrinkable jointing kits. (c). 3.5 C x 50 Sq.mm. | 1.00 | Each |  | 950.00 | 950.00 | 2500.00 | 2500.00 | 950.00 | Bafna Electric Corp
82.00 | Supply of 1.1 KV Straight through Heat shrinkable jointing kits. (d). 3.5 C x 120 Sq.mm. | 1.00 | Each |  | 1300.00 | 1300.00 | 3000.00 | 3000.00 | 1300.00 | Bafna Electric Corp
83.00 | Supply of 1.1 KV Straight through Heat shrinkable jointing kits. (e). 3.5 C x 150 Sq.mm. | 4.00 | Each |  | 1650.00 | 6600.00 | 3000.00 | 12000.00 | 6600.00 | Bafna Electric Corp
84.00 | Supply of 1.1 KV Straight through Heat shrinkable jointing kits. (f). 3.5 C x 185 Sq.mm. | 5.00 | Each |  | 1650.00 | 8250.00 | 3000.00 | 15000.00 | 8250.00 | Bafna Electric Corp
85.00 | Lugs Copper 4 Sqmm (For Terminal Insulated) | 100.00 | Each |  | 6.00 | 600.00 | 20.00 | 2000.00 | 600.00 | Bafna Electric Corp
86.00 | Copper tube heavy duty inline connectors 2.5 Sq. mm. | 50.00 | Each |  | 5.00 | 250.00 | 20.00 | 1000.00 | 250.00 | Bafna Electric Corp
87.00 | Copper tube heavy duty inline connectors 4.0 Sq. mm. | 50.00 | Each |  | 6.00 | 300.00 | 20.00 | 1000.00 | 300.00 | Bafna Electric Corp
| Total in Figures |  |  |  |  | 1511024.00 |  | 2036910.00
Lowest Amount Quoted BY: Bafna Electric Corp(1511024.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of GLF and Electrical Spares at Barapani Airport, Shillong. (Year 2022-23). Tender ID: 2022_AAI_118521_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bafna Electric Corp | 1511024.00 | L1
| 2 | Techno Electricals | 2036910.00 | L2