## BoQ1
Government eProcurement System Created By: Manoj Kumar Sahoo Created Date/Time: 05-Aug-2022 12:21 PM Tender Title: ARMO of Electrical and Mechanical Installations 2022-24 at Visakhapatnam Airport. Sub Head- CMC of all types of Package and Unitary AC units, Water Coolers and Water Purifiers at all locations of AAI, Visakhapatnam Airport Tender ID: 2022_AAI_118623_1
Tender Inviting Authority: SENIOR MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, VISAKHAPATNAM AIRPORT, VISAKHAPATNAM.
Name of Work: RMO of Electrical & Mechanical Installations 2022-24 at Visakhapatnam Airport. SH : CMC of all types of Package and Unitary AC units, Water Coolers and Water Purifiers at all locations of AAI, Visakhapatnam Airport.
Contract No: 2021_AAI_118623_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VEERABABU COMFORT COOL SYSTEM(GSTN-37BKKPM2510E1ZF) |  | GUPTA ELECTRIC WORKS(GSTN-27AIZPG0539P1ZG) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | All inclusive annual comprehensive maintenance contract for 11TR floor mounted aircooled package AC units of Bluestar make at MSSR yarada hills Visakhapatnam Airport consisting of Indoor unit Out door units all other associated accessories by carryingout preventive maintenance, attending to complaints/ breakdowns, by providing all spares required, manpower, tools to ensure the serviceability of the unit around the clock and all days including sundays and holidays as per the special conditions of contarct and particular specifications attached.
1.01 | a) 1st Year | 2.00 | each |  | 11000.00 | 22000.00 | 32200.00 | 64400.00 | 19500.00 | 39000.00 | 22000.00 | VEERABABU COMFORT COOL SYSTEM
1.02 | b) 2nd Year | 2.00 | each |  | 11000.00 | 22000.00 | 32200.00 | 64400.00 | 20500.00 | 41000.00 | 22000.00 | VEERABABU COMFORT COOL SYSTEM
2.00 | All inclusive annual comprehensive maintenance contract for 9.0 TR Precision type of three phase AC units of Uniflair make at MSSR yarada hills Visakhapatnam Airport consisting of Indoor unit, Out door units, associated accessories by carryinout preventive maintenance, attending to complaints/ breakdowns, maintaining of records by providing manpower, tools all spares, cosumables and cleaning materials, to ensure the serviceability of the unit around the clock and all days including sundays and holidays as per the special conditions of contractand particular specifications attached.
2.01 | a) 1st Year | 1.00 | each |  | 8000.00 | 8000.00 | 26200.00 | 26200.00 | 14000.00 | 14000.00 | 8000.00 | VEERABABU COMFORT COOL SYSTEM
2.02 | b) 2nd Year | 1.00 | each |  | 8000.00 | 8000.00 | 26200.00 | 26200.00 | 15000.00 | 15000.00 | 8000.00 | VEERABABU COMFORT COOL SYSTEM
3.00 | All inclusive annual comprehensive maintenance of vertical type (Floor mounted) airconditioners of different makes of following capacity at different locations by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns maintaining records by providing trained manpower, tools spare parts, consumables cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached. 3.5 TR / 3.0 TR, three phase, Floor-mounted/vertical Indoor unit type
3.01 | a) 1st Year | 20.00 | each |  | 7000.00 | 140000.00 | 9100.00 | 182000.00 | 6000.00 | 120000.00 | 120000.00 | Manish Electricals
3.02 | b) 2nd Year | 25.00 | each |  | 6000.00 | 150000.00 | 9100.00 | 227500.00 | 7000.00 | 175000.00 | 150000.00 | VEERABABU COMFORT COOL SYSTEM
4.00 | All inclusive annual comprehensive maintenance of Split type (Hi-wall/ floor mounted) airconditioners of different makes of following capacity at different locations by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns maintaining records by providing trained manpower, tools spare parts, consumables cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached. 2.0 TR, Single phase, High wall Indoor & Outdoor unit type
4.01 | a) 1st Year | 17.00 | each |  | 4000.00 | 68000.00 | 2300.00 | 39100.00 | 5500.00 | 93500.00 | 39100.00 | GUPTA ELECTRIC WORKS
4.02 | b) 2nd Year | 17.00 | each |  | 4000.00 | 68000.00 | 2300.00 | 39100.00 | 6000.00 | 102000.00 | 39100.00 | GUPTA ELECTRIC WORKS
5.00 | All inclusive annual comprehensive maintenance of Split type (Hi-wall) airconditioners of different makes of following capacity at different locations by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns maintaining records by providing trained manpower, tools spare parts, consumables cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached. 2.0 TR, Single phase, High wall Indoor & Outdoor unit Inverter type
5.01 | a) 1st Year | 18.00 | each |  | 5000.00 | 90000.00 | 6500.00 | 117000.00 | 4800.00 | 86400.00 | 86400.00 | Manish Electricals
5.02 | b) 2nd Year | 18.00 | each |  | 5000.00 | 90000.00 | 6500.00 | 117000.00 | 5200.00 | 93600.00 | 90000.00 | VEERABABU COMFORT COOL SYSTEM
6.00 | All inclusive annual comprehensive maintenance of Split type (Hi-wall mounted) airconditioners of different makes of following capacity at different locations by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns maintaining records by providing trained manpower, tools spare parts, consumables cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached. 1.5 TR, Single phase, High wall Indoor unit type
6.01 | a) 1st Year | 11.00 | each |  | 2500.00 | 27500.00 | 2200.00 | 24200.00 | 3500.00 | 38500.00 | 24200.00 | GUPTA ELECTRIC WORKS
6.02 | b) 2nd Year | 11.00 | each |  | 2500.00 | 27500.00 | 2200.00 | 24200.00 | 4000.00 | 44000.00 | 24200.00 | GUPTA ELECTRIC WORKS
7.00 | All inclusive annual comprehensive maintenance of Split type (Hi-wall mounted) airconditioners of all makes of following capacity at different locations by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns maintaining records by providing trained manpower, tools spare parts, consumables cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached. 1.5 TR, Single phase, High wall Indoor unit type Inverter model
7.01 | a) 1st Year | 23.00 | each |  | 4000.00 | 92000.00 | 6500.00 | 149500.00 | 3000.00 | 69000.00 | 69000.00 | Manish Electricals
7.02 | b) 2nd Year | 30.00 | each |  | 3500.00 | 105000.00 | 6500.00 | 195000.00 | 3500.00 | 105000.00 | 105000.00 | VEERABABU COMFORT COOL SYSTEM, Manish Electricals
8.00 | All inclusive annual comprehensive maintenance of Cassette type (Hi-wall mounted) airconditioners of all makes of following capacity at different locations by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns maintaining records by providing trained manpower, tools spare parts, consumables cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached. 3.5 TR Cassette type
8.01 | a) 1st Year | 9.00 | each |  | 5500.00 | 49500.00 | 9100.00 | 81900.00 | 6000.00 | 54000.00 | 49500.00 | VEERABABU COMFORT COOL SYSTEM
8.02 | b) 2nd Year | 9.00 | each |  | 5500.00 | 49500.00 | 9100.00 | 81900.00 | 6500.00 | 58500.00 | 49500.00 | VEERABABU COMFORT COOL SYSTEM
9.00 | All inclusive annual comprehensive maintenance of Cassette type (Hi-wall mounted) airconditioners of all makes of following capacity at different locations by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns maintaining records by providing trained manpower, tools spare parts, consumables cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached. 2.0 TR Cassette type
9.01 | a) 1st Year | 2.00 | each |  | 5000.00 | 10000.00 | 4300.00 | 8600.00 | 6000.00 | 12000.00 | 8600.00 | GUPTA ELECTRIC WORKS
9.02 | b) 2nd Year | 2.00 | each |  | 5000.00 | 10000.00 | 4300.00 | 8600.00 | 6500.00 | 13000.00 | 8600.00 | GUPTA ELECTRIC WORKS
10.00 | All inclusive annual comprehensive maintenance of Vertical type (floor mounted) airconditioners of all makes of following capacity at different locations by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns maintaining records by providing trained manpower, tools spare parts, consumables cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached. 4.0 TR Vertical type
10.01 | a) 1st Year | 6.00 | each |  | 5000.00 | 30000.00 | 9100.00 | 54600.00 | 8500.00 | 51000.00 | 30000.00 | VEERABABU COMFORT COOL SYSTEM
10.02 | b) 2nd Year | 10.00 | each |  | 5000.00 | 50000.00 | 9100.00 | 91000.00 | 9000.00 | 90000.00 | 50000.00 | VEERABABU COMFORT COOL SYSTEM
11.00 | Dismantling and reinstallation of 1.5 TR / 2.0 TR / 3.0 TR / 3.5 TR Split type AC or Floor mounted AC units at different locations excluding gas charging etc., as required. | 25.00 | job |  | 5000.00 | 125000.00 | 980.00 | 24500.00 | 1220.00 | 30500.00 | 24500.00 | GUPTA ELECTRIC WORKS
12.00 | Supply & laying of copper pipe of size 3/8" & 5/8" with nitrile insulation sleeve suitable for split AC units etc., as required. | 50.00 | mtr |  | 1100.00 | 55000.00 | 390.00 | 19500.00 | 650.00 | 32500.00 | 19500.00 | GUPTA ELECTRIC WORKS
13.00 | All inclusive annual comprehensive maintenance contract for 150 GPD capacity Reverse Osmosis type water purifiers by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns, maintaining records by providing trained manpower, tools, spare parts, consumables, cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached.
13.01 | a) 1st Year | 6.00 | each |  | 3000.00 | 18000.00 | 2300.00 | 13800.00 | 6000.00 | 36000.00 | 13800.00 | GUPTA ELECTRIC WORKS
13.02 | b) 2nd Year | 6.00 | each |  | 3000.00 | 18000.00 | 2300.00 | 13800.00 | 6500.00 | 39000.00 | 13800.00 | GUPTA ELECTRIC WORKS
14.00 | All inclusive annual comprehensive maintenance contract for 600 GPD capacity Reverse Osmosis type water purifiers by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns, maintaining records by providing trained manpower, tools, spare parts, consumables, cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached.
14.01 | a) 1st Year | 3.00 | each |  | 4000.00 | 12000.00 | 2600.00 | 7800.00 | 8000.00 | 24000.00 | 7800.00 | GUPTA ELECTRIC WORKS
14.02 | b) 2nd Year | 3.00 | each |  | 4000.00 | 12000.00 | 2600.00 | 7800.00 | 8500.00 | 25500.00 | 7800.00 | GUPTA ELECTRIC WORKS
15.00 | All inclusive annual comprehensive maintenance contract of 40/80 Ltr Water cooler with 400 GPD capacity Reverse Osmosis and UV type water purifiers of make Eureka Forbes by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns, maintaining records by providing trained manpower, tools, spare parts, consumables, cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached.
15.01 | a) 1st Year | 3.00 | each |  | 3000.00 | 9000.00 | 3400.00 | 10200.00 | 4500.00 | 13500.00 | 9000.00 | VEERABABU COMFORT COOL SYSTEM
15.02 | b) 2nd Year | 3.00 | each |  | 3000.00 | 9000.00 | 3400.00 | 10200.00 | 5000.00 | 15000.00 | 9000.00 | VEERABABU COMFORT COOL SYSTEM
16.00 | All inclusive annual comprehensive maintenance contract of 40/80 Ltr Water cooler and UV type water purifiers of make Eureka Forbes by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns, maintaining records by providing trained manpower, tools, spare parts, consumables, cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached.
16.01 | a) 1st Year | 18.00 | each |  | 2500.00 | 45000.00 | 3000.00 | 54000.00 | 4500.00 | 81000.00 | 45000.00 | VEERABABU COMFORT COOL SYSTEM
16.02 | b) 2nd Year | 18.00 | each |  | 2500.00 | 45000.00 | 3000.00 | 54000.00 | 5000.00 | 90000.00 | 45000.00 | VEERABABU COMFORT COOL SYSTEM
17.00 | All inclusive annual comprehensive maintenance contract of 40/80 Ltr Water coolers units of all makes at different locations by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns, maintaining records by providing trained manpower, tools, spare parts, consumables, cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached.
17.01 | a) 1st Year | 10.00 | each |  | 3000.00 | 30000.00 | 2100.00 | 21000.00 | 4800.00 | 48000.00 | 21000.00 | GUPTA ELECTRIC WORKS
17.02 | b) 2nd Year | 10.00 | each |  | 3000.00 | 30000.00 | 2100.00 | 21000.00 | 5200.00 | 52000.00 | 21000.00 | GUPTA ELECTRIC WORKS
18.00 | All inclusive annual comprehensive maintenance contract of 20/40 Ltr Water coolers units of all makes at different locations by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns, maintaining records by providing trained manpower, tools, spare parts, consumables, cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached.
18.01 | a) 1st Year | 3.00 | each |  | 3000.00 | 9000.00 | 2000.00 | 6000.00 | 3800.00 | 11400.00 | 6000.00 | GUPTA ELECTRIC WORKS
18.02 | b) 2nd Year | 3.00 | each |  | 3000.00 | 9000.00 | 2000.00 | 6000.00 | 4200.00 | 12600.00 | 6000.00 | GUPTA ELECTRIC WORKS
19.00 | All inclusive annual comprehensive maintenance contract of RO system with UV of flow rate 15LPH of capacity 12 ltrs storage tank and fully automatic operated on 230V, 50Hz AC supply etc., by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns, maintaining records by providing trained manpower, tools, spare parts, consumables, cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications attached. (Domestic RO + UV)
19.01 | a) 1st Year | 1.00 | each |  | 3000.00 | 3000.00 | 2400.00 | 2400.00 | 4500.00 | 4500.00 | 2400.00 | GUPTA ELECTRIC WORKS
19.02 | b) 2nd Year | 1.00 | each |  | 3000.00 | 3000.00 | 2400.00 | 2400.00 | 5000.00 | 5000.00 | 2400.00 | GUPTA ELECTRIC WORKS
20.00 | All inclusive annual comprehensive maintenance contract of dual media filter of size 10" dia + 54" height FRP of capacity 1000 LPH vessel containing sand (marble) and activated carbon with multi port valve stainer, Nozzles, valves, interconnections PVC pipe line etc., by carrying out Preventive maintenance Inspections, attending to complaints / breakdowns, maintaining records by providing trained manpower, tools, spare parts, consumables, cleaning materials etc. complete as required as per enclosed Preventive maintenance Schedule, Special conditions of contract and Particular specifications etc. complete as required.
20.01 | a) 1st Year | 6.00 | each |  | 6000.00 | 36000.00 | 2600.00 | 15600.00 | 9000.00 | 54000.00 | 15600.00 | GUPTA ELECTRIC WORKS
20.02 | b) 2nd Year | 6.00 | each |  | 6000.00 | 36000.00 | 2600.00 | 15600.00 | 10000.00 | 60000.00 | 15600.00 | GUPTA ELECTRIC WORKS
| Total in Figures |  |  |  |  | 1621000.00 |  | 1928000.00 |  | 1949000.00
Lowest Amount Quoted BY: VEERABABU COMFORT COOL SYSTEM(1621000.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical Installations 2022-24 at Visakhapatnam Airport. Sub Head- CMC of all types of Package and Unitary AC units, Water Coolers and Water Purifiers at all locations of AAI, Visakhapatnam Airport Tender ID: 2022_AAI_118623_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VEERABABU COMFORT COOL SYSTEM | 1621000.00 | L1
| 2 | GUPTA ELECTRIC WORKS | 1928000.00 | L2
| 3 | Manish Electricals | 1949000.00 | L3