## BoQ1
Government eProcurement System Created By: Elina Ghosh Created Date/Time: 18-Jul-2022 12:49 PM Tender Title: A OnM for E and M installations at Pakyong Airport Sikkim for two years Tender ID: 2022_AAI_118798_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Annual Operation and Maintenance Contract for E & M installations at Pakyong Airport, Sikkim for two years
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Comfort Zone(GSTN-07AAJFC1236H1ZP) |  | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | MANNA ELECTRONICS AND ELECTRICAL WORKS(GSTN-19AALFM9363P2Z6) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance of Terminal Building E&M installations, WTP-STP and all external and internal lighting facility including periodical/repair/breakdown maintenance, ensuring serviceability / satisfactory working condition of the entire systems, maintenance of records/documentation etc. on all days including Sundays and holidays on round the clock basis/during watch hour as per the special conditions of contract etc. as per site requirement. | 24.00 | Months |  | 192000.00 | 4608000.00 | 165000.00 | 3960000.00 | 165430.47 | 3970331.28 | 220386.00 | 5289264.00 | 3960000.00 | Youngmen Traders
2.00 | AMC for fire fighting cum sprinkler system of Pakyong Airport through OEM/Authorized/ specialized agency including regular as well as break down maintencnce
3.00 | (a) For 1st Year | 1.00 | Job |  | 50000.00 | 50000.00 | 8500.00 | 8500.00 | 2500.00 | 2500.00 | 240000.00 | 240000.00 | 2500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
4.00 | (b) For 2nd Year | 1.00 | Job |  | 50000.00 | 50000.00 | 9200.00 | 9200.00 | 2500.00 | 2500.00 | 250000.00 | 250000.00 | 2500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.00 | AMC for STP of capacity 50 KLD through OEM/Authorized/ specialized agency including regular as well as break down maintencnce
6.00 | (a) For 1st Year | 1.00 | Job |  | 15000.00 | 15000.00 | 19500.00 | 19500.00 | 9200.00 | 9200.00 | 180000.00 | 180000.00 | 9200.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
7.00 | (b) For 2nd Year | 1.00 | Job |  | 15000.00 | 15000.00 | 21500.00 | 21500.00 | 9200.00 | 9200.00 | 180000.00 | 180000.00 | 9200.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
8.00 | AMC for pumps of rating 2 HP - 2nos, 7.5HP -2 nos through OEM/Authorized/ specialized agency including regular as well as break down maintencnce, overhauling of the system once in a year etc as reqd
9.00 | (a) For 1st Year | 1.00 | Job |  | 10000.00 | 10000.00 | 23500.00 | 23500.00 | 8500.00 | 8500.00 | 15000.00 | 15000.00 | 8500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
10.00 | (b) For 2nd Year | 1.00 | Job |  | 10000.00 | 10000.00 | 26500.00 | 26500.00 | 8500.00 | 8500.00 | 15000.00 | 15000.00 | 8500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
11.00 | CMC for water purifier cum cooler/heater Make:KRONA- through OEM/Authorized /specialized agency
12.00 | (a) For 1st Year | 6.00 | Jobs |  | 5000.00 | 30000.00 | 9900.00 | 59400.00 | 8500.00 | 51000.00 | 5000.00 | 30000.00 | 30000.00 | Comfort Zone, CIS GLOBAL INFRATECH PRIVATE LIMITED
13.00 | (b) For 2nd Year | 6.00 | Jobs |  | 5000.00 | 30000.00 | 12000.00 | 72000.00 | 8500.00 | 51000.00 | 5000.00 | 30000.00 | 30000.00 | Comfort Zone, CIS GLOBAL INFRATECH PRIVATE LIMITED
14.00 | CMC of 2 TR Split / Cassette AC of DAIKIN make
15.00 | (a) For 1st Year | 10.00 | Jobs |  | 3000.00 | 30000.00 | 10000.00 | 100000.00 | 5000.00 | 50000.00 | 4000.00 | 40000.00 | 30000.00 | Comfort Zone
16.00 | (b) For 2nd Year | 10.00 | Jobs |  | 3000.00 | 30000.00 | 12000.00 | 120000.00 | 5000.00 | 50000.00 | 4000.00 | 40000.00 | 30000.00 | Comfort Zone
17.00 | CMC of 3TR Tower AC of DAIKIN make
18.00 | (a) For 1st Year | 10.00 | Jobs |  | 5000.00 | 50000.00 | 12000.00 | 120000.00 | 6000.00 | 60000.00 | 5500.00 | 55000.00 | 50000.00 | Comfort Zone
19.00 | (b) For 2nd Year | 10.00 | Jobs |  | 5000.00 | 50000.00 | 13500.00 | 135000.00 | 6000.00 | 60000.00 | 5500.00 | 55000.00 | 50000.00 | Comfort Zone
20.00 | AMC of 12 mtrs high mast
21.00 | (a) For 1st Year | 2.00 | Jobs |  | 10000.00 | 20000.00 | 9000.00 | 18000.00 | 1250.00 | 2500.00 | 40000.00 | 80000.00 | 2500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
22.00 | (b) For 2nd Year | 2.00 | Jobs |  | 10000.00 | 20000.00 | 9500.00 | 19000.00 | 1250.00 | 2500.00 | 40000.00 | 80000.00 | 2500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
23.00 | AMC of Ventilation system at different location of terminal builing having cabinet fan of rating 8500 CFM,11000 CFM, 22000 CFM, 7150 CFM, 10000 CFM & INLINE fan of rating 200 CFM, 900 CFM, 1100 CFM & 1650 CFM including other accessories
24.00 | (a) For 1st Year | 1.00 | Job |  | 15000.00 | 15000.00 | 16000.00 | 16000.00 | 3000.00 | 3000.00 | 60000.00 | 60000.00 | 3000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
25.00 | (b) For 2nd Year | 1.00 | Job |  | 15000.00 | 15000.00 | 17000.00 | 17000.00 | 3000.00 | 3000.00 | 60000.00 | 60000.00 | 3000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
26.00 | AMC for WTP of capacity 2500 ltrs through OEM/Authorized/ specialized agency including regular as well as break down maintencnce
27.00 | (a) For 1st Year | 1.00 | Job |  | 15000.00 | 15000.00 | 21000.00 | 21000.00 | 3000.00 | 3000.00 | 30000.00 | 30000.00 | 3000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
28.00 | (b) For 2nd Year | 1.00 | Job |  | 15000.00 | 15000.00 | 24000.00 | 24000.00 | 3000.00 | 3000.00 | 30000.00 | 30000.00 | 3000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
| Total in Figures |  |  |  |  | 5078000.00 |  | 4790100.00 |  | 4349731.28 |  | 6759264.00
Lowest Amount Quoted BY: MANNA ELECTRONICS AND ELECTRICAL WORKS(4349731.28)

## BOQ Summary
BOQ Summary Details Tender Title: A OnM for E and M installations at Pakyong Airport Sikkim for two years Tender ID: 2022_AAI_118798_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MANNA ELECTRONICS AND ELECTRICAL WORKS | 4349731.28 | L1
| 2 | Youngmen Traders | 4790100.00 | L2
| 3 | Comfort Zone | 5078000.00 | L3
| 4 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 6759264.00 | L4