## BoQ1
Government eProcurement System Created By: Hitendra Kumar Varshney Created Date/Time: 07-Sep-2022 03:15 PM Tender Title: Development of Darbhanga Airport Tender ID: 2022_AAI_118965_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Development of Darbhanga Airport. SH: Expansion of Existing Pre-Engineered Terminal Building, i/c Civil, Electrical, Fire Fighting, HVAC/VRF, Airport System, IT System, Car Parking & Roads, Boundary Wall, City Side Development & Other Associated Works including modification in existing terminal building on design & build basis (EPC).
Contract No: AAI/CHQ/ED(Engg.)/ER & NER/Darbhanga/Extn.-TB/2022
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SCC Infrastructure Pvt. Ltd(GSTN-24AAWCS1330A2ZO) |  | EPACK POLYMERS PRIVATE LIMITED(GSTN-09AAACE5175D3ZQ)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | A. CIVIL WORKS Detailed designing, Engineering, Procurement & Construction of New Pre-Engineered Terminal Building for Domestic Operations, ancillary buildings (Utility Buildings such as Electrical Sub Station etc.), Site development. All design works including but not limited to Design development, Detailed design including architectural and structural design, Good for Construction drawings, shop drawings and as built drawings of works complete as per direction of Engineer-In-Charge. All structural Design & drawings shall be vetted from NIT/IIT. Execution of all Civil works including Plumbing /Sewage /Drainage etc.: a) RCC foundation & Pre-engineered Structural Steel, Roofing, Walls, Façade system, Glazing etc. all preliminary and/or general requirements for Works as specified in the scope of work including site survey, site establishment, barricading, diversion of road and existing services (if any), demolishing of existing structures/boundary wall, Cutting, filling & leveling of low laying area etc. complete as per direction of Engineer-In-Charge. b) All internal works including finishing but not limited to Flooring, Cladding, Structural Glazing, Automatic Sliding Glazed Doors, Glass wool Insulated Panels/AAC block panels work, plaster, internal partitions (Backup offices, Airlines counters, Security Cabins, VIP lounge, CCTV room, Server Room, Child Care room, concessioners rooms, Check-in Counters, Ladies frisking booths, stamping table, raised platform for frisking, etc), doors, windows, fitting & fixtures, painting, Stainless steel railing, false ceiling, counters etc. as per approved drawings/ specifications and direction of Engineer-In-Charge. c) Toilets cubicals (Ladies, Gents and Differently abled) as per the approved layout & design but not limited to all fitting and fixtures, wash basin, water closet, mirrors, counters, sensor urinals, complete plumbing and sanitary work, flooring, wall tiling, false ceiling, baggage counter, plant counter, Janitor Room, etc. complete as per direction of Engineer-In-Charge. d) Interior works in Lounges including furniture, furnishing and Art work in Lounges and Terminal Building.
1.01 | e) Site Development i/c construction of Land side/Air Side Approach Roads, Car Park, Kerbs, Footpaths, Boundary wall including Airport entrance/ Exit Gates and Air Side Entry & Exit Gate (Segregating Air Side & Land Side Area) including Guard Rooms/ Morchas/ Security Booths as per approved drawings/specifications and direction of Engineer-In-Charge. f) Landscaping, Horticulture as per the approved layout complete as per direction of Engineer-In-Charge. g) Construction of RCC framed structure with brick/ AAC block in Panel of Boundary wall including exterior grade weather proof painting as per approved drawings/ specifications and direction of Engineer-In-Charge. h) RCC framed structure buildings –Electrical Substation (service block), Power house, etc. complete in all respect as per approved design /drawings/specifications and direction of Engineer-In-Charge. i) Miscellaneous Works viz. Bore well-02 Nos., RCC Under Ground Static Tank with provision of fire sump, Rain Water Harvesting (Civil Works), Strom water drainage of city side area, Sewerage system connected to STP, etc. including modification in Existing Terminal Building to convert it into SHA as per approved drawings/specifications and direction of Engineer-In-Charge.
1.02 | e) Site Development i/c construction of Land side/Air Side Approach Roads, Car Park, Kerbs, Footpaths, Boundary wall including Airport entrance/ Exit Gates and Air Side Entry & Exit Gate (Segregating Air Side & Land Side Area) including Guard Rooms/ Morchas/ Security Booths as per approved drawings/specifications and direction of Engineer-In-Charge. f) Landscaping, Horticulture as per the approved layout complete as per direction of Engineer-In-Charge. g) Construction of RCC framed structure with brick/ AAC block in Panel of Boundary wall including exterior grade weather proof painting as per approved drawings/ specifications and direction of Engineer-In-Charge. h) RCC framed structure buildings –Electrical Substation (service block), Power house, etc. complete in all respect as per approved design /drawings/specifications and direction of Engineer-In-Charge. i) Miscellaneous Works viz. Bore well-02 Nos., RCC Under Ground Static Tank with provision of fire sump, Rain Water Harvesting (Civil Works), Strom water drainage of city side area, Sewerage system connected to STP, etc. including modification in Existing Terminal Building to convert it into SHA as per approved drawings/specifications and direction of Engineer-In-Charge. j) Maintenance of newly constructed area including services, external development, water supply, sewage, drainage, pavements, landscape / Horticulture works as per appendix-E of SCC (C)-25, 26.
1.03 | B. ELECTRICAL WORKS a) All design works including but not limited to Design development, Detailed design and sizing calculations for the equipments / systems covered under the scope of this contract and considering the existing equipments, like Air-conditioning heat load calculations, lux level calculations, voltage drop and short-circuit calculations for power supply equipments, panel and cables, Baggage flow calculations, Sewage inflow calculations etc. including preparation of shop drawings, Good for Construction drawings and as built drawings for the equipments / systems covered under the scope of this contract complete as per direction of Engineer-In-Charge. b) Internal & External Electrical Installation with LED Lighting i/c Façade & Landscape lighting, Street Light Poles, High Mast for Car park and Airside, Distribution Panels, DB’s, switch boards, UPS, Lightning Protection System, Cabling, Cable Tray etc. including integration and Lighting Automation with occupancy sensors of complete Terminal Building including existing terminal building etc. complete. c) Sub-station work comprises of Transformers, DG sets including providing Synchronization Panels for existing and new DG Sets, HT & LT Panels, HT/ LT cables/ Sandwich type Bus Trunking, APFC cum AHF Hybrid panel, Earthing system, SPDs, Batteries and Battery charger, Synthetic Insulating Mats and other safety items including integration of existing 1 x 500 KVA Transformer, 2 x 320 KVA DG Sets with AMF panels, 11 KV 3 VCB, 630 A HT panel and other equipments and panels etc. complete as per modified design requirement. d) HVAC – VRV/VRF system with Heating cycle etc. including Integration of existing VRV system as per modified design requirement. e) Addressable Fire Detection & Alarm System including Integration of existing system as per modified design requirement. f) Fire Fighting System i/c Automatic Hydrant systems, Portable Fire Extinguishers for complete terminal building, ancillary buildings, car park and airside paved area etc. complete as required. g) Integrated Building Management System for all installations including existing equipments and systems. h) Hydro pneumatic water supply system consisting of pumps, pneumatic tank, Microprocessor based control panel, VFD, inter connecting pipes, valves, cabling, switchgear etc. as required. i) Sewage Treatment Plant based on MBBR technology. j) Way Finding Signage (Indoor & Outdoor signage).
1.04 | k) Public Address & Voice Alarm System, Car Calling System. l) Baggage Handling System consist of 1 no. departure BHS with 11 nos. check-in conveyors and 2 nos. arrival conveyors complete with all equipments and accessories as per attached layout drawing. m) Solar Power Plant (100 KWp). n) Boom Barrier, Motorized Steel Trolley Gate and Automatic Glazed Sliding Door. o) Miscellaneous electrical Item:- Air curtains, RO system & Water coolers, Geysers, Drinking Fountains & Hand driers, TV, Split AC/ Window AC etc. p) Dismantling, Re-location of existing equipments and system like BHS, VRF, Signages, Lights, Speakers, Servers, Work stations, Transformers, DG Sets, AVR, HT & LT panels, STP, pumps etc. and Re-installation and integration of the same as per modified design requirement at site as directed by EIC. q) Airport System Works (FIDS, SCCTV). r) IT System works (Active Network, Passive Network, Servers & Audio Visual works, IP EPABX etc.). s) Operation of all the equipments / system provided under the contract including the existing equipments for a period of 7 years including DLP period of 2 years by deploying the minimum manpower etc. as required. t) All inclusive comprehensive maintenance of all the equipments / systems provided under this work including the existing equipments re-located & re-installed in the contract by carrying out preventive and break-down maintenance and providing all spares, Consumables, Tools & Measuring Equipments, labour, etc. for period of 5 years after completion of DLP of 2 years.
1.05 | Note:- 1. All works to be carried out as per scope of work given in the AAI’s requirement and conceptual drawings/ design enclosed with tender documents. 2. The information contained in this Tender Documents, being indicative in its nature, are being provided for the limited purposes of enabling the Tenderers to prepare a tender. These Tender Documents are a summary of available information and no reliance shall be placed on any information or statements contained herein, and no liability is or will be accepted by the AAI regarding accuracy, adequacy or completeness of such information or statements made, nor shall it be assumed that such information or statements will remain unchanged. 3. The bidders shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed including the designs, specifications, scope of work, methodologies, programs and cost etc. 4. The quoted rates shall be excluding GST. | 1.00 | Job |  | 387685300.00 | 387685300.00 | 343357892.00 | 343357892.00 | 343357892.00 | EPACK POLYMERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 387685300.00 |  | 343357892.00
Lowest Amount Quoted BY: EPACK POLYMERS PRIVATE LIMITED(343357892.00)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Darbhanga Airport Tender ID: 2022_AAI_118965_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | EPACK POLYMERS PRIVATE LIMITED | 343357892.00 | L1
| 2 | SCC Infrastructure Pvt. Ltd | 387685300.00 | L2