## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 20-Jul-2022 05:01 PM Tender Title: Running operation, maintenance of Electrical and Mechanical Installation of DVOR Stations Lunka-I and Lunka-II at Bikaner (2022-23) Tender ID: 2022_AAI_118969_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg.-Elect.), AAI, Civil Enclave, Jodhpur.
Name of Work: Running operation & maintenance of Electrical & Mechanical Installation of DVOR Stations Lunka-I & Lunka-II at Bikaner (2022-23).
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | Subham Electrical(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Running, operation & maintenance of all Internal & External electrical installations, installed at LUNKA-I with deputing following minimum manpower per day (on all days i/c sunday & other holidays) (but excluding weekly off) alongwith required T&P and sundries etc. complete as required (a) Skilled manpower - 04 Nos. (b) Helper - Unskilled - 02 Nos. | 12.00 | Month | 0.00 | 120000.00 | 1440000.00 | 105092.00 | 1261104.00 | 1261104.00 | Subham Electrical
2.00 | Running, operation & maintenance of all Internal & External electrical installations, installed at LUNKA-II with deputing following minimum manpower per day (on all days i/c sunday & other holidays) (but excluding weekly off) alongwith required T&P and sundries etc. complete as required (a) Skilled manpower - 04 Nos. (b) Helper - Unskilled - 02 Nos. | 12.00 | Month | 0.00 | 120000.00 | 1440000.00 | 105092.00 | 1261104.00 | 1261104.00 | Subham Electrical
3.00 | Annual comprehensive maintenance of 1.5 TR/ 2TR split type Air-conditioning unit comprising of compressor, condensing coil unit, cooling coil unit, repair/ replacement of PCB card and defective component i/c comprehensive repair & maintenance of voltage stabilizer and time delay unit for above units etc. complete as required at Lunka -I (Rates Job per unit per Month). | 72.00 | Job | 0.00 | 500.00 | 36000.00 | 200.00 | 14400.00 | 14400.00 | Subham Electrical
4.00 | Annual comprehensive maintenance of 1.5 TR/ 2TR split type Air-conditioning unit comprising of compressor, condensing coil unit, cooling coil unit, repair/ replacement of PCB card and defective component i/c comprehensive repair & maintenance of voltage stabilizer and time delay unit for above units etc. complete as required at Lunka -II (Rates Job per unit per Month). | 72.00 | Job | 0.00 | 500.00 | 36000.00 | 200.00 | 14400.00 | 14400.00 | Subham Electrical
5.00 | Fuel cost for running of the above DG set/hour/DG set basis (contractor has to quote his running cost of fuel/hour/running operation of DG set which he has to assess according to the condition & capacity of the DG set given in item no. 1 above at the Lunka -I. | 2000.00 | P Hrs | 0.00 | 280.00 | 560000.00 | 359.00 | 718000.00 | 560000.00 | M/s BHARAT ELECTRIC, NAGPUR
6.00 | Fuel cost for running of the above DG set/hour/DG set basis (contractor has to quote his running cost of fuel/hour/running operation of DG set which he has to assess according to the condition & capacity of the DG set given in item no. 1 above at the Lunka -II. | 2000.00 | P Hrs | 0.00 | 280.00 | 560000.00 | 359.00 | 718000.00 | 560000.00 | M/s BHARAT ELECTRIC, NAGPUR
7.00 | B-check servicing of 30 KVA DG set (Kirloskar make) at Lunka -I Site i/c supply & replacing of mobile oil (Koel Care Super Genuine ) for B-check servicing as per manufacturer's recommendation (servicing is to be carried out through authorised dealer only). | 2.00 | Job | 0.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 8000.00 | Subham Electrical
8.00 | B-check servicing of 30 KVA DG set (Kirloskar make) at Lunka -II Site i/c supply & replacing of mobile oil (Koel Care Super Genuine ) for B-check servicing as per manufacturer's recommendation (servicing is to be carried out through authorised dealer only). | 2.00 | Job | 0.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 8000.00 | Subham Electrical
9.00 | Painting of electrical cubical panels, feeder pillers, marshalling boxes, desert coolers etc. with 2 coats of enamelled paint of approved make and colour etc. as reqd. (Lunka -I & Lunka -II) | 20.00 | Sqm | 0.00 | 100.00 | 2000.00 | 30.00 | 600.00 | 600.00 | Subham Electrical
10.00 | Visit of DG set mechanic of authorized dealer(Kirloskar) for the complete check up / replacement of defective component etc. on the installed DG set (spares will be provided by AAI). As an when requried. (Lunka -I & Lunka -II) | 2.00 | Visit | 0.00 | 5000.00 | 10000.00 | 6000.00 | 12000.00 | 10000.00 | M/s BHARAT ELECTRIC, NAGPUR
11.00 | Supply of 12V,180AH SMF Battery suitable for DG Set Operation. Complete as required. | 2.00 | Job | 0.00 | 12750.00 | 25500.00 | 15000.00 | 30000.00 | 25500.00 | M/s BHARAT ELECTRIC, NAGPUR
12.00 | To carry out the complete item of work of CPWD Schedule of Rates (E&M)–2018 as per CPWD Specification as required (Rs. 30,000/-). (Note : Rate of DSR items shall be calculated by deducting GST component from schedule rate on account of GST and the quantity Rs 30000.00 is after deducting the GST component) (Refer clause 35 of Guidence to tenderer GTT page No 6 of tender document for quoting rate for this item.) | 30000.00 | Rs. | 0.00 | .75 | 22500.00 | .50 | 15000.00 | 15000.00 | Subham Electrical
| Total in Figures |  |  |  |  | 4152000.00 |  | 4060608.00
Lowest Amount Quoted BY: Subham Electrical(4060608.00)

## BOQ Summary
BOQ Summary Details Tender Title: Running operation, maintenance of Electrical and Mechanical Installation of DVOR Stations Lunka-I and Lunka-II at Bikaner (2022-23) Tender ID: 2022_AAI_118969_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Subham Electrical | 4060608.00 | L1
| 2 | M/s BHARAT ELECTRIC, NAGPUR | 4152000.00 | L2