## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 19-Jul-2022 04:46 PM Tender Title: Repair and maintenance of E and M Installations at Silchar Airport Tender ID: 2022_AAI_119081_1
Tender Inviting Authority: Asstt. G.M. (Engg-Electrical), AAI, Silchar Airport.
Name of Work: Repair & maintenance of E & M Installations at Silchar Airport. SH-Job contract for E&M Installations at terminal building, operational area & allied works for the year 2022-24.
Tender Id: 2022_AAI_119081_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | EASTERN POWER ENGINEERING(GSTN-18AGUPD0421A2ZX) |  | sudarshnacoolingcentre andelectricals(GSTN-18AAJFM8760E1ZZ) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Maintenance Services and operation of Electrical & Mechanical Installations i.e power supply system, Electrical installation of terminal building, Fire alarm & fire fighting, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. by deploying Highly skilled / skilled / semi skilled / unskilled as per scope of work given in special conditions of contract shall be ensured round the clock (ie. in two shifts basis, each shift of 8 hours) on all days including Sundays & National Holidays as per direction of EIC. For 1st Year | 12.00 | Month | 0.00 | 188000.00 | 2256000.00 | 114500.00 | 1374000.00 | 113000.00 | 1356000.00 | 113900.00 | 1366800.00 | 148666.00 | 1783992.00 | 100000.00 | 1200000.00 | 115000.00 | 1380000.00 | 1200000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.00 | Providing Maintenance Services and operation of Electrical & Mechanical Installations i.e power supply system, Electrical installation of terminal building, Fire alarm & fire fighting, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. by deploying Highly skilled / skilled / semi skilled / unskilled as per scope of work given in special conditions of contract shall be ensured round the clock (ie. in two shifts basis, each shift of 8 hours) on all days including Sundays & National Holidays as per direction of EIC. For 2nd Year | 12.00 | Month | 0.00 | 188000.00 | 2256000.00 | 114500.00 | 1374000.00 | 123000.00 | 1476000.00 | 113900.00 | 1366800.00 | 151520.00 | 1818240.00 | 100000.00 | 1200000.00 | 115000.00 | 1380000.00 | 1200000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.00 | Providing Maintenance Services and operation of GLF systems at operational area (comprising of HIRL/ MIRL / SAPL / Inset fittings, PAPI Units, AFL cables etc.) attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. by deploying Highly skilled / skilled / semi skilled / unskilled as per scope of work given in special conditions of contract shall be ensured round the clock on all days including Sundays & National Holidays as per direction of EIC. For 1st Year | 12.00 | Month | 0.00 | 65000.00 | 780000.00 | 115000.00 | 1380000.00 | 113000.00 | 1356000.00 | 103250.00 | 1239000.00 | 134234.00 | 1610808.00 | 180000.00 | 2160000.00 | 103777.00 | 1245324.00 | 780000.00 | EASTERN POWER ENGINEERING
4.00 | Providing Maintenance Services and operation of GLF systems at operational area (comprising of HIRL/ MIRL / SAPL / Inset fittings, PAPI Units, AFL cables etc.) attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. by deploying Highly skilled / skilled / semi skilled / unskilled as per scope of work given in special conditions of contract shall be ensured round the clock on all days including Sundays & National Holidays as per direction of EIC. For 2nd Year | 12.00 | Month | 0.00 | 65000.00 | 780000.00 | 115000.00 | 1380000.00 | 123000.00 | 1476000.00 | 103250.00 | 1239000.00 | 140947.00 | 1691364.00 | 185000.00 | 2220000.00 | 103777.00 | 1245324.00 | 780000.00 | EASTERN POWER ENGINEERING
5.00 | Providing of services for preperation of various reports, maintaining the records, preparation of rate analysis, estimates, tender documents, SAP billings etc along with various day to day office works by deploying computer operator as per scope of work given in special conditions of contract on all days excluding sundays and National holidays & as per direction of EIC. For 1st Year | 12.00 | Month | 0.00 | 8000.00 | 96000.00 | 46767.00 | 561204.00 | 26500.00 | 318000.00 | 42500.00 | 510000.00 | 55044.00 | 660528.00 | 35000.00 | 420000.00 | 49200.00 | 590400.00 | 96000.00 | EASTERN POWER ENGINEERING
6.00 | Providing of services for preperation of various reports, maintaining the records, preparation of rate analysis, estimates, tender documents, SAP billings etc along with various day to day office works by deploying computer operator as per scope of work given in special conditions of contract on all days excluding sundays and National holidays & as per direction of EIC. For 2nd Year | 12.00 | Month | 0.00 | 8000.00 | 96000.00 | 46767.00 | 561204.00 | 26500.00 | 318000.00 | 42500.00 | 510000.00 | 57761.00 | 693132.00 | 35000.00 | 420000.00 | 49200.00 | 590400.00 | 96000.00 | EASTERN POWER ENGINEERING
7.00 | Complete Overhuling & repairing of 3.5 HP capacity water pump i/c replacement of defective keys, necessary lathe work, replacement of ball bearing & gland packing including replacement of bush bearing, replacement of minor hardware items and painting after dismantling from the existing location, transporation upto the workshop if necessary & reinstallation of the same, testing etc complete as required as per site condition. Location: Overhead refining for CFT at Apron area | 1.00 | Job | 0.00 | 10000.00 | 10000.00 | 1620.00 | 1620.00 | 5000.00 | 5000.00 | 4500.00 | 4500.00 | 5319.00 | 5319.00 | 5000.00 | 5000.00 | 500.00 | 500.00 | 500.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Complete Overhuling & repairing of 5 HP capacity water pump i/c replacement of defective keys, necessary lathe work, replacement of ball bearing & gland packing including replacement of bush bearing, replacement of minor hardware items and painting after dismantling from the existing location, transporation upto the workshop if necessary & reinstallation of the same, testing etc complete as required as per site condition. Location: Fire Pump Room | 1.00 | Job | 0.00 | 15000.00 | 15000.00 | 1620.00 | 1620.00 | 7000.00 | 7000.00 | 5000.00 | 5000.00 | 5619.00 | 5619.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 1620.00 | sudarshnacoolingcentre andelectricals
9.00 | Complete Overhuling & repairing of 7.5 HP capacity water pump i/c replacement of defective keys, necessary lathe work, replacement of ball bearing & gland packing including replacement of bush bearing, replacement of minor hardware items and painting after dismantling from the existing location, transporation upto the workshop if necessary & reinstallation of the same, testing etc complete as required as per site condition. Location: Water Treatment Plant | 1.00 | Job | 0.00 | 15000.00 | 15000.00 | 1785.00 | 1785.00 | 8000.00 | 8000.00 | 5500.00 | 5500.00 | 6707.00 | 6707.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 1785.00 | sudarshnacoolingcentre andelectricals
10.00 | Complete Overhuling & repairing of 20 HP capacity water pump i/c replacement of defective keys, necessary lathe work, replacement of ball bearing & gland packing including replacement of bush bearing, replacement of minor hardware items and painting after dismantling from the existing location, transporation upto the workshop if necessary & reinstallation of the same, testing etc complete as required as per site condition. Location: Overhead Tank Fire Pump Room | 2.00 | Job | 0.00 | 10000.00 | 20000.00 | 2160.00 | 4320.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 16941.00 | 33882.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 4320.00 | sudarshnacoolingcentre andelectricals
11.00 | Complete Overhuling & repairing of 50 HP capacity water pump i/c replacement of defective keys, necessary lathe work, replacement of ball bearing & gland packing including replacement of bush bearing, replacement of minor hardware items and painting after dismantling from the existing location, transporation upto the workshop if necessary & reinstallation of the same, testing etc complete as required as per site condition. Location: Fire Pump Room | 1.00 | Job | 0.00 | 15000.00 | 15000.00 | 2700.00 | 2700.00 | 20000.00 | 20000.00 | 20000.00 | 20000.00 | 34925.00 | 34925.00 | 5000.00 | 5000.00 | 25000.00 | 25000.00 | 2700.00 | sudarshnacoolingcentre andelectricals
12.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 1.5 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Highmast | 2.00 | Job | 0.00 | 7000.00 | 14000.00 | 1512.00 | 3024.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 4047.00 | 8094.00 | 5000.00 | 10000.00 | 1800.00 | 3600.00 | 3024.00 | sudarshnacoolingcentre andelectricals
13.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 3.5 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Overhead refining for CFT at Apron area | 1.00 | Job | 0.00 | 7000.00 | 7000.00 | 4200.00 | 4200.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 5204.00 | 5204.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 5 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Fire Pump Room | 1.00 | Job | 0.00 | 7000.00 | 7000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 6533.00 | 6533.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 4000.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 7.5 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Water Treatment Plant | 2.00 | Job | 0.00 | 7000.00 | 14000.00 | 6000.00 | 12000.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 7401.00 | 14802.00 | 5000.00 | 10000.00 | 500.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 20 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Overhead Tank Fire Pump | 2.00 | Job | 0.00 | 7000.00 | 14000.00 | 8500.00 | 17000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 10986.00 | 21972.00 | 5000.00 | 10000.00 | 15000.00 | 30000.00 | 10000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
17.00 | Complete Re-winding of burnt out stator coils of 3 Ph. 50 HP induction motor along with removal of the burnt out copper coil/wire and providing new super anamel coated copper with insulation and varnishing with suitable quality of varnish and replacement of minor wornout hardware items etc. as required i/c giving less credit for the burnt out copper coil. Location: Fire Pump Room | 2.00 | Job | 0.00 | 7000.00 | 14000.00 | 9000.00 | 18000.00 | 30000.00 | 60000.00 | 20000.00 | 40000.00 | 14455.00 | 28910.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 4000.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Cleaning and painting of street light tubular pole including light fitting bracket and all other associated accessories of height upto 12 mtr with one coat of red-oxide metal primer of anti-corrosive paint on rusted surface and one or more coats of enamelled paint including numbering on the pole etc as required. The pole shall be painted with obstruction color upto required height above the masonary pedestal ( 1.0 to 1.5m) as per direction of EIC. | 90.00 | Each | 0.00 | 1000.00 | 90000.00 | 280.00 | 25200.00 | 200.00 | 18000.00 | 300.00 | 27000.00 | 554.00 | 49860.00 | 150.00 | 13500.00 | 450.00 | 40500.00 | 13500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
19.00 | Cleaning and painting of street light tubular pole including light fitting bracket and all other associated accessories of height upto 05 mtr with one coat of red-oxide metal primer of anti-corrosive paint on rusted surface and one or more coats of enamelled paint including numbering on the pole etc as required. The pole shall be painted with obstruction color upto required height above the masonary pedestal ( 1.0 to 1.5m) as per direction of EIC. | 90.00 | Each | 0.00 | 1000.00 | 90000.00 | 250.00 | 22500.00 | 200.00 | 18000.00 | 250.00 | 22500.00 | 464.00 | 41760.00 | 150.00 | 13500.00 | 350.00 | 31500.00 | 13500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.00 | Painting of collar of street light pole with one or more coat of synthetic enamelled paint and application of red-oxide paint wherever required in bicolour ( black and yellow strip ) complete etc as required and as per direction of EIC. | 90.00 | Each | 0.00 | 200.00 | 18000.00 | 300.00 | 27000.00 | 100.00 | 9000.00 | 250.00 | 22500.00 | 462.00 | 41580.00 | 200.00 | 18000.00 | 150.00 | 13500.00 | 9000.00 | CENTRE TAP ENGINEERING
21.00 | Painting of GLF fittings (HIRL/MIRL/SAPL) including base plate with one or more coats of synthetic enamelled paint of required colour as per ICAO standard of approved make to give an even shade including cleaning the surface and numbering of the same etc.as required & as per direction of EIC. | 180.00 | Each | 0.00 | 50.00 | 9000.00 | 150.00 | 27000.00 | 200.00 | 36000.00 | 250.00 | 45000.00 | 404.00 | 72720.00 | 200.00 | 36000.00 | 80.00 | 14400.00 | 9000.00 | EASTERN POWER ENGINEERING
22.00 | Painting of outdoor feeder pillar panel in all area with one coat of metal primer of anti-corrosive paint on rusted surface and two coats of approved Synthetic Enamel paint. The outdoor feeder pillars should be painted by alternate white and red colour strips of suitable size complete as required as per direction of E.I.C. | 50.00 | Sqmtr | 0.00 | 50.00 | 2500.00 | 250.00 | 12500.00 | 300.00 | 15000.00 | 250.00 | 12500.00 | 404.00 | 20200.00 | 200.00 | 10000.00 | 100.00 | 5000.00 | 2500.00 | EASTERN POWER ENGINEERING
23.00 | Replacement of Old damage street light loop-IN Loop-OUT box by IP 66 Thermoplastic Polycarbonete enclosure which is totally shock proof,safe, weather proof, rust proof, dust proof, water proof, halogen free silica free and having internally embeded gasket technology. The enclosure should have 04 nos of 25 sqmm elmax terminal to accomodate 4 X 25 sqmm LT cable, 1 No SP 6 Amp MCB of approved make MS clamp for pole mounting completed as required i/c dismantling the existing loop-IN Loop-OUT box, cable connection, earthing etc and reconnection the same with the new cable gland, earthing connection etc as complete as required. | 20.00 | Job | 0.00 | 900.00 | 18000.00 | 1817.00 | 36340.00 | 5000.00 | 100000.00 | 1750.00 | 35000.00 | 2715.00 | 54300.00 | 750.00 | 15000.00 | 2500.00 | 50000.00 | 15000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
24.00 | Visit of speclised/authorised service engineer for checking of servicebility & assurance of fire alarm, fire extingusher & fire fighting system on half yearly basis or in unserviceable condition of the system when it is required & as per direction of EIC. For 1st Year | 1.00 | Job | 0.00 | 12000.00 | 12000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 13877.00 | 13877.00 | 10000.00 | 10000.00 | 20000.00 | 20000.00 | 5000.00 | sudarshnacoolingcentre andelectricals
25.00 | Visit of speclised/authorised service engineer for checking of servicebility & assurance of fire alarm, fire extingusher & fire fighting system on half yearly basis or in unserviceable condition of the system when it is required & as per direction of EIC. For 2nd Year | 1.00 | Job | 0.00 | 12000.00 | 12000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 14571.00 | 14571.00 | 10000.00 | 10000.00 | 20000.00 | 20000.00 | 5000.00 | sudarshnacoolingcentre andelectricals
26.00 | Installation, testing and commissioning of the taken out existing smoke detectors on new false ceiling with necessary circuit wiring, making hole on new false ceiling, making connection with existing FACP panel complete as required. MAKE of Smoke Detector : APOLLO. MODEL : Series 60 ionization smoke detector. | 60.00 | Job | 0.00 | 100.00 | 6000.00 | 525.00 | 31500.00 | 2000.00 | 120000.00 | 400.00 | 24000.00 | 751.00 | 45060.00 | 100.00 | 6000.00 | 800.00 | 48000.00 | 6000.00 | EASTERN POWER ENGINEERING, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
27.00 | Supply, Installation, testing and commissioning of new smoke detectors on new false ceiling with necessary circuit wiring, making hole on new false ceiling, making connection with existing FACP panel complete as required. | 20.00 | Job | 0.00 | 1000.00 | 20000.00 | 1979.00 | 39580.00 | 1800.00 | 36000.00 | 2100.00 | 42000.00 | 2832.00 | 56640.00 | 1250.00 | 25000.00 | 4500.00 | 90000.00 | 20000.00 | EASTERN POWER ENGINEERING
28.00 | Repairing, Installation testing and commissioning of exisitng defective 2 Loop, networkable, intelligent Analogue Addressable Fire Alarm Control & Indicating Panel including 24 V SMF battery backup, charger circuit and LCD display module, connection with existing smoke dectectors complete as required. MAKE of Panel: AGNI | 2.00 | Job | 0.00 | 50000.00 | 100000.00 | 3322.00 | 6644.00 | 20000.00 | 40000.00 | 3900.00 | 7800.00 | 4761.00 | 9522.00 | 10000.00 | 20000.00 | 5500.00 | 11000.00 | 6644.00 | sudarshnacoolingcentre andelectricals
29.00 | Carrying out of DSR Item works as scheduled in DSR -2018 (Internal) CPWD as and when required basis & as per direction of Engineer in charge. (Note: The firm has to quote/upload the Percentage above/ below (+/- %) on the quantity mentioned against this item directly in the form of multiplying factor in the rate coloumn as clarified below: For Example: If desired to quote 5% above on SR-2018 rates, the rate column shall be filled as 1.05. If desired to quote 3% below on SR-2018 rates, the rate column shall be filled as 0.97.) For 1st Year | 75000.00 | As per DSR 2018 | 0.00 | .90 | 67500.00 | .79 | 59250.00 | 1.00 | 75000.00 | .65 | 48750.00 | 1.00 | 75000.00 | .90 | 67500.00 | .90 | 67500.00 | 48750.00 | Awasthi Electric Works
30.00 | Carrying out of DSR Item works as scheduled in DSR -2018 (Internal) CPWD as and when required basis & as per direction of Engineer in charge. (Note: The firm has to quote/upload the Percentage above/ below (+/- %) on the quantity mentioned against this item directly in the form of multiplying factor in the rate coloumn as clarified below: For Example: If desired to quote 5% above on SR-2018 rates, the rate column shall be filled as 1.05. If desired to quote 3% below on SR-2018 rates, the rate column shall be filled as 0.97.) For 2nd Year | 75000.00 | As per DSR 2018 | 0.00 | .90 | 67500.00 | .79 | 59250.00 | 1.00 | 75000.00 | .65 | 48750.00 | 1.00 | 75000.00 | .90 | 67500.00 | .90 | 67500.00 | 48750.00 | Awasthi Electric Works
31.00 | Carrying out of DSR Item works as scheduled in DSR -2018 (External) CPWD as and when required basis & as per direction of Engineer in charge. (Note: The firm has to quote/upload the Percentage above/ below (+/- %) on the quantity mentioned against this item directly in the form of multiplying factor in the rate coloumn as clarified below: For Example: If desired to quote 5% above on SR-2018 rates, the rate column shall be filled as 1.05. If desired to quote 3% below on SR-2018 rates, the rate column shall be filled as 0.97.) For 1st Year | 50000.00 | As per DSR 2018 | 0.00 | .90 | 45000.00 | .79 | 39500.00 | 1.00 | 50000.00 | .65 | 32500.00 | 1.00 | 50000.00 | .90 | 45000.00 | .90 | 45000.00 | 32500.00 | Awasthi Electric Works
32.00 | Carrying out of DSR Item works as scheduled in DSR -2018 (External) CPWD as and when required basis & as per direction of Engineer in charge. (Note: The firm has to quote/upload the Percentage above/ below (+/- %) on the quantity mentioned against this item directly in the form of multiplying factor in the rate coloumn as clarified below: For Example: If desired to quote 5% above on SR-2018 rates, the rate column shall be filled as 1.05. If desired to quote 3% below on SR-2018 rates, the rate column shall be filled as 0.97.) For 2nd Year | 50000.00 | As per DSR 2018 | 0.00 | .90 | 45000.00 | .79 | 39500.00 | 1.00 | 50000.00 | .65 | 32500.00 | 1.00 | 50000.00 | .90 | 45000.00 | .90 | 45000.00 | 32500.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 7011500.00 |  | 7137441.00 |  | 7150000.00 |  | 6795900.00 |  | 9100121.00 |  | 8097000.00 |  | 7091448.00
Lowest Amount Quoted BY: Awasthi Electric Works(6795900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair and maintenance of E and M Installations at Silchar Airport Tender ID: 2022_AAI_119081_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works | 6795900.00 | L1
| 2 | EASTERN POWER ENGINEERING | 7011500.00 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 7091448.00 | L3
| 4 | sudarshnacoolingcentre andelectricals | 7137441.00 | L4
| 5 | CENTRE TAP ENGINEERING | 7150000.00 | L5
| 6 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 8097000.00 | L6
| 7 | BR Power Control and Automation Services | 9100121.00 | L7