## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 19-Jul-2022 04:48 PM Tender Title: Repair and Maintenance of E and M Installations at Silchar Airport Tender ID: 2022_AAI_119082_1
Tender Inviting Authority: Asstt. G.M. (Engg-Electrical), AAI, Silchar Airport.
Name of Work: Repair & maintenance of E & M Installations at silchar Airport. SH-Job contract for E&M Installations at 11 KV substation & Kumbha pump house and allied works for the year 2022-24.
Tender Id: 2022_AAI_119082_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | EASTERN POWER ENGINEERING(GSTN-18AGUPD0421A2ZX) |  | sudarshnacoolingcentre andelectricals(GSTN-18AAJFM8760E1ZZ) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Operation & Maintenance Services of Electrical & Mechanical Installations viz power supply system of 11 KV Substation/power house, CTs, transformers, AVRs & HT & LT panels covering the scope of operation, repairs & maintenance, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock by the aduquate manpower (ie. in three shifts basis basis , each shift of 8 hours) on all days including Sundays & National Holidays as per direction of EIC. For 1st Year | 12.00 | Month | 0.00 | 215000.00 | 2580000.00 | 175000.00 | 2100000.00 | 123000.00 | 1476000.00 | 149000.00 | 1788000.00 | 125000.00 | 1500000.00 | 173333.00 | 2079996.00 | 1476000.00 | CENTRE TAP ENGINEERING
2.00 | Providing Operation & Maintenance Services of Electrical & Mechanical Installations viz power supply system of 11 KV Substation/power house, CTs, transformers, AVRs & HT & LT panels covering the scope of operation, repairs & maintenance, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock by the aduquate manpower (ie. in three shifts basis basis , each shift of 8 hours) on all days including Sundays & National Holidays as per direction of EIC. For 2nd Year | 12.00 | Month | 0.00 | 215000.00 | 2580000.00 | 175000.00 | 2100000.00 | 133000.00 | 1596000.00 | 149000.00 | 1788000.00 | 125000.00 | 1500000.00 | 173333.00 | 2079996.00 | 1500000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.00 | Day to day Operation & Maintenance of kumbha pump house of all types and capacities water pump sets, i/c lighting & power supply system attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock by the aduquate manpower (ie. in three shifts basis , each shift of 8 hours) on all days including Sundays & National Holidays & as per direction of EIC. For 1st Year | 12.00 | Month | 0.00 | 55000.00 | 660000.00 | 70000.00 | 840000.00 | 113000.00 | 1356000.00 | 102500.00 | 1230000.00 | 70000.00 | 840000.00 | 89888.00 | 1078656.00 | 660000.00 | EASTERN POWER ENGINEERING
4.00 | Day to day Operation & Maintenance of kumbha pump house of all types and capacities water pump sets, i/c lighting & power supply system attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock by the aduquate manpower (ie. in three shifts basis , each shift of 8 hours) on all days including Sundays & National Holidays & as per direction of EIC. For 2nd Year | 12.00 | Month | 0.00 | 55000.00 | 660000.00 | 70000.00 | 840000.00 | 123000.00 | 1476000.00 | 102500.00 | 1230000.00 | 70000.00 | 840000.00 | 89888.00 | 1078656.00 | 660000.00 | EASTERN POWER ENGINEERING
5.00 | Providing of services for preperation of various reports, maintaining the records, preparation of rate analysis, estimates, tender documents etc along with various day to day office works by deploying computer operator as per scope of work given in special conditions of contract on all days excluding sundays and National holidays & as per direction of EIC. For 1st Year | 12.00 | Month | 0.00 | 10000.00 | 120000.00 | 45569.00 | 546828.00 | 26500.00 | 318000.00 | 22250.00 | 267000.00 | 130000.00 | 1560000.00 | 25888.00 | 310656.00 | 120000.00 | EASTERN POWER ENGINEERING
6.00 | Providing of services for preperation of various reports, maintaining the records, preparation of rate analysis, estimates, tender documents etc along with various day to day office works by deploying computer operator as per scope of work given in special conditions of contract on all days excluding sundays and National holidays & as per direction of EIC. For 2nd Year | 12.00 | Month | 0.00 | 10000.00 | 120000.00 | 45569.00 | 546828.00 | 26500.00 | 318000.00 | 22250.00 | 267000.00 | 125000.00 | 1500000.00 | 25888.00 | 310656.00 | 120000.00 | EASTERN POWER ENGINEERING
7.00 | Filtration & dehydration of insulation oil of existing HT installations (like- HT AVR'S & 11 KV indoor transformer) in substation using on line oil filtration equipment with initial heating arrangement to attain standard breakdown voltage including testing of breaking strength prior and past purification with certificate and replacement of silica gel of breather of the same etc as required and as per direction of Engg-in-charge. Location: Sub Station | 4000.00 | Ltr | 0.00 | 18.00 | 72000.00 | 21.00 | 84000.00 | 50.00 | 200000.00 | 23.00 | 92000.00 | 40.00 | 160000.00 | 24.00 | 96000.00 | 72000.00 | EASTERN POWER ENGINEERING
8.00 | Servicing , testing , checking and calibration of relay (over current 2 Nos + 1 No earth fault relay) installed in 11 KV HT panel including calibration and testing of 03 nos VCB (400 Amp) 11 kV HT - CG make with suitable secondary injection kit and submission of test certificate completed as required, checking the function of auxilary relay ( confirming the tripping) mechanism of the breaker due to high winding temperature, high oil temperature and due to bucholz relay , activation of the connection transformer, testing the of tripping system by secondery injection kit, tighning the terminals and termination, changing of all nuts and bolts i/c washers (if required), replacement of all insulator/bushing of 11 KV panel (01 incommer and 02 no out going+ insulators of PT section) (if required), replacement of the cork sheet and replacement of 3 sets of indoor type resin cast CTs (if required) i/c pressure test at site and calibrating the same complete as required and as per direction of Engg-in-charge. Location: Sub Station For 1st Year | 1.00 | Job | 0.00 | 25000.00 | 25000.00 | 13500.00 | 13500.00 | 30000.00 | 30000.00 | 18000.00 | 18000.00 | 100000.00 | 100000.00 | 24000.00 | 24000.00 | 13500.00 | sudarshnacoolingcentre andelectricals
9.00 | Servicing , testing , checking and calibration of relay (over current 2 Nos + 1 No earth fault relay) installed in 11 KV HT panel including calibration and testing of 03 nos VCB (400 Amp) 11 kV HT - CG make with suitable secondary injection kit and submission of test certificate completed as required, checking the function of auxilary relay ( confirming the tripping) mechanism of the breaker due to high winding temperature, high oil temperature and due to bucholz relay , activation of the connection transformer, testing the of tripping system by secondery injection kit, tighning the terminals and termination, changing of all nuts and bolts i/c washers (if required), replacement of all insulator/bushing of 11 KV panel (01 incommer and 02 no out going+ insulators of PT section) (if required), replacement of the cork sheet and replacement of 3 sets of indoor type resin cast CTs (if required) i/c pressure test at site and calibrating the same complete as required and as per direction of Engg-in-charge. Location: Sub Station For 2nd Year | 1.00 | Job | 0.00 | 25000.00 | 25000.00 | 13500.00 | 13500.00 | 30000.00 | 30000.00 | 18000.00 | 18000.00 | 50000.00 | 50000.00 | 24000.00 | 24000.00 | 13500.00 | sudarshnacoolingcentre andelectricals
10.00 | Calibration and testing of 8 nos Air Circuit Breaker (Make: GE) of capacity (Range: 800 Amp - 5 nos & 1250 Amp - 3 nos) using suitable secondary injection kit and submission of test certificate completed as required. Location: Sub Station | 1.00 | Job | 0.00 | 50000.00 | 50000.00 | 26000.00 | 26000.00 | 64000.00 | 64000.00 | 10000.00 | 10000.00 | 30000.00 | 30000.00 | 32000.00 | 32000.00 | 10000.00 | Awasthi Electric Works
11.00 | Complete cleaning of jack well (Size: L= 4.5 mtr X B= 3.5 mtr X D= 0.50 mtr) at Kumbha Pump House along with cleaning and removal of mud/slugg in the jack well engaging sufficient no. of suitable workers provided with suitable tools and protective gadgets with adequate safety measures and disposal of the remove mud/slugg when it is required & as per direction of EIC. Location: Kumbha Pump House For 1st Year | 3.00 | Job | 0.00 | 15000.00 | 45000.00 | 5200.00 | 15600.00 | 30000.00 | 90000.00 | 10000.00 | 30000.00 | 30000.00 | 90000.00 | 4000.00 | 12000.00 | 12000.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Complete cleaning of jack well (Size: L= 4.5 mtr X B= 3.5 mtr X D= 0.50 mtr) at Kumbha Pump House along with cleaning and removal of mud/slugg in the jack well engaging sufficient no. of suitable workers provided with suitable tools and protective gadgets with adequate safety measures and disposal of the remove mud/slugg when it is required & as per direction of EIC. Location: Kumbha Pump House For 2nd Year | 3.00 | Job | 0.00 | 15000.00 | 45000.00 | 5200.00 | 15600.00 | 30000.00 | 90000.00 | 10000.00 | 30000.00 | 30000.00 | 90000.00 | 4000.00 | 12000.00 | 12000.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Complete Overhuling & repairing of 20 HP capacity water pump i/c replacement of defective keys, bush, necessary lathe work, replacement of ball bearing & gland packing, painting and replacement of worn out minor hardware items etc. after dismantling from the existing location, transporation upto the workshop if necessary & reinstallation of the same, testing etc complete as required as per site condition. Location: Kumbha Pump House | 1.00 | Job | 0.00 | 15000.00 | 15000.00 | 2500.00 | 2500.00 | 10000.00 | 10000.00 | 12000.00 | 12000.00 | 10000.00 | 10000.00 | 18000.00 | 18000.00 | 2500.00 | sudarshnacoolingcentre andelectricals
14.00 | Complete Overhuling & repairing of 40 HP capacity IE3 (energy efficient) water pump i/c replacement of defective keys, bush, necessary lathe work, replacement of ball bearing & gland packing, painting and replacement of worn out minor hardware items etc. after dismantling from the existing location, transporation upto the workshop if necessary & reinstallation of the same, testing etc complete as required as per site condition. Location: Kumbha Pump House | 1.00 | Job | 0.00 | 15000.00 | 15000.00 | 2500.00 | 2500.00 | 20000.00 | 20000.00 | 20000.00 | 20000.00 | 10000.00 | 10000.00 | 500.00 | 500.00 | 500.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Complete Re-winding of burnt out cooper coils of stator of 20 HP capacity 3 Ph. induction motor, dismantling from the existing location, transporting upto the workshop and reinstallation of the motor after repair with new super anamel coated copper, heat brunishing alongwith all other necessary spare parts as required including giving less credit for the burntout copper coil complete as required. Location: Kumbha Pump House | 1.00 | Job | 0.00 | 15000.00 | 15000.00 | 8000.00 | 8000.00 | 30000.00 | 30000.00 | 12000.00 | 12000.00 | 10000.00 | 10000.00 | 20000.00 | 20000.00 | 8000.00 | sudarshnacoolingcentre andelectricals
16.00 | Complete Re-winding of burnt out cooper coils of stator of 40 HP capacity IE3 3 Ph. induction motor, dismantling from the existing location, transporting upto the workshop and reinstallation of the motor after repair with new super anamel coated copper, heat brunishing alongwith all other necessary spare parts as required including giving less credit for the burntout copper coil complete as required. Location: Kumbha Pump House | 1.00 | Job | 0.00 | 15000.00 | 15000.00 | 13000.00 | 13000.00 | 40000.00 | 40000.00 | 25000.00 | 25000.00 | 10000.00 | 10000.00 | 500.00 | 500.00 | 500.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Replacement of Old damage Gate Valve of size 80mm made of CI material from the pipe line when it is required & as per direction of EIC. | 1.00 | Job | 0.00 | 7000.00 | 7000.00 | 4320.00 | 4320.00 | 3000.00 | 3000.00 | 7000.00 | 7000.00 | 1000.00 | 1000.00 | 5815.00 | 5815.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
18.00 | Replacement of Old damage Gate Valve of size 100mm made of CI material from the pipe line when it is required & as per direction of EIC. | 1.00 | Job | 0.00 | 7000.00 | 7000.00 | 5408.00 | 5408.00 | 4000.00 | 4000.00 | 700.00 | 700.00 | 1000.00 | 1000.00 | 7149.00 | 7149.00 | 700.00 | Awasthi Electric Works
19.00 | Replacement of Old damage foot Valve of size 80mm made of CI material from the pipe line when it is required & as per direction of EIC. | 1.00 | Job | 0.00 | 10000.00 | 10000.00 | 3456.00 | 3456.00 | 3000.00 | 3000.00 | 7000.00 | 7000.00 | 1000.00 | 1000.00 | 5856.00 | 5856.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.00 | Replacement of Old damage foot Valve of size 100mm made of CI material from the pipe line when it is required & as per direction of EIC. | 1.00 | Job | 0.00 | 10000.00 | 10000.00 | 4428.00 | 4428.00 | 4000.00 | 4000.00 | 7000.00 | 7000.00 | 1000.00 | 1000.00 | 6510.00 | 6510.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.00 | Replacement of Old damage Non return Valve of size 80mm made of CI material from the pipe line when it is required & as per direction of EIC. | 1.00 | Job | 0.00 | 15000.00 | 15000.00 | 4900.00 | 4900.00 | 3000.00 | 3000.00 | 6000.00 | 6000.00 | 1000.00 | 1000.00 | 5395.00 | 5395.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.00 | Replacement of Old damage Non return Valve of size 100mm made of CI material from the pipe line when it is required & as per direction of EIC. | 1.00 | Job | 0.00 | 15000.00 | 15000.00 | 5535.00 | 5535.00 | 4000.00 | 4000.00 | 6000.00 | 6000.00 | 1000.00 | 1000.00 | 6170.00 | 6170.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
| Total in Figures |  |  |  |  | 7106000.00 |  | 7195903.00 |  | 7165000.00 |  | 6870700.00 |  | 8306000.00 |  | 7214511.00
Lowest Amount Quoted BY: Awasthi Electric Works(6870700.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair and Maintenance of E and M Installations at Silchar Airport Tender ID: 2022_AAI_119082_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works | 6870700.00 | L1
| 2 | EASTERN POWER ENGINEERING | 7106000.00 | L2
| 3 | CENTRE TAP ENGINEERING | 7165000.00 | L3
| 4 | sudarshnacoolingcentre andelectricals | 7195903.00 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED | 7214511.00 | L5
| 6 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 8306000.00 | L6