## BoQ1
Government eProcurement System Created By: MD Sadrul Huda Created Date/Time: 08-Aug-2022 03:45 PM Tender Title: Annual Operation and Maintenance Contract for the E and M Installations at C.E. Bhuj for the year 2022-24 Tender ID: 2022_AAI_119186_1
Tender Inviting Authority: Asst.General Manager (E-E)
Name of Work:“Annual Operation & Maintenance Contract for the E & M Installations at C.E. Bhuj for the year 2022-24"
Contract No: 2022_AAI_119186_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | Adarsh electric works(GSTN-24ABOFA4210B1Z4) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Periodical Maintenance of Electrical & Mechanical Installations including Operation & Maintenance of Pumps, DG Sets, Conveyors in three shifts on all working days as per specification & condition attached, attending to complaints/ faults/ breakdowns, ensuring serviceability and satisfactory working condition of the system, performing preventive maintenance, maintenance of records/ documentation etc. as per the detailed specifications, terms & conditions covered under this contract, on all days including Sundays and holidays and also as & when required basis etc. as required. | 24.00 | month |  | 261914.50 | 6285948.00 | 242000.00 | 5808000.00 | 275896.00 | 6621504.00 | 262730.00 | 6305520.00 | 264000.00 | 6336000.00 | 250500.00 | 6012000.00 | 265500.00 | 6372000.00 | 264333.00 | 6343992.00 | 5808000.00 | CENTRE TAP ENGINEERING
2.00 | Inspection, servicing and Testing of following Electrical Installations and performing preventive maintenance checks and submission of reports to AAI. The activities shall be carried out through OEM/authorized service dealer of OEM or any specialized/licensed agencies with suitable experience for the work.
2.10 | 11 KV VCB (Make: Crompton Greaves, Model: 12V X 12 XL, Rating: 400 A) | 6.00 | Job |  | 1000.00 | 6000.00 | 6000.00 | 36000.00 | 3500.00 | 21000.00 | 3200.00 | 19200.00 | 4000.00 | 24000.00 | 5000.00 | 30000.00 | 10000.00 | 60000.00 | 3000.00 | 18000.00 | 6000.00 | INTEGER INFRATECH PRIVATE LIMITED
2.20 | Current Transformer of VCB (a set of three) ( Rating: 60-30/5+5A,15 VA/CL.1.0/5P10) | 12.00 | Set |  | 250.00 | 3000.00 | 3000.00 | 36000.00 | 750.00 | 9000.00 | 2200.00 | 26400.00 | 3000.00 | 36000.00 | 1500.00 | 18000.00 | 6000.00 | 72000.00 | 4500.00 | 54000.00 | 3000.00 | INTEGER INFRATECH PRIVATE LIMITED
2.30 | 11 KV Potential Transformer ( Rating 11000 /110 V, 100 VA/CL 1.0) | 2.00 | Job |  | 250.00 | 500.00 | 4000.00 | 8000.00 | 1500.00 | 3000.00 | 2200.00 | 4400.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 500.00 | INTEGER INFRATECH PRIVATE LIMITED
2.40 | Distribution Transformer 11KV/433V, 500KVA ( Make: Crompton Greaves) | 4.00 | Job |  | 1500.00 | 6000.00 | 4000.00 | 16000.00 | 4000.00 | 16000.00 | 4500.00 | 18000.00 | 4500.00 | 18000.00 | 4500.00 | 18000.00 | 12000.00 | 48000.00 | 4000.00 | 16000.00 | 6000.00 | INTEGER INFRATECH PRIVATE LIMITED
2.50 | Air Circuit Breaker 800 Amp,400 V ( Make: L & T, Model: CN-CS 800 S) | 16.00 | Job |  | 250.00 | 4000.00 | 2000.00 | 32000.00 | 2000.00 | 32000.00 | 2800.00 | 44800.00 | 3000.00 | 48000.00 | 2000.00 | 32000.00 | 4000.00 | 64000.00 | 5000.00 | 80000.00 | 4000.00 | INTEGER INFRATECH PRIVATE LIMITED
3.00 | Inspection, servicing, calibration and testing of Electrical metering and safety device, performing relay co-ordination of the relays, including submission of reports on the related calculations for relay setting etc. as required. The activity shall be carried out once in a year and only through specialized agencies/licensed agencies with appropriate licenses and experiences. (A) IDMT relays (2OC & EF) - 7 nos and (B) Auxiliary and tripping relays (Type-VAA21Z98501FCH)-4 Nos. ( Details as per tender Document) | 2.00 | Job |  | 1000.00 | 2000.00 | 12000.00 | 24000.00 | 2500.00 | 5000.00 | 3200.00 | 6400.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 11700.00 | 23400.00 | 2000.00 | INTEGER INFRATECH PRIVATE LIMITED
4.00 | Dehydration and filtration of transformer oil including testing the BDV and acidity before and after testing and submission of test reports , replacement of Silica Gel etc. as required for following Transformers - 500 KVA Transformer (App. 420Ltr.) | 4.00 | Job |  | 2500.00 | 10000.00 | 6000.00 | 24000.00 | 6500.00 | 26000.00 | 7500.00 | 30000.00 | 6000.00 | 24000.00 | 6000.00 | 24000.00 | 7000.00 | 28000.00 | 9240.00 | 36960.00 | 10000.00 | INTEGER INFRATECH PRIVATE LIMITED
5.00 | Supply of tested transformer oil for toping up the transformer as required. | 100.00 | Ltr |  | 90.00 | 9000.00 | 90.00 | 9000.00 | 165.00 | 16500.00 | 80.00 | 8000.00 | 130.00 | 13000.00 | 140.00 | 14000.00 | 110.00 | 11000.00 | 110.00 | 11000.00 | 8000.00 | Ascent Electrification Engineers
6.00 | Rewinding of the 3 phase 50 Hz AC Electric motor of following Capacity pumps :-
6.10 | Monobloc pumps below & up to 5 HP capacity | 2.00 | Job |  | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 2200.00 | 4400.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 3000.00 | INTEGER INFRATECH PRIVATE LIMITED
6.20 | Submersible pump up to 5 HP | 2.00 | Job |  | 1800.00 | 3600.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 3200.00 | 6400.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 3600.00 | INTEGER INFRATECH PRIVATE LIMITED
6.30 | Monobloc pumps above 5 HP & up to 7.5 HP capacity | 2.00 | Job |  | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 4500.00 | 9000.00 | 3800.00 | 7600.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 4000.00 | INTEGER INFRATECH PRIVATE LIMITED, Adarsh electric works, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
7.00 | Spray painting of sheet metal enclosures/LT panels/Feeder Pillars/DG exhaust pipes/ Control panel with two coats of synthetic/enamel paint of grey or any other colour as approved by AAI, including cleaning the surface , rewriting the identification of the circuit. The electrical accessories shall be covered and protected from dust during painting as required. | 50.00 | sq.mtr |  | 90.00 | 4500.00 | 90.00 | 4500.00 | 250.00 | 12500.00 | 100.00 | 5000.00 | 200.00 | 10000.00 | 180.00 | 9000.00 | 225.00 | 11250.00 | 100.00 | 5000.00 | 4500.00 | INTEGER INFRATECH PRIVATE LIMITED, CENTRE TAP ENGINEERING
8.00 | Decoration of Terminal building, Main Entry Gate facia with LED serial lighting and RGB pattern lighting on special occassions/nationally important days/festivals as per the requirements shown below. (a) Minimum no. of LED serial lighting - not less than 6500 LED lights. (b) RGB pattern lighting for pillars of terminal building 15 Nos. ( RGB PAR lights shall be used) (c) Pixel Chaser light batten ( with minimum 12 colour combinations) running linearly on the top of the building for a length of not more than 200 m.
8.10 | Independence day ( Starting from 18.00 hrs on day before independence day to 06.00 hrs on the day after independence day) Each occasion in an year shall be treated as one JOB. | 2.00 | Job |  | 3500.00 | 7000.00 | 8000.00 | 16000.00 | 25000.00 | 50000.00 | 14500.00 | 29000.00 | 22000.00 | 44000.00 | 25000.00 | 50000.00 | 22000.00 | 44000.00 | 35000.00 | 70000.00 | 7000.00 | INTEGER INFRATECH PRIVATE LIMITED
8.20 | Diwali ( Four days - Starting from 18.00 hrs. on day before Diwali, Diwali day, Gujarati New year day and Bhai dhooj day , till 06.00 hrs on day after Bhai dhooj day) Each occasion in an year shall be treated as one JOB. | 2.00 | Job |  | 10000.00 | 20000.00 | 18000.00 | 36000.00 | 25000.00 | 50000.00 | 14500.00 | 29000.00 | 45000.00 | 90000.00 | 35000.00 | 70000.00 | 44000.00 | 88000.00 | 60000.00 | 120000.00 | 20000.00 | INTEGER INFRATECH PRIVATE LIMITED
8.30 | Republic day ( Starting from 18.00 hrs on day before republic day to 06.00 hrs on the day after republic day) Each occasion in an year shall be treated as one JOB. | 2.00 | Job |  | 3500.00 | 7000.00 | 18000.00 | 36000.00 | 25000.00 | 50000.00 | 14500.00 | 29000.00 | 22000.00 | 44000.00 | 25000.00 | 50000.00 | 22000.00 | 44000.00 | 35000.00 | 70000.00 | 7000.00 | INTEGER INFRATECH PRIVATE LIMITED
8.40 | AAI foundation day ( Starting from 18.00 hrs on day before foundation day to 06.00 hrs on the day after foundation day) | 2.00 | Job |  | 3500.00 | 7000.00 | 18000.00 | 36000.00 | 20000.00 | 40000.00 | 14500.00 | 29000.00 | 22000.00 | 44000.00 | 25000.00 | 50000.00 | 22000.00 | 44000.00 | 35000.00 | 70000.00 | 7000.00 | INTEGER INFRATECH PRIVATE LIMITED
9.00 | Painting of street light poles, arms with aluminium paint of (2 coats) of approved brand and manufacturer, along with one coat of primer, inlcuding cleaning the surface as required.
9.10 | Pole with single arm (Height not more than 9 m) - City Side & Staff Colony | 29.00 | Job |  | 200.00 | 5800.00 | 400.00 | 11600.00 | 500.00 | 14500.00 | 450.00 | 13050.00 | 300.00 | 8700.00 | 350.00 | 10150.00 | 425.00 | 12325.00 | 700.00 | 20300.00 | 5800.00 | INTEGER INFRATECH PRIVATE LIMITED
9.20 | Pole with single arm (Height not more than 7 m) - Perimeter | 43.00 | Job |  | 170.00 | 7310.00 | 300.00 | 12900.00 | 400.00 | 17200.00 | 250.00 | 10750.00 | 300.00 | 12900.00 | 300.00 | 12900.00 | 350.00 | 15050.00 | 650.00 | 27950.00 | 7310.00 | INTEGER INFRATECH PRIVATE LIMITED
9.30 | Pole with two arms (Height not more than 9 m) - City Side & Staff Colony | 18.00 | Job |  | 250.00 | 4500.00 | 500.00 | 9000.00 | 500.00 | 9000.00 | 450.00 | 8100.00 | 300.00 | 5400.00 | 350.00 | 6300.00 | 450.00 | 8100.00 | 700.00 | 12600.00 | 4500.00 | INTEGER INFRATECH PRIVATE LIMITED
9.40 | Pole of LED post top lantern fixture of height not more than 2.5 metre and dia not more than 18 cm dia. | 28.00 | Job |  | 50.00 | 1400.00 | 200.00 | 5600.00 | 200.00 | 5600.00 | 100.00 | 2800.00 | 200.00 | 5600.00 | 100.00 | 2800.00 | 250.00 | 7000.00 | 350.00 | 9800.00 | 1400.00 | INTEGER INFRATECH PRIVATE LIMITED
10.00 | Painting of HT structure including fencing ( Approximate 6 Sq.mtr.), with two coats of aluminium /enamel paint including cleaning, scraping and applying approved steel primer where ever required similar to the existing colours and shade complete as required. | 2.00 | Job |  | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 7000.00 | 14000.00 | 1000.00 | 2000.00 | 2000.00 | INTEGER INFRATECH PRIVATE LIMITED, ABHISHEK INTEGRATIONS LIMITED
11.00 | Supply of following type batteries for DG set cranking with minimum 2 years warranty: 12 V, 180 Ah lead acid battery | 4.00 | nos |  | 11500.00 | 46000.00 | 7000.00 | 28000.00 | 17500.00 | 70000.00 | 4500.00 | 18000.00 | 19500.00 | 78000.00 | 18000.00 | 72000.00 | 11500.00 | 46000.00 | 12220.00 | 48880.00 | 18000.00 | Ascent Electrification Engineers
12.00 | Comprehensive maintenance contract for Automatic sliding door double leaf type for overall opening up to 3650 mm and clear passage height up to 2600 with DC motor , microcontroller , infrared sensor & safety light barriers including Air curtain integrated with the Automatic sliding door as per SCC..(Make Security technocrats) | 120.00 | per set per month |  | 200.00 | 24000.00 | 1000.00 | 120000.00 | 1800.00 | 216000.00 | 200.00 | 24000.00 | 1700.00 | 204000.00 | 3000.00 | 360000.00 | 2000.00 | 240000.00 | 850.00 | 102000.00 | 24000.00 | INTEGER INFRATECH PRIVATE LIMITED, Ascent Electrification Engineers
13.00 | Execution of Complete items from (Chapter 1 to Chapter 15) of CPWD Delhi schedule of rates (electrical) 2018.[Up to a Ceiling limit of Rs.75000]. The materials used for executing the DSR items shall be as per the approved make list of AAI, as enclosed with the tender document. | 75000.00 | Excess (+) | 0.00 | .01 | 73875.00 | .01 | 75750.00 | .05 | 71250.00 | .15 | 63750.00 | .10 | 67500.00 | .20 | 60000.00 | .06 | 70275.00 | .20 | 60000.00 | 60000.00 | ABHISHEK INTEGRATIONS LIMITED, Manish Electricals
| Total in Figures |  |  |  |  | 6547433.00 |  | 6402350.00 |  | 7391054.00 |  | 6749570.00 |  | 7167100.00 |  | 6961150.00 |  | 7350000.00 |  | 7229882.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(6402350.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance Contract for the E and M Installations at C.E. Bhuj for the year 2022-24 Tender ID: 2022_AAI_119186_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 6402350.00 | L1
| 2 | INTEGER INFRATECH PRIVATE LIMITED | 6547433.00 | L2
| 3 | Ascent Electrification Engineers | 6749570.00 | L3
| 4 | Manish Electricals | 6961150.00 | L4
| 5 | Adarsh electric works | 7167100.00 | L5
| 6 | ABHISHEK INTEGRATIONS LIMITED | 7229882.00 | L6
| 7 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 7350000.00 | L7
| 8 | Techno Electricals | 7391054.00 | L8