## BoQ1
Government eProcurement System Created By: MD Sadrul Huda Created Date/Time: 08-Aug-2022 04:00 PM Tender Title: Annual Operation and Maintenance contract for the E and M Installations at C.A. Kandla for the year 2022-24. Tender ID: 2022_AAI_119191_1
Tender Inviting Authority: Asst.General Manager (E-E)
Name of Work:“Annual Operation & Maintenance Contract for the E & M Installations at C.A. Kandla for the year 2022-24"
Contract No: 2022_AAI_119191_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Adarsh electric works(GSTN-24ABOFA4210B1Z4) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Periodical Maintenance of Electrical & Mechanical Installations including Operation & Maintenance of Electrical & Mechanical Installations at Terminal Building,power House & other ancillary buildings, AAI residential colony including operation of DG sets, pumps, Operation and maintenance of all GLF system comprising runway edge,taxiways,apron edge lighting,approach lighting,PAPI system,CCR panels and apron high mast lighting and minor repairing as per specification & conditions attached to provide uninterrupted power supply and deputing manpower round the clock in three shifts/General shift including attending to complaints/faults/breakdowns ensuring serviceability, satisfactory working condition of the system,preventive maintnenance,upkeeping maintenance records/documentation etc.,on all working days including Sundays and holidays and also as & when required basis etc as required. | 24.00 | months |  | 239000.00 | 5736000.00 | 221501.70 | 5316040.80 | 230000.00 | 5520000.00 | 246012.00 | 5904288.00 | 222755.00 | 5346120.00 | 231000.00 | 5544000.00 | 221900.00 | 5325600.00 | 213500.00 | 5124000.00 | 243269.00 | 5838456.00 | 230375.00 | 5529000.00 | 5124000.00 | M K ENTERPRISES
2.00 | Annual Comprehensive maintenance contract including repair/replacement of all parts of voltas/LG/Lloyd/Hitachi/Carrier make A/c units at different locations in Airport premises complete as required as per site requirement for following capacity & following type (Each one Set/Job per month).
2.10 | 1.5 Ton Split type (1-Ø,50Hz) (21 Nos.X 24 months = 504 jobs.) | 504.00 | Job |  | 135.00 | 68040.00 | 300.00 | 151200.00 | 150.00 | 75600.00 | 250.00 | 126000.00 | 150.00 | 75600.00 | 170.00 | 85680.00 | 280.00 | 141120.00 | 166.00 | 83664.00 | 230.00 | 115920.00 | 150.00 | 75600.00 | 68040.00 | Techno Electricals
2.20 | 1.5 Ton Window type (1-Ø,50Hz) (1 Nos. X 24 months = 24 jobs.) | 24.00 | Job |  | 135.00 | 3240.00 | 600.00 | 14400.00 | 150.00 | 3600.00 | 250.00 | 6000.00 | 200.00 | 4800.00 | 150.00 | 3600.00 | 200.00 | 4800.00 | 185.00 | 4440.00 | 170.00 | 4080.00 | 150.00 | 3600.00 | 3240.00 | Techno Electricals
2.30 | 2 Ton Split type (1-Ø,50Hz) (21 Nos.X 24 months = 504 jobs.) | 504.00 | Job |  | 150.00 | 75600.00 | 300.00 | 151200.00 | 200.00 | 100800.00 | 250.00 | 126000.00 | 200.00 | 100800.00 | 205.00 | 103320.00 | 300.00 | 151200.00 | 190.00 | 95760.00 | 250.00 | 126000.00 | 225.00 | 113400.00 | 75600.00 | Techno Electricals
2.40 | 2 Ton Cassette type (1-Ø,50Hz) (2 nos. X 24 months = 48 jobs.) | 48.00 | Job |  | 150.00 | 7200.00 | 600.00 | 28800.00 | 200.00 | 9600.00 | 250.00 | 12000.00 | 300.00 | 14400.00 | 245.00 | 11760.00 | 350.00 | 16800.00 | 250.00 | 12000.00 | 350.00 | 16800.00 | 300.00 | 14400.00 | 7200.00 | Techno Electricals
2.50 | 2.5 Ton Tower type (1-Ø,50Hz) (4 nos. X 24 months = 96 jobs.) | 96.00 | Job |  | 150.00 | 14400.00 | 500.00 | 48000.00 | 225.00 | 21600.00 | 300.00 | 28800.00 | 300.00 | 28800.00 | 320.00 | 30720.00 | 500.00 | 48000.00 | 300.00 | 28800.00 | 400.00 | 38400.00 | 300.00 | 28800.00 | 14400.00 | Techno Electricals
2.60 | 2 Ton Split type (1-Ø,50Hz) (5 Nos. X 12 months = 60 jobs.) | 60.00 | Job |  | 150.00 | 9000.00 | 500.00 | 30000.00 | 200.00 | 12000.00 | 250.00 | 15000.00 | 200.00 | 12000.00 | 200.00 | 12000.00 | 350.00 | 21000.00 | 220.00 | 13200.00 | 350.00 | 21000.00 | 300.00 | 18000.00 | 9000.00 | Techno Electricals
3.00 | Annual comprehensive maintenance contract including repair/replacement of all parts for Voltas/Usha make water Cooler at different locations in airport premises complete as per site requirement for following capacity & make (Each one Set/Job per month).
3.10 | 40/80 ltrs water Cooler (Voltas make) (7 Nos. x 24 months = 168 JOB) | 168.00 | Job |  | 185.00 | 31080.00 | 200.00 | 33600.00 | 200.00 | 33600.00 | 100.00 | 16800.00 | 250.00 | 42000.00 | 400.00 | 67200.00 | 300.00 | 50400.00 | 145.00 | 24360.00 | 300.00 | 50400.00 | 285.00 | 47880.00 | 16800.00 | Adarsh electric works
3.20 | 60/120 ltrs water Cooler (Usha make) (2 Nos. x 16 months = 32 JOB) | 32.00 | Job |  | 200.00 | 6400.00 | 300.00 | 9600.00 | 350.00 | 11200.00 | 250.00 | 8000.00 | 300.00 | 9600.00 | 400.00 | 12800.00 | 350.00 | 11200.00 | 145.00 | 4640.00 | 450.00 | 14400.00 | 1250.00 | 40000.00 | 4640.00 | M K ENTERPRISES
4.00 | Annual Comprehensive maintenance contract including consumable items and all spare parts i/c. membrane etc. of ION-Exchange/Kent/ORG make RO unit at different locations in airport premises complete as per site requirement for following capacity & make (Each Job per month)
4.10 | 25 LPH RO unit (make-ION-Exchange/Kent/ORG) (7 Nos. x 24 months = 168 JOB) | 168.00 | Job |  | 200.00 | 33600.00 | 100.00 | 16800.00 | 500.00 | 84000.00 | 200.00 | 33600.00 | 300.00 | 50400.00 | 300.00 | 50400.00 | 280.00 | 47040.00 | 250.00 | 42000.00 | 500.00 | 84000.00 | 300.00 | 50400.00 | 16800.00 | INTEGER INFRATECH PRIVATE LIMITED
4.20 | 50 LPH RO unit (make-ORG, Model-Green) (2 Nos. x 24 months = 48 JOB) | 48.00 | Job |  | 275.00 | 13200.00 | 200.00 | 9600.00 | 750.00 | 36000.00 | 200.00 | 9600.00 | 400.00 | 19200.00 | 400.00 | 19200.00 | 325.00 | 15600.00 | 375.00 | 18000.00 | 700.00 | 33600.00 | 400.00 | 19200.00 | 9600.00 | INTEGER INFRATECH PRIVATE LIMITED, Adarsh electric works
4.30 | Water purifiers rated power 45W RO+UV+MTDS (Make: Eureka Forbes, Model: Aquasure maxima NXT) (2 Nos. x 24 months = 48 JOB) | 48.00 | Job |  | 275.00 | 13200.00 | 300.00 | 14400.00 | 200.00 | 9600.00 | 800.00 | 38400.00 | 250.00 | 12000.00 | 500.00 | 24000.00 | 400.00 | 19200.00 | 250.00 | 12000.00 | 1000.00 | 48000.00 | 450.00 | 21600.00 | 9600.00 | CENTRE TAP ENGINEERING
5.00 | Dismantling, Shifting & Reinstallation of 1.5 / 2.0 / 2.5 Ton Capacity of Voltas/LG/Lloyd/Hitachi/Carrier make Airconditioner unit in airport premises (Job i/c piping/insulation/cabling/drain piping including work upto 3 mtr, Gas charging etc complete as required). | 8.00 | Job |  | 2800.00 | 22400.00 | 650.00 | 5200.00 | 5000.00 | 40000.00 | 1500.00 | 12000.00 | 1200.00 | 9600.00 | 1200.00 | 9600.00 | 2500.00 | 20000.00 | 3000.00 | 24000.00 | 2000.00 | 16000.00 | 2500.00 | 20000.00 | 5200.00 | INTEGER INFRATECH PRIVATE LIMITED
6.00 | Providing & fixing extra refrigerant suitable copper piping with Nitrile rubber insulation and suitable copper cabling between indoor and outdoor units etc. as required. | 30.00 | Mtr |  | 800.00 | 24000.00 | 100.00 | 3000.00 | 1500.00 | 45000.00 | 600.00 | 18000.00 | 1000.00 | 30000.00 | 600.00 | 18000.00 | 700.00 | 21000.00 | 600.00 | 18000.00 | 500.00 | 15000.00 | 1200.00 | 36000.00 | 3000.00 | INTEGER INFRATECH PRIVATE LIMITED
7.00 | Replacement of Aluminium condensers with copper condensers of existing split AC units with following capacities including dismantling, discharging, vaccuming, pressurized with nitrogen testing for leaks, recharging with an eco-friendly refrigerent and reinstallation as instructed by EIC; complete as per site requirement. (1.5 / 2.0 / 2.5 Ton Capacity of Split AC Units) | 8.00 | Job |  | 350.00 | 2800.00 | 500.00 | 4000.00 | 5000.00 | 40000.00 | 4000.00 | 32000.00 | 7500.00 | 60000.00 | 4000.00 | 32000.00 | 5000.00 | 40000.00 | 6000.00 | 48000.00 | 4500.00 | 36000.00 | 4500.00 | 36000.00 | 2800.00 | Techno Electricals
8.00 | Servicing, repairing, rewinding and replacement of defective part like bearings, bushing etc. and also transporting from site to contractors workshop & back to site, testing and commissioning etc. complete as per site requirement for the following motors ( Dismantle material belongs to Contractor)
8.10 | Ceiling Fan/Wall Fan (1-Phase, 50Hz, 240V AC) | 15.00 | Job |  | 600.00 | 9000.00 | 200.00 | 3000.00 | 500.00 | 7500.00 | 200.00 | 3000.00 | 250.00 | 3750.00 | 300.00 | 4500.00 | 400.00 | 6000.00 | 500.00 | 7500.00 | 350.00 | 5250.00 | 400.00 | 6000.00 | 3000.00 | INTEGER INFRATECH PRIVATE LIMITED, Adarsh electric works
8.20 | Exhaust fan Up to 450 mm (1-Phase, 50Hz,240V AC ) | 3.00 | Job |  | 750.00 | 2250.00 | 400.00 | 1200.00 | 500.00 | 1500.00 | 300.00 | 900.00 | 250.00 | 750.00 | 500.00 | 1500.00 | 500.00 | 1500.00 | 800.00 | 2400.00 | 500.00 | 1500.00 | 450.00 | 1350.00 | 750.00 | Ascent Electrification Engineers
8.30 | 3 HP/ 2.2 KW pump motor sets (3-Phase, 50Hz,415V AC ) | 1.00 | Job |  | 1500.00 | 1500.00 | 500.00 | 500.00 | 2000.00 | 2000.00 | 1500.00 | 1500.00 | 2200.00 | 2200.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 1000.00 | 1000.00 | 1800.00 | 1800.00 | 500.00 | INTEGER INFRATECH PRIVATE LIMITED
8.40 | Submersible pump 7.5 HP | 1.00 | Job |  | 7000.00 | 7000.00 | 1500.00 | 1500.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 2200.00 | 2200.00 | 3500.00 | 3500.00 | 6000.00 | 6000.00 | 7000.00 | 7000.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 1500.00 | INTEGER INFRATECH PRIVATE LIMITED
8.50 | Pedestal fan | 2.00 | Job |  | 850.00 | 1700.00 | 200.00 | 400.00 | 500.00 | 1000.00 | 250.00 | 500.00 | 450.00 | 900.00 | 300.00 | 600.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 700.00 | 1400.00 | 450.00 | 900.00 | 400.00 | INTEGER INFRATECH PRIVATE LIMITED
9.00 | Servicing, repairing and replacement of defective part like Relay, PCB etc. of Electronic voltage stabilizer for AC units including transportation from site to contractor's workshop & back to site. (Dismantle Material belongs to contractor). | 7.00 | Job |  | 2000.00 | 14000.00 | 800.00 | 5600.00 | 2000.00 | 14000.00 | 500.00 | 3500.00 | 2000.00 | 14000.00 | 400.00 | 2800.00 | 1200.00 | 8400.00 | 1000.00 | 7000.00 | 3000.00 | 21000.00 | 1500.00 | 10500.00 | 2800.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
10.00 | Calibration of PAPI Clinometer etc. complete as required. | 2.00 | Job |  | 5000.00 | 10000.00 | 250.00 | 500.00 | 10000.00 | 20000.00 | 11000.00 | 22000.00 | 11500.00 | 23000.00 | 10500.00 | 21000.00 | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 1000.00 | 2000.00 | 10000.00 | 20000.00 | 500.00 | INTEGER INFRATECH PRIVATE LIMITED
11.00 | Inspection, servicing, setting, testing, adjustment, calibration and submission of calibration certificate of following instruments including minor repairs etc. Complete as per site requirement.
11.10 | Electronic IDMT Relay (Make:L&T MRP 11) | 4.00 | Job |  | 2000.00 | 8000.00 | 150.00 | 600.00 | 200.00 | 800.00 | 500.00 | 2000.00 | 1450.00 | 5800.00 | 1500.00 | 6000.00 | 2000.00 | 8000.00 | 5000.00 | 20000.00 | 2000.00 | 8000.00 | 1500.00 | 6000.00 | 600.00 | INTEGER INFRATECH PRIVATE LIMITED
11.20 | Voltmeter Digital suitable for AC supply. | 24.00 | Job |  | 400.00 | 9600.00 | 100.00 | 2400.00 | 200.00 | 4800.00 | 500.00 | 12000.00 | 500.00 | 12000.00 | 1000.00 | 24000.00 | 500.00 | 12000.00 | 1100.00 | 26400.00 | 2000.00 | 48000.00 | 450.00 | 10800.00 | 2400.00 | INTEGER INFRATECH PRIVATE LIMITED
11.30 | Ammeter Digital suitable for AC supply. | 34.00 | Job |  | 400.00 | 13600.00 | 100.00 | 3400.00 | 200.00 | 6800.00 | 500.00 | 17000.00 | 500.00 | 17000.00 | 1000.00 | 34000.00 | 500.00 | 17000.00 | 1000.00 | 34000.00 | 2000.00 | 68000.00 | 450.00 | 15300.00 | 3400.00 | INTEGER INFRATECH PRIVATE LIMITED
11.40 | Digital Power Factor (Cos Ø) Meter | 4.00 | Job |  | 400.00 | 1600.00 | 100.00 | 400.00 | 200.00 | 800.00 | 500.00 | 2000.00 | 500.00 | 2000.00 | 1000.00 | 4000.00 | 500.00 | 2000.00 | 1500.00 | 6000.00 | 2000.00 | 8000.00 | 450.00 | 1800.00 | 400.00 | INTEGER INFRATECH PRIVATE LIMITED
11.50 | Frequency Meter | 8.00 | Job |  | 400.00 | 3200.00 | 100.00 | 800.00 | 200.00 | 1600.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 1000.00 | 8000.00 | 1000.00 | 8000.00 | 1500.00 | 12000.00 | 2000.00 | 16000.00 | 450.00 | 3600.00 | 800.00 | INTEGER INFRATECH PRIVATE LIMITED
11.60 | Multi Function Meter | 30.00 | Job |  | 500.00 | 15000.00 | 100.00 | 3000.00 | 200.00 | 6000.00 | 500.00 | 15000.00 | 500.00 | 15000.00 | 2000.00 | 60000.00 | 1000.00 | 30000.00 | 1000.00 | 30000.00 | 2000.00 | 60000.00 | 450.00 | 13500.00 | 3000.00 | INTEGER INFRATECH PRIVATE LIMITED
12.00 | Calibration of following instruments from NABL approved lab including minor repair etc. complete including submission of test certificate as required.
12.10 | 500/1000/5000 Volts insulation testing meggar | 2.00 | Job |  | 1000.00 | 2000.00 | 350.00 | 700.00 | 200.00 | 400.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 450.00 | 900.00 | 400.00 | CENTRE TAP ENGINEERING
12.20 | Multi-meter | 2.00 | Job |  | 1000.00 | 2000.00 | 200.00 | 400.00 | 200.00 | 400.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 450.00 | 900.00 | 400.00 | INTEGER INFRATECH PRIVATE LIMITED, CENTRE TAP ENGINEERING
12.30 | Clip on meter (Clamp tester) | 2.00 | Job |  | 1000.00 | 2000.00 | 200.00 | 400.00 | 200.00 | 400.00 | 700.00 | 1400.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 450.00 | 900.00 | 400.00 | INTEGER INFRATECH PRIVATE LIMITED, CENTRE TAP ENGINEERING
12.40 | Earth Meggar | 2.00 | Job |  | 1000.00 | 2000.00 | 200.00 | 400.00 | 200.00 | 400.00 | 700.00 | 1400.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 450.00 | 900.00 | 400.00 | INTEGER INFRATECH PRIVATE LIMITED, CENTRE TAP ENGINEERING
12.50 | Vernier caliper | 2.00 | Job |  | 1000.00 | 2000.00 | 200.00 | 400.00 | 200.00 | 400.00 | 700.00 | 1400.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 450.00 | 900.00 | 400.00 | INTEGER INFRATECH PRIVATE LIMITED, CENTRE TAP ENGINEERING
13.00 | Decoration of Terminal building facia with LED serial lighting and RGB pattern lighting on special occasions/nationally important days/festivals as per the requirements shown below - (i) Minimum no. of LED serial lighting - not less than 6000 LED lights. (ii) Pixel Chaser light batten running linearly on the top of the building, ATC tower, entry gate walls for a length of not more than 1100 m. (iii) LED PAR lights for trees around terminal building - 15 Nos. Type of Decoration will be as per the theme of occasions and upto the statisfaction of the Engineer In-charge/Airport Director.
13.10 | Independence day /Republic day / AAI foundation day / (Starting from 18.00 hrs. on the Day before the Occasions to till 06.00 hrs on the day after the Occasions) Each occasion in an year shall be treated as one Job. | 6.00 | Job |  | 17500.00 | 105000.00 | 2500.00 | 15000.00 | 20000.00 | 120000.00 | 35000.00 | 210000.00 | 16500.00 | 99000.00 | 32000.00 | 192000.00 | 30000.00 | 180000.00 | 50000.00 | 300000.00 | 30000.00 | 180000.00 | 30000.00 | 180000.00 | 15000.00 | INTEGER INFRATECH PRIVATE LIMITED
13.20 | Diwali (Starting from 18.00 hrs. 02 Days prior to Diwali including Diwali day, Gujarati New year day and Bhaiduj day, till 06.00 hrs on day after Bhai dhooj day) /Christmas plus New Year ( from 24th December evening 18:00 hrs till 2nd Jan 06:00 hrs) Each occasion in an year shall be treated as one Job. | 4.00 | Job |  | 20000.00 | 80000.00 | 2500.00 | 10000.00 | 25000.00 | 100000.00 | 50000.00 | 200000.00 | 20000.00 | 80000.00 | 48000.00 | 192000.00 | 35000.00 | 140000.00 | 50000.00 | 200000.00 | 30000.00 | 120000.00 | 60000.00 | 240000.00 | 10000.00 | INTEGER INFRATECH PRIVATE LIMITED
14.00 | Execution of Complete items of CPWD Delhi schedule of rates (E&M) 2018.[Up to a Ceiling limit of Rs. 100,000 without GST]. The materials used for executing the DSR items shall be as per the approved make list of AAI, as enclosed with the tender document. | 100000.00 | Excess (+) | 0.00 | .10 | 90000.00 | .10 | 90000.00 | .01 | 101000.00 | .10 | 90000.00 | .15 | 85000.00 | .05 | 95000.00 | .30 | 70000.00 | .25 | 75000.00 | .09 | 109000.00 | .10 | 90000.00 | 70000.00 | Manish Electricals
15.00 | Supply of 12 V, 180 Ah SMF lead acid batteries for 125 KVA DG Sets | 2.00 | Each |  | 16000.00 | 32000.00 | 9000.00 | 18000.00 | 18000.00 | 36000.00 | 14000.00 | 28000.00 | 7500.00 | 15000.00 | 12500.00 | 25000.00 | 18000.00 | 36000.00 | 15000.00 | 30000.00 | 18000.00 | 36000.00 | 12000.00 | 24000.00 | 15000.00 | Ascent Electrification Engineers
16.00 | Supply of 12 V, 100 Ah SMF lead acid batteries for 10 KVA DG Set | 1.00 | Each |  | 10000.00 | 10000.00 | 4500.00 | 4500.00 | 10000.00 | 10000.00 | 6000.00 | 6000.00 | 14500.00 | 14500.00 | 8000.00 | 8000.00 | 16000.00 | 16000.00 | 4000.00 | 4000.00 | 15000.00 | 15000.00 | 8000.00 | 8000.00 | 4000.00 | M K ENTERPRISES
| Total in Figures |  |  |  |  | 6483610.00 |  | 5998940.80 |  | 6483400.00 |  | 7012088.00 |  | 6216420.00 |  | 6717680.00 |  | 6510860.00 |  | 6350164.00 |  | 7170706.00 |  | 6696930.00
Lowest Amount Quoted BY: INTEGER INFRATECH PRIVATE LIMITED(5998940.80)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance contract for the E and M Installations at C.A. Kandla for the year 2022-24. Tender ID: 2022_AAI_119191_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | INTEGER INFRATECH PRIVATE LIMITED | 5998940.80 | L1
| 2 | Ascent Electrification Engineers | 6216420.00 | L2
| 3 | M K ENTERPRISES | 6350164.00 | L3
| 4 | CENTRE TAP ENGINEERING | 6483400.00 | L4
| 5 | Techno Electricals | 6483610.00 | L5
| 6 | Manish Electricals | 6510860.00 | L6
| 7 | ABHISHEK INTEGRATIONS LIMITED | 6696930.00 | L7
| 8 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 6717680.00 | L8
| 9 | Adarsh electric works | 7012088.00 | L9
| 10 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 7170706.00 | L10