## BoQ1
Government eProcurement System Created By: Chandan Kumar Talukdar Created Date/Time: 12-Jul-2022 05:09 PM Tender Title: Renovation of Toilets in New Terminal Building at Dibrugarh Airport. (Civil and Electrical works) Tender ID: 2022_AAI_119278_1
Tender Inviting Authority: C.K. Talukdar, AGM(Engg-Civil) AAI, Dibrugarh Airport
Name of Work: Renovation of Toilets in New Terminal Building at Dibrugarh Airport. (Civil & Electrical works)
Contract No: 2022_AAI_119278_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S ROBI BORUAH(GSTN-18AGYPB3172E3Z8) |  | ABHIJIT SONOWAL(GSTN-18AWUPS7657M1Z5)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm. | 200.00 | Sqm | 100.00 | 51.83 | 10366.00 | 22.00 | 4400.00 | 4400.00 | ABHIJIT SONOWAL
2.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 180.00 | Sqm | 10.00 | 39.69 | 7144.20 | 15.00 | 2700.00 | 2700.00 | ABHIJIT SONOWAL
3.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar. | 40.00 | Cum | 10.00 | 1389.06 | 55562.40 | 700.00 | 28000.00 | 28000.00 | ABHIJIT SONOWAL
4.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 10.00 | Cum | 10.00 | 1641.89 | 16418.90 | 1000.00 | 10000.00 | 10000.00 | ABHIJIT SONOWAL
5.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 200.00 | Sqm | 100.00 | 36.85 | 7370.00 | 15.00 | 3000.00 | 3000.00 | ABHIJIT SONOWAL
6.00 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | 100.00 | Kg | 100.00 | 2.60 | 260.00 | 2.75 | 275.00 | 260.00 | M/S ROBI BORUAH
7.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineerin-Charge. (a) Internal Work- Exposed on wall. | 260.00 | Metre | 10.00 | 2.55 | 663.00 | 2.70 | 702.00 | 663.00 | M/S ROBI BORUAH
8.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 12.00 | Each | 10.00 | 631.40 | 7576.80 | 150.00 | 1800.00 | 1800.00 | ABHIJIT SONOWAL
9.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in-Charge. | 20.00 | Each | 10.00 | 90.72 | 1814.40 | 50.00 | 1000.00 | 1000.00 | ABHIJIT SONOWAL
10.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 150 x 100 mm size P type. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 20.00 | Each | 100.00 | 2189.94 | 43798.80 | 1200.00 | 24000.00 | 24000.00 | ABHIJIT SONOWAL
11.00 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | 20.00 | Each | 100.00 | 42.15 | 843.00 | 44.60 | 892.00 | 843.00 | M/S ROBI BORUAH
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 40 mm nominal size) | 10.00 | Cum | 10.00 | 6312.79 | 63127.90 | 5500.00 | 55000.00 | 55000.00 | ABHIJIT SONOWAL
13.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 50.00 | Cum | 10.00 | 131.21 | 6560.50 | 138.85 | 6942.50 | 6560.50 | M/S ROBI BORUAH
14.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet. Sand cast iron S&S as per IS: 3989. | 10.00 | Each | 10.00 | 1429.36 | 14293.60 | 1250.00 | 12500.00 | 12500.00 | ABHIJIT SONOWAL
15.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 75 mm outlet. Sand cast iron S&S as per IS - 3989. | 10.00 | Each | 100.00 | 1492.58 | 14925.80 | 1100.00 | 11000.00 | 11000.00 | ABHIJIT SONOWAL
16.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal outer dia Pipes. | 60.00 | Meter | 10.00 | 387.12 | 23227.20 | 309.00 | 18540.00 | 18540.00 | ABHIJIT SONOWAL
17.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal outer dia Pipes. | 100.00 | Meter | 10.00 | 451.85 | 45185.00 | 320.00 | 32000.00 | 32000.00 | ABHIJIT SONOWAL
18.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall. 32 mm nominal outer dia Pipes. | 120.00 | Meter | 10.00 | 454.12 | 54494.40 | 315.00 | 37800.00 | 37800.00 | ABHIJIT SONOWAL
19.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 32 mm nominal bore. | 6.00 | Each | 100.00 | 549.28 | 3295.68 | 481.00 | 2886.00 | 2886.00 | ABHIJIT SONOWAL
20.00 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : 15 mm nominal bore. | 20.00 | Each | 100.00 | 583.25 | 11665.00 | 556.00 | 11120.00 | 11120.00 | ABHIJIT SONOWAL
21.00 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : 20 mm nominal bore | 8.00 | Each | 10.00 | 607.30 | 4858.40 | 600.23 | 4801.84 | 4801.84 | ABHIJIT SONOWAL
22.00 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : 32 mm nominal bore | 8.00 | Each | 10.00 | 723.63 | 5789.04 | 701.00 | 5608.00 | 5608.00 | ABHIJIT SONOWAL
23.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 25 to 40 mm nominal bore. | 8.00 | Each | 10.00 | 641.14 | 5129.12 | 603.45 | 4827.60 | 4827.60 | ABHIJIT SONOWAL
24.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) | 10.00 | Cum | 100.00 | 5914.85 | 59148.50 | 5559.10 | 55591.00 | 55591.00 | ABHIJIT SONOWAL
25.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform. | 10.00 | sqm | 100.00 | 654.93 | 6549.30 | 593.05 | 5930.50 | 5930.50 | ABHIJIT SONOWAL
26.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 1.00 | Cum | 10.00 | 9226.79 | 9226.79 | 8000.00 | 8000.00 | 8000.00 | ABHIJIT SONOWAL
27.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 120.00 | Kg | 10.00 | 78.91 | 9469.20 | 83.50 | 10020.00 | 9469.20 | M/S ROBI BORUAH
28.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand). | 10.00 | Cum | 10.00 | 7379.74 | 73797.40 | 6800.00 | 68000.00 | 68000.00 | ABHIJIT SONOWAL
29.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand). | 80.00 | sqm | 100.00 | 880.83 | 70466.40 | 775.00 | 62000.00 | 62000.00 | ABHIJIT SONOWAL
30.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 80.00 | sqm | 100.00 | 75.69 | 6055.20 | 80.10 | 6408.00 | 6055.20 | M/S ROBI BORUAH
31.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work. | 90.00 | metre | 10.00 | 355.56 | 32000.40 | 320.00 | 28800.00 | 28800.00 | ABHIJIT SONOWAL
32.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand). | 20.00 | sqm | 10.00 | 252.17 | 5043.40 | 266.85 | 5337.00 | 5043.40 | M/S ROBI BORUAH
33.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand). | 20.00 | sqm | 10.00 | 290.97 | 5819.40 | 307.90 | 6158.00 | 5819.40 | M/S ROBI BORUAH
34.00 | Providing and fixing toilet paper holder : C.P. brass. | 16.00 | Each | 100.00 | 551.64 | 8826.24 | 583.75 | 9340.00 | 8826.24 | M/S ROBI BORUAH
35.00 | Cutting holes of required size in brick masonry wall for fixing of exhaust fan including providing and fixing 300 mm dia PVC pipe conforming BIS-12818 and making good the same etc. complete as per direction of Engineer-in-charge. | 12.00 | sqm | 100.00 | 208.28 | 2499.36 | 220.40 | 2644.80 | 2499.36 | M/S ROBI BORUAH
36.00 | Dismantling tiles in skirting, wall cladding etc. laid in cement mortar at all floors and disposal of unserviceable materials within a lead of 50 metres. | 240.00 | Sqm | 10.00 | 38.27 | 9184.80 | 101.00 | 24240.00 | 9184.80 | M/S ROBI BORUAH
37.00 | PProviding and mixing 200ml of LW+ water proofing Compound of Dr. Fixit /Pidilite Or equivalent in 1 bag of 50 kg cement as per direction and satisfaction of Engineer-in-Charge. | 40.00 | Litre | 10.00 | 189.00 | 7560.00 | 140.00 | 5600.00 | 5600.00 | ABHIJIT SONOWAL
38.00 | Providing and errecting temporary site barricading, with wooden runners of size 50mm x 50mm as a basic framework and cladding with 6 mm plywood. The material will be contractors property after its usage as a barricade. Cost includes its dismantling and credit for taking away also. | 40.00 | sqm | 10.00 | 425.72 | 17028.80 | 195.00 | 7800.00 | 7800.00 | ABHIJIT SONOWAL
39.00 | Providing and fixing custom made bevelled edge mirror of superior glass (of approved quality) complete with 6mm thick hard board ground fixed to SS Cleats with C.P. brass screw and washers complete as as per direction of Engineer-Incharge. | 12.00 | Sqm | 100.00 | 5765.16 | 69181.92 | 3800.00 | 45600.00 | 45600.00 | ABHIJIT SONOWAL
40.00 | Providing and fixing machine cut machine polished granite stone slab of minimum 16 mm thick in flooring over 20mm (avg) thick cement mortar 1:4 (1cement :4coarse sand) based laid over and jointed with white cement slurry mixed with pigment to match the shade of stone slab including rubbing and polishing complete as directed by Engineer-in-charge. Cera grey granite stone slab. | 100.00 | sqm | 10.00 | 1847.24 | 184724.00 | 2854.75 | 285475.00 | 184724.00 | M/S ROBI BORUAH
41.00 | Providing and laying digital glazed Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all design and colours & shade, in skirting, riser of steps and dado over 12 mm thick bed of cement mortar 1:3 (1cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete. a) Size of Tile 300x600 mm | 260.00 | sqm | 100.00 | 2154.79 | 560245.40 | 1500.00 | 390000.00 | 390000.00 | ABHIJIT SONOWAL
42.00 | Providing and fixing vitreous china IWC (Orissa pan) in approved colour of Parryware 580 mm Catalogue No E0117/Jaquar CNS-WHT-453 or equivalent with 100mm sand cast P or S trap, with concealed flush valve (Parryware Cat. NO. T13302A1/Jaquar FLV-CHR-1093N or approved equivalent) and with all fitting and fixtures complete including cutting and making good the walls and floors wherever required and as per direction of Engineer- Incharge. In white colour. | 6.00 | Each | 10.00 | 13242.00 | 79452.00 | 9000.00 | 54000.00 | 54000.00 | ABHIJIT SONOWAL
43.00 | Providing and fixing white vitreous china wall mounted EWC in approved colur to match the existing tile colour (Parryware Catalogue No. C8848/Jaquar Model CNS-WHT-959SPP/Kohler 18131IN-S-0 or approved equivalant as required) with CP bolts, nuts, CI chair hanging arrangements, seat & cover with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with concealed flush valve (Parryware Cat. NO. T13302A1/Jaquar Model FLC-CHR-1093N/Kohler 31538IN-NA or approved equivalent) including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer- Incharge. | 10.00 | Each | 100.00 | 25386.81 | 253868.10 | 20000.00 | 200000.00 | 200000.00 | ABHIJIT SONOWAL
44.00 | Providing and fixing 38.10mm outer dia, 2.77mm thick 304 grade stainless steel pipe for vertical drain of urinal basin and wash basin which should be fixed vertically from the waste coupling of the basin upto the drainage system at the finished floor level including all fittings complete and as directed by Engineer-in-Charge. | 24.00 | Each | 10.00 | 822.15 | 19731.60 | 450.80 | 10819.20 | 10819.20 | ABHIJIT SONOWAL
45.00 | Providing and fixing Pillar taps presmatic push type auto closing syste for wash basin of (Parryware Catalogue No.G23013A1/Jaquar Model PRS-CHR-031/Kohler 20747IN-8-CP Lapis -N-Push Tap pillar cock or approved equivalent ) complete and as directed by Engineer-in-Charge. | 16.00 | Each | 10.00 | 3071.25 | 49140.00 | 2000.00 | 32000.00 | 32000.00 | ABHIJIT SONOWAL
46.00 | Providing and fixing Angle cock push type auto closing system for urinal basin of (Parryware Catalogue No.T2027A1/Jaquar Model PRS-CHR-077/Kohler 20747IN-8-CP or approved equivalent ) complete and as directed by Engineer-in-Charge. | 8.00 | Each | 100.00 | 1086.94 | 8695.52 | 1450.00 | 11600.00 | 8695.52 | M/S ROBI BORUAH
47.00 | Providing & fixing unplasticised PVC connection pipe of (Parryware Catalogue No.T991999 or approved equivalent ) with unions of 600mm length. | 16.00 | Each | 10.00 | 501.61 | 8025.76 | 306.79 | 4908.64 | 4908.64 | ABHIJIT SONOWAL
48.00 | Providing and fixing liquid soap dispenser of (Parryware Catalogue No.T6413A1/Jaquar Model ACN-CHR-1135N/Kohler 10712D-CP Soap Dispenser or approved equivalent ) complete and as directed by Engineer-in-Charge. | 16.00 | Each | 100.00 | 4016.25 | 64260.00 | 1800.00 | 28800.00 | 28800.00 | ABHIJIT SONOWAL
49.00 | Providing & fixing of modular toilet cubicles ( Titan Standard 12mm series of Merino, Sturdo Classique of Greenply Industries or of approved equivalent) consisting of high pressure 12mm thick compact laminate board as per IS 2046 (Indian Standards) and as per fire retardant BS-476/97 standards with phenolic core panels for partitions of intermediate divider, doors and pilasters(. The cubicle shall have dimensions of 1550mm depth x 1050mm width x 2100mm height with a door size of minimum head rail on top of panels and panels shall be fixed on the floor with a clearance of maximum 150mm using stainless steel satin finish adjustable legs screwed to the floor included stainless steel (SS) lock set, SS door knob, SS gravity self closing hinge, SS coat hook with door stopper, SS U channel, SS head rail, SS adjustable foot, SS tabular holder, SS head rail wall bracket, SS head rail corner connection and SS noise reducing tape, etc.(all SS accessories shall be of Grade 304) as per direction of Engineer-Incharge. | 76.20 | sqm | 100.00 | 8977.50 | 684085.50 | 6400.00 | 487680.00 | 487680.00 | ABHIJIT SONOWAL
50.00 | Making cutouts in false ceiling for light fittings, speakers or opening for perforated false ceiling/Gypsum false ceiling etc as per approved pattern and fixed with 38 x 24 x 0.70 mm thick precoated GI tee ("T") cap including necessary fixing arrangements and making cut out for light fittings, speakers, grills, diffusers and trap doors to be made with frame of perimeter channels of size 20mm x 27 mm x 30 mm x 0.55 mm thick supported suitably etc. complete as directed by Engineer-in-charge. | 40.00 | each | 100.00 | 548.10 | 21924.00 | 235.00 | 9400.00 | 9400.00 | ABHIJIT SONOWAL
51.00 | Providing and Fixing of Armstrong GI Lay in Standard Perforated (2.5mm diameter-16% open area) metal ceiling consisting of 600 x 600mm Lay in tiles of pre coated galvanised steel in 0.5 mm thickness in Global white color with Soundtex acoustical fleece hot pressed to the back of the perforated tile to be laid on Armstrong grid systems with 15mm wide T-section flanges colour white having rotary stiching on the Main Runner, 1200 mm & 600 mm Cross Tees. The tiles would have NRC of 0.70, Fire Performance of Class A2-s1.d0 as per EN13501 standard in module size of 600 x 600 mm suitable for Green Building application, with Recycled content of 25%. The grid should be of "Armstrong" make with 15mm wide T - section flanges color white having rotary stitching on all T sections i.e. the Main Runner with C3 coupling, 1200 mm & 600 mm Cross Tees with Hardened XL2 Clip having a web height of 38 mm and a load carrying capacity of 14 kgs/M. The T Sections have a Galvanizing of 90 grams per M2 with pull out strength of 100 Kgs. Suspension system for Armstrong grid to be of Armstrong make. INSTALLATION: To comprise main runner spaced at 1200mm centers securely fixed to the structural soffit using Armstrong suspension system (specifications below) at 1200mm maximum centre. The First / Last Armstrong suspension system at the end of each main runner should not be greater than 450mm from the adjacent wall. Flush fitting 1200mm long cross tees to be interlocked between main runners at 600mm centre to form 1200 x 600 mm module. Cut cross tees longer than 600mm require independent support. 600 x 600 mm module to be formed by fitting 600mm long flush fitting cross tees centrally between the 1200mm cross tees. Perimeter trim to be Armstrong wall angles of size 3000 x 19 x 19mm, secured to walls at 450mm maximum centres. | 100.00 | Sqm | 100.00 | 1370.25 | 137025.00 | 2039.20 | 203920.00 | 137025.00 | M/S ROBI BORUAH
52.00 | Providing & fixing of white vitreous china under counter oval wash basin/circular basin 550x450( Parryware C0407/Jaquar Model FLS-WHT-5701/Kohler 2211IN-0 or approved equivalent) with CP brass waste assembly, CP cast brass bottle trap with extension piece (Parryware C320A1/Jaquar Model ALD-769L300 or approved equivalent), 450 mm long CP copper connections pipes (Paarryware 805B/Jaquar Cat No. 803B or approved equivalent), wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 14.00 | Each | 100.00 | 8041.00 | 112574.00 | 6000.00 | 84000.00 | 84000.00 | ABHIJIT SONOWAL
53.00 | Providing & fixing Off white vitreous china flat back urinal with automatic flushing systems ( Parryware Cat. C0585 (Neutral)/Jaquar URS-WHT-13257/Kohler 26475IN-ER-0 or approved equivalent) comprising of all plumbing, electronic and electrical items. CP brass flush pipe with CP brass elbow, CP brass spreader, CP wall flange, infrared photo cells, eyes electrically operated solenoid valve, step down transformer / equipment and any other item required to provide satisfactory functioning including necessary wall cutting / chasing and making good, as required for urinal flushing complete as mentioned above as per direction of Engineer-Incharge. | 8.00 | Each | 100.00 | 22869.00 | 182952.00 | 13400.00 | 107200.00 | 107200.00 | ABHIJIT SONOWAL
54.00 | Providing & fixing C.P. hand spray with lever control (health faucet) ( Parryware Cat No. T9877A1/Jaquar ALD-CHR-573/Kohler 12925IN-CP or approved equivalent) and flexible hose 1 m long connection with C.P. holder for hand spray complete in all respects as per direction of Engineer-Incharge. | 16.00 | Each | 100.00 | 2462.48 | 39399.68 | 1800.00 | 28800.00 | 28800.00 | ABHIJIT SONOWAL
55.00 | Providing & fixing lavatory wash basin for handicapped toilet (Parryware Cat. No. TC0441/Jaquar CNS-WHT-705/Kohler 2211IN-0 or equivalent) for handicap toilet complete with brackets, tracks, waste pipes and other accessories complete as required as per direction of Engineer-Incharge. | 2.00 | Each | 100.00 | 8316.00 | 16632.00 | 4509.70 | 9019.40 | 9019.40 | ABHIJIT SONOWAL
56.00 | Providing & fixing Urinal Modesty Panels having standard dimension of 1200 mm Height x 450 -500 mm Width and 12 mm thickness(Greenlam Sturdo of Greenlam Industries Ltd /SS Series of Merino Industries or approved equivalent) Panel starts 500-600 mm above ground level, complete with compact Laminate Board: 12 mm thick Compact Laminate (Greenlam Sturdo of Greenlam Industries Ltd /Titan Series of Merino Industries or approved equivalent) made as per IS 2046 (Indian Standard) and as per fire retardant BS-476/97 standard and should be heat, bacteria, water, chemical, scratch and impact resistant 12 mm thick solid compact laminate panels as per approved texture/shade. The product should have Green Guard Certificate. Including all accessories as per approval and direction of Engineer-in-Charge Modesty panels will be fixed with right angle bracket which will provided in stainless steel grade-304. (a) Right Angle Bracket b) Screws & Wall Plugs. Hardware & Fixing : All screws will of 304 Grade in stainless steel with satin finish & panel will be supported by right angle brackets & will be used to hold the panels with a clearance height upto 500-600 mm. The work includes all accessories, machineries, tools etc., complete as per direction of Engineer-in-charge. | 6.00 | Each | 100.00 | 6728.40 | 40370.40 | 4500.00 | 27000.00 | 27000.00 | ABHIJIT SONOWAL
57.00 | Credit Item Credit for taking away dismentled Aluminium sections etc. as per direction and satisfaction of Engineer-in-charge. | 100.00 | Kg |  | 80.32 | -8032.00 | 102.00 | -10200.00 | -10200.00 | ABHIJIT SONOWAL
58.00 | Credit Item Credit for taking away dismentled GI pipe, scrap iron etc. as per direction and satisfaction of Engineer-in-charge. | 200.00 | Kg |  | 21.73 | -4346.00 | 20.00 | -4000.00 | -4346.00 | M/S ROBI BORUAH
59.00 | Providing & Fixing Aerosol Perfume Dispenser fixed to wall /door with wooden cleats and C.P brass screws including cutting and making good the walls wherever required. [Euronic EA-24] | 6.00 | Each | 100.00 | 4210.92 | 25265.52 | 2096.00 | 12576.00 | 12576.00 | ABHIJIT SONOWAL
60.00 | Providing & fixing of 760 mm long stainless steel grab bar (Euronics EGR 01x30/Bobrick code B-5806 ) or approved equivalent) including screw, rawl plugs making wall good, complete as per directions of Engineer-Incharge. | 4.00 | Each | 100.00 | 4632.39 | 18529.56 | 3253.60 | 13014.40 | 13014.40 | ABHIJIT SONOWAL
61.00 | Providing & fixing of 1065 mm long stainless steel grab bar ( Bobrick code B-5806.99 x42/) or approved equivalent) including screw, rawl plugs making wall good, complete as per directions of Engineer-Incharge. | 8.00 | Each | 100.00 | 1899.45 | 15195.60 | 3600.00 | 28800.00 | 15195.60 | M/S ROBI BORUAH
62.00 | Providing and fixing CP towel ring in circular shape of (parryware Model T6002A1)/Jaquar CAN-CHR-1121BN/Kohler 5631IN-CP or equivalent of approved brand as per direction and satisfaction of Engineer-in-charge. | 6.00 | Each | 100.00 | 1228.50 | 7371.00 | 1095.60 | 6573.60 | 6573.60 | ABHIJIT SONOWAL
63.00 | Providing and fixing wall hung venyl posters / scenery design made over 4 mm ACP sheet i/c fixing with SS screw for toilet complete and as per direction and satisfaction of Engineer-in-charge. | 20.00 | Sqm | 100.00 | 1984.50 | 39690.00 | 3860.00 | 77200.00 | 39690.00 | M/S ROBI BORUAH
64.00 | Providing and fixing venyl posters / scenery design made pasting over wall for toilet complete and as per direction and satisfaction of Engineer-in-charge. | 25.00 | Sqm | 100.00 | 2443.77 | 61094.25 | 1700.00 | 42500.00 | 42500.00 | ABHIJIT SONOWAL
65.00 | Dismantling and fixing E-toilet of double unit (TATA steel Ezy Nest Modular Sanitation Unit) as per site requirement and as per direction and satisfaction by Engineer-in-charge. | 2.00 | Each | 100.00 | 19020.96 | 38041.92 | 9000.00 | 18000.00 | 18000.00 | ABHIJIT SONOWAL
66.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5°: 100 mm pipe | 20.00 | Each | 100.00 | 633.15 | 12663.00 | 275.00 | 5500.00 | 5500.00 | ABHIJIT SONOWAL
67.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5°: 75 mm pipe | 20.00 | Each | 100.00 | 122.85 | 2457.00 | 174.00 | 3480.00 | 2457.00 | M/S ROBI BORUAH
68.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain): 100 mm | 12.00 | Each | 100.00 | 170.10 | 2041.20 | 310.00 | 3720.00 | 2041.20 | M/S ROBI BORUAH
69.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain): 75 mm | 40.00 | Each | 100.00 | 236.25 | 9450.00 | 180.00 | 7200.00 | 7200.00 | ABHIJIT SONOWAL
70.00 | Providing and fixing on wall face unplasticised Rigid PVC soil, waste and vent pipe conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes: 100 mm dia. | 20.00 | Metre | 100.00 | 519.75 | 10395.00 | 890.00 | 17800.00 | 10395.00 | M/S ROBI BORUAH
71.00 | Providing and fixing on wall face unplasticised Rigid PVC soil, waste and vent pipe conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes: 75 mm dia. | 30.00 | Metre | 100.00 | 302.40 | 9072.00 | 405.00 | 12150.00 | 9072.00 | M/S ROBI BORUAH
72.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee without door: 100x100x100 mm | 8.00 | Each | 100.00 | 803.25 | 6426.00 | 490.00 | 3920.00 | 3920.00 | ABHIJIT SONOWAL
73.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee without door: 75x75x75 mm | 8.00 | Each | 100.00 | 444.15 | 3553.20 | 241.00 | 1928.00 | 1928.00 | ABHIJIT SONOWAL
74.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler: 100 mm | 24.00 | Each | 100.00 | 396.90 | 9525.60 | 275.00 | 6600.00 | 6600.00 | ABHIJIT SONOWAL
75.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC soil, waste and vent pipes conforming to IS : 13592 Type B, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler: 75 mm | 24.00 | Each | 100.00 | 302.40 | 7257.60 | 180.00 | 4320.00 | 4320.00 | ABHIJIT SONOWAL
76.00 | Providing and fixing unplasticised - PVC pipe clips of approved design to unplasticised - PVC soil, waste and vent pipe by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. For 100 mm dia pipe. | 20.00 | Each | 100.00 | 415.80 | 8316.00 | 211.00 | 4220.00 | 4220.00 | ABHIJIT SONOWAL
77.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC soil, waste and vent pipe by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. For 75 mm dia pipe. | 20.00 | Each | 100.00 | 264.60 | 5292.00 | 195.00 | 3900.00 | 3900.00 | ABHIJIT SONOWAL
78.00 | Supply of 10-12W slim aluminium casted recess mounted round LED fixture (cool white) with diffuser and electronic driver suitable for low depth ceiling, ISI marked suitable to operate on 230V, 50 Hz, AC supply as required. Model and pattern as approved by Engineer-in-Charge with sample before supply. LED Make shall be as per AAI latest specs. | 58.00 | Each | 100.00 | 2200.00 | 127600.00 | 1050.00 | 60900.00 | 60900.00 | ABHIJIT SONOWAL
79.00 | Supply of Wall mounted Stainless steel (SS 304 matt finish) Automatic Hand Dryer with suitable blowing speed with infrared sensor used for drying hands at wash room, suitable for operation on single phase 230V, 50Hz, AC supply, as required. Make & Model to be approved by Engineer-in-Charge before supply. | 10.00 | Each | 100.00 | 15000.00 | 150000.00 | 20000.00 | 200000.00 | 150000.00 | M/S ROBI BORUAH
80.00 | Supply of RO+UV Water purifier suitable for operation on 230V, 50 Hz, AC supply, with inlet/outlet water pipe connection, valves and accessories etc., complete as required. (Make & Model: Blue Star Excella or Equivalent Model as approved by Engineer-in-Charge) | 6.00 | Each | 100.00 | 18000.00 | 108000.00 | 25000.00 | 150000.00 | 108000.00 | M/S ROBI BORUAH
81.00 | Installation, testing and commissioning of 10-12W recess mounted round LED fixture on false ceiling including proper hanging arrangement, making connection etc. as required. | 58.00 | Each | 100.00 | 1300.00 | 75400.00 | 1050.00 | 60900.00 | 60900.00 | ABHIJIT SONOWAL
82.00 | Installation, testing and commissioning of Wall mounted Automatic Hand Dryer with proper mounting arrangement, making connection etc. as required. | 10.00 | Each | 100.00 | 1000.00 | 10000.00 | 20000.00 | 200000.00 | 10000.00 | M/S ROBI BORUAH
83.00 | Installation, Testing and commissioning of RO+UV Water purifier suitable for operation on 230V, 50 Hz, AC supply, with inlet/outlet water pipe connection, valves and accessories etc., complete as required. | 6.00 | Each | 100.00 | 2500.00 | 15000.00 | 25000.00 | 150000.00 | 15000.00 | M/S ROBI BORUAH
84.00 | Supply, Installation, Testing and commissioning of water dispener with SS body suitable for operation on 230V, 50 Hz., AC supply, complete as required. (Make & Model: CONWAY D 125 WHC or Equivalent Model as approved by Engineer-in-Charge) | 4.00 | Each | 100.00 | 77000.00 | 308000.00 | 30000.00 | 120000.00 | 120000.00 | ABHIJIT SONOWAL
85.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.Group C | 28.00 | Points | 100.00 | 480.00 | 13440.00 | 990.00 | 27720.00 | 13440.00 | M/S ROBI BORUAH
86.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.Group C | 64.00 | Points | 100.00 | 480.00 | 30720.00 | 580.00 | 37120.00 | 30720.00 | M/S ROBI BORUAH
87.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. |  |  | 10.00
87.01 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 150.00 | mtrs | 10.00 | 110.00 | 16500.00 | 180.00 | 27000.00 | 16500.00 | M/S ROBI BORUAH
87.02 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 250.00 | mtrs | 10.00 | 150.00 | 37500.00 | 185.00 | 46250.00 | 37500.00 | M/S ROBI BORUAH
87.03 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 200.00 | mtrs | 100.00 | 190.00 | 38000.00 | 195.00 | 39000.00 | 38000.00 | M/S ROBI BORUAH
88.00 | Supply and fixing of suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 12.00 | Each | 100.00 | 380.00 | 4560.00 | 401.00 | 4812.00 | 4560.00 | M/S ROBI BORUAH
89.00 | Supply and fixing of suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 16.00 | Each | 100.00 | 550.00 | 8800.00 | 430.00 | 6880.00 | 6880.00 | ABHIJIT SONOWAL
90.00 | Supply, Fabrication, Installation, Testing and Commissioning of site fabricated GI sheet metal duct, GI sheet confirming to IS:277 & Fabrication generally as per IS : 655 (Latest Version) in accordance with the approved shop drawing complete as required and as per specification. |  |  | 10.00
90.01 | 0.63mm | 100.00 | Sqmt | 10.00 | 650.00 | 65000.00 | 742.00 | 74200.00 | 65000.00 | M/S ROBI BORUAH
90.02 | 0.80mm | 40.00 | Sqmt | 10.00 | 780.00 | 31200.00 | 900.00 | 36000.00 | 31200.00 | M/S ROBI BORUAH
91.00 | Supply, Installation, Testing and balancing of powder coated extruded aluminium supply/ return air grill or diffuser with fixed vanes in accordance with the approved shop drawing and specification. | 18.00 | Sqmt | 100.00 | 1500.00 | 27000.00 | 4500.00 | 81000.00 | 27000.00 | M/S ROBI BORUAH
92.00 | Supply, Installation, Testing and Commissioning of Inline Fans suitable for installing in any position in vertical or horizontal ducts, the casing shall be double skin, internally acoustically lined and constructed of galvanised steel. The fan shall be DIDW with forward curve impeller fitted with maintenance free external rotor motor. The motor shall be suitable for 415 ±10% volts, 3 phase, 50 Hz, AC supply, all units shall be completed with duct flexible connector and volume control damper. |  |  | 10.00
92.01 | 500 CFM | 4.00 | Each | 10.00 | 2700.00 | 10800.00 | 35000.00 | 140000.00 | 10800.00 | M/S ROBI BORUAH
92.02 | 150 CFM | 2.00 | Each | 10.00 | 4500.00 | 9000.00 | 20000.00 | 40000.00 | 9000.00 | M/S ROBI BORUAH
| Total in Figures |  |  |  |  | 4625109.66 |  | 4366870.48
Lowest Amount Quoted BY: ABHIJIT SONOWAL(4366870.48)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Toilets in New Terminal Building at Dibrugarh Airport. (Civil and Electrical works) Tender ID: 2022_AAI_119278_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHIJIT SONOWAL | 4366870.48 | L1
| 2 | M/S ROBI BORUAH | 4625109.66 | L2