## BoQ1
Government eProcurement System Created By: Arun Kumar Created Date/Time: 31-Aug-2022 05:13 PM Tender Title: ARMO of EnM Inst. at DVOR Aligarh n Sikandrabad Tender ID: 2022_AAI_119438_1
TENDER INVITING AUTHORITY: ASSTT. GENERAL MANAGER ENGG(E), AAI OPERATIONAL OFFICES, RHQ, NR, RANGPURI, NEW DELHI - 110037.
NAME OF WORK: A.R.M.O. OF E&M INSTALLATIONS AT DVOR STATIONS ALIGARH & SIKANDRABAD (U.P.) FOR TWO YEARS (2022-24).
Tender ID No.: 2022_AAI_119438_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | SHIV ENTERPRISES(GSTN-07ABFFS0744K1Z1) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | DEEPAK ELECTRICALS(GSTN-NA) |  | RD INFRATECH ENGINEERS PRIVATE LIMITED(GSTN-NA) |  | M/S HIGH TECH POWER SYSTEM(GSTN-NA) |  | M/s R. R. ENGG. CO.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation of various makes DG Sets (30 KVA) i/c electrical controls for supply of power on power failure from main power supply source as & when reqd. i/c upkeep of Internal & External Electrical Installations, Submersible Pump, Fire Alarm System, E&M Installations, AMF Panel, Switch Rooms, MCB-DB, Wiring, Electrical Panels, Cabling etc. i/c all tools & tackles also attending the fault/ break-down & maintenance as per conditions of contract complete as reqd. by deputing following minimum manpower at each site on all days of month i/c Sunday & Holiday in Three Shifts as per following schedule in every month. The contractor has to depute the following minimum manpower at each site:- (i) Wireman cum Operator (Skilled) - 03 Nos. (01 no. in each shift of 08 hrs.). (ii) Helper (Unskilled)- 03 Nos. (01 no. in each shift of 08 hrs.). (iii) Wireman cum Operator (Skilled) - 01 No. reliever for above shift duty manpower (i) & (ii).
1.01 | Aligarh (U.P.) | 24.00 | MON |  | 191165.00 | 4587960.00 | 100000.00 | 2400000.00 | 148000.00 | 3552000.00 | 89000.00 | 2136000.00 | 130400.00 | 3129600.00 | 166354.00 | 3992496.00 | 100000.00 | 2400000.00 | 2136000.00 | DEEPAK ELECTRICALS
1.02 | Sikandrabad (U.P.) | 24.00 | MON |  | 124443.00 | 2986632.00 | 90000.00 | 2160000.00 | 98000.00 | 2352000.00 | 92000.00 | 2208000.00 | 115400.00 | 2769600.00 | 139554.00 | 3349296.00 | 100000.00 | 2400000.00 | 2160000.00 | SHIV ENTERPRISES
2.00 | Operation & Maintenence of Internal & External Electrical Installations, Submersible Pump, Entry Gate lighting, Street lights, all E&M Installations, MCB-DB, Wiring, Cabling etc. i/c all tools & tackles also attending the fault/break-down & preventive maintenance as per conditions of contract complete as reqd. by engaging following minimum manpower in 08 hrs. of General shift duty on every day of month except sunday at Aligarh (U.P.) AAI Residential Colony cum AAI Office site. The Contractor shall have to depute the following minimum manpower:-
2.01 | Wireman (skilled) - 01 No. | 24.00 | MON |  | 23855.00 | 572520.00 | 21000.00 | 504000.00 | 19000.00 | 456000.00 | 20000.00 | 480000.00 | 22000.00 | 528000.00 | 18000.00 | 432000.00 | 17000.00 | 408000.00 | 408000.00 | M/s R. R. ENGG. CO.
2.02 | Helper (Unskilled) - 01 No. | 24.00 | MON |  | 17973.00 | 431352.00 | 17000.00 | 408000.00 | 14000.00 | 336000.00 | 15500.00 | 372000.00 | 18000.00 | 432000.00 | 16000.00 | 384000.00 | 15000.00 | 360000.00 | 336000.00 | Awasthi Electric Works
3.00 | Supply of 20W, 230V, 50Hz ready to use Retrofit LED Tubelight for replacement of traditional Fluorescent Tubelight with polycarbonate tube, extruded aluminium heat sink for efficient heat dissipation along with integrated electronic driver, colour cool white light complete as per AAI approved makes complete as required. (Make HAVELLS, MAXOLED (TUBE)) at Sikandrabad & Aligarh DVOR sites as per site requirement. | 30.00 | EACH |  | 150.00 | 4500.00 | 300.00 | 9000.00 | 370.00 | 11100.00 | 250.00 | 7500.00 | 440.00 | 13200.00 | 20.00 | 600.00 | 1400.00 | 42000.00 | 600.00 | M/S HIGH TECH POWER SYSTEM
4.00 | Supply of LED street Light fitting having powder coated die cast aluminium housing of 30 watt, 230 Volt, 50 Hz colour cool white light with weather protection i/c all accessories as per AAI approved makes complete as required. (Make HAVELLS, SUPERB STREET LIGHT) at Sikandrabad & Aligarh DVOR sites as per site requirement. | 20.00 | EACH |  | 2800.00 | 56000.00 | 2000.00 | 40000.00 | 2000.00 | 40000.00 | 1700.00 | 34000.00 | 2485.00 | 49700.00 | 400.00 | 8000.00 | 2500.00 | 50000.00 | 8000.00 | M/S HIGH TECH POWER SYSTEM
5.00 | Supply of LED Flood Light fitting having powder coated die cast aluminium housing of 30 watt, 230 Volt, 50 Hz colour cool white light with weather protection with all accessories as per AAI approved makes complete as required. (Make HAVELLS, CENTURA NEO) at Sikandrabad & Aligarh DVOR sites as per site requirement. | 10.00 | EACH |  | 900.00 | 9000.00 | 2500.00 | 25000.00 | 2200.00 | 22000.00 | 2200.00 | 22000.00 | 2000.00 | 20000.00 | 300.00 | 3000.00 | 3500.00 | 35000.00 | 3000.00 | M/S HIGH TECH POWER SYSTEM
6.00 | Annual Comprehensive Maintenance of following capacity Air-conditioning unit comprising of compressor, condensing coil unit, cooling coil unit, repair/replacement of PCB card & other defective component i/c comprehensive repair & maintenance of voltage stabilizer & time delay unit etc. complete as required & as per scope of work at following:- (Note:- The quoted rate shall be on per unit per year basis) 1.5 TR Split type Airconditioning unit (At DVOR Sikandrabad-10 Nos. AC Units) & (At Aligarh-06Nos. AC Units)
6.01 | For Ist Year | 16.00 | NOS. |  | 1200.00 | 19200.00 | 200.00 | 3200.00 | 1500.00 | 24000.00 | 2500.00 | 40000.00 | 2000.00 | 32000.00 | 2000.00 | 32000.00 | 5000.00 | 80000.00 | 3200.00 | SHIV ENTERPRISES
6.02 | For IInd Year | 16.00 | NOS. |  | 1200.00 | 19200.00 | 200.00 | 3200.00 | 1500.00 | 24000.00 | 2700.00 | 43200.00 | 2000.00 | 32000.00 | 2000.00 | 32000.00 | 7000.00 | 112000.00 | 3200.00 | SHIV ENTERPRISES
7.00 | Monthly maintenance checks along with monthly site visit from OEM or its Authorized Service Dealers for 30 KVA DG sets at DVOR Sikandrabad site by conducting periodical preventive maintenance checks and attending the breakdown calls as & when required at site for following:-
7.01 | For 30 KVA, Ashok Leyland make, 01 No. DG Set at Sikandrabad DVOR Site. | 24.00 | JOB |  | 1000.00 | 24000.00 | 800.00 | 19200.00 | 1000.00 | 24000.00 | 2500.00 | 60000.00 | 8000.00 | 192000.00 | 1500.00 | 36000.00 | 15000.00 | 360000.00 | 19200.00 | SHIV ENTERPRISES
8.00 | 'B' Checks & Servicing from OEM or its Authorized Service Dealers for 30 KVA DG sets at DVOR Sikandrabad site i/c supply & installation of all required B-check spares at an interval not exceeding 06 months complete as required for the following:-
8.01 | For 30 KVA, Ashok Leyland make, 01 No. DG Set at Sikandrabad DVOR Site. | 4.00 | JOB |  | 14000.00 | 56000.00 | 8000.00 | 32000.00 | 8000.00 | 32000.00 | 5000.00 | 20000.00 | 40000.00 | 160000.00 | 1500.00 | 6000.00 | 20000.00 | 80000.00 | 6000.00 | M/S HIGH TECH POWER SYSTEM
9.00 | Supply of 12 volt, 180 AH sealed maintenance free battery with 24 months warranty as & when required basis at two DVOR sites (i.e. Aligarh & Sikandrabad) i/c transportation etc. complete as per AAI approved makes list. | 4.00 | EACH |  | 13000.00 | 52000.00 | 8000.00 | 32000.00 | 14000.00 | 56000.00 | 8200.00 | 32800.00 | 20000.00 | 80000.00 | 3000.00 | 12000.00 | 22500.00 | 90000.00 | 12000.00 | M/S HIGH TECH POWER SYSTEM
10.00 | Rewinding of ceiling/exhaust fans of all size with super enemelled copper winding wire i/c varnishing, changing of bearing, bush, oiling & greasing, assembling testing, transportation charges etc. complete as & when reqd. at two DVOR sites (i.e. Aligarh & Sikandrabad) in U.P. | 20.00 | EACH |  | 750.00 | 15000.00 | 500.00 | 10000.00 | 250.00 | 5000.00 | 500.00 | 10000.00 | 2000.00 | 40000.00 | 100.00 | 2000.00 | 1200.00 | 24000.00 | 2000.00 | M/S HIGH TECH POWER SYSTEM
11.00 | Rewinding of following capacity submersible pump motors (i/c single & three phase) etc. as & when reqd. basis along with super enamelled copper winding wire, varnishing i/c greasing replacement of bearings/bush along with lifting & lowering the pump with all tools & tackle/ machinery etc. i/c transporatation charges complete as required.
11.01 | 5 HP, Three Phase Submersible Pump at Aligarh Office Site | 1.00 | EACH |  | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 3500.00 | 3500.00 | 9500.00 | 9500.00 | 10000.00 | 10000.00 | 50.00 | 50.00 | 6000.00 | 6000.00 | 50.00 | M/S HIGH TECH POWER SYSTEM
11.02 | 1 HP, Single Phase Submersible Pump at DVOR Aligarh | 1.00 | EACH |  | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 6500.00 | 6500.00 | 3000.00 | 3000.00 | 50.00 | 50.00 | 2000.00 | 2000.00 | 50.00 | M/S HIGH TECH POWER SYSTEM
11.03 | 3 HP, Single Phase Submersible Pump at DVOR Sikandrabad | 1.00 | EACH |  | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 8000.00 | 8000.00 | 5000.00 | 5000.00 | 50.00 | 50.00 | 4000.00 | 4000.00 | 50.00 | M/S HIGH TECH POWER SYSTEM
12.00 | Fuel cost for running of 30 KVA (Cummins / Ashok leyland/any other make) DG sets on per hour basis installed at DVOR site during the contract period (contractor has to quote their running cost of fuel/hour i/c handling, transportation & stock of fuel at site) as per terms & conditions of contract at following site:-
12.01 | Aligarh (U.P.) | 6000.00 | HOURS |  | 138.00 | 828000.00 | 210.00 | 1260000.00 | 345.00 | 2070000.00 | 250.00 | 1500000.00 | 177.00 | 1062000.00 | 100.00 | 600000.00 | 360.00 | 2160000.00 | 600000.00 | M/S HIGH TECH POWER SYSTEM
12.02 | Sikandrabad (U.P.) | 6000.00 | HOURS |  | 138.00 | 828000.00 | 215.00 | 1290000.00 | 345.00 | 2070000.00 | 250.00 | 1500000.00 | 177.00 | 1062000.00 | 100.00 | 600000.00 | 360.00 | 2160000.00 | 600000.00 | M/S HIGH TECH POWER SYSTEM
13.00 | Supply of Class A, 2mm thick, electrical insulating mat of approved colour complete as required at DVOR Stations Aligarh and Sikandrabad. | 25.00 | SQ.MTR. |  | 1249.00 | 31225.00 | 500.00 | 12500.00 | 550.00 | 13750.00 | 1500.00 | 37500.00 | 3000.00 | 75000.00 | 250.00 | 6250.00 | 2250.00 | 56250.00 | 6250.00 | M/S HIGH TECH POWER SYSTEM
14.00 | Execution of Items of Work as per CPWD DSR (E&M) 2018 with upto date specification for amount of Rs. 1,00,000/- (ex. GST) as and when required during contract period of 02 years. Note:- The quoted rate shall be converted into percentage above/ below to the total amount of Rs. 1,00,000/- (ex. GST). Rates for the items under DSR shall be taken as under: Item rate as per DSR-2018 = Rs.X Basic rate (on which percentage above or below to be quoted)= Rs. Y= Rs.X/1.1405 (ex. GST) Example:- If rate of an item as per DSR 2018= Rs.114.05/- Basic rate (on which percentage above or below to be quoted)=Rs. Y= Rs. X/1.1405= Rs.100/- If contractor is quoting Rs. 90,000/- against Rs. 1,00,000/- i.e. 10% below, it means Rs.90/- (ex. GST) shall be paid for that item against Rs.114.05 (as per DSR-2018 with GST). | 1.00 | JOB |  | 30000.00 | 30000.00 | 70000.00 | 70000.00 | 63649.00 | 63649.00 | 70000.00 | 70000.00 | 127000.00 | 127000.00 | 100.00 | 100.00 | 750000.00 | 750000.00 | 100.00 | M/S HIGH TECH POWER SYSTEM
| Total in Figures |  |  |  |  | 10556589.00 |  | 8287100.00 |  | 11159999.00 |  | 8597000.00 |  | 9822100.00 |  | 9495892.00 |  | 11579250.00
Lowest Amount Quoted BY: SHIV ENTERPRISES(8287100.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of EnM Inst. at DVOR Aligarh n Sikandrabad Tender ID: 2022_AAI_119438_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHIV ENTERPRISES | 8287100.00 | L1
| 2 | DEEPAK ELECTRICALS | 8597000.00 | L2
| 3 | M/S HIGH TECH POWER SYSTEM | 9495892.00 | L3
| 4 | RD INFRATECH ENGINEERS PRIVATE LIMITED | 9822100.00 | L4
| 5 | Anoop Refrigeration | 10556589.00 | L5
| 6 | Awasthi Electric Works | 11159999.00 | L6
| 7 | M/s R. R. ENGG. CO. | 11579250.00 | L7