## BoQ1
Government eProcurement System Created By: Preeti Beniwal Created Date/Time: 18-Jul-2022 04:07 PM Tender Title: ARMO of Eand M installations at Adampur Airport for the year 2022-23 Tender ID: 2022_AAI_119485_1
Tender Inviting Authority: Asstt. General Manager (Engg-E), AAI, Civil Enclave Adampur-144103
Name of work:- ARMO of E & M installations at Civil Enclave Adampur, Jalandhar for the year 2022-23.
Contract No: 2022_AAI_119485
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of all internal, external E & M installations in existing Terminal building, office including conventional 4zone Fire alarm & detection system, 2nos. 125 KVA DG sets operation, National Flag High Mast, street lighting, water pumps and other area etc. , as per requirement, attending to complaints, faults, breakdowns and taking rectification action, ensuring serviceability & satisfactory working conditions of the system, doing preventive maintenance, maintaining records etc as per technical specification & special conditions of contract on all days i/c Sundays & holidays by deploying following minimum manpower on each day as required. (i) Highly Skilled -01 nos. + Reliever (ii) Skilled - 02 nos. + Reliever (iii) Un-skilled - 02 nos. + Reliever | 12.00 | Month | 100.00 | 125850.00 | 1510200.00 | 110103.00 | 1321236.00 | 100000.00 | 1200000.00 | 1200000.00 | JCC ENGINEERS PRIVATE LIMITED
2.00 | Providing one (01) no. Multi tasking staff /computer operator (Skilled) having knowledge of M.S.office for carrying out day to day office jobs viz. Typing, maintening office records etc., as per direction and satisfaction of engineer -in-charge. | 12.00 | Month | 100.00 | 21135.00 | 253620.00 | 23500.00 | 282000.00 | 19000.00 | 228000.00 | 228000.00 | JCC ENGINEERS PRIVATE LIMITED
3.00 | Annual Comprehensive Maintenance contract of following type Cassette Type AC unit of 2.0 TR as per technical specifications of contract. | 12.00 | Job/ Year | 10.00 | 850.00 | 10200.00 | 6000.00 | 72000.00 | 1000.00 | 12000.00 | 10200.00 | Sew Engineering Works Pvt Ltd
4.00 | Annual Comprehensive Maintenance contract of following type Split Type AC unit of 1.5 TR as per technical specifications of contract. | 1.00 | Job/ Year | 10.00 | 550.00 | 550.00 | 5500.00 | 5500.00 | 2000.00 | 2000.00 | 550.00 | Sew Engineering Works Pvt Ltd
5.00 | Annual Comprehensive Maintenance contract of following type Water Cooler of capacity upto 120 ltrs. with 25 LPH RO as per technical specifications of contract. | 3.00 | Job/ Year | 10.00 | 4500.00 | 13500.00 | 4500.00 | 13500.00 | 4000.00 | 12000.00 | 12000.00 | JCC ENGINEERS PRIVATE LIMITED
6.00 | Government Stamping, Calibration and Re-verification of Electronic weighing scales as per Govt. Norms. | 2.00 | Job/ Year | 10.00 | 6000.00 | 12000.00 | 4000.00 | 8000.00 | 1000.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
7.00 | Operation and Maintenance of New Terminal Building, substation i/c 2x625KVA DG sets,2x1250KVA transformers, AMF panel, Capacitor Bank Panel, Essential & Non-essential Panel GLF system i/c CCR, apron & taxiway edge lights, High Masts, street lighting, STP, WTP and other associated areas, doing preventive maintenance, maintaining records etc as per technical specification & special conditions of contract on all days i/c Sundays & holidays by deploying following minimum manpower in addition to the mapower deployed in Item 1 on each day as required after commissioning of NTB. (i) Skilled - 01nos. + Reliever (ii) Un-skilled - 01 nos. + Reliever (The manpower deployed in Item #1 & 7 shall be utilized in toto for maintaining E&M installation of Airport i.e. existing & new terminal building installations). | 12.00 | Month | 10.00 | 43003.00 | 516036.00 | 41500.00 | 498000.00 | 38000.00 | 456000.00 | 456000.00 | JCC ENGINEERS PRIVATE LIMITED
8.00 | Rewinding of Fan Motor of Dessert Cooler etc as required. | 2.00 | Job | 10.00 | 600.00 | 1200.00 | 600.00 | 1200.00 | 500.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
9.00 | Supply of 20W LED light Fixtures suitable for operation on 230 V single phase AC supply as and when required (as per Approved make & Technical Specifications) | 5.00 | Nos. | 100.00 | 2760.00 | 13800.00 | 2100.00 | 10500.00 | 600.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
10.00 | Supply of 200mm, 1300 rpm (min.) Exhaust Fans (Plastic body) suitable for operation on 230 V single phase AC supply as and when required (as per Approved make) | 5.00 | Nos. | 100.00 | 2040.00 | 10200.00 | 2300.00 | 11500.00 | 1000.00 | 5000.00 | 5000.00 | JCC ENGINEERS PRIVATE LIMITED
11.00 | Supply of 1200 mm Ceiling Fan (60 watt max. rated power) suitable for operation on 230 V single phase AC supply as and when required (as per Approved make) | 5.00 | Nos. | 10.00 | 2200.00 | 11000.00 | 2600.00 | 13000.00 | 1500.00 | 7500.00 | 7500.00 | JCC ENGINEERS PRIVATE LIMITED
12.00 | Supply of S.P.10 amps, one way modular switch ISI marked, suitable for operation on 230 V single phase AC supply as and when required (as per Approved make). | 10.00 | Nos. | 10.00 | 42.00 | 420.00 | 216.00 | 2160.00 | 200.00 | 2000.00 | 420.00 | Sew Engineering Works Pvt Ltd
13.00 | Supply of S.P. 16/20 amps, one way modular switch, ISI marked, suitable for operation on 230 V single phase AC supply as and when required (as per Approved make). | 5.00 | Nos. | 10.00 | 115.00 | 575.00 | 90.00 | 450.00 | 200.00 | 1000.00 | 450.00 | Manish Electricals
14.00 | Supply of 5 pin 6/10 amps modular socket outlet, ISI marked, suitable for operation on 230 V single phase AC supply as and when required (as per Approved make). | 5.00 | Nos. | 10.00 | 65.00 | 325.00 | 40.00 | 200.00 | 50.00 | 250.00 | 200.00 | Manish Electricals
15.00 | Supply of 6/16 amps modular socket outlet, ISI marked, suitable for operation on 230 V single phase AC supply as and when required (as per Approved make). | 5.00 | Nos. | 100.00 | 160.00 | 800.00 | 150.00 | 750.00 | 100.00 | 500.00 | 500.00 | JCC ENGINEERS PRIVATE LIMITED
16.00 | Supply of Single Module modular Fan step Regulator of 100 watt, suitable for operation on 230 V AC supply as and when required (as per Approved make). | 10.00 | Nos. | 100.00 | 350.00 | 3500.00 | 210.00 | 2100.00 | 250.00 | 2500.00 | 2100.00 | Manish Electricals
17.00 | Refilling of 4.5 kg capacity CO2 Type Fire Extuinguishers as per govt. Regulations and manufacturer recommendations etc. Complete as required. | 4.00 | Job/ Year | 10.00 | 1800.00 | 7200.00 | 6500.00 | 26000.00 | 700.00 | 2800.00 | 2800.00 | JCC ENGINEERS PRIVATE LIMITED
18.00 | Refilling of 6 kg capacity ABC Type Fire Extuinguishers as per govt. Regulations and manufacturer recommendations etc. Complete as required. | 2.00 | Job/ Year | 10.00 | 1000.00 | 2000.00 | 6000.00 | 12000.00 | 800.00 | 1600.00 | 1600.00 | JCC ENGINEERS PRIVATE LIMITED
19.00 | Providing one (01+ Reliever) no. Electrical Operator (Skilled) as and when required for carring out various maintenace work of Electrical & Mechanical installations as per direction and satisfaction of engineer -in-charge. | 12.00 | Month | 10.00 | 24668.00 | 296016.00 | 23500.00 | 282000.00 | 16000.00 | 192000.00 | 192000.00 | JCC ENGINEERS PRIVATE LIMITED
20.00 | Providing one (01+ Reliever) no. Electrical Helper (Unskilled) as and when required for carring out various maintenace works of Electrical & Mechanical installations as per direction and satisfaction of engineer -in-charge. | 12.00 | Month | 10.00 | 18668.00 | 224016.00 | 18000.00 | 216000.00 | 14500.00 | 174000.00 | 174000.00 | JCC ENGINEERS PRIVATE LIMITED
21.00 | To carry out the complete item of work of CPWD delhi schdule of rates (E&M) 2018 as per SCWD specification as required (Rs. 80,000/-). (NOTE: Rate of DSR items shall be calculated by deducting GST Component from schdule rate on account of GST and the quantity . RS. 80,000 is after deducting the GST component) (Refer clause of guidance to tenderers of tender document for quoting rate for this item.) | 1.00 | Job | 10.00 | 60000.00 | 60000.00 | 70000.00 | 70000.00 | 50405.00 | 50405.00 | 50405.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 2947158.00 |  | 2848096.00 |  | 2355555.00
Lowest Amount Quoted BY: JCC ENGINEERS PRIVATE LIMITED(2355555.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Eand M installations at Adampur Airport for the year 2022-23 Tender ID: 2022_AAI_119485_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JCC ENGINEERS PRIVATE LIMITED | 2355555.00 | L1
| 2 | Manish Electricals | 2848096.00 | L2
| 3 | Sew Engineering Works Pvt Ltd | 2947158.00 | L3