## BoQ1
Government eProcurement System Created By: Nagendran M Created Date/Time: 19-Jul-2022 01:06 PM Tender Title: Facility Management of E and M Installations of Terminal Buildings, Technical Block, Residential Colony, Car park, street lights, water supply, Firefighting etc of Calicut Intl Airport Tender ID: 2022_AAI_119528_1
Tender Inviting Authority: Asst. General Manager (E-E) - II
Name of Work : Facility Management of E&M Installations of Terminal Buildings, Technical block, Residential Colony, Car Park, Street Lights, Water Supply, Fire Fighting etc of Calicut International Airport during 2022-24.
Ref No: AAI/CL/ENGG€/156/NIT-08/2022-23 ( E bid Ref : 2022_AAI_119528_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Blue Star Limited(GSTN-27AAACB4487D1ZS) |  | OPERATIONAL ENERGY GROUP INDIA LIMITED(GSTN-33AAECS9297G2ZX) |  | Geresh Electricals Private Limited(GSTN-32AAACG8606R1ZA) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and periodic maintenance of all Electrical and Mechanical installations at different buildings/installations of airport such as Terminal building, Residential Colony, Pump Houses including but not limited to: operation of pumps for water supply and firefighting, lift, escalator, switchgears, Carpark/street lighting including rectifying defects/faults/breakdowns on round the clock shifts, on all days including Sundays and Holidays including preparation & maintenance of PMI activities, updating of associated log books and records etc, complete as required. | 24.00 | MONTH |  | 872817.00 | 20947608.00 | 968900.00 | 23253600.00 | 935000.00 | 22440000.00 | 1108899.00 | 26613576.00 | 20947608.00 | Blue Star Limited
2.00 | Engaging of unskilled labour for carrying out casual/unspecified works like clearing of site, shifting of inventory, and other miscellaneous works as per instructions from Engineering in charge ( 1 man day = 8 hours of work). | 100.00 | MAN DAY |  | 617.00 | 61700.00 | 580.00 | 58000.00 | 1000.00 | 100000.00 | 699.00 | 69900.00 | 58000.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
3.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. ( GROUP C) | 30.00 | EACH |  | 592.00 | 17760.00 | 400.00 | 12000.00 | 1250.00 | 37500.00 | 799.00 | 23970.00 | 12000.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
4.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 50.00 | METER |  | 134.00 | 6700.00 | 40.00 | 2000.00 | 215.00 | 10750.00 | 149.00 | 7450.00 | 2000.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
5.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 50.00 | METER |  | 167.00 | 8350.00 | 43.00 | 2150.00 | 245.00 | 12250.00 | 199.00 | 9950.00 | 2150.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
6.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire. | 50.00 | METER |  | 187.00 | 9350.00 | 48.00 | 2400.00 | 295.00 | 14750.00 | 209.00 | 10450.00 | 2400.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
7.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 50.00 | METER |  | 259.00 | 12950.00 | 58.00 | 2900.00 | 340.00 | 17000.00 | 399.00 | 19950.00 | 2900.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
8.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 50.00 | METER |  | 310.00 | 15500.00 | 72.00 | 3600.00 | 395.00 | 19750.00 | 399.00 | 19950.00 | 3600.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
9.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 1.5 sq. mm | 50.00 | METER |  | 95.00 | 4750.00 | 66.00 | 3300.00 | 98.00 | 4900.00 | 109.00 | 5450.00 | 3300.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
10.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 4 x 1.5 sq. mm | 50.00 | METER |  | 112.00 | 5600.00 | 88.00 | 4400.00 | 114.00 | 5700.00 | 119.00 | 5950.00 | 4400.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
11.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 2.5 sq. mm | 50.00 | METER |  | 129.00 | 6450.00 | 100.00 | 5000.00 | 122.00 | 6100.00 | 149.00 | 7450.00 | 5000.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
12.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 4 sq. mm | 50.00 | METER |  | 163.00 | 8150.00 | 147.00 | 7350.00 | 165.00 | 8250.00 | 199.00 | 9950.00 | 7350.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
13.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 4 x 4 sq. mm | 50.00 | METER |  | 201.00 | 10050.00 | 197.00 | 9850.00 | 195.00 | 9750.00 | 219.00 | 10950.00 | 9750.00 | Geresh Electricals Private Limited
14.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 6 sq. mm | 50.00 | METER |  | 231.00 | 11550.00 | 213.00 | 10650.00 | 215.00 | 10750.00 | 249.00 | 12450.00 | 10650.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
15.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 4 x 6 sq. mm | 50.00 | METER |  | 283.00 | 14150.00 | 285.00 | 14250.00 | 275.00 | 13750.00 | 269.00 | 13450.00 | 13450.00 | CHENNAI ENGINEERING SERVICES
16.00 | Supplying and fixing of following sizes of PVC conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. - 20 mm | 50.00 | METER |  | 53.00 | 2650.00 | 57.00 | 2850.00 | 95.00 | 4750.00 | 69.00 | 3450.00 | 2650.00 | Blue Star Limited
17.00 | Supplying and fixing of following sizes of PVC conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. - 25 mm | 50.00 | METER |  | 65.00 | 3250.00 | 72.00 | 3600.00 | 115.00 | 5750.00 | 89.00 | 4450.00 | 3250.00 | Blue Star Limited
18.00 | Supplying and fixing 20 amps, 415 volts, TPN industrial type, socket outlet, with 4 pole and earth, metal enclosed plug top along with 20 amps “C” curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet | 4.00 | EACH |  | 1490.00 | 5960.00 | 3350.00 | 13400.00 | 3500.00 | 14000.00 | 4999.00 | 19996.00 | 5960.00 | Blue Star Limited
19.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top along with 20 amps “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 6.00 | EACH |  | 1451.00 | 8706.00 | 1780.00 | 10680.00 | 2500.00 | 15000.00 | 2499.00 | 14994.00 | 8706.00 | Blue Star Limited
20.00 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enamelled white on both sides, and with inscription in single red colour on front side as required. | 10.00 | EACH |  | 237.00 | 2370.00 | 2000.00 | 20000.00 | 160.00 | 1600.00 | 499.00 | 4990.00 | 1600.00 | Geresh Electricals Private Limited
21.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc .with charcoal/ coke and salt as required. | 5.00 | SET |  | 4470.00 | 22350.00 | 11500.00 | 57500.00 | 12500.00 | 62500.00 | 6999.00 | 34995.00 | 22350.00 | Blue Star Limited
22.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 5.00 | SET |  | 5466.00 | 27330.00 | 24000.00 | 120000.00 | 18500.00 | 92500.00 | 7999.00 | 39995.00 | 27330.00 | Blue Star Limited
23.00 | Repairing of earth pits by dismantling the existing masonry enclosure and providing RCC enclosure of 1:2:4 grade (1 cement : 2 coarse sand : 4 graded stone) and reinforced with steel rods 8mm dia in a pattern approved by AAI, providing hinged MS cover of minimum 8 mm thickness with suitable locking system as per specifications including, painting the earth pit portion above ground and cover plate, numbering the same, providing and fixing suitable funnel, removing of debris etc. as per the direction of EIC. | 5.00 | SET |  | 3027.00 | 15135.00 | 2100.00 | 10500.00 | 9000.00 | 45000.00 | 4999.00 | 24995.00 | 10500.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
24.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 200.00 | METER |  | 54.00 | 10800.00 | 21.00 | 4200.00 | 18.00 | 3600.00 | 39.00 | 7800.00 | 3600.00 | Geresh Electricals Private Limited
25.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 200.00 | METER |  | 212.00 | 42400.00 | 147.00 | 29400.00 | 128.00 | 25600.00 | 209.00 | 41800.00 | 25600.00 | Geresh Electricals Private Limited
26.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 200.00 | METER |  | 33.00 | 6600.00 | 48.00 | 9600.00 | 35.00 | 7000.00 | 49.00 | 9800.00 | 6600.00 | Blue Star Limited
27.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 35 sq. mm and up to 95 sq. mm (clamped with 25x3mm MS flat clamp) | 50.00 | METER |  | 60.00 | 3000.00 | 90.00 | 4500.00 | 65.00 | 3250.00 | 129.00 | 6450.00 | 3000.00 | Blue Star Limited
28.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 sq.mm (clamped with 1mm thick saddle) | 100.00 | METER |  | 45.00 | 4500.00 | 48.00 | 4800.00 | 45.00 | 4500.00 | 49.00 | 4900.00 | 4500.00 | Blue Star Limited, Geresh Electricals Private Limited
29.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Above 35 sq. mm and up to 95 sq. mm (clamped with 25x3mm MS flat clamp) | 50.00 | METER |  | 69.00 | 3450.00 | 120.00 | 6000.00 | 65.00 | 3250.00 | 79.00 | 3950.00 | 3250.00 | Geresh Electricals Private Limited
30.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation and refilling the trench etc as required, but excluding sand cushioning and protective covering. Upto 35 sq. mm | 50.00 | METER |  | 221.00 | 11050.00 | 448.00 | 22400.00 | 105.00 | 5250.00 | 399.00 | 19950.00 | 5250.00 | Geresh Electricals Private Limited
31.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation and refilling the trench etc as required, but excluding sand cushioning and protective covering. Above 35 sq. mm and up to 95 sq. mm | 100.00 | METER |  | 243.00 | 24300.00 | 490.00 | 49000.00 | 125.00 | 12500.00 | 449.00 | 44900.00 | 12500.00 | Geresh Electricals Private Limited
32.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm | 50.00 | METER |  | 36.00 | 1800.00 | 48.00 | 2400.00 | 45.00 | 2250.00 | 39.00 | 1950.00 | 1800.00 | Blue Star Limited
33.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 35 sq. mm and up to 95 sq. mm | 50.00 | METER |  | 43.00 | 2150.00 | 90.00 | 4500.00 | 55.00 | 2750.00 | 49.00 | 2450.00 | 2150.00 | Blue Star Limited
34.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm | 2.00 | SET |  | 1491.00 | 2982.00 | 1600.00 | 3200.00 | 3500.00 | 7000.00 | 1999.00 | 3998.00 | 2982.00 | Blue Star Limited
35.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 25 sq. mm | 2.00 | SET |  | 1659.00 | 3318.00 | 2150.00 | 4300.00 | 3500.00 | 7000.00 | 2999.00 | 5998.00 | 3318.00 | Blue Star Limited
36.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 35 sq. mm | 2.00 | SET |  | 1659.00 | 3318.00 | 2150.00 | 4300.00 | 3500.00 | 7000.00 | 3499.00 | 6998.00 | 3318.00 | Blue Star Limited
37.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width and lift up to 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 10.00 | CUM |  | 1128.00 | 11280.00 | 750.00 | 7500.00 | 950.00 | 9500.00 | 1999.00 | 19990.00 | 7500.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
38.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand :4 graded stone aggregate 20 mm nominal size) including form work etc as required. | 10.00 | CUM |  | 2660.00 | 26600.00 | 3100.00 | 31000.00 | 7900.00 | 79000.00 | 7999.00 | 79990.00 | 26600.00 | Blue Star Limited
39.00 | Providing and laying in position cement concrete 1:3:6 (1 cement : 2 coarse sand : 6 graded stone aggregate 20 mm nominal size) including form work etc as required. | 10.00 | CUM |  | 3847.00 | 38470.00 | 4200.00 | 42000.00 | 6500.00 | 65000.00 | 8999.00 | 89990.00 | 38470.00 | Blue Star Limited
40.00 | Spray painting with two or more coat of synthetic enamel paint of approved brand, manufacturer and colour to give an even shade for distribution boards, Fire hydrant Pipes, Internal & External Electrical panels/ Junction boxes/feeder pillars, etc. provided in the Terminal Buildings, Technical Block and other Ancillary Buildings including cleaning the surface, applying two or more coats of primer wherever necessary, removing, shifting of installations from existing site to a suitable site for painting where ever required. Scope also includes re-lettering / new lettering of various distribution boards/ panels wherever required. | 250.00 | SQM |  | 180.00 | 45000.00 | 206.00 | 51500.00 | 625.00 | 156250.00 | 249.00 | 62250.00 | 45000.00 | Blue Star Limited
41.00 | Excavating trenches of required width for pipes, cables, etc, including excavation for sockets, depth up to 1.5 m, including getting out the excavated materials, returning the soil as required in layers not exceeding 20 cm in depth, including consolidating each deposited layers by ramming, watering etc., stacking serviceable material for measurements and disposal of unserviceable material as directed, within a lead of 50 m. (a) All kinds of soil for laying of pipes, cables etc, not exceeding 80 mm dia. | 5.00 | CUM |  | 1093.00 | 5465.00 | 1566.00 | 7830.00 | 2500.00 | 12500.00 | 1999.00 | 9995.00 | 5465.00 | Blue Star Limited
42.00 | Cutting road/concrete including equipment, labour etc. and disposal of material as directed, within a lead of 50 m. | 5.00 | CUM |  | 1406.00 | 7030.00 | 1250.00 | 6250.00 | 3500.00 | 17500.00 | 3999.00 | 19995.00 | 6250.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
43.00 | Replacing the drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) a) 12.50 HP Jockey Pump | 1.00 | JOB |  | 1038.00 | 1038.00 | 4200.00 | 4200.00 | 2300.00 | 2300.00 | 4999.00 | 4999.00 | 1038.00 | Blue Star Limited
44.00 | Replacing the drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) b) 25.00 HP Jockey Pump | 1.00 | JOB |  | 2595.00 | 2595.00 | 5200.00 | 5200.00 | 5250.00 | 5250.00 | 5999.00 | 5999.00 | 2595.00 | Blue Star Limited
45.00 | Replacing the drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) c) 75.00 HP Main Fire Pump | 1.00 | JOB |  | 9081.00 | 9081.00 | 6350.00 | 6350.00 | 11000.00 | 11000.00 | 8999.00 | 8999.00 | 6350.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
46.00 | Replacing the drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) d) 120.00 HP Main Fire Pump | 1.00 | JOB |  | 12973.00 | 12973.00 | 11800.00 | 11800.00 | 16500.00 | 16500.00 | 9999.00 | 9999.00 | 9999.00 | CHENNAI ENGINEERING SERVICES
47.00 | Replacing the non-drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) a) 12.50 HP Jockey Pump | 1.00 | JOB |  | 1038.00 | 1038.00 | 4200.00 | 4200.00 | 2000.00 | 2000.00 | 5999.00 | 5999.00 | 1038.00 | Blue Star Limited
48.00 | Replacing the non-drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) b) 25.00 HP Jockey Pump | 1.00 | JOB |  | 2595.00 | 2595.00 | 5200.00 | 5200.00 | 5100.00 | 5100.00 | 6999.00 | 6999.00 | 2595.00 | Blue Star Limited
49.00 | Replacing the non-drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) c) 75.00 HP Main Fire Pump | 1.00 | JOB |  | 9081.00 | 9081.00 | 6350.00 | 6350.00 | 9500.00 | 9500.00 | 9999.00 | 9999.00 | 6350.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
50.00 | Replacing the non-drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) d) 120.00 HP Main Fire Pump | 1.00 | JOB |  | 12973.00 | 12973.00 | 11800.00 | 11800.00 | 14750.00 | 14750.00 | 11999.00 | 11999.00 | 11800.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
51.00 | Replacing both the bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) a) 12.50 HP Jockey Pump | 1.00 | JOB |  | 2076.00 | 2076.00 | 4700.00 | 4700.00 | 7000.00 | 7000.00 | 6999.00 | 6999.00 | 2076.00 | Blue Star Limited
52.00 | Replacing both the bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) b) 25. 00 HP Jockey Pump | 1.00 | JOB |  | 5189.00 | 5189.00 | 5700.00 | 5700.00 | 15000.00 | 15000.00 | 8999.00 | 8999.00 | 5189.00 | Blue Star Limited
53.00 | Replacing both the bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) c)75.00 HP Main Fire Pump | 1.00 | JOB |  | 18162.00 | 18162.00 | 8350.00 | 8350.00 | 32000.00 | 32000.00 | 11999.00 | 11999.00 | 8350.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
54.00 | Replacing both the bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) d) 120.00 HP Main Fire Pump | 1.00 | JOB |  | 25946.00 | 25946.00 | 13800.00 | 13800.00 | 40000.00 | 40000.00 | 13999.00 | 13999.00 | 13800.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
55.00 | Replacing the damaged rubber bush of following capacity and application pump motor sets as listed below including labour charges for dismantling the coupling, refixing the coupling , ensuring proper shaft alignment etc. as required a) 12.50 HP Jockey Pump | 1.00 | JOB |  | 541.00 | 541.00 | 6580.00 | 6580.00 | 1950.00 | 1950.00 | 4999.00 | 4999.00 | 541.00 | Blue Star Limited
56.00 | Replacing the damaged rubber bush of following capacity and application pump motor sets as listed below including labour charges for dismantling the coupling, refixing the coupling , ensuring proper shaft alignment etc. as required b) 25.00 HP Jockey Pump | 1.00 | JOB |  | 757.00 | 757.00 | 7499.00 | 7499.00 | 4800.00 | 4800.00 | 5999.00 | 5999.00 | 757.00 | Blue Star Limited
57.00 | Replacing the damaged rubber bush of following capacity and application pump motor sets as listed below including labour charges for dismantling the coupling, refixing the coupling , ensuring proper shaft alignment etc. as required c) 75.00 HP Main Fire Pump | 1.00 | JOB |  | 1297.00 | 1297.00 | 10500.00 | 10500.00 | 13000.00 | 13000.00 | 8999.00 | 8999.00 | 1297.00 | Blue Star Limited
58.00 | Replacing the damaged rubber bush of following capacity and application pump motor sets as listed below including labour charges for dismantling the coupling, refixing the coupling , ensuring proper shaft alignment etc. as required d) 120.00 HP Main Fire Pump | 1.00 | JOB |  | 2703.00 | 2703.00 | 12500.00 | 12500.00 | 21000.00 | 21000.00 | 12999.00 | 12999.00 | 2703.00 | Blue Star Limited
59.00 | Lifting and lowering of submersible pump along with the installed pipe from bore well ( up to 400 feet max) including dismantling the defective submersible motor, pump set and installing the serviceable motor pump set with the existing pipe, arranging T&P and necessary consumables etc complete as required Submersible pumps installed with HDPE/PVC Pipe | 2.00 | JOB |  | 12687.00 | 25374.00 | 25000.00 | 50000.00 | 36500.00 | 73000.00 | 29999.00 | 59998.00 | 25374.00 | Blue Star Limited
60.00 | Lifting and lowering of submersible pump along with the installed pipe from bore well ( up to 400 feet max) including dismantling the defective submersible motor, pump set and installing the serviceable motor pump set with the existing pipe, arranging T&P and necessary consumables etc complete as required Submersible pumps installed with GI pipe with Sockets/ Flanges | 6.00 | JOB |  | 13401.00 | 80406.00 | 75000.00 | 450000.00 | 62500.00 | 375000.00 | 34999.00 | 209994.00 | 80406.00 | Blue Star Limited
61.00 | Lifting of defective submersible/ monoblock motor pump set from open well/sump and dismantling the same and installing the serviceable motor pump set arranging T&P and necessary consumables including lifting and lowering into sump/open well etc complete as required (Serviceable Motor will be provided by AAI). | 5.00 | JOB |  | 4157.00 | 20785.00 | 3500.00 | 17500.00 | 10500.00 | 52500.00 | 19999.00 | 99995.00 | 17500.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
62.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Bore well) Above 2 HP and up to 5 HP | 2.00 | JOB |  | 5321.00 | 10642.00 | 10450.00 | 20900.00 | 7500.00 | 15000.00 | 5999.00 | 11998.00 | 10642.00 | Blue Star Limited
63.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Bore well) Above 5 HP and up to 10 HP | 1.00 | JOB |  | 6649.00 | 6649.00 | 16800.00 | 16800.00 | 12800.00 | 12800.00 | 7999.00 | 7999.00 | 6649.00 | Blue Star Limited
64.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Bore well) Above 10 HP and up to 15 HP | 1.00 | JOB |  | 10546.00 | 10546.00 | 22000.00 | 22000.00 | 19000.00 | 19000.00 | 11999.00 | 11999.00 | 10546.00 | Blue Star Limited
65.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Bore well) Above 15 HP and up to 17.5 HP | 1.00 | JOB |  | 13497.00 | 13497.00 | 22500.00 | 22500.00 | 23000.00 | 23000.00 | 16999.00 | 16999.00 | 13497.00 | Blue Star Limited
66.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Open well/Sump) Above 2 HP and up to 5 HP | 4.00 | JOB |  | 5162.00 | 20648.00 | 9200.00 | 36800.00 | 5000.00 | 20000.00 | 3999.00 | 15996.00 | 15996.00 | CHENNAI ENGINEERING SERVICES
67.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Open well/Sump) Above 5 HP and up to 10 HP | 4.00 | JOB |  | 7427.00 | 29708.00 | 9500.00 | 38000.00 | 8000.00 | 32000.00 | 4999.00 | 19996.00 | 19996.00 | CHENNAI ENGINEERING SERVICES
68.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Open well/Sump) Above 10 HP and up to 15 HP | 1.00 | JOB |  | 10675.00 | 10675.00 | 19500.00 | 19500.00 | 12500.00 | 12500.00 | 6999.00 | 6999.00 | 6999.00 | CHENNAI ENGINEERING SERVICES
69.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Monoblock Pump Motor Above 2 HP and up to 5 HP | 1.00 | JOB |  | 4734.00 | 4734.00 | 9000.00 | 9000.00 | 6000.00 | 6000.00 | 4999.00 | 4999.00 | 4734.00 | Blue Star Limited
70.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Monoblock Pump Motor Above 5 HP and up to 10 HP | 4.00 | JOB |  | 5427.00 | 21708.00 | 10700.00 | 42800.00 | 8000.00 | 32000.00 | 7999.00 | 31996.00 | 21708.00 | Blue Star Limited
71.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 2 HP and up to 5 HP Thrust bearing | 1.00 | JOB |  | 1334.00 | 1334.00 | 4800.00 | 4800.00 | 1600.00 | 1600.00 | 2999.00 | 2999.00 | 1334.00 | Blue Star Limited
72.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 2 HP and up to 5 HP Bushes | 1.00 | JOB |  | 2348.00 | 2348.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | 3999.00 | 3999.00 | 1500.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED, Geresh Electricals Private Limited
73.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 2 HP and up to 5 HP Shaft Sleeve | 1.00 | JOB |  | 1474.00 | 1474.00 | 700.00 | 700.00 | 1500.00 | 1500.00 | 1999.00 | 1999.00 | 700.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
74.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 2 HP and up to 5 HP Thrust Plate | 1.00 | JOB |  | 1593.00 | 1593.00 | 2900.00 | 2900.00 | 1500.00 | 1500.00 | 1999.00 | 1999.00 | 1500.00 | Geresh Electricals Private Limited
75.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 5 HP and up to 10 HP Thrust bearing | 1.00 | JOB |  | 1945.00 | 1945.00 | 5900.00 | 5900.00 | 3750.00 | 3750.00 | 3999.00 | 3999.00 | 1945.00 | Blue Star Limited
76.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 5 HP and up to 10 HP Bushes | 1.00 | JOB |  | 3474.00 | 3474.00 | 2500.00 | 2500.00 | 3500.00 | 3500.00 | 4999.00 | 4999.00 | 2500.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
77.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 5 HP and up to 10 HP Shaft Sleeve | 1.00 | JOB |  | 2002.00 | 2002.00 | 1100.00 | 1100.00 | 3000.00 | 3000.00 | 2999.00 | 2999.00 | 1100.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
78.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 5 HP and up to 10 HP Thrust Plate | 1.00 | JOB |  | 1782.00 | 1782.00 | 4200.00 | 4200.00 | 3000.00 | 3000.00 | 2999.00 | 2999.00 | 1782.00 | Blue Star Limited
79.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 10 HP and up to 15 HP Thrust bearing | 1.00 | JOB |  | 2367.00 | 2367.00 | 7000.00 | 7000.00 | 3000.00 | 3000.00 | 4999.00 | 4999.00 | 2367.00 | Blue Star Limited
80.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 10 HP and up to 15 HP Bushes | 1.00 | JOB |  | 4363.00 | 4363.00 | 3100.00 | 3100.00 | 3000.00 | 3000.00 | 5999.00 | 5999.00 | 3000.00 | Geresh Electricals Private Limited
81.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 10 HP and up to 15 HP Shaft Sleeve | 1.00 | JOB |  | 2112.00 | 2112.00 | 850.00 | 850.00 | 3000.00 | 3000.00 | 3999.00 | 3999.00 | 850.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
82.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 10 HP and up to 15 HP Thrust Plate | 1.00 | JOB |  | 2202.00 | 2202.00 | 4000.00 | 4000.00 | 3000.00 | 3000.00 | 3999.00 | 3999.00 | 2202.00 | Blue Star Limited
83.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Monoblock Pump Motor Above 2 HP and up to 5 HP Bearing | 1.00 | JOB |  | 1373.00 | 1373.00 | 5300.00 | 5300.00 | 2500.00 | 2500.00 | 1999.00 | 1999.00 | 1373.00 | Blue Star Limited
84.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Monoblock Pump Motor Above 2 HP and up to 5 HP Bushes | 1.00 | JOB |  | 1486.00 | 1486.00 | 1200.00 | 1200.00 | 1000.00 | 1000.00 | 1999.00 | 1999.00 | 1000.00 | Geresh Electricals Private Limited
85.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Monoblock Pump Motor Above 2 HP and up to 5 HP Shaft Sleeve | 1.00 | JOB |  | 1577.00 | 1577.00 | 650.00 | 650.00 | 1000.00 | 1000.00 | 1999.00 | 1999.00 | 650.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
86.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Monoblock Pump Motor Above 5 HP and up to 10 HP Bearing | 1.00 | JOB |  | 2299.00 | 2299.00 | 7600.00 | 7600.00 | 2000.00 | 2000.00 | 2999.00 | 2999.00 | 2000.00 | Geresh Electricals Private Limited
87.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Monoblock Pump Motor Above 5 HP and up to 10 HP Bushes | 1.00 | JOB |  | 2007.00 | 2007.00 | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 2999.00 | 2999.00 | 1000.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
88.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Monoblock Pump Motor Above 5 HP and up to 10 HP Shaft Sleeve | 1.00 | JOB |  | 2128.00 | 2128.00 | 800.00 | 800.00 | 1500.00 | 1500.00 | 3999.00 | 3999.00 | 800.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
89.00 | Repairing of Soft starter (Make: L&T, Model : EMX3-0145B-V4-C1-H) used for fire fighting main electric pump, including repair/ replacement of any components like SCR, control card, display etc. including testing and commissioning of the same. The cost shall include to and fro transport of the soft starter to the service location of the specialized agency/L&T authorized centre as the case may be. | 1.00 | JOB |  | 5405.00 | 5405.00 | 750.00 | 750.00 | 10000.00 | 10000.00 | 64999.00 | 64999.00 | 750.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
90.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 600mm. Sweep air circulators | 3.00 | JOB |  | 1177.00 | 3531.00 | 900.00 | 2700.00 | 8.00 | 24.00 | 2499.00 | 7497.00 | 24.00 | Geresh Electricals Private Limited
91.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 450mm. Sweep air circulators | 3.00 | JOB |  | 1097.00 | 3291.00 | 800.00 | 2400.00 | 2500.00 | 7500.00 | 2399.00 | 7197.00 | 2400.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
92.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 300/380mm. Sweep Exhaust fan 900 RPM heavy duty | 3.00 | JOB |  | 703.00 | 2109.00 | 750.00 | 2250.00 | 2500.00 | 7500.00 | 1999.00 | 5997.00 | 2109.00 | Blue Star Limited
93.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 300mm. Sweep Exhaust fan 1400 RPM light duty | 3.00 | JOB |  | 684.00 | 2052.00 | 900.00 | 2700.00 | 1850.00 | 5550.00 | 2999.00 | 8997.00 | 2052.00 | Blue Star Limited
94.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 1200mm. Sweep ceiling fan | 3.00 | JOB |  | 570.00 | 1710.00 | 1600.00 | 4800.00 | 1200.00 | 3600.00 | 999.00 | 2997.00 | 1710.00 | Blue Star Limited
95.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 400mm. Sweep wall mounting fan | 3.00 | JOB |  | 639.00 | 1917.00 | 750.00 | 2250.00 | 1800.00 | 5400.00 | 1199.00 | 3597.00 | 1917.00 | Blue Star Limited
96.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 400mm. Sweep pedestal fan | 3.00 | JOB |  | 594.00 | 1782.00 | 700.00 | 2100.00 | 1500.00 | 4500.00 | 1299.00 | 3897.00 | 1782.00 | Blue Star Limited
97.00 | Maintenance of Fire Alarm System at various locations as detailed in the inventory list consisting of Fire Loop, Addressable and Conventional Fire Alarm Panel, Gas Release Panel, Fire Alarm Repeater Panel, Photo Electric Smoke Detectors, Multi detectors, Heat detectors, Beam Detector, Manual Call Point, Response Indicator, Fault Isolator, Hooter / Sounder, Control Relay Module, Monitor Module etc. as complete, by monthly servicing and attending breakdown repairs including replacement of defective component/devices, Corrections, re-installation, repair, replacement, modification, programming of PC, device configuration and ID assigning, firmware configuration, Panel including batteries, Auto dialler etc. complete as and when required, through specialist agency/ OEM/ manufacturer whenever required. The scope shall also include Comprehensive all inclusive (Hardware and OS) maintenance of computer system , installed with fire alarm detection and warning system including all connected devices such as CPU, keyboard, mouse, monitor, printer, UPS etc. ( Service for one month = 1 JOB) ( Except the supply of all types of detectors, all other components and devices are included in the scope of item) | 24.00 | JOB |  | 102615.00 | 2462760.00 | 23925.00 | 574200.00 | 52500.00 | 1260000.00 | 161999.00 | 3887976.00 | 574200.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
98.00 | Rectification of fire alarm system by checking all individual smoke/heat detectors/MCP/Beam detectors replacing the faulty ones, including making interconnections of the cable to the detectors, making all field devices of the fire alarm system serviceable in all respect, programming the fire alarm panel by including all devices which are not reflected in the panel, configuring the management software to show all new devices programmed, etc. to make the fire alarm system 100% serviceable and intact in all respect, complete to the satisfaction of the Engineer In Charge. The detectors/MCP/beam detectors/ cable for interconnection of detectors will be provided by AAI. | 1.00 | JOB |  | 90000.00 | 90000.00 | 85000.00 | 85000.00 | 175000.00 | 175000.00 | 499999.00 | 499999.00 | 85000.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
99.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors). The item shall be suitable for integration to Edwards EST fire alarm control panel. | 20.00 | EACH |  | 3125.00 | 62500.00 | 2900.00 | 58000.00 | 3900.00 | 78000.00 | 4999.00 | 99980.00 | 58000.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
100.00 | Providing, installation, testing and commissioning of ceiling mounted addressable, intelligent type rate of rise cum fixed temp type heat detectors/fixed temp. heat detector including all accessories and parts necessary for completing the installation as per specifications and reprogramming the existing fire control panel ( Honeywell Notifier) to incorporate the newly added detectors to the loop and panel, as required( Make : Model as per approved make, compatible with existing fire alarm panel) | 20.00 | EACH |  | 3255.00 | 65100.00 | 8650.00 | 173000.00 | 3900.00 | 78000.00 | 4999.00 | 99980.00 | 65100.00 | Blue Star Limited
101.00 | Supply and laying of 2 x 1.5 sq.mm. FRLS armoured cable, 600 / 1000V rated with annealed copper conductor, as per applicable IS standards, on surface / recess/ on channel/ cable tray/above false ceiling. | 250.00 | METER |  | 164.00 | 41000.00 | 44.00 | 11000.00 | 120.00 | 30000.00 | 199.00 | 49750.00 | 11000.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
102.00 | Supply of 34 litre capacity, seamless type storage cylinder suitable for NOVEC™ 1230 gas agent or any FK-5-1-12 agent with complete valve assembly, Low pressure Supervisory Switch, pressure gauge with all safety features, cylinder strap etc. complete as required. | 2.00 | EACH |  | 86022.00 | 172044.00 | 22000.00 | 44000.00 | 80000.00 | 160000.00 | 199999.00 | 399998.00 | 44000.00 | OPERATIONAL ENERGY GROUP INDIA LIMITED
103.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius. (Refilling Certificate from factory to be submitted). 37kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 1.00 | JOB |  | 98925.00 | 98925.00 | 12300.00 | 12300.00 | 92000.00 | 92000.00 | 2999.00 | 2999.00 | 2999.00 | CHENNAI ENGINEERING SERVICES
104.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius. (Refilling Certificate from factory to be submitted). 29kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 1.00 | JOB |  | 77319.00 | 77319.00 | 10500.00 | 10500.00 | 72000.00 | 72000.00 | 2499.00 | 2499.00 | 2499.00 | CHENNAI ENGINEERING SERVICES
105.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius. (Refilling Certificate from factory to be submitted). 27kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 1.00 | JOB |  | 71948.00 | 71948.00 | 9600.00 | 9600.00 | 67000.00 | 67000.00 | 2499.00 | 2499.00 | 2499.00 | CHENNAI ENGINEERING SERVICES
106.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius. (Refilling Certificate from factory to be submitted). 23kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 2.00 | JOB |  | 61240.00 | 122480.00 | 17800.00 | 35600.00 | 57000.00 | 114000.00 | 2499.00 | 4998.00 | 4998.00 | CHENNAI ENGINEERING SERVICES
107.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius. (Refilling Certificate from factory to be submitted). 17kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 2.00 | JOB |  | 45110.00 | 90220.00 | 7600.00 | 15200.00 | 42000.00 | 84000.00 | 2399.00 | 4798.00 | 4798.00 | CHENNAI ENGINEERING SERVICES
108.00 | Transportation of 34 litre capacity, seamless type storage cylinder from Calicut Intl. Airport to Factory for refilling and back to Calicut Intl. Airport after refilling. | 7.00 | JOB |  | 21504.00 | 150528.00 | 20000.00 | 140000.00 | 25000.00 | 175000.00 | 9999.00 | 69993.00 | 69993.00 | CHENNAI ENGINEERING SERVICES
| Total in Figures |  |  |  |  | 25409786.00 |  | 26038639.00 |  | 26726874.00 |  | 33362446.00
Lowest Amount Quoted BY: Blue Star Limited(25409786.00)

## BOQ Summary
BOQ Summary Details Tender Title: Facility Management of E and M Installations of Terminal Buildings, Technical Block, Residential Colony, Car park, street lights, water supply, Firefighting etc of Calicut Intl Airport Tender ID: 2022_AAI_119528_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Blue Star Limited | 25409786.00 | L1
| 2 | OPERATIONAL ENERGY GROUP INDIA LIMITED | 26038639.00 | L2
| 3 | Geresh Electricals Private Limited | 26726874.00 | L3
| 4 | CHENNAI ENGINEERING SERVICES | 33362446.00 | L4