## BoQ1
Government eProcurement System Created By: Pankaj Wanjari Created Date/Time: 18-Jul-2022 05:37 PM Tender Title: Miscellaneous Electrical work at Goa Airport. Provision of drinking water stations with in built RO and UV units Tender ID: 2022_AAI_119533_1
Tender Inviting Authority: Sr. Manager (Engg-E), AAI, Goa Airport, Goa.
Name of Work: Miscellaneous electrical work at Goa Airport . SH: Provision of Drinking Water Stations with inbuilt RO & UV Units.
Contract No: 2022_AAI_119533_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Oasis WFS (P) Ltd.(GSTN-07AABCO6540R1ZX) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | Ganga Enterprises(GSTN-23EHHPS2413F1ZL) |  | WAE Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of standalone water purification and dispensing units with provisions for Cold, Ambient and Hot water integrated with minimum 5 stages inbuilt RO purification system with external/sediment Filter; carbon Filters, RO Membrane & UV-C chamber including installation & freight charges with the following specifications. - Processing Capacity :50 LPH - Storage Capacity: not less than 100 ltrs for Cold, Ambient and Hot - Filtration/Purification stages : 05 - MOC: SS 304 for front panel, drip tray and tanks. - Triple coated GI or SS 202/204 for side/rear/top/bottom panels - Refrigerant: R134a - Dispensing Type: Sensor based Touchless | 7.00 | Each |  | 115000.00 | 805000.00 | 118000.00 | 826000.00 | 130000.00 | 910000.00 | 133495.00 | 934465.00 | 805000.00 | Oasis WFS (P) Ltd.
| Total in Figures |  |  |  |  | 805000.00 |  | 826000.00 |  | 910000.00 |  | 934465.00
Lowest Amount Quoted BY: Oasis WFS (P) Ltd.(805000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Electrical work at Goa Airport. Provision of drinking water stations with in built RO and UV units Tender ID: 2022_AAI_119533_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Oasis WFS (P) Ltd. | 805000.00 | L1
| 2 | Awasthi Electric Works | 826000.00 | L2
| 3 | Ganga Enterprises | 910000.00 | L3
| 4 | WAE Limited | 934465.00 | L4