## BoQ1
Government eProcurement System Created By: Joshua Kindo Created Date/Time: 20-Jul-2022 05:25 PM Tender Title: Replacement of Fire alarm panel and associated works at Kadapa Airport Tender ID: 2022_AAI_119664_1
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Kadapa Airport.
Name of Work: Replacement of Fire alarm panel and associated works at Kadapa Airport
Contract No: 2022_AAI_119664_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | GRID2CHIP(GSTN-36AAKFG3006E1ZT) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Modification and replacement of fire alarm panel with ZX2Se MORELY IAS 1-2 loop control panel. 230 Vac, 2 sounder circuits, 4 line display and networking Capability inclusive of loop card Languages supplied : English - 720-001-301. Make : MORELY IAS | 2.00 | Nos |  | 163100.00 | 326200.00 | 188695.00 | 377390.00 | 129000.00 | 258000.00 | 145500.00 | 291000.00 | 258000.00 | CENTRE TAP ENGINEERING
2.00 | Supply, Installation, tesing and commissioning Morley Addressable Detectors with Base | 11.00 | Nos |  | 2745.00 | 30195.00 | 2469.00 | 27159.00 | 4000.00 | 44000.00 | 2350.00 | 25850.00 | 25850.00 | Awasthi Electric Works
3.00 | Supply, Installation, tesing and commissioning of Addressable Red Add Call Point, A Flush Mounting, Glass with Back box. | 3.00 | Nos |  | 3920.00 | 11760.00 | 3938.00 | 11814.00 | 4000.00 | 12000.00 | 2850.00 | 8550.00 | 8550.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 368155.00 |  | 416363.00 |  | 314000.00 |  | 325400.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(314000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Fire alarm panel and associated works at Kadapa Airport Tender ID: 2022_AAI_119664_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 314000.00 | L1
| 2 | Awasthi Electric Works | 325400.00 | L2
| 3 | LAKSHMI ELECTRICAL ENTERPRISES | 368155.00 | L3
| 4 | GRID2CHIP | 416363.00 | L4