## BoQ1
Government eProcurement System Created By: Joshua Kindo Created Date/Time: 23-Jul-2022 12:39 PM Tender Title: Repairing of Fire hydrant system at Kadapa Airport Tender ID: 2022_AAI_119667_1
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Kadapa Airport.
Name of Work: Repairing of Fire hydrant system at Kadapa Airport
Contract No: 2022_AAI_119667_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | SAFE GUARD (INDIA)(GSTN-NA) |  | HORMAH ELECTRO TECH PRIVATE LIMITED(GSTN-NA) |  | SRI SARADHI FIRE SAFETY SYTEMS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PUMP DRIVEN BY DIESEL ENGINE :Servicing of Diesel Engine and B checking of Diesel Engine ,replacing filters,oils etc.,as per actuals reqired at site. Engine Make : Kirloskar Engine Type : 4R1040 T Capacity : 53 KW / 72 HP SI.No : 4H.2709.10/1420004 | 1.00 | Each |  | 20000.00 | 20000.00 | 50000.00 | 50000.00 | 20000.00 | 20000.00 | 715000.00 | 715000.00 | 110000.00 | 110000.00 | 45000.00 | 45000.00 | 20000.00 | CENTRE TAP ENGINEERING, Awasthi Electric Works
2.00 | PUMP DRIVEN BY ELECTRICAL MOTOR :General Servicing of main Electrial Fire Pumps | 1.00 | Each |  | 10000.00 | 10000.00 | 22500.00 | 22500.00 | 15000.00 | 15000.00 | 34950.00 | 34950.00 | 35000.00 | 35000.00 | 25000.00 | 25000.00 | 10000.00 | CENTRE TAP ENGINEERING
3.00 | JOCKEY PUMP :General Servicing of Jockey Pump | 1.00 | Each |  | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 8000.00 | 8000.00 | 15025.00 | 15025.00 | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 5000.00 | CENTRE TAP ENGINEERING
4.00 | Servicing of Piping system and replacing presure switches and guages required in the pump room.Pipe Line leak arresting,replacing new ball valves and glycerine filled pressure guages. | 1.00 | Lot |  | 10000.00 | 10000.00 | 35000.00 | 35000.00 | 20000.00 | 20000.00 | 490.00 | 490.00 | 35000.00 | 35000.00 | 55000.00 | 55000.00 | 490.00 | SAFE GUARD (INDIA)
5.00 | Construct valve chamber 1.2 Mtrs x 1.2 Mtrs x 1.5 Mtrs in first class brick (table moulded) masonry in CM 1:6 on PCC bed to 100mm thick plastering with CM 1:4 internal and providing 6/8 thick chequred plate with stiffeners lifting arrangement angle iron edge angle frame work etc. complete with providing anticorrosive paint on both side for steel works Cover should be in two halfs fixed to frame work by means of hinges size of cover 1200 x 1200 mm. In all type of soil | 3.00 | Nos |  | 25000.00 | 75000.00 | 35000.00 | 105000.00 | 18500.00 | 55500.00 | 34950.00 | 104850.00 | 55000.00 | 165000.00 | 18000.00 | 54000.00 | 54000.00 | SRI SARADHI FIRE SAFETY SYTEMS
6.00 | Escavating and making trenches for all types of soils at a depth of 1 mtrr below ground level and covering it with cement mot 100 cm above the trenchches fill up sand and making concrete of 100 cm for leveling with road. | 90.00 | Mtr |  | 1000.00 | 90000.00 | 3000.00 | 270000.00 | 4750.00 | 427500.00 | 4665.00 | 419850.00 | 3500.00 | 315000.00 | 400.00 | 36000.00 | 36000.00 | SRI SARADHI FIRE SAFETY SYTEMS
7.00 | Constructing Pedestal-300mm*300 at depth of 600 mm below ground level and painting | 320.00 | Nos |  | 1850.00 | 592000.00 | 2500.00 | 800000.00 | 1600.00 | 512000.00 | 795.00 | 254400.00 | 3400.00 | 1088000.00 | 1650.00 | 528000.00 | 254400.00 | SAFE GUARD (INDIA)
8.00 | Below Ground Pipe Line: Supply. Erection, Testing and Commissioning of MS C CLASS pipes conforming to IS 1239 part 2 Pipe specials such as bends, tees, reducers, etc. shall confirm to ASTM A 234 Gr WPB forged. The pipe shall be with flanged joints / weld joints Rate quoted shall include for necessary pair of flanges, gaskets, nuts, bolts, MS fabricated angle , Hitch supports. Gl U shape clamps, Gl threaded rods, anchor fasteners nut bolts required duty , size, drilling with power machine of requred dia to suit clamping and supporting the pipes and fittings in position etc. for pipes being suspended from ceilings, beam bottom, clamped on to the walls, etc. Cost including making bores in wall , floors , chipping the concrete surface and making good in CC 1:2:4 and plastering in CM 1:4, curing , scafolding, painting of all exposed pipe two coats of approved colour over one coat of primer material and labour cost etc complete 1)100 mm dia.( With wrapping & coating and laid under ground ) | 12.00 | Rmt |  | 3200.00 | 38400.00 | 2800.00 | 33600.00 | 2200.00 | 26400.00 | 3185.00 | 38220.00 | 3200.00 | 38400.00 | 2550.00 | 30600.00 | 26400.00 | Awasthi Electric Works
9.00 | 2)150 mm dia.( With wrapping & coating and laid under ground ) | 84.00 | Rmt |  | 4300.00 | 361200.00 | 4500.00 | 378000.00 | 2700.00 | 226800.00 | 3775.00 | 317100.00 | 3900.00 | 327600.00 | 3410.00 | 286440.00 | 226800.00 | Awasthi Electric Works
10.00 | Above Ground pipe Line: Supply. Erection, Testing and Commissioning of MS C CLASS pipes conforming to IS 1239 part 2 Pipe specials such as bends, tees, reducers, etc. shall confirm to ASTM A 234 Gr WPB forged. The pipe shall be with flanged joints / weld joints Rate quoted shall include for necessary pair of flanges, gaskets, nuts, bolts, MS fabricated angle , Hitch supports. Gl U shape clamps, Gl threaded rods, anchor fasteners nut bolts required duty , size, drilling with power machine of requred dia to suit clamping and supporting the pipes and fittings in position etc. for pipes being suspended from ceilings, beam bottom, clamped on to the walls, etc. Cost including making bores in wall , floors , chipping the concrete surface and making good in CC 1:2:4 and plastering in CM 1:4, curing , scafolding, painting of all exposed pipe two coats of approved colour over one coat of primer material and labour cost etc complete 1)80 mm dia. | 6.00 | Rmt |  | 2700.00 | 16200.00 | 2500.00 | 15000.00 | 1200.00 | 7200.00 | 1880.00 | 11280.00 | 1400.00 | 8400.00 | 2250.00 | 13500.00 | 7200.00 | Awasthi Electric Works
11.00 | 2)100 mm dia. | 118.00 | Rmt |  | 3000.00 | 354000.00 | 2250.00 | 265500.00 | 2000.00 | 236000.00 | 3465.00 | 408870.00 | 2400.00 | 283200.00 | 2680.00 | 316240.00 | 236000.00 | Awasthi Electric Works
12.00 | 3)150 mm dia. | 540.00 | Rmt |  | 4000.00 | 2160000.00 | 4350.00 | 2349000.00 | 2450.00 | 1323000.00 | 3165.00 | 1709100.00 | 3700.00 | 1998000.00 | 3120.00 | 1684800.00 | 1323000.00 | Awasthi Electric Works
13.00 | Supply, Erection, Testing and Commissioning of Sluice Valves rated for PN 16 ( Slim seal Inset to moulding seat type) level type handle as per detailed specifications, companion flanges, nuts, gaskets, bolts, etc complete as required. a) 65 mm dia. | 1.00 | Each |  | 16000.00 | 16000.00 | 12000.00 | 12000.00 | 16000.00 | 16000.00 | 12490.00 | 12490.00 | 10000.00 | 10000.00 | 15600.00 | 15600.00 | 10000.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
14.00 | b) 80mm dia. | 1.00 | Each |  | 22000.00 | 22000.00 | 14000.00 | 14000.00 | 18000.00 | 18000.00 | 14985.00 | 14985.00 | 12500.00 | 12500.00 | 18200.00 | 18200.00 | 12500.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
15.00 | c) 100 mm dia. | 4.00 | Each |  | 27000.00 | 108000.00 | 15500.00 | 62000.00 | 20000.00 | 80000.00 | 17495.00 | 69980.00 | 18300.00 | 73200.00 | 25600.00 | 102400.00 | 62000.00 | LAKSHMI ELECTRICAL ENTERPRISES
16.00 | d) 150 mm dia. | 10.00 | Each |  | 38000.00 | 380000.00 | 18000.00 | 180000.00 | 25000.00 | 250000.00 | 24485.00 | 244850.00 | 24500.00 | 245000.00 | 34100.00 | 341000.00 | 180000.00 | LAKSHMI ELECTRICAL ENTERPRISES
17.00 | Supply, Erection, Testing and Commissioning of Y Strainer rated for PN 16 ( Slim seal Inset to moulding seat type) level type handle as per detailed specifications, companion flanges, nuts, gaskets, bolts, etc complete as required. 1)150 NB | 2.00 | Each |  | 49000.00 | 98000.00 | 16000.00 | 32000.00 | 16500.00 | 33000.00 | 21475.00 | 42950.00 | 32000.00 | 64000.00 | 61000.00 | 122000.00 | 32000.00 | LAKSHMI ELECTRICAL ENTERPRISES
18.00 | 2)80 NB | 1.00 | Each |  | 27000.00 | 27000.00 | 11000.00 | 11000.00 | 13500.00 | 13500.00 | 14975.00 | 14975.00 | 18000.00 | 18000.00 | 36800.00 | 36800.00 | 11000.00 | LAKSHMI ELECTRICAL ENTERPRISES
19.00 | SINGLE YARD HYDRANT :Supply, Erection, Testing and Commissioning of :-63 mm dia female instantenous partem oblique hydrant valve chain and cap of PVC with necessary accessories, flanges, nuts-bolts.gasket etc complete. | 6.00 | Each |  | 10000.00 | 60000.00 | 9450.00 | 56700.00 | 11000.00 | 66000.00 | 7525.00 | 45150.00 | 7500.00 | 45000.00 | 8500.00 | 51000.00 | 45000.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
20.00 | Supply and Fixing of glass fronted hose cabinet powder coated with hinged door and lock, made out of 16 G (1.626mm thick) M.S. sheet of suitable size to accommodate the following ( for external). External hose cabinet size- 750x600x250 mm. cost including necessary supporting MS angle , nuts-bolts etc complete as per site reqirment , instruction of project incharge / consultants for fixing the MS hose box. a) 63 mm hose pipe (2 lengths of 15 M Each). b) Branch pipe & nozzle (one set). | 6.00 | set |  | 7000.00 | 42000.00 | 15000.00 | 90000.00 | 11000.00 | 66000.00 | 5525.00 | 33150.00 | 5200.00 | 31200.00 | 12500.00 | 75000.00 | 31200.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
21.00 | FIRE BRIGADE INLET 4 WAY CONNECTIONS with necessary fittinqs and acessories etc complete. a) Four 63 mm dia Gun metal instantaneous inlet arranged on a 150 mm dia Gl header with flanges. b) 1 No 150 mm non-return valves. c) A MS 16 G wall box with glass 4 mm thick fronted door to house 1 Mtr x 300 mm x 400 mm as per details | 1.00 | Each |  | 33000.00 | 33000.00 | 35000.00 | 35000.00 | 15000.00 | 15000.00 | 10490.00 | 10490.00 | 18000.00 | 18000.00 | 35000.00 | 35000.00 | 10490.00 | SAFE GUARD (INDIA)
22.00 | Supply. Erection, Testing and Commissioning of NRV ( waffer type) with required specials flange table 10, nuts, bolts, washer, gasket, union etc complete. a) 150 mm Dia | 2.00 | Each |  | 17000.00 | 34000.00 | 5500.00 | 11000.00 | 10000.00 | 20000.00 | 22485.00 | 44970.00 | 18500.00 | 37000.00 | 12100.00 | 24200.00 | 11000.00 | LAKSHMI ELECTRICAL ENTERPRISES
23.00 | b) 65 mm Dia | 1.00 | Each |  | 9000.00 | 9000.00 | 3000.00 | 3000.00 | 5100.00 | 5100.00 | 12490.00 | 12490.00 | 8200.00 | 8200.00 | 8519.00 | 8519.00 | 3000.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.00 | Air Cushion Vessel with 3 Nos Ball Valves and Pressure Relief Valve | 1.00 | Each |  | 70000.00 | 70000.00 | 25000.00 | 25000.00 | 17000.00 | 17000.00 | 31470.00 | 31470.00 | 12000.00 | 12000.00 | 32000.00 | 32000.00 | 12000.00 | HORMAH ELECTRO TECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 4630800.00 |  | 4865300.00 |  | 3477000.00 |  | 4607085.00 |  | 4992700.00 |  | 3956299.00
Lowest Amount Quoted BY: Awasthi Electric Works(3477000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairing of Fire hydrant system at Kadapa Airport Tender ID: 2022_AAI_119667_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works | 3477000.00 | L1
| 2 | SRI SARADHI FIRE SAFETY SYTEMS | 3956299.00 | L2
| 3 | SAFE GUARD (INDIA) | 4607085.00 | L3
| 4 | CENTRE TAP ENGINEERING | 4630800.00 | L4
| 5 | LAKSHMI ELECTRICAL ENTERPRISES | 4865300.00 | L5
| 6 | HORMAH ELECTRO TECH PRIVATE LIMITED | 4992700.00 | L6