## BoQ1
Government eProcurement System Created By: A DHANUSKODI Created Date/Time: 29-Jul-2022 03:21 PM Tender Title: R and M of Ground Light Facilities at Chennai Airport during the year 2022 23. SH Procurement of Spares for GLF installations Tender ID: 2022_AAI_119757_1
Tender Inviting Authority: Jt. GENERAL MANAGER (ENGG-ELECT)-II, AAI, CHENNAI AIRPORT, CHENNAI
Name of Work: R&M of Ground Light Facilities at Chennai Airport during the year 2022-23. SH: Procurement of Spares for GLF Installations.
Contract No: 2022_AAI_119757_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMA Private Limited(GSTN-27AAACA1016F1ZE) |  | SHRI K.D.INDUSTRIES(GSTN-09AGAPG0773C1ZV) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 200W 6.6A Bi-pin Halogen lamps for Runway Edge light fixture. (Cat No. 64386 Osram or Equivalent) as required. | 300.00 | Each |  | 330.00 | 99000.00 | 400.00 | 120000.00 | 415.00 | 124500.00 | 99000.00 | AMA Private Limited
2.00 | Supply of 200W 6.6A Halogen lamps with PK-30d base and male connector. (Cat No. 64382 Osram or Equivalent) as required. | 220.00 | Each |  | 705.60 | 155232.00 | 775.00 | 170500.00 | 820.00 | 180400.00 | 155232.00 | AMA Private Limited
3.00 | Supply of 200W 6.6 A Halogen Lamps with in-built holder with PK-30d base, female connector (Make: Osram Cat no. 64382 HLX-A 200W-15 6.6A PK30d or Equivalent) as required. | 50.00 | Each |  | 705.60 | 35280.00 | 725.00 | 36250.00 | 820.00 | 41000.00 | 35280.00 | AMA Private Limited
4.00 | Supply of 200W 6.6A Bi-pin Halogen lamps for Runway edge light fixture. (Cat No. 58750 Osram or Equivalent) as required. | 25.00 | Each |  | 360.00 | 9000.00 | 825.00 | 20625.00 | 850.00 | 21250.00 | 9000.00 | AMA Private Limited
5.00 | Supply of 105W 6.6A Prefocus dichroic coated reflector lamps suitable for inset type light fixtures (Cat No. 64339A of Osram or Equivalent) as required. | 350.00 | Each |  | 758.10 | 265335.00 | 895.00 | 313250.00 | 920.00 | 322000.00 | 265335.00 | AMA Private Limited
6.00 | Supply of 100W 6.6A Halogen lamps with PK-30d base and male connector. (Cat No. 64342 Osram or Equivalent) as required. | 50.00 | Each |  | 650.00 | 32500.00 | 775.00 | 38750.00 | 875.00 | 43750.00 | 32500.00 | AMA Private Limited
7.00 | Supply of 48W 6.6A Prefocus dichroic coated reflector lamps suitable for inset type Runway TDZ and Runway Centreline light fixtures (Cat No. 64337B of Osram or Equivalent) as required. | 600.00 | Each |  | 625.00 | 375000.00 | 785.00 | 471000.00 | 760.00 | 456000.00 | 375000.00 | AMA Private Limited
8.00 | Supply of 9W LED E27 Screw type, Cool day light Bulb. (Philips or equivalent make). | 20.00 | Each |  | 120.00 | 2400.00 | 250.00 | 5000.00 | 300.00 | 6000.00 | 2400.00 | AMA Private Limited
9.00 | Supply of 20W LED street light fitting with aluminium die cast housing with highpower LED's with IP65 protection. (Cat No. BRP042 of Philips or Equivalent) as required. | 4.00 | Each |  | 2800.00 | 11200.00 | 3500.00 | 14000.00 | 2500.00 | 10000.00 | 10000.00 | Techno Electricals
10.00 | Supply of 48W 6.6A Prefocus dichroic coated reflector lamps suitable for inset type Rapid Exit Taxiway Indicator Light fixtures (Cat No. 2990 40 827 of Philips or Equivalent) as required. | 50.00 | Each |  | 625.00 | 31250.00 | 775.00 | 38750.00 | 850.00 | 42500.00 | 31250.00 | AMA Private Limited
11.00 | Supply of Bi-pin Lamp holder for 200 W 6.6 A Halogen lamp as required. | 300.00 | Each |  | 400.00 | 120000.00 | 250.00 | 75000.00 | 275.00 | 82500.00 | 75000.00 | SHRI K.D.INDUSTRIES
12.00 | Supply of 200W 20/6.6 A 5000 Volts 50 Hz AC Isolating Transformer, series type, encapsuled in polyster resin, finally moulded in neoprene type rubber with primary and secondary leads, confirming to latest specifications as required suitable for airfield lighting applications etc. as required | 100.00 | Each |  | 4800.00 | 480000.00 | 4500.00 | 450000.00 | 4700.00 | 470000.00 | 450000.00 | SHRI K.D.INDUSTRIES
13.00 | Supply of 200W 6.6/6.6 A 5000 Volts 50 Hz AC Isolating Transformer, series type, encapsuled in polyster resin, finally moulded in neoprene type rubber with primary and secondary leads, confirming to latest specifications as required suitable for airfield lighting applications etc. as required | 10.00 | Each |  | 4800.00 | 48000.00 | 4500.00 | 45000.00 | 4700.00 | 47000.00 | 45000.00 | SHRI K.D.INDUSTRIES
14.00 | Supply of 100W 6.6/6.6 A 5000 Volts 50 Hz AC Isolating Transformer, series type, encapsuled in polyster resin, finally moulded in neoprene type rubber with primary and secondary leads, confirming to latest specifications as required suitable for airfield lighting applications etc. as required | 150.00 | Each |  | 4100.00 | 615000.00 | 4100.00 | 615000.00 | 4400.00 | 660000.00 | 615000.00 | AMA Private Limited, SHRI K.D.INDUSTRIES
15.00 | Supply of 10W 6.6/6.6 A 5000 Volts 50 Hz AC Isolating Transformer, series type, encapsuled in polyster resin, finally moulded in neoprene type rubber with primary and secondary leads, confirming to latest specifications as required suitable for airfield lighting applications etc. as required | 50.00 | Each |  | 2500.00 | 125000.00 | 2850.00 | 142500.00 | 3000.00 | 150000.00 | 125000.00 | AMA Private Limited
16.00 | Supply of 10m Length 2C x 4 mm2 Secondary lead cable with plug and receptacle. | 50.00 | Each |  | 1750.00 | 87500.00 | 2950.00 | 147500.00 | 1500.00 | 75000.00 | 75000.00 | Techno Electricals
17.00 | Supply of 27m Length 2C x 4 mm2 Secondary lead cable with plug and receptacle. | 30.00 | Each |  | 3960.00 | 118800.00 | 4950.00 | 148500.00 | 4500.00 | 135000.00 | 118800.00 | AMA Private Limited
18.00 | Supply of Secondary lead 2C x 4 mm2 with annealed copper wire with plug and socket of 1m length. | 20.00 | Each |  | 580.00 | 11600.00 | 550.00 | 11000.00 | 1000.00 | 20000.00 | 11000.00 | SHRI K.D.INDUSTRIES
19.00 | Supply of 0.5m Secondary lead with male connector suitable for Runway HIRL/Taxiway MIRL Elevated type fixtures. | 50.00 | Each |  | 340.00 | 17000.00 | 425.00 | 21250.00 | 700.00 | 35000.00 | 17000.00 | AMA Private Limited
20.00 | Supply of Connector kit suitable for use in the 5KV grade 1 x 6 mm2 size AFL copper conductor cable. | 100.00 | Each |  | 450.00 | 45000.00 | 395.00 | 39500.00 | 450.00 | 45000.00 | 39500.00 | SHRI K.D.INDUSTRIES
21.00 | Supply of Connector kit suitable for use in the 5KV grade 1 x 16 mm2 size AFL copper conductor cable. | 100.00 | Each |  | 450.00 | 45000.00 | 395.00 | 39500.00 | 450.00 | 45000.00 | 39500.00 | SHRI K.D.INDUSTRIES
22.00 | Supply of Connector kit suitable for use in the 5KV grade 1 x 25 mm2 size AFL Aluminium conductor cable. | 50.00 | Each |  | 500.00 | 25000.00 | 450.00 | 22500.00 | 2000.00 | 100000.00 | 22500.00 | SHRI K.D.INDUSTRIES
23.00 | Supply of EPR self-amalgamating HT rubber tape having water proof, moisture proof, corrosion and chemical resistive features suitable for 5KV grade AFL cables. Size 25mm x0.76mmx9.1M. (Stanvac Plysafe W963) | 25.00 | Each |  | 550.00 | 13750.00 | 450.00 | 11250.00 | 1750.00 | 43750.00 | 11250.00 | SHRI K.D.INDUSTRIES
24.00 | Supply of PVC Insulation Tape, 1.8cm x 7.5 mtr. Anchor/Steelgrip make | 200.00 | Each |  | 20.00 | 4000.00 | 25.00 | 5000.00 | 30.00 | 6000.00 | 4000.00 | AMA Private Limited
25.00 | Supply of 360O Clear Outer Lens suitable for existing AUN elevated type runway light fittings of AMA make. | 150.00 | Each |  | 2000.00 | 300000.00 | 1800.00 | 270000.00 | 2500.00 | 375000.00 | 270000.00 | SHRI K.D.INDUSTRIES
26.00 | Supply of 360O Inner Outer Lens suitable for existing AUN elevated type runway light fittings of AMA make. | 20.00 | Each |  | 2000.00 | 40000.00 | 1250.00 | 25000.00 | 2500.00 | 50000.00 | 25000.00 | SHRI K.D.INDUSTRIES
27.00 | Supply of 180O inner Clear lens suitable for existing Elevated type Runway Edge light fittings of AMA make. | 100.00 | Each |  | 1800.00 | 180000.00 | 1250.00 | 125000.00 | 2200.00 | 220000.00 | 125000.00 | SHRI K.D.INDUSTRIES
28.00 | Supply of 180O inner Red lens suitable for existing Elevated type Runway Edge light fittings of AMA make. | 50.00 | Each |  | 1800.00 | 90000.00 | 1250.00 | 62500.00 | 2200.00 | 110000.00 | 62500.00 | SHRI K.D.INDUSTRIES
29.00 | Supply of 180O inner Amber lens suitable for existing Elevated type Runway Edge light fittings of AMA make. | 50.00 | Each |  | 1800.00 | 90000.00 | 1250.00 | 62500.00 | 2200.00 | 110000.00 | 62500.00 | SHRI K.D.INDUSTRIES
30.00 | Supply of Green spreader suitable for existing Threshold light fittings of AMA make. | 50.00 | Each |  | 3300.00 | 165000.00 | 1750.00 | 87500.00 | 2400.00 | 120000.00 | 87500.00 | SHRI K.D.INDUSTRIES
31.00 | Supply of Clear spreader suitable for existing Approach light fittings AMA make. | 50.00 | Each |  | 3300.00 | 165000.00 | 1750.00 | 87500.00 | 2400.00 | 120000.00 | 87500.00 | SHRI K.D.INDUSTRIES
32.00 | Supply of Red spreader suitable for existing Stopway light fittings AMA make. | 50.00 | Each |  | 3300.00 | 165000.00 | 1750.00 | 87500.00 | 2400.00 | 120000.00 | 87500.00 | SHRI K.D.INDUSTRIES
33.00 | Supply of 1x48W, inset type uni-directional, TDZ light fittings, complete with prism assembly, optical assembly (lens/filter,reflectors etc.), "O"ring seal, pressure relief test plug, 6.6A halogen lamp, filters, die-cast aluminum inner body & outer cover and other accessories complete etc. as required meeting the requirement of latest ICAO Annex 14, FAA compliant and as specifications of Aerodrome Design Manual Part - IV (Visual Aids) latest edition. (without shallow base) (Make: ADB Safegate) | 8.00 | Each |  | 28000.00 | 224000.00 | 32000.00 | 256000.00 | 52000.00 | 416000.00 | 224000.00 | AMA Private Limited
34.00 | Supply of 2x48W, inset type Bi-directional (Clear/Clear), Centerline Light fitting, complete with prism assembly, optical assembly (lens/filter,reflectors etc.), "O"ring seal, pressure relief test plug, 6.6A halogen lamp, filters, die-cast aluminum inner body & outer cover and other accessories complete etc. as required meeting the requirement of latest ICAO Annex 14, FAA compliant and specifications of Aerodrome Design Manual Part - IV (Visual Aids) latest edition. (without shallow base) (Make: ADB Safegate) | 10.00 | Each |  | 29000.00 | 290000.00 | 34000.00 | 340000.00 | 55000.00 | 550000.00 | 290000.00 | AMA Private Limited
35.00 | Supply of 2x48W, inset type Bi-directional (Clear/Amber), Centerline Light fitting, complete with prism assembly, optical assembly (lens/filter,reflectorsetc), "O"ring seal, pressure relief test plug, 6.6A halogen lamp, filters, die-cast aluminum inner body & outer cover and other accessories complete etc., as required meeting the requirement of latest ICAO Annex 14, FAA compliant and as specifications of Aerodrome Design Manual Part - IV (Visual Aids) latest edition. (without shallow base) (Make: ADB Safegate) | 6.00 | Each |  | 29000.00 | 174000.00 | 34000.00 | 204000.00 | 55000.00 | 330000.00 | 174000.00 | AMA Private Limited
36.00 | Supply of Aluminium Reflector for AMA make PAPI Unit | 48.00 | Each |  | 2800.00 | 134400.00 | 2250.00 | 108000.00 | 2700.00 | 129600.00 | 108000.00 | SHRI K.D.INDUSTRIES
37.00 | Supply of Air filter for AMA make PAPI Unit | 36.00 | Each |  | 1800.00 | 64800.00 | 1250.00 | 45000.00 | 2500.00 | 90000.00 | 45000.00 | SHRI K.D.INDUSTRIES
38.00 | Supply of Leg Assembly for AMA make PAPI Unit | 36.00 | Each |  | 3235.00 | 116460.00 | 1750.00 | 63000.00 | 3500.00 | 126000.00 | 63000.00 | SHRI K.D.INDUSTRIES
39.00 | Supply of Base Plate for AMA make PAPI Unit | 24.00 | Each |  | 2200.00 | 52800.00 | 750.00 | 18000.00 | 1200.00 | 28800.00 | 18000.00 | SHRI K.D.INDUSTRIES
40.00 | Supply of Red filter for AMA make PAPI Unit | 36.00 | Each |  | 3300.00 | 118800.00 | 2500.00 | 90000.00 | 3000.00 | 108000.00 | 90000.00 | SHRI K.D.INDUSTRIES
41.00 | Supply of Upper Breakable Coupling for AMA make PAPI unit leg assembly. | 36.00 | Each |  | 1450.00 | 52200.00 | 750.00 | 27000.00 | 2500.00 | 90000.00 | 27000.00 | SHRI K.D.INDUSTRIES
42.00 | Supply of Lower Breakable Coupling for AMA make PAPI unit leg assembly. | 24.00 | Each |  | 1200.00 | 28800.00 | 750.00 | 18000.00 | 2500.00 | 60000.00 | 18000.00 | SHRI K.D.INDUSTRIES
43.00 | Supply of Upper Leg Plate for AMA make PAPI unit leg assembly. | 12.00 | Each |  | 780.00 | 9360.00 | 500.00 | 6000.00 | 1500.00 | 18000.00 | 6000.00 | SHRI K.D.INDUSTRIES
44.00 | Supply of Upper Leg Pipe (LH Threaded) AMA make PAPI unit leg assembly. | 16.00 | Each |  | 1500.00 | 24000.00 | 750.00 | 12000.00 | 1500.00 | 24000.00 | 12000.00 | SHRI K.D.INDUSTRIES
45.00 | Supply of Lower Leg Pipe (RH Threaded) AMA make PAPI unit leg assembly. | 16.00 | Each |  | 1500.00 | 24000.00 | 750.00 | 12000.00 | 1500.00 | 24000.00 | 12000.00 | SHRI K.D.INDUSTRIES
46.00 | Supply of Locking Nut for AMA make PAPI unit leg assembly. | 24.00 | Each |  | 525.00 | 12600.00 | 250.00 | 6000.00 | 850.00 | 20400.00 | 6000.00 | SHRI K.D.INDUSTRIES
47.00 | Supply of Threaded Adjustment Sleeve for AMA make PAPI unit leg assembly. | 12.00 | Each |  | 3400.00 | 40800.00 | 2500.00 | 30000.00 | 1750.00 | 21000.00 | 21000.00 | Techno Electricals
48.00 | Supply of Clear Lens for AMA make PAPI unit | 24.00 | Each |  | 3200.00 | 76800.00 | 2500.00 | 60000.00 | 1750.00 | 42000.00 | 42000.00 | Techno Electricals
49.00 | Supply of Checking Stick Base for AMA make PAPI Unit | 4.00 | Each |  | 2200.00 | 8800.00 | 1250.00 | 5000.00 | 1000.00 | 4000.00 | 4000.00 | Techno Electricals
50.00 | Supply of Fabric windsock of natural (white) and black with inner lining of length 168 inch in the shape of a truncated cone as per the specifications. | 20.00 | Each |  | 5000.00 | 100000.00 | 5500.00 | 110000.00 | 8500.00 | 170000.00 | 100000.00 | AMA Private Limited
51.00 | Supply of Full Thread SS 304 Hex Bolt with spring washer, Size: M10x25 for HIRL /MIRL fittings. | 2000.00 | Each |  | 20.00 | 40000.00 | 25.00 | 50000.00 | 15.00 | 30000.00 | 30000.00 | Techno Electricals
52.00 | Supply of 2 Pole Plug suitable for Youyang Make Bi-Directional Inset Type Runway Edge Light Fittings | 20.00 | Each |  | 450.00 | 9000.00 | 500.00 | 10000.00 | 500.00 | 10000.00 | 9000.00 | AMA Private Limited
53.00 | Supply of Lamp Holding Bracket for AMA make Runway Edge Light Fixtures. | 600.00 | Each |  | 425.00 | 255000.00 | 225.00 | 135000.00 | 500.00 | 300000.00 | 135000.00 | SHRI K.D.INDUSTRIES
54.00 | Supply of Jump Wire Suitable for Youyang Make Bi-Directional Inset Type Runway Edge Light Fittings. (Code No. 124-010B) | 25.00 | Each |  | 1000.00 | 25000.00 | 500.00 | 12500.00 | 500.00 | 12500.00 | 12500.00 | SHRI K.D.INDUSTRIES, Techno Electricals
55.00 | Supply of IN-SP 8"/LPE Ring/50mm suitable for Inset type Runway TDZ/Centerline of ADB safegate make. (Part No. 00012898). | 20.00 | Each |  | 4000.00 | 80000.00 | 1500.00 | 30000.00 | 1000.00 | 20000.00 | 20000.00 | Techno Electricals
56.00 | Supply of IN-SP 12"/Cable Terminal suitable for Inset type Runway Edge light of ADB safegate make. (Part No. 00013201). | 12.00 | Each |  | 3000.00 | 36000.00 | 1500.00 | 18000.00 | 800.00 | 9600.00 | 9600.00 | Techno Electricals
57.00 | Supply of IN-SP 12"/Interconnection CAB suitable for Inset type Runway Edge light of ADB safegate make. (Part No. 00012741). | 20.00 | Each |  | 3000.00 | 60000.00 | 1500.00 | 30000.00 | 800.00 | 16000.00 | 16000.00 | Techno Electricals
58.00 | Supply of IN-SP 8"/Cable Terminal suitable for Inset type Runway TDZ/Centerline of ADB safegate make. (Part No. 00013085). | 12.00 | Each |  | 3000.00 | 36000.00 | 1500.00 | 18000.00 | 800.00 | 9600.00 | 9600.00 | Techno Electricals
59.00 | Supply of Threading Stainless Steel Polished Tap Set including various sizes of SS Drill bits of 5.0 mm, 8.0 mm & 10.0 mm as complete as required. | 5.00 | Each |  | 1000.00 | 5000.00 | 500.00 | 2500.00 | 1000.00 | 5000.00 | 2500.00 | SHRI K.D.INDUSTRIES
60.00 | Supply of high speed semiconductor type HRC fuse, 100A, 690V. (Eaton/Bussman make, Model No.100 FE). | 25.00 | Each |  | 1750.00 | 43750.00 | 750.00 | 18750.00 | 1500.00 | 37500.00 | 18750.00 | SHRI K.D.INDUSTRIES
61.00 | Supply of driver unit with suitable dia for AMA make Taxiway MIRL LED fittings i/c LED, Heating filament etc. complete as required. | 50.00 | Each |  | 1750.00 | 87500.00 | 875.00 | 43750.00 | 1500.00 | 75000.00 | 43750.00 | SHRI K.D.INDUSTRIES
62.00 | Supply of FRP frangible pole of 50mm dia and height 880mm for Runway Approach light with suitable breakable coupling, base plate, bolts & nuts etc. confirming to ICAO requirements and as per Specifications complete as required. | 2.00 | Each |  | 13200.00 | 26400.00 | 9987.00 | 19974.00 | 6500.00 | 13000.00 | 13000.00 | Techno Electricals
63.00 | Supply of FRP frangible pole of 50mm dia and height 1370mm for Runway Approach light with suitable breakable coupling, base plate, bolts & nuts etc. confirming to ICAO requirements and as per Specifications complete as required. | 2.00 | Each |  | 20550.00 | 41100.00 | 11900.00 | 23800.00 | 10000.00 | 20000.00 | 20000.00 | Techno Electricals
64.00 | Supply of FRP frangible pole of 50mm dia and height 1570mm for Runway Approach light with suitable breakable coupling, base plate, bolts & nuts etc. confirming to ICAO requirements and as per Specifications complete as required. | 2.00 | Each |  | 23550.00 | 47100.00 | 14000.00 | 28000.00 | 10000.00 | 20000.00 | 20000.00 | Techno Electricals
65.00 | Supply of FRP frangible pole of 50mm dia and height 1630mm for Runway Approach light with suitable breakable coupling, base plate, bolts & nuts etc. confirming to ICAO requirements and as per Specifications complete as required. | 2.00 | Each |  | 24450.00 | 48900.00 | 14800.00 | 29600.00 | 12000.00 | 24000.00 | 24000.00 | Techno Electricals
| Total in Figures |  |  |  |  | 6360217.00 |  | 5688999.00 |  | 7240650.00
Lowest Amount Quoted BY: SHRI K.D.INDUSTRIES(5688999.00)

## BOQ Summary
BOQ Summary Details Tender Title: R and M of Ground Light Facilities at Chennai Airport during the year 2022 23. SH Procurement of Spares for GLF installations Tender ID: 2022_AAI_119757_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHRI K.D.INDUSTRIES | 5688999.00 | L1
| 2 | AMA Private Limited | 6360217.00 | L2
| 3 | Techno Electricals | 7240650.00 | L3