## BoQ1
Government eProcurement System Created By: BUSIREDDY SUDHAKAR REDDY Created Date/Time: 25-Jul-2022 04:30 PM Tender Title: Expansion of Turn pad and fillets for Link Taxi Track for Operation of B777-300ER type of Aircraft at Begumpet Airport, Hyderabad. SH-Electrical Works Tender ID: 2022_AAI_119812_1
Tender Inviting Authority: Asst.General Manager(E-E), AAI, Begumpet Airport.
Name of Work: Exponsion of Turnpad and fillets for Link Taxi Track for Operation of B777-300ER type of Aircraft at Begumpet Airport, Hyderabad.Sub-Head: Electrical Works.
Contract No: 2022_AAI_119812_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Balaji Engineering(GSTN-33ADGPV2628A1ZV) |  | CREATIVE TRADING CO(GSTN-07AMEPK8023F1Z9)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Inset Type Runway Edge Light Fitting complete with bottom box and all accessories including 2X105W halogen lamp, lens / filter, reflector etc. as required and as specified. a) Left Yellow/Right Red | 10.00 | Each |  | 52000.00 | 520000.00 | 55000.00 | 550000.00 | 68000.00 | 680000.00 | 520000.00 | Techno Electricals
2.00 | Supply of Inset Type Runway Edge Light Fitting complete with bottom box and all accessories including 2X105W halogen lamp, lens / filter, reflector etc. as required and as specified. a) Left Red/Right Yellow | 10.00 | Each |  | 52000.00 | 520000.00 | 55000.00 | 550000.00 | 68000.00 | 680000.00 | 520000.00 | Techno Electricals
3.00 | Supply of LED Taxiway Edge Elevated type light fixtures up to 12 Watts & meeting ICAO requirments LED lamp of series circuit 2.8 - 6.6 amps current, complete with base plate, breakable coupling, mounting assembly, gasket, Blue Dome , one 2 pole-plug with leads etc. conforming to particular specification as required. | 110.00 | Each |  | 4250.00 | 467500.00 | 4500.00 | 495000.00 | 4200.00 | 462000.00 | 462000.00 | CREATIVE TRADING CO
4.00 | Installation, Testing and Commissioning of inset fitting with core cutting, aligning and setting i/c providing sealing material and installation of Isolating Transformer, Crimping / Jointing of Plug receptacles, laying of secondary lead in existing GI pipe in groove i/c cutting & sealing of groove & other accessories required for commissioning i/c supply of all materials except fixture, secondary lead, plug & receptacles & isolating transformer etc. as required. | 14.00 | Each |  | 5800.00 | 81200.00 | 10000.00 | 140000.00 | 5500.00 | 77000.00 | 77000.00 | CREATIVE TRADING CO
5.00 | Supply of Three Hole Type C.I. Isolating Transformer housing box,water tight round type,metal container of outside size 330mm height 450mm made of 10mm thick cast iron moulding suitable to receive a light fitting base plate on the top and underground housing associated with transformer power cable and having a clear hole centre at one side surface centre 75mm above bottom surface suitable to receive one No. / two of 50mm dia "B" class GI pipe and including check nuts as required and another hole at 175mm from the bottom of the CI Box to receive one no. 15mm dia "B" class GI pipe and check nut as required.The box should have two SS earth bolts of M10 x 30mm tapped inside near the hole (4" away from the hole centre) and having a drain hole at the bottom suitably tapped to receive 15mm dia "B" class GI pipe and having clear opening of 220 mm at the top surface and 6 nos. M10 tapped hole at the hole centre 260 mm to receive fitting base plate and bolts as required as per the drawings. | 110.00 | Each |  | 5500.00 | 605000.00 | 5000.00 | 550000.00 | 5500.00 | 605000.00 | 550000.00 | Balaji Engineering
6.00 | Installation of transformer housing box with a base concrete of 1:3:6 of size 630 x 630 x 100mm thick all round concrete of 1:2:4 150mm thick. The top sloped with 1:2:4 cement concrete including providing and fixing 10" long 1/2" dia "B" class GI pipe with checknuts for drainage of water including excavation of side shoulder and re-filling (wherever the transformer are in a line the same has to be aligned in such a way that the centers fall in a straight line) etc. complete as required. | 110.00 | Job |  | 2700.00 | 297000.00 | 3000.00 | 330000.00 | 2500.00 | 275000.00 | 275000.00 | CREATIVE TRADING CO
7.00 | Supply of 2C x 4 sq.mm., 600V Grade Flexible Copper Conductor, EPR insulated & CPE (Chlorinated Polyethylen, cross - linked, heavy duty) outer sheath (Black colour) Secondary cable for Airport lighting circuits as required. | 1000.00 | Mtr |  | 150.00 | 150000.00 | 150.00 | 150000.00 | 170.00 | 170000.00 | 150000.00 | Techno Electricals, Balaji Engineering
8.00 | Supply of 20 / 6.6 amps of 15 Watt Isolating transformer 5KV grade suitable to Operate up to 12 watt LED Light of Midium intensity Light Fitting encapsulated in polyster resin finally moulded in neoprene rubber type or black cross linked polychloroprene compound like TPE /TPR / TPV with primary and secondary connection as specified in particular specifications. | 110.00 | Each |  | 2950.00 | 324500.00 | 3000.00 | 330000.00 | 2550.00 | 280500.00 | 280500.00 | CREATIVE TRADING CO
9.00 | Supply of 16sqmm 5 KV grade dry type Plug and Receptacle of type I, class 'B' primary connector kit with field attachment and suitable for 5 KV grade single core copper conductor, XLPE insulated PE sheathed Unshielded Unscreened) cable, complete as required confirming to the technical specification. | 140.00 | Each |  | 425.00 | 59500.00 | 500.00 | 70000.00 | 400.00 | 56000.00 | 56000.00 | CREATIVE TRADING CO
10.00 | Supply of Single Core 16 Sq.mm Airfield Lighting (AFL) 5 KV grade, Copper Conductor, XLPE insulated, Polyethylene (PE)sheathed Unshielded (Unscreened) Type, Unarmoured Underground Cable for airfield lighting Primary Circuit, confirming to IS :7098 Part-II and specification as specified in technical specifications. | 3700.00 | Mtr |  | 200.00 | 740000.00 | 250.00 | 925000.00 | 200.00 | 740000.00 | 740000.00 | Techno Electricals, CREATIVE TRADING CO
11.00 | Supply of 63 mm Dia (outer dia), ISI marked Double Walled Corrugated high density polyethylene pipe (DWC-HDPE) having corrugation on the outer wall confirming to IS 14930 Part-II complete with necessary fittings for jointing for protection of 5.0KV grade under ground cable complete etc as required. | 1500.00 | Mtr |  | 78.00 | 117000.00 | 90.00 | 135000.00 | 100.00 | 150000.00 | 117000.00 | Techno Electricals
12.00 | Laying of one number of 63 mm Dia (outer dia) of Double Walled Corrugated high density polyethylene pipe (DWC-HDPE) for protection of 5.0KV grade under ground cable directly in ground at the depth of 80 CM and width of 35 cm including excavation and refilling the trench and joining of pipes etc as required. | 1440.00 | Mtr |  | 110.00 | 158400.00 | 100.00 | 144000.00 | 100.00 | 144000.00 | 144000.00 | Balaji Engineering, CREATIVE TRADING CO
13.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 5 KV grade of size up to 35 Sqmm in the existing RCC/HUME/STONE WARE/METAL/DWC-HDPE/GI pipe as required. | 4248.00 | Mtr |  | 20.00 | 84960.00 | 20.00 | 84960.00 | 15.00 | 63720.00 | 63720.00 | CREATIVE TRADING CO
14.00 | Cutting groove of size 50mm wide and 100mm deep with saw cut machine, refilling and finishing the surface with chemical compound ,coarse sand, bitumen, etc complete as required | 100.00 | Mtr |  | 400.00 | 40000.00 | 500.00 | 50000.00 | 700.00 | 70000.00 | 40000.00 | Techno Electricals
15.00 | Supply of Dummy Plate 10 mm Thickness, 330 mm Dia,Including provision of 6 nos, M10 tapped holes on top and 6 nos through holes at bottom to fix M10 bolts for fixing on exisitng C.I. Transformer house boxes | 20.00 | Each |  | 850.00 | 17000.00 | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 17000.00 | Techno Electricals
16.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 14.00 | Each |  | 6000.00 | 84000.00 | 6000.00 | 84000.00 | 8000.00 | 112000.00 | 84000.00 | Techno Electricals, Balaji Engineering
17.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from FRLS from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 140.00 | Mtr |  | 200.00 | 28000.00 | 250.00 | 35000.00 | 250.00 | 35000.00 | 28000.00 | Techno Electricals
18.00 | Providing and laying of 6 SWG GI wire inside the excavated cable trench/humepipe for loop earthing etc complete as required. | 3000.00 | Mtr |  | 20.00 | 60000.00 | 20.00 | 60000.00 | 20.00 | 60000.00 | 60000.00 | Techno Electricals, Balaji Engineering, CREATIVE TRADING CO
| Total in Figures |  |  |  |  | 4354060.00 |  | 4702960.00 |  | 4680220.00
Lowest Amount Quoted BY: Techno Electricals(4354060.00)

## BOQ Summary
BOQ Summary Details Tender Title: Expansion of Turn pad and fillets for Link Taxi Track for Operation of B777-300ER type of Aircraft at Begumpet Airport, Hyderabad. SH-Electrical Works Tender ID: 2022_AAI_119812_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals | 4354060.00 | L1
| 2 | CREATIVE TRADING CO | 4680220.00 | L2
| 3 | Balaji Engineering | 4702960.00 | L3