## BoQ1
Government eProcurement System Created By: Rohit Chaudhary Created Date/Time: 01-Aug-2022 01:00 PM Tender Title: Establishment and Augmentation of IT and Airports Systems Infrastructure at Rourkela Airport Tender ID: 2022_AAI_120212_1
Tender Inviting Authority: <Airports Authority of India, RHQ-ER>
Name of Work: <Establishment & Augmentation of IT & Airports Systems Infrastructure at Rourkela Airportr>
Contract No: <XYZ>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | HUE SERVICE PRIVATE LIMITED(GSTN-19AACCH6467K1Z2) |  | Binary Solutions Pvt Ltd(GSTN-19AABCB1232H1Z3) |  | SWARNALI SQUARE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Active Components
1.01 | Supply, Installation, Configuration, Testing & Commissioning of Outdoor IP IR Fixed Bullet Camera with 1 year warranty | 13.00 | Nos | 17764.00 | 16325.00 | 212225.00 | 17200.00 | 223600.00 | 17910.00 | 232830.00 | 212225.00 | HUE SERVICE PRIVATE LIMITED
1.02 | Supply, Installation, Configuration, Testing & Commissioning of Indoor IP IR Dome Camera with 1 year warranty | 7.00 | Nos | 12013.00 | 11800.00 | 82600.00 | 12100.00 | 84700.00 | 12599.00 | 88193.00 | 82600.00 | HUE SERVICE PRIVATE LIMITED
1.03 | Supply, Installation, Configuration, Testing & Commissioning of Outdoor IP IR PTZ Camera with 1 year warranty | 2.00 | Nos | 131401.00 | 129235.00 | 258470.00 | 130211.00 | 260422.00 | 135588.00 | 271176.00 | 258470.00 | HUE SERVICE PRIVATE LIMITED
1.04 | Supply, Installation, Configuration, Testing & Commissioning of 64 Chanel Network Video Recorder having 8 sata slot with 1 year warranty | 1.00 | Nos | 107996.00 | 110450.00 | 110450.00 | 108950.00 | 108950.00 | 113449.00 | 113449.00 | 108950.00 | Binary Solutions Pvt Ltd
1.05 | Supply, Installation, Configuration, Testing & Commissioning of 8TB HDD with 1 year warranty | 6.00 | Nos | 22765.00 | 21700.00 | 130200.00 | 22430.00 | 134580.00 | 26356.00 | 158136.00 | 130200.00 | HUE SERVICE PRIVATE LIMITED
1.06 | Supply, Installation, Configuration, Testing & Commissioning of UTM with subscription & 1 years warranty | 1.00 | Nos | 509357.00 | 478220.00 | 478220.00 | 499254.00 | 499254.00 | 519873.00 | 519873.00 | 478220.00 | HUE SERVICE PRIVATE LIMITED
1.07 | Supply, Installation, Configuration, Testing & Commissioning of Layer 2 PoE + Switch Min. 24 Port with 1 year warranty | 3.00 | Nos | 227380.00 | 275210.00 | 825630.00 | 263333.00 | 789999.00 | 274208.00 | 822624.00 | 789999.00 | Binary Solutions Pvt Ltd
1.08 | Supply, Installation, Configuration, Testing & Commissioning of 10G SFP for switches with 1 year warranty | 14.00 | Nos | 53372.00 | 45230.00 | 633220.00 | 50260.00 | 703640.00 | 50335.00 | 704690.00 | 633220.00 | HUE SERVICE PRIVATE LIMITED
1.09 | Supply, Installation, Configuration, Testing & Commissioning of Layer 2 POE + Switch Min. 8 Port with 1 year warranty | 6.00 | Nos | 227710.00 | 215245.00 | 1291470.00 | 221842.00 | 1331052.00 | 231004.00 | 1386024.00 | 1291470.00 | HUE SERVICE PRIVATE LIMITED
1.10 | Supply, Installation, Configuration, Testing & Commissioning of Wireless Access Point with 1-year warranty. One of them should work as WAP Controller | 5.00 | Nos | 82128.00 | 75225.00 | 376125.00 | 79125.00 | 395625.00 | 82392.00 | 411960.00 | 376125.00 | HUE SERVICE PRIVATE LIMITED
1.11 | Supply, Installation, Testing & Commissioning of 1KVA Integrated UPS with atleast 10 minutes back up with 1-year warranty on UPS & Batteries | 4.00 | Nos | 50124.00 | 48300.00 | 193200.00 | 48300.00 | 193200.00 | 50294.00 | 201176.00 | 193200.00 | HUE SERVICE PRIVATE LIMITED, Binary Solutions Pvt Ltd
1.12 | Supply, Installation, Configuration, Testing & Commissioning of 55" Display Screen with duty cycle 24 x7 with 1-year warranty | 2.00 | Nos | 119370.00 | 110500.00 | 221000.00 | 102800.00 | 205600.00 | 107045.00 | 214090.00 | 205600.00 | Binary Solutions Pvt Ltd
1.13 | Supply, installation, Configuration, Testing & Commissioning of 49" LFD with duty cycle 24 x 7 having rj45 port with 1-year warranty | 4.00 | Nos | 72190.00 | 71650.00 | 286600.00 | 70233.00 | 280932.00 | 73133.00 | 292532.00 | 280932.00 | Binary Solutions Pvt Ltd
1.14 | Supply, Installation, Configuration, Testing & Commissioning of 8 Port FXO / FXS Convertor for Analog Telephone with 1 year warranty | 1.00 | Nos | 33676.00 | 38250.00 | 38250.00 | 37250.00 | 37250.00 | 38788.00 | 38788.00 | 37250.00 | Binary Solutions Pvt Ltd
2.00 | Passive Components
2.01 | Supply of 2 pair Telephone Cable | 400.00 | Mtr | 21.00 | 21.00 | 8400.00 | 22.00 | 8800.00 | 22.00 | 8800.00 | 8400.00 | HUE SERVICE PRIVATE LIMITED
2.02 | Supply, Installation, Fixation, Termination, Testing & Commissioning of I/O Complete with single face plate, module & Back box for Telephone Point | 22.00 | Nos | 514.00 | 490.00 | 10780.00 | 522.00 | 11484.00 | 543.00 | 11946.00 | 10780.00 | HUE SERVICE PRIVATE LIMITED
2.03 | Supply of CAT6A Indoor UTP Cable (LSZH) | 3355.00 | Mtr | 77.00 | 75.00 | 251625.00 | 77.00 | 258335.00 | 80.00 | 268400.00 | 251625.00 | HUE SERVICE PRIVATE LIMITED
2.04 | Supply of CAT6A Outdoor UTP Cable (LSZH) | 915.00 | Mtr | 170.00 | 165.00 | 150975.00 | 169.00 | 154635.00 | 175.00 | 160125.00 | 150975.00 | HUE SERVICE PRIVATE LIMITED
2.05 | Supply, Installation, Testing & Commissioning of CAT6A Patch Cord 1Mtrs | 65.00 | Nos | 698.00 | 650.00 | 42250.00 | 690.00 | 44850.00 | 718.00 | 46670.00 | 42250.00 | HUE SERVICE PRIVATE LIMITED
2.06 | Supply, Installation, Testing & Commissioning of CAT6A Patch Cord 2 Mtrs | 20.00 | Nos | 879.00 | 790.00 | 15800.00 | 555.00 | 11100.00 | 577.00 | 11540.00 | 11100.00 | Binary Solutions Pvt Ltd
2.07 | Supply, Installation, Fixation, Termination, Testing & Commissioning of CAT6A I/O Complete with single face plate, module & Back box | 30.00 | Nos | 1088.00 | 995.00 | 29850.00 | 767.00 | 23010.00 | 798.00 | 23940.00 | 23010.00 | Binary Solutions Pvt Ltd
2.08 | Supply, Installation, Fixation, Termination, Testing & Commissioning of CAT6A RJ45 Connector | 80.00 | Nos | 176.00 | 166.00 | 13280.00 | 176.00 | 14080.00 | 183.00 | 14640.00 | 13280.00 | HUE SERVICE PRIVATE LIMITED
2.09 | Supply, Installation, Testing & Commissioning of CAT6A 24 port Jack Panel (Fully Loaded) | 3.00 | Nos | 19030.00 | 18990.00 | 56970.00 | 19565.00 | 58695.00 | 20373.00 | 61119.00 | 56970.00 | HUE SERVICE PRIVATE LIMITED
2.10 | Supply of Armoured 12 Core SM OFC Cable | 3000.00 | Mtr | 143.00 | 135.00 | 405000.00 | 127.00 | 381000.00 | 132.00 | 396000.00 | 381000.00 | Binary Solutions Pvt Ltd
2.11 | Supply, Installation, Testing & Commissioning of Fiber Patch Cord (SM) (duplex 2 Mtr, LC-LC) | 14.00 | Nos | 1942.00 | 1856.00 | 25984.00 | 1888.00 | 26432.00 | 1965.00 | 27510.00 | 25984.00 | HUE SERVICE PRIVATE LIMITED
2.12 | Supply, Installation, Testing & Commissioning of Fully Loaded LIU for 12 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 2.00 | Nos | 24885.00 | 23450.00 | 46900.00 | 22989.00 | 45978.00 | 23938.00 | 47876.00 | 45978.00 | Binary Solutions Pvt Ltd
2.13 | Supply, Installation, Testing & Commissioning of Fully Loaded LIU for 24 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 6.00 | Nos | 35168.00 | 32560.00 | 195360.00 | 35087.00 | 210522.00 | 36536.00 | 219216.00 | 195360.00 | HUE SERVICE PRIVATE LIMITED
3.00 | Racks
3.01 | Supply, Installation, Testing & Commissioning of Indoor Floor Mount 42U Rack with 1-year warranty | 1.00 | Nos | 103242.00 | 98750.00 | 98750.00 | 98765.00 | 98765.00 | 102843.00 | 102843.00 | 98750.00 | HUE SERVICE PRIVATE LIMITED
3.02 | Supply, Installation, Testing & Commissioning of Indoor Wall Mount 12U Rack with 1-year warranty | 1.00 | Nos | 13640.00 | 13500.00 | 13500.00 | 12990.00 | 12990.00 | 13526.00 | 13526.00 | 12990.00 | Binary Solutions Pvt Ltd
3.03 | Supply, Installation, Testing & Commissioning of outdoor AC Rack Minimum 12U Rack with 1- year warranty | 5.00 | Nos | 388945.00 | 375220.00 | 1876100.00 | 380765.00 | 1903825.00 | 396490.00 | 1982450.00 | 1876100.00 | HUE SERVICE PRIVATE LIMITED
4.00 | Other Miscellaneous Items
4.01 | Supply of Metal Flexible | 50.00 | Mtr | 30.00 | 100.00 | 5000.00 | 99.00 | 4950.00 | 103.00 | 5150.00 | 4950.00 | Binary Solutions Pvt Ltd
4.02 | Supply of HDPE Pipe | 80.00 | Mtr | 103.00 | 78.00 | 6240.00 | 76.00 | 6080.00 | 79.00 | 6320.00 | 6080.00 | Binary Solutions Pvt Ltd
4.03 | Supply of GI Pipe/ Conduit | 1500.00 | Mtr | 80.00 | 510.00 | 765000.00 | 438.00 | 657000.00 | 456.00 | 684000.00 | 657000.00 | Binary Solutions Pvt Ltd
4.04 | Supply of PVC Channel ISI Marked | 40.00 | Mtr | 513.00 | 36.00 | 1440.00 | 35.00 | 1400.00 | 36.00 | 1440.00 | 1400.00 | Binary Solutions Pvt Ltd
4.05 | Supply of PVC Conduit ISI Marked | 100.00 | Mtr | 38.00 | 31.00 | 3100.00 | 34.00 | 3400.00 | 35.00 | 3500.00 | 3100.00 | HUE SERVICE PRIVATE LIMITED
4.06 | Supply, Installation, Testing & Commissioning of OFC Route Marker - Concrete | 150.00 | Mtr | 31.00 | 1490.00 | 223500.00 | 9700.00 | 1455000.00 | 10100.00 | 1515000.00 | 223500.00 | HUE SERVICE PRIVATE LIMITED
4.07 | Supply, Installation, Testing & Commissioning of OFC Route Marker - Flexible | 10.00 | Nos | 1539.00 | 1910.00 | 19100.00 | 20340.00 | 203400.00 | 21180.00 | 211800.00 | 19100.00 | HUE SERVICE PRIVATE LIMITED
4.08 | Supply, Installation, Testing & Commissioning of 20 pair krone box with module with 1 year warranty | 20.00 | Nos | 1978.00 | 1590.00 | 31800.00 | 1400.00 | 28000.00 | 1457.00 | 29140.00 | 28000.00 | Binary Solutions Pvt Ltd
4.09 | Supply, Installation, Testing & Commissioning of 4 Mtr pole | 2.00 | Nos | 1611.00 | 13925.00 | 27850.00 | 1980.00 | 3960.00 | 2061.00 | 4122.00 | 3960.00 | Binary Solutions Pvt Ltd
4.10 | Supply, Installation, Testing & Commissioning of Heavy Duty FRP/GRP/Composite resin Manhole Chamber suitable for laying of OFC Cables. Minimum Size 900mm x 600mm x1200mm (L x B x H), Chamber cover should of heavy duty M20 grade RCC cover with minimum thickness of 100mm. Thickness of the cover should within +/- 5mm tolerance. | 4.00 | Nos | 14645.00 | 28500.00 | 114000.00 | 21800.00 | 87200.00 | 22700.00 | 90800.00 | 87200.00 | Binary Solutions Pvt Ltd
4.11 | Comprehensive AMC of AEBAS Devices | 6.00 | Nos | 27899.00 | 1520.00 | 9120.00 | 100.00 | 600.00 | 10.00 | 60.00 | 60.00 | SWARNALI SQUARE
5.00 | Services
5.01 | Laying of CAT6A UTP/ 2Pair Telephone Cable through Channel/ Conduit/ Raceway/ Cable Tray/ HDPE Pipe/ GI Conduit/ Pipe / Wall etc. | 4670.00 | Mtr. | 23.00 | 21.00 | 98070.00 | 18.00 | 84060.00 | 23.00 | 107410.00 | 84060.00 | Binary Solutions Pvt Ltd
5.02 | Laying of OFC Cable 12 Core SM through HDPE Pipe/ GI Conduit/Raceway/ Cable Tray, Wall etc. | 3000.00 | Mtr. | 27.00 | 25.00 | 75000.00 | 22.00 | 66000.00 | 22.00 | 66000.00 | 66000.00 | Binary Solutions Pvt Ltd, SWARNALI SQUARE
5.03 | Laying of PVC/ Metal Flexible | 130.00 | Nos | 12.00 | 10.00 | 1300.00 | 13.00 | 1690.00 | 13.00 | 1690.00 | 1300.00 | HUE SERVICE PRIVATE LIMITED
5.04 | Laying / Fixing of PVC Channel/ Conduit/ Box Channel through Wall/ Raceway/ Cable Tray/ Existing Trench/ False Ceiling etc. | 250.00 | Mtr. | 13.00 | 11.00 | 2750.00 | 13.00 | 3250.00 | 13.00 | 3250.00 | 2750.00 | HUE SERVICE PRIVATE LIMITED
5.05 | Laying of HDPE Pipe/ GI Conduit through Wall/ Raceway/ Cable Tray/ Existing Trench etc. | 520.00 | Mtr. | 18.00 | 16.00 | 8320.00 | 11.00 | 5720.00 | 11.00 | 5720.00 | 5720.00 | Binary Solutions Pvt Ltd, SWARNALI SQUARE
5.06 | Laying of HDPE Pipe/ GI Conduit through Soft Soil digging and back filling with sand & brick | 500.00 | Mtr. | 397.00 | 410.00 | 205000.00 | 280.00 | 140000.00 | 291.00 | 145500.00 | 140000.00 | Binary Solutions Pvt Ltd
5.07 | Laying of HDPE Pipe/ GI Conduit through Hard Soil digging and back filling with sand & brick | 500.00 | Mtr. | 879.00 | 810.00 | 405000.00 | 499.00 | 249500.00 | 519.00 | 259500.00 | 249500.00 | Binary Solutions Pvt Ltd
5.08 | Laying of HDPE Pipe/ GI Conduit through Road / Concrete Cutting and restoration of Road & Concrete | 20.00 | Mtr | 1100.00 | 1070.00 | 21400.00 | 1200.00 | 24000.00 | 1249.00 | 24980.00 | 21400.00 | HUE SERVICE PRIVATE LIMITED
5.09 | Installation, Configuration, Integration, Testing & Commissioning of Entire Infrastructure as per AAI Requirement | 1.00 | Job | 80208.00 | 75000.00 | 75000.00 | 23456.00 | 23456.00 | 24424.00 | 24424.00 | 23456.00 | Binary Solutions Pvt Ltd
5.10 | Project Documentation of Entire Solution | 1.00 | Job | 22896.00 | 20000.00 | 20000.00 | 1300.00 | 1300.00 | 1353.00 | 1353.00 | 1300.00 | Binary Solutions Pvt Ltd
6.00 | Comprehensive Annual Maintenance for 1st to 5th
6.01 | Comprehensive Annual Maintenance Contract of Outdoor HD IP PTZ Camera for 1st, 2nd year, 3rd, 4th & 5 year (Make Sparsh Model SS-IPR20135P-W) | 3.00 | Nos | 6576.00 | 6200.00 | 18600.00 | 5000.00 | 15000.00 | 5206.00 | 15618.00 | 15000.00 | Binary Solutions Pvt Ltd
6.02 | Comprehensive Annual Maintenance Contract of Indoor HD IP PTZ Camera for 1st, 2nd year, 3rd, 4th & 5 year (Make Sparsh Model SS-IPR20135P-W) | 3.00 | Nos | 6576.00 | 6200.00 | 18600.00 | 5000.00 | 15000.00 | 5206.00 | 15618.00 | 15000.00 | Binary Solutions Pvt Ltd
6.03 | Comprehensive Annual Maintenance Contract of Outdoor Fixed HD IP Camera (Bullet) for 1st, 2nd year, 3rd, 4th & 5 year (Make Sparsh Model SC-IP20XP-R-20) | 1.00 | Nos | 880.00 | 700.00 | 700.00 | 500.00 | 500.00 | 520.00 | 520.00 | 500.00 | Binary Solutions Pvt Ltd
6.04 | Comprehensive Annual Maintenance Contract of Indoor Fixed HD IP Camera for 1st, 2nd year, 3rd, 4th & 5 year (Make Sparsh Model SC-IP20DSP-V212R2) | 9.00 | Nos | 598.00 | 450.00 | 4050.00 | 400.00 | 3600.00 | 416.00 | 3744.00 | 3600.00 | Binary Solutions Pvt Ltd
6.05 | Comprehensive Annual Maintenance Contract of Display Screen 40 inches HD LED Monitor for 1st, 2nd year, 3rd, 4th & 5 year (Make VU) | 1.00 | Nos | 3616.00 | 3200.00 | 3200.00 | 3200.00 | 3200.00 | 3332.00 | 3332.00 | 3200.00 | HUE SERVICE PRIVATE LIMITED, Binary Solutions Pvt Ltd
6.06 | Comprehensive Annual Maintenance Contract of D-link 24 Port 10*100 with combo ports for 1st, 2nd year, 3rd, 4th & 5 year (Make D-Link) | 1.00 | Nos | 11375.00 | 7200.00 | 7200.00 | 7232.00 | 7232.00 | 7530.00 | 7530.00 | 7200.00 | HUE SERVICE PRIVATE LIMITED
6.07 | Comprehensive Annual Maintenance Contract of 12V DC 2 AMP Power supply adapter for 1st, 2nd year, 3rd, 4th & 5 year (Make Sparsh) | 9.00 | Nos |  | 150.00 | 1350.00 | 100.00 | 900.00 | 104.00 | 936.00 | 900.00 | Binary Solutions Pvt Ltd
6.08 | Comprehensive Annual Maintenance Contract of LED Monitor 43 inches for 1st, 2nd year, 3rd, 4th & 5 year (Make LG) | 3.00 | Nos | 3616.00 | 2925.00 | 8775.00 | 1600.00 | 4800.00 | 1666.00 | 4998.00 | 4800.00 | Binary Solutions Pvt Ltd
6.09 | Comprehensive Annual Maintenance Contract of Server Dell for 1st, 2nd year, 3rd, 4th & 5 year (Make Dell Poweredge R330) | 1.00 | Nos | 43065.00 | 32000.00 | 32000.00 | 3000.00 | 3000.00 | 3123.00 | 3123.00 | 3000.00 | Binary Solutions Pvt Ltd
6.10 | Comprehensive Annual Maintenance Contract of Workstation Dell for 1st, 2nd year, 3rd, 4th & 5 year (Make Dell Optiplex 3050) | 1.00 | Nos | 6200.00 | 4200.00 | 4200.00 | 3000.00 | 3000.00 | 3123.00 | 3123.00 | 3000.00 | Binary Solutions Pvt Ltd
6.11 | Comprehensive Annual Maintenance Contract of D-link Switch for 1st, 2nd year, 3rd, 4th & 5 year (Make D-Link) | 1.00 | Nos | 11375.00 | 7200.00 | 7200.00 | 5600.00 | 5600.00 | 5831.00 | 5831.00 | 5600.00 | Binary Solutions Pvt Ltd
7.00 | Comprehensive Annual Maintenance for 2nd to 5th
7.01 | Comprehensive Annual Maintenance Contract of Outdoor IP IR Fixed Bullet Camera for 2nd year, 3rd, 4th & 5 year | 13.00 | Nos | 2815.00 | 1950.00 | 25350.00 | 1500.00 | 19500.00 | 1562.00 | 20306.00 | 19500.00 | Binary Solutions Pvt Ltd
7.02 | Comprehensive Annual Maintenance Contract of Indoor IP IR Dome Camera for 2nd year, 3rd, 4th & 5 year | 7.00 | Nos | 1911.00 | 1500.00 | 10500.00 | 1000.00 | 7000.00 | 1041.00 | 7287.00 | 7000.00 | Binary Solutions Pvt Ltd
7.03 | Comprehensive Annual Maintenance Contract of Outdoor IP IR PTZ Camera for 2nd year, 3rd, 4th & 5 year | 2.00 | Nos | 21044.00 | 14220.00 | 28440.00 | 18700.00 | 37400.00 | 19472.00 | 38944.00 | 28440.00 | HUE SERVICE PRIVATE LIMITED
7.04 | Comprehensive Annual Maintenance Contract of 64 Chanel Network Video Recorder having 8 sata slot for 2nd year, 3rd, 4th & 5 year | 1.00 | Nos | 17303.00 | 15250.00 | 15250.00 | 1000.00 | 1000.00 | 1041.00 | 1041.00 | 1000.00 | Binary Solutions Pvt Ltd
7.05 | Comprehensive Annual Maintenance Contract of 8TB HDD with 1 year warranty | 6.00 | Nos | 3643.00 | 1550.00 | 9300.00 | 100.00 | 600.00 | 104.00 | 624.00 | 600.00 | Binary Solutions Pvt Ltd
7.06 | Comprehensive Annual Maintenance Contract of UTM with subscription for 2nd year, 3rd, 4th & 5 year | 1.00 | Nos | 80460.00 | 25350.00 | 25350.00 | 43900.00 | 43900.00 | 45713.00 | 45713.00 | 25350.00 | HUE SERVICE PRIVATE LIMITED
7.07 | Comprehensive Annual Maintenance Contract of Layer 2 PoE + Switch Min. 24 Port for 2nd year, 3rd, 4th & 5 year | 3.00 | Nos | 36401.00 | 22720.00 | 68160.00 | 23400.00 | 70200.00 | 24366.00 | 73098.00 | 68160.00 | HUE SERVICE PRIVATE LIMITED
7.08 | Comprehensive Annual Maintenance Contract of 10G SFP for switches for 2nd year, 3rd, 4th & 5 year | 14.00 | Nos | 8678.00 | 3500.00 | 49000.00 | 3000.00 | 42000.00 | 3123.00 | 43722.00 | 42000.00 | Binary Solutions Pvt Ltd
7.09 | Comprehensive Annual Maintenance Contract of Layer 2 POE + Switch Min. 8 Port for 2nd year, 3rd, 4th & 5 year | 6.00 | Nos | 36401.00 | 19700.00 | 118200.00 | 13456.00 | 80736.00 | 14012.00 | 84072.00 | 80736.00 | Binary Solutions Pvt Ltd
7.10 | Comprehensive Annual Maintenance Contract of Wireless Access Point for 2nd year, 3rd, 4th & 5 year | 5.00 | Nos | 13175.00 | 5450.00 | 27250.00 | 7689.00 | 38445.00 | 8006.00 | 40030.00 | 27250.00 | HUE SERVICE PRIVATE LIMITED
7.11 | Comprehensive Annual Maintenance Contract of 1KVA Integrated UPS along with batteries with atleast 10 minutes back up for 2nd year, 3rd, 4th & 5 year | 4.00 | Nos | 8034.00 | 2680.00 | 10720.00 | 6565.00 | 26260.00 | 6836.00 | 27344.00 | 10720.00 | HUE SERVICE PRIVATE LIMITED
7.12 | Comprehensive Annual Maintenance Contract of 55" Display Screen with duty cycle 24 x7 for 2nd year, 3rd, 4th & 5 year | 2.00 | Nos | 19135.00 | 11200.00 | 22400.00 | 8700.00 | 17400.00 | 9059.00 | 18118.00 | 17400.00 | Binary Solutions Pvt Ltd
7.13 | Comprehensive Annual Maintenance Contract of 49" LFD with duty cycle 24 x 7 having rj45 port for 2nd year, 3rd, 4th & 5 year | 7.00 | Nos | 11571.00 | 7320.00 | 51240.00 | 5000.00 | 35000.00 | 5206.00 | 36442.00 | 35000.00 | Binary Solutions Pvt Ltd
7.14 | Comprehensive Annual Maintenance Contract of 8 Port FXO / FXS Convertor for Analog Telephone for 2nd year, 3rd, 4th & 5 year | 1.00 | Nos | 5390.00 | 3150.00 | 3150.00 | 2700.00 | 2700.00 | 2811.00 | 2811.00 | 2700.00 | Binary Solutions Pvt Ltd
7.15 | Comprehensive Annual Maintenance Contract of Indoor Floor Mount 42U Rack for 2nd year, 3rd, 4th & 5 year | 1.00 | Nos | 16506.00 | 7500.00 | 7500.00 | 6989.00 | 6989.00 | 7277.00 | 7277.00 | 6989.00 | Binary Solutions Pvt Ltd
7.16 | Comprehensive Annual Maintenance Contract of Indoor Wall Mount 12U Rack for 2nd year, 3rd, 4th & 5 year | 1.00 | Nos | 2280.00 | 1580.00 | 1580.00 | 1700.00 | 1700.00 | 1770.00 | 1770.00 | 1580.00 | HUE SERVICE PRIVATE LIMITED
7.17 | Comprehensive Annual Maintenance Contract of outdoor AC Rack Minimum 12U Rack for 2nd year, 3rd, 4th & 5 year | 5.00 | Nos | 62967.00 | 34500.00 | 172500.00 | 7500.00 | 37500.00 | 7809.00 | 39045.00 | 37500.00 | Binary Solutions Pvt Ltd
7.18 | Comprehensive Annual Maintenance Contract of Entire Passive Components including Cables/ Conduits/ Pipes/ Patch Panel/ LIU / Fibre Patch Cord/ Complete I/O, Krone/ Telephone/ Data points etc. for 2nd year, 3rd, 4th & 5 year | 1.00 | Job | 893333.00 | 588000.00 | 588000.00 | 75000.00 | 75000.00 | 250000.00 | 250000.00 | 75000.00 | Binary Solutions Pvt Ltd
| Total in Figures |  |  |  |  | 11836939.00 |  | 12168433.00 |  | 12845318.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | Binary Solutions Pvt Ltd | 11836939.00 | 11659384.00 | One Crore Sixteen Lakh Fifty Nine Thousand Three Hundred and Eighty Four
2 | HUE SERVICE PRIVATE LIMITED | 11836939.00 | 11600199.00 | One Crore Sixteen Lakh One Hundred and Ninty Nine
3 | SWARNALI SQUARE | 11836939.00 | 11777754.00 | One Crore Seventeen Lakh Seventy Seven Thousand Seven Hundred and Fifty Four
Lowest Amount Quoted BY: HUE SERVICE PRIVATE LIMITED(11600199.00)

## BOQ Summary
BOQ Summary Details Tender Title: Establishment and Augmentation of IT and Airports Systems Infrastructure at Rourkela Airport Tender ID: 2022_AAI_120212_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HUE SERVICE PRIVATE LIMITED | 11836939.00 | L1
| 2 | Binary Solutions Pvt Ltd | 12168433.00 | L2
| 3 | SWARNALI SQUARE | 12845318.00 | L3