## BoQ1
Government eProcurement System Created By: Mousumi Dey Created Date/Time: 13-Sep-2022 05:03 PM Tender Title: Modification of cooling arrangement and illumination inside fixed fingers of Aerobridges at NSCBI Airport, Kolkata. Tender ID: 2022_AAI_120390_1
Tender Inviting Authority:
Name of Work:- Modification of cooling arrangement & illumination inside fixed fingers of aerobridges at NSCBI Airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Blue Star Ltd(GSTN-19AAACB4487D1ZP) |  | HV AIRCONDITIONING SYSTEMS PVT. LTD.(GSTN-07AAACH0827M1ZL) |  | Voltas Limited(GSTN-19AAACV2809D1ZJ) |  | PROFIS ENGINEERS PVT LTD(GSTN-NA) |  | Intelectra Aire Projects Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : SITC of Air Conditioning works
2.00 | Supply, Installation, testing and Commissioning of four way chilled water cassette Fan Coil unit with 2 row deep chilled water cooling coil, inbuild drain pump and wireless remote control complete with all necessary valve arrangement i.e. Ball valve with strainer, Ball valve with out strainer and control valve with acuator and thermostat.
3.00 | 3.0 TR, 1200 CFM | 216.00 | Nos. |  | 49070.00 | 10599120.00 | 53750.00 | 11610000.00 | 55837.00 | 12060792.00 | 39879.00 | 8613864.00 | 47037.00 | 10159992.00 | 8613864.00 | PROFIS ENGINEERS PVT LTD
4.00 | Valve station consist of on-off Ball valve set with strainer and without strainer of 3/4" x 5/8” size and with 2way on-off valve of 25mm and Copper tubing of 5/8” size duly insulated fitted with necessary fittings of suitable size. VS-101 valve station can be used for 2.5 to 4ton capacity Cassette Fan coil unit. | 216.00 | Nos. |  | 7752.00 | 1674432.00 | 7750.00 | 1674000.00 | 614.00 | 132624.00 | 8614.00 | 1860624.00 | 6813.00 | 1471608.00 | 132624.00 | Voltas Limited
5.00 | Supplying, laying/ fixing, testing and commissioning of following nominal sizes of chilled water piping inside the building/masonary ducts (with necessary clamps, vibration isolators, bends, reducers, tees, supports, flow indicators etc fittings but excluding valves, strainers, gauges etc.) duly insulated with following closed cell elastometric nitrile rubber of minimum 45 Kg / m3 density, thermal conductivity 0.037 W/MK or better at 20 deg mean temperature class ‘O’ insulation applied by suitable adhesive complete including repairing of damage to building etc. as per specifications and as required complete in all respect. Note:- The Pipes of sizes 150 mm & below shall be M.S. ‘C’ class as per IS : 1239. (Thickness of the nitrile insulation shall be 32 mm).
6.00 | 200 mm Dia | 100.00 | RM |  | 5551.00 | 555100.00 | 4775.00 | 477500.00 | 150.00 | 15000.00 | 5344.00 | 534400.00 | 5917.00 | 591700.00 | 15000.00 | Voltas Limited
7.00 | 150 mm Dia | 200.00 | RM |  | 3971.00 | 794200.00 | 3375.00 | 675000.00 | 145.00 | 29000.00 | 3456.00 | 691200.00 | 4153.00 | 830600.00 | 29000.00 | Voltas Limited
8.00 | 100 mm Dia | 300.00 | RM |  | 3031.00 | 909300.00 | 2770.00 | 831000.00 | 140.00 | 42000.00 | 2377.00 | 713100.00 | 2849.00 | 854700.00 | 42000.00 | Voltas Limited
9.00 | 80mm Dia | 1200.00 | RM |  | 2266.00 | 2719200.00 | 2225.00 | 2670000.00 | 1258.00 | 1509600.00 | 1808.00 | 2169600.00 | 2363.00 | 2835600.00 | 1509600.00 | Voltas Limited
10.00 | 65mm Dia | 800.00 | RM |  | 1774.00 | 1419200.00 | 1890.00 | 1512000.00 | 1031.00 | 824800.00 | 1465.00 | 1172000.00 | 1933.00 | 1546400.00 | 824800.00 | Voltas Limited
11.00 | 40mm Dia | 500.00 | RM |  | 1330.00 | 665000.00 | 1245.00 | 622500.00 | 50.00 | 25000.00 | 1054.00 | 527000.00 | 1177.00 | 588500.00 | 25000.00 | Voltas Limited
12.00 | 32mm Dia | 900.00 | RM |  | 881.00 | 792900.00 | 1110.00 | 999000.00 | 45.00 | 40500.00 | 900.00 | 810000.00 | 987.00 | 888300.00 | 40500.00 | Voltas Limited
13.00 | Supply and installation of CPVC Drain Pipe with 9mm thick class O fire rated nitrile rubber insulation of following dia.
14.00 | 25mm Dia | 1000.00 | RM |  | 286.00 | 286000.00 | 450.00 | 450000.00 | 25.00 | 25000.00 | 212.00 | 212000.00 | 289.00 | 289000.00 | 25000.00 | Voltas Limited
15.00 | 40mm Dia | 1800.00 | RM |  | 459.00 | 826200.00 | 525.00 | 945000.00 | 30.00 | 54000.00 | 286.00 | 514800.00 | 496.00 | 892800.00 | 54000.00 | Voltas Limited
16.00 | Supply, fixing, testing and commissioning of following valves, strainers, etc. duly insulated with same specifications as that of connected piping complete with companion flanges, nuts, bolts, gaskets, adequate support etc. as specified.
17.00 | BUTTERFLY VALVE (MANUAL) with C I body SS Disc, Nitrile Rubber Seal & O- Ring PN 16 pressure rating for chilled water/hot water circulation as specified
18.00 | 200 mm | 10.00 | Nos. |  | 14614.00 | 146140.00 | 13175.00 | 131750.00 | 300.00 | 3000.00 | 14097.00 | 140970.00 | 15539.00 | 155390.00 | 3000.00 | Voltas Limited
19.00 | 150 mm | 10.00 | Nos. |  | 8492.00 | 84920.00 | 8680.00 | 86800.00 | 250.00 | 2500.00 | 6414.00 | 64140.00 | 9594.00 | 95940.00 | 2500.00 | Voltas Limited
20.00 | 100 mm | 40.00 | Nos. |  | 3446.00 | 137840.00 | 6580.00 | 263200.00 | 200.00 | 8000.00 | 4325.00 | 173000.00 | 6466.00 | 258640.00 | 8000.00 | Voltas Limited
21.00 | 80mm | 40.00 | Nos. |  | 4456.00 | 178240.00 | 5235.00 | 209400.00 | 150.00 | 6000.00 | 3397.00 | 135880.00 | 5115.00 | 204600.00 | 6000.00 | Voltas Limited
22.00 | 65 mm | 25.00 | Nos. |  | 2377.00 | 59425.00 | 4755.00 | 118875.00 | 140.00 | 3500.00 | 2909.00 | 72725.00 | 4290.00 | 107250.00 | 3500.00 | Voltas Limited
23.00 | Steel work in M.S. Tubular section /M.S. Square section /M.S. Plates i/c cutting to required length welding & fixing the members to RCC/Brick structure/Pre-fabricated structure with anchor fastners as per releavent drawing and direction by the Engg. -in-Charge i/c application of one coat epoxy primer on exposed surfacess.(75 micron thick) and Polyurethene Painting of 75 micron DFT | 500.00 | KG |  | 125.00 | 62500.00 | 125.00 | 62500.00 | 138.00 | 69000.00 | 161.00 | 80500.00 | 142.00 | 71000.00 | 62500.00 | Blue Star Ltd, HV AIRCONDITIONING SYSTEMS PVT. LTD.
24.00 | Supplying, laying,testing & commissioning of the following sizes of 1.1 KV armoured PVC insulated flexible copper conductor cables conforming to relevant latest amended Indian Standards laid over MS supports including clamping the cables to supports in an approved manner as required complete with all accessories.
25.00 | 3C x 2.5 sq.mm Flexible copper cable | 18000.00 | RMT |  | 128.00 | 2304000.00 | 140.00 | 2520000.00 | 9.00 | 162000.00 | 166.00 | 2988000.00 | 210.00 | 3780000.00 | 162000.00 | Voltas Limited
26.00 | Supply, Installation, testing , balancing and Commissioning of the following items as per approved working drawings, specifications and requirement.
27.00 | G.S.S square/ rectangular factory fabricated ducting complete with gaskets, elbows, splitters, vanes, supports etc. as per drawings and as required for air distribution.
28.00 | 18 gauge | 20.00 | SqM |  | 1329.00 | 26580.00 | 2000.00 | 40000.00 | 300.00 | 6000.00 | 1816.00 | 36320.00 | 1696.00 | 33920.00 | 6000.00 | Voltas Limited
29.00 | 20 gauge | 20.00 | SqM |  | 1083.00 | 21660.00 | 1700.00 | 34000.00 | 250.00 | 5000.00 | 1683.00 | 33660.00 | 1467.00 | 29340.00 | 5000.00 | Voltas Limited
30.00 | 22 gauge | 10.00 | SqM |  | 910.00 | 9100.00 | 1450.00 | 14500.00 | 200.00 | 2000.00 | 1447.00 | 14470.00 | 1220.00 | 12200.00 | 2000.00 | Voltas Limited
31.00 | Supplying and fixing of following thickness closed cell Nitrile rubber (Class “O”) insulation on existing duct after applying suitable adhesive for Nitrile rubber. The joints shall be sealed with 50 mm wide and 3 mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required
32.00 | 25 mm thickness | 50.00 | SqM |  | 600.00 | 30000.00 | 990.00 | 49500.00 | 120.00 | 6000.00 | 1088.00 | 54400.00 | 830.00 | 41500.00 | 6000.00 | Voltas Limited
33.00 | Dismantling of existing Cassette units inside the Aerobridges including dismantling the existing CHW and Drain pipes, Ducts, Diffusers etc. and shifting the same to AAI dismantle store/ garbage pit as required i/c dismantling all civil materials such as ACP/false ceiling etc. for carrying out the erection work as required or as per instruction of EIC. **Refixing Work with ACP sheets around AC units is considered in Item No.3 of SH-II. Note: Each Job is for One Aerobridge and Each Aerobridge has 8-10 Casette Units in the existing system. | 18.00 | JOB |  | 29706.00 | 534708.00 | 20000.00 | 360000.00 | 1229.00 | 22122.00 | 55522.00 | 999396.00 | 27793.00 | 500274.00 | 22122.00 | Voltas Limited
34.00 | Supply, installation, testing and commissioning following Power Plug-socket and switch along with suitable modular box ,modular base and cover plate for Chilled Water Cassette units.
35.00 | 16 Amps | 216.00 | NOS |  | 891.00 | 192456.00 | 600.00 | 129600.00 | 100.00 | 21600.00 | 644.00 | 139104.00 | 709.00 | 153144.00 | 21600.00 | Voltas Limited
36.00 | Supplying, laying,testing & commissioning of the following size of cable tray conforming to relevant latest amended Indian Standards laid over MS supports including clamping the cable trays to supports in an approved manner as required complete with all accessories.
37.00 | Cable tray 150mmx50mmx1.6mm | 1000.00 | Mtr |  | 781.00 | 781000.00 | 550.00 | 550000.00 | 464.00 | 464000.00 | 753.00 | 753000.00 | 756.00 | 756000.00 | 464000.00 | Voltas Limited
38.00 | SH-II : Electrical Works
39.00 | Supply, Installation, Testing & Commissioning of 21 to 25W RECESS MOUNTING DOWNLIGHTER having minimum system Lumen output of 1900 lumen or more, White powder coated, elegantly designed pressure die-cast aluminium heat sink for efficient heat dissipation & white finish polycarbonate ring for holding the diffuser, Mirror finish anodized reflector with facets for uniform light distribution, High efficiency long life SMD LED module, Powered by integral SMPS based constant current electronic driver with lower THD, Output Short Circuit Protection, Surge Voltage Protection and other safety tests as latest as IS specification & fixing suitably into false ceiling by 2 nos. of SS springs / clips including connections with 1.5 sq. mm single core FRLS PVC insulated copper flexible cable and earthing etc. complete as required. | 900.00 | Each |  | 2062.00 | 1855800.00 | 2500.00 | 2250000.00 | 1551.00 | 1395900.00 | 1544.00 | 1389600.00 | 1421.00 | 1278900.00 | 1278900.00 | Intelectra Aire Projects Pvt Ltd
40.00 | Dismantling of 2 x 18W T5 LED 4ft long conventional FTL from the false ceiling of aero bridge at Terminal-2 and other locations as required, taking adequate safety measures including transporting and storing the dismantled fixtures at AAI store complete as required. | 450.00 | Each |  | 119.00 | 53550.00 | 200.00 | 90000.00 | 20.00 | 9000.00 | 64.00 | 28800.00 | 139.00 | 62550.00 | 9000.00 | Voltas Limited
41.00 | Providing, fabricating, fixing of 4mm thick Aluminium Composite Panel of approved make and shade comprising of both side skin of 0.50mm thick aluminium alloy sheet of grade A303 at required location on existing frames including cutting the grooves and finishing with silicon sealant all complete as where as required as per direction of engineer-in-charge. | 25000.00 | Sq.ft. |  | 333.00 | 8325000.00 | 410.00 | 10250000.00 | 369.00 | 9225000.00 | 320.00 | 8000000.00 | 406.00 | 10150000.00 | 8000000.00 | PROFIS ENGINEERS PVT LTD
42.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
43.00 | (a) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 3600.00 | Mtr |  | 144.00 | 518400.00 | 135.00 | 486000.00 | 55.00 | 198000.00 | 319.00 | 1148400.00 | 239.00 | 860400.00 | 198000.00 | Voltas Limited
44.00 | Supply of following size 1.1 KV grade XLPE insulated, PVC sheathed, armoured Aluminium conductor power cable conforming to IS 7098 (Part 1) amended upto date.
45.00 | (a) 4C X 35 Sq.mm | 4000.00 | Mtr |  | 270.00 | 1080000.00 | 280.00 | 1120000.00 | 243.00 | 972000.00 | 251.00 | 1004000.00 | 265.00 | 1060000.00 | 972000.00 | Voltas Limited
46.00 | Laying and fixing of one number PVC insulated PVC sheathed / XLPE power cable of 1.1 KV grade of following sizes on wall / surface as required.
47.00 | (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 500.00 | Mtr |  | 61.00 | 30500.00 | 65.00 | 32500.00 | 37.00 | 18500.00 | 77.00 | 38500.00 | 100.00 | 50000.00 | 18500.00 | Voltas Limited
48.00 | Laying and fixing of one number PVC insulated PVC sheathed / XLPE power cable of 1.1 KV grade of following sizes on cable tray as required.
49.00 | (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 3500.00 | Mtr |  | 53.00 | 185500.00 | 50.00 | 175000.00 | 31.00 | 108500.00 | 77.00 | 269500.00 | 100.00 | 350000.00 | 108500.00 | Voltas Limited
50.00 | Supplying and making indoor cable end termination with brass compression gland and aluminium lugs for following size of PVC insulated PVC sheathed/ XLPE aluminium conductor cable of 1.1 kV grade as required.
51.00 | (a) 4 X 35 sq. mm (32mm) | 20.00 | Each |  | 602.00 | 12040.00 | 650.00 | 13000.00 | 1118.00 | 22360.00 | 574.00 | 11480.00 | 1196.00 | 23920.00 | 11480.00 | PROFIS ENGINEERS PVT LTD
| Total in Figures |  |  |  |  | 37870011.00 |  | 41452625.00 |  | 27488298.00 |  | 35394433.00 |  | 40984168.00
Lowest Amount Quoted BY: Voltas Limited(27488298.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of cooling arrangement and illumination inside fixed fingers of Aerobridges at NSCBI Airport, Kolkata. Tender ID: 2022_AAI_120390_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Voltas Limited | 27488298.00 | L1
| 2 | PROFIS ENGINEERS PVT LTD | 35394433.00 | L2
| 3 | Blue Star Ltd | 37870011.00 | L3
| 4 | Intelectra Aire Projects Pvt Ltd | 40984168.00 | L4
| 5 | HV AIRCONDITIONING SYSTEMS PVT. LTD. | 41452625.00 | L5