## BoQ1
Government eProcurement System Created By: Anil kumar J Created Date/Time: 20-Jul-2022 12:55 PM Tender Title: Extension of Runway and Strengthening / Resurfacing of Existing Runway-08/26 for Code E-type of Aircraft at Tirupati Airport. Sub Head Provision of Internal Electrification Works for Glidepath and Localizer Huts at Tirupati Airport Tender ID: 2022_AAI_120476_1
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Tirupati Airport.
NAME OF WORK: Extension of Runway and Strengthening / Resurfacing of Existing Runway-08/26 for Code E-type of Aircraft at Tirupati Airport. SH: Provision of Internal Electrification Works for Glidepath and Localizer Huts at Tirupati Airport.
Contract No: AAI/TPT/ENGG(E)/CP-02/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 4 X 16 Sq mm XLPE insulated and PVC Sheathed, armoured, Aluminium conductor power cable of 1.1 KV grade as per IS 7098-1988 (Part 1) with upto date amendments etc complete as required. | 100.00 | Meter |  | 300.00 | 30000.00 | 340.00 | 34000.00 | 30000.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.00 | Laying of 110 mm HDPE pipe along with all accessories like socktet, bend, couplers etc. complete with fitting and cutting, jointing with adhesive etc. direct in ground (75 cm below ground level and 35 mm width for each pipe) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 80.00 | Meter |  | 150.00 | 12000.00 | 175.00 | 14000.00 | 12000.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade Upto 35 sq. mm size in the existing RCC/ HUME/ METAL/HDPE pipe/duct as required. | 80.00 | Meter |  | 20.00 | 1600.00 | 26.00 | 2080.00 | 1600.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade Upto 35 sq. mm (clamped with 1mm thick saddle) size on surface as required. | 20.00 | Meter |  | 30.00 | 600.00 | 35.00 | 700.00 | 600.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4 X 16 sq. mm (28mm) size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 4.00 | Each |  | 300.00 | 1200.00 | 450.00 | 1800.00 | 1200.00 | LAKSHMI ELECTRICAL ENTERPRISES
6.00 | Supply and fixing of pluggable type surge arrester Class B/Class 1 as per IEC 61643(IP 20) with potential free contact and provision for in built common remote indication for defective arresters, 3 nos. of encapsulated spark plug type to connect between Neutal and Earth of following ratings including base element and pluggable arresters. Nominal voltage 230 V, 50 Hz, Impulse current 50 kA (10/350 micro sec.) for line to neutral and 125 kA (10/350 micro sec) for Neutral to protective earth, Response time shall be less than 100 nano sec. in the existing panel including necessary wiring from bus bar and earth bar with copper cable as per manufacturer specification, testing and commissioning as required. | 2.00 | Each |  | 65000.00 | 130000.00 | 69250.00 | 138500.00 | 130000.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.00 | Supply of CPRI certified Electrical insulating mats confirming to IS 15652:2006 with minimum width of 1 meter and thickness of 2.0mm +/- 10% , dielectric strength 30 KV, Class-A, ISI marked, anti skid and fire retardant properties duly fixed with suitable adhesive/ resin materials etc., complete as required. | 10.00 | Sq.mtr. |  | 950.00 | 9500.00 | 1200.00 | 12000.00 | 9500.00 | LAKSHMI ELECTRICAL ENTERPRISES
8.00 | Earthing with G.I Earth plate 600mm x 600mm x 6mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 4.00 | Set |  | 5950.00 | 23800.00 | 6500.00 | 26000.00 | 23800.00 | LAKSHMI ELECTRICAL ENTERPRISES
9.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 24.00 | Meter |  | 735.00 | 17640.00 | 900.00 | 21600.00 | 17640.00 | LAKSHMI ELECTRICAL ENTERPRISES
10.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level by providing 15 mm dia. G.I Pipe for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 100.00 | Meter |  | 275.00 | 27500.00 | 350.00 | 35000.00 | 27500.00 | LAKSHMI ELECTRICAL ENTERPRISES
11.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 40.00 | Meter |  | 39.00 | 1560.00 | 48.00 | 1920.00 | 1560.00 | LAKSHMI ELECTRICAL ENTERPRISES
12.00 | Supplying and fixing 6 way (8 + 18) Modules, Double door, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing and fixing of required cable entry /end box for accomodating extra cable/wires etc. as required. (But without MCB/RCCB/Isolator) | 2.00 | Each |  | 6500.00 | 13000.00 | 8500.00 | 17000.00 | 13000.00 | LAKSHMI ELECTRICAL ENTERPRISES
13.00 | Supplying and fixing 8 way (2 + 6), Double door, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 4.00 | Each |  | 2100.00 | 8400.00 | 2650.00 | 10600.00 | 8400.00 | LAKSHMI ELECTRICAL ENTERPRISES
14.00 | Supplying and fixing 63 amps rating, 415 volts, "D" curve, Triple Pole and Neutral miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 3000.00 | 6000.00 | 4600.00 | 9200.00 | 6000.00 | LAKSHMI ELECTRICAL ENTERPRISES
15.00 | Supplying and fixing 63 A rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 100 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 3950.00 | 7900.00 | 4600.00 | 9200.00 | 7900.00 | LAKSHMI ELECTRICAL ENTERPRISES
16.00 | Supplying and fixing 32 Amps rating, 240 Volts, "D" curve, Single Pole and neutral miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each |  | 875.00 | 3500.00 | 1150.00 | 4600.00 | 3500.00 | LAKSHMI ELECTRICAL ENTERPRISES
17.00 | Supplying and fixing 20 Amps rating, 240/415 volts, "B" curve, Single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 24.00 | Each |  | 240.00 | 5760.00 | 282.00 | 6768.00 | 5760.00 | LAKSHMI ELECTRICAL ENTERPRISES
18.00 | Supplying and fixing 20 Amps rating, 240 Volts, "C" curve, Single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 24.00 | Each |  | 295.00 | 7080.00 | 365.00 | 8760.00 | 7080.00 | LAKSHMI ELECTRICAL ENTERPRISES
19.00 | Supplying and fixing 25 Amps rating, 240 Volts, "D" curve, Single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 12.00 | Each |  | 450.00 | 5400.00 | 490.00 | 5880.00 | 5400.00 | LAKSHMI ELECTRICAL ENTERPRISES
20.00 | Supplying and fixing following size/ modules, PVC box alongwith modular base & cover plate for modular switches on surface as required. 6 Module | 20.00 | Each |  | 330.00 | 6600.00 | 450.00 | 9000.00 | 6600.00 | LAKSHMI ELECTRICAL ENTERPRISES
21.00 | Supplying and fixing following size/ modules, PVC box alongwith modular base & cover plate for modular switches on surface as required. 3 Module | 10.00 | Each |  | 260.00 | 2600.00 | 310.00 | 3100.00 | 2600.00 | LAKSHMI ELECTRICAL ENTERPRISES
22.00 | Supplying and fixing following size/ modules, PVC box alongwith modular base & cover plate for modular switches on surface as required. 2 Module | 10.00 | Each |  | 210.00 | 2100.00 | 258.00 | 2580.00 | 2100.00 | LAKSHMI ELECTRICAL ENTERPRISES
23.00 | Supplying and fixing 5/6 amps modular switch, ISI marked, on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 20.00 | Each |  | 60.00 | 1200.00 | 80.00 | 1600.00 | 1200.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.00 | Supplying and fixing 3 pin 5/6 amp modular socket (with shutter), ISI marked, on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 10.00 | Each |  | 105.00 | 1050.00 | 140.00 | 1400.00 | 1050.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.00 | Supplying and fixing 15/16 amps modular switch, ISI marked, on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 20.00 | Each |  | 115.00 | 2300.00 | 140.00 | 2800.00 | 2300.00 | LAKSHMI ELECTRICAL ENTERPRISES
26.00 | Supplying and fixing 6 pin 15/16 amps modular socket (with shutter), ISI marked, on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 20.00 | Each |  | 170.00 | 3400.00 | 198.00 | 3960.00 | 3400.00 | LAKSHMI ELECTRICAL ENTERPRISES
27.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required | 6.00 | Each |  | 2500.00 | 15000.00 | 3950.00 | 23700.00 | 15000.00 | LAKSHMI ELECTRICAL ENTERPRISES
28.00 | Supplying and fixing one number 24 hour analogue type time switch, 20A SP C series MCB & 25 A single pole contactor (1NO) in suitable size weather proof thermoplastic enclosure including supply and fixing the weather proof thermoplastic enclosure with IP 65 protection on surface, providing electrical connections etc. as required. | 6.00 | Each |  | 7350.00 | 44100.00 | 8900.00 | 53400.00 | 44100.00 | LAKSHMI ELECTRICAL ENTERPRISES
29.00 | Providing & fixing of 25 mm X 16 mm size PVC casing and capping of ISI makred on surface with all accessories etc., complete as required . | 140.00 | Meter |  | 54.00 | 7560.00 | 80.00 | 11200.00 | 7560.00 | LAKSHMI ELECTRICAL ENTERPRISES
30.00 | Providing & fixing of 50 X 50 mm size UPVC cable trunking of ISI marked on surface including necessary couplers, joint cover, angles, tees, etc., complete as required. | 80.00 | Meter |  | 240.00 | 19200.00 | 295.00 | 23600.00 | 19200.00 | LAKSHMI ELECTRICAL ENTERPRISES
31.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/PVC casing capping/PVC trunking as required. 2 X 1.5 sq. mm | 60.00 | Meter |  | 55.00 | 3300.00 | 75.00 | 4500.00 | 3300.00 | LAKSHMI ELECTRICAL ENTERPRISES
32.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/PVC casing capping/PVC trunking as required. 3 X 1.5 sq. mm | 60.00 | Meter |  | 85.00 | 5100.00 | 130.00 | 7800.00 | 5100.00 | LAKSHMI ELECTRICAL ENTERPRISES
33.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/PVC casing capping/PVC trunking as required. 4 X 1.5 sq. mm | 60.00 | Meter |  | 100.00 | 6000.00 | 140.00 | 8400.00 | 6000.00 | LAKSHMI ELECTRICAL ENTERPRISES
34.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/PVC casing capping/PVC trunking as required. 5 X 1.5 sq. mm | 60.00 | Meter |  | 135.00 | 8100.00 | 175.00 | 10500.00 | 8100.00 | LAKSHMI ELECTRICAL ENTERPRISES
35.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/PVC casing capping/PVC trunking as required. 6 X 1.5 sq. mm | 60.00 | Meter |  | 170.00 | 10200.00 | 205.00 | 12300.00 | 10200.00 | LAKSHMI ELECTRICAL ENTERPRISES
36.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/PVC casing capping/PVC trunking as required. 7 X 1.5 sq. mm | 60.00 | Meter |  | 200.00 | 12000.00 | 235.00 | 14100.00 | 12000.00 | LAKSHMI ELECTRICAL ENTERPRISES
37.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/PVC casing capping/PVC trunking as required. 8 X 1.5 sq. mm | 60.00 | Meter |  | 220.00 | 13200.00 | 270.00 | 16200.00 | 13200.00 | LAKSHMI ELECTRICAL ENTERPRISES
38.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/PVC casing capping/PVC trunking as required. 9 X 1.5 sq. mm | 90.00 | Meter |  | 270.00 | 24300.00 | 300.00 | 27000.00 | 24300.00 | LAKSHMI ELECTRICAL ENTERPRISES
39.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/PVC casing capping/PVC trunking as required. 10 X 1.5 sq. mm | 40.00 | Meter |  | 300.00 | 12000.00 | 330.00 | 13200.00 | 12000.00 | LAKSHMI ELECTRICAL ENTERPRISES
40.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/PVC casing capping/PVC trunking as required. 3 X 4.0 sq. mm | 80.00 | Meter |  | 190.00 | 15200.00 | 238.00 | 19040.00 | 15200.00 | LAKSHMI ELECTRICAL ENTERPRISES
41.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/PVC casing capping/PVC trunking as required. 6 X 4.0 sq. mm | 80.00 | Meter |  | 350.00 | 28000.00 | 450.00 | 36000.00 | 28000.00 | LAKSHMI ELECTRICAL ENTERPRISES
42.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/PVC casing capping/PVC trunking as required. 9 X 4.0 sq. mm | 80.00 | Meter |  | 520.00 | 41600.00 | 690.00 | 55200.00 | 41600.00 | LAKSHMI ELECTRICAL ENTERPRISES
43.00 | Supply of Surface mounted 10-12 Watt LED Batten fitting with polycarbonate housing suitable to operate on 230V, 50 Hz, AC supply etc, complete as required. | 16.00 | Each |  | 380.00 | 6080.00 | 520.00 | 8320.00 | 6080.00 | LAKSHMI ELECTRICAL ENTERPRISES
44.00 | Supply of LED Street Light Luminaire with secondary lens optics/ polycarbonate diffuser lens made out of high pressure die cast aluminium/ standard alloy housing (IP 65 or higher) having minimum 2750 lumen output and suitable to operate on 230V, 50Hz, single phase AC supply with electronic driver and having surge protection etc, complete as required. | 8.00 | Each |  | 2050.00 | 16400.00 | 2650.00 | 21200.00 | 16400.00 | LAKSHMI ELECTRICAL ENTERPRISES
45.00 | Installation, testing and commissioning of surface mounted LED fittings of all types, complete with all accessories directly on ceiling / surface, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. complete as required as per actual site requirements. | 16.00 | Each |  | 140.00 | 2240.00 | 190.00 | 3040.00 | 2240.00 | LAKSHMI ELECTRICAL ENTERPRISES
46.00 | Installation, testing and commissioning of LED street light luminaires on 32 mm dia. X 1.2 meters long G.I pipe(medium class) brackets including bending the pipe to required shape along with accessories and wiring with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 8.00 | each |  | 1100.00 | 8800.00 | 1300.00 | 10400.00 | 8800.00 | LAKSHMI ELECTRICAL ENTERPRISES
47.00 | Installation of modular type exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 2.00 | each |  | 250.00 | 500.00 | 350.00 | 700.00 | 500.00 | LAKSHMI ELECTRICAL ENTERPRISES
48.00 | Supply of 4Watt Rechargeable LED Linear Emergency Light having 2 feet length, minimum 300 lumen output with Auto ON feature during power failure, Over charge and Deep discharge protection, Charging indicator, minimum backup time of 5 hours on high brightness mode etc suitable to operate on 230V, 50 Hz single phase AC supply, complete as required. | 4.00 | each |  | 1400.00 | 5600.00 | 1650.00 | 6600.00 | 5600.00 | LAKSHMI ELECTRICAL ENTERPRISES
49.00 | Supply of Rechargeable LED Latern light handheld having minimum output of 3 Watt, with rechargable Li-ion type battery having capacity of minimum 3.7 V, 2000 mAH, complete as required. | 2.00 | each |  | 1300.00 | 2600.00 | 1500.00 | 3000.00 | 2600.00 | LAKSHMI ELECTRICAL ENTERPRISES
50.00 | Supply of Twin type Aviation dome obstriuction LED Luminaire comprising of aluminium housing with polycarbonate enclosure (Dual dome) with non-flashing type meeting as per ICAO standards suitable for operation on 230 V, 50 Hz, AC supply etc. complete as required. | 2.00 | each |  | 4300.00 | 8600.00 | 4500.00 | 9000.00 | 8600.00 | LAKSHMI ELECTRICAL ENTERPRISES
| Total in Figures |  |  |  |  | 647370.00 |  | 782448.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(647370.00)

## BOQ Summary
BOQ Summary Details Tender Title: Extension of Runway and Strengthening / Resurfacing of Existing Runway-08/26 for Code E-type of Aircraft at Tirupati Airport. Sub Head Provision of Internal Electrification Works for Glidepath and Localizer Huts at Tirupati Airport Tender ID: 2022_AAI_120476_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 647370.00 | L1
| 2 | KALKI ELECTRICALS | 782448.00 | L2