## BoQ1
Government eProcurement System Created By: Pankaj Tiwari Created Date/Time: 27-Jul-2022 04:20 PM Tender Title: Periodical Maintenance and Operation of Electrical Mechanical and Fire Fighting Installations at Jabalpur Airport For Year 2022 24 Tender ID: 2022_AAI_120766_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-Elect), AAI, Jabalpur Airport.
Name of Work: “Periodical Maintenance and Operation of Electrical, Mechanical and Fire Fighting Installations at Jabalpur Airport. (For Year 2022-24)"
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | Unity Infrabuild(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Routine maintenance & operation of all the Electrical and Mechanical installations of Power House, Switch Rooms, Fire Fighting Installations & AAI Ofices etc. as per the list of Installations attached (Except New VRV AHU, VRF & GLF system) by deploying adequate manpower on all days as mentioned in the special conditions of contract complete as per direction of Engineer- Incharge. (For the 1st year) | 12.00 | Month |  | 200000.00 | 2400000.00 | 208500.00 | 2502000.00 | 225000.00 | 2700000.00 | 168000.00 | 2016000.00 | 211111.00 | 2533332.00 | 2016000.00 | Unity Infrabuild
2.00 | Routine maintenance & operation of all the Electrical and Mechanical installations of Power House, Switch Rooms, Fire Fighting Installations & AAI Ofices etc. as per the list of Installations attached (Except New VRV AHU, VRF & GLF system) by deploying adequate manpower on all days as mentioned in the special conditions of contract complete as per direction of Engineer- Incharge. (For the 2nd year) | 12.00 | Month |  | 210000.00 | 2520000.00 | 215500.00 | 2586000.00 | 225000.00 | 2700000.00 | 168000.00 | 2016000.00 | 211111.00 | 2533332.00 | 2016000.00 | Unity Infrabuild
3.00 | Rewinding, repairing and overhauling of following types of fans by using suitable gauge enamel copper wire, backing, oiling, greasing, assembling, testing, to & fro transportation etc. as required. i/c less for dismantle wire. Ceiling fan of all sizes | 20.00 | Job |  | 500.00 | 10000.00 | 450.00 | 9000.00 | 450.00 | 9000.00 | 950.00 | 19000.00 | 400.00 | 8000.00 | 8000.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Rewinding, repairing and overhauling of following types of fans by using suitable gauge enamel copper wire, backing, oiling, greasing, assembling, testing, to & fro transportation etc. as required. i/c less for dismantle wire. Exhaust fan up to 450 mm sweep | 5.00 | Job |  | 500.00 | 2500.00 | 600.00 | 3000.00 | 500.00 | 2500.00 | 1100.00 | 5500.00 | 400.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Dehydration AND FILTERATION of transformer Oil at site by bringing the Dehydration/ filtration Machine at Airport P/H including testing BDV and acidity before and after Dehydration and Filtration submitting of test report as required for 02 Nos 500 KVA, 33/0.433 KV Transformers (for the 1st year) | 1600.00 | Ltr. |  | 50.00 | 80000.00 | 12.00 | 19200.00 | 10.00 | 16000.00 | 30.00 | 48000.00 | 9.00 | 14400.00 | 14400.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Dehydration AND FILTERATION of transformer Oil at site by bringing the Dehydration/ filtration Machine at Airport P/H including testing BDV and acidity before and after Dehydration and Filtration submitting of test report as required for 02 Nos 500 KVA, 33/0.433 KV Transformers(for the 2nd year) | 1600.00 | Ltr. |  | 50.00 | 80000.00 | 12.00 | 19200.00 | 12.00 | 19200.00 | 35.00 | 56000.00 | 9.00 | 14400.00 | 14400.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Testing/ calibration of HT/LT Panel IDMT Relays type CDG-31 of GEC Alstom make (02 over Current +01 Earth fault Relay) COMPLETE BY RELAY TESTING SET at Airport Power house and submitting the test certificate complete as required.(for the 1st year) | 2.00 | Set |  | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 6500.00 | 13000.00 | 38000.00 | 76000.00 | 1000.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Testing/ calibration of HT/LT Panel IDMT Relays type CDG-31 of GEC Alstom make (02 over Current +01 Earth fault Relay) COMPLETE BY RELAY TESTING SET at Airport Power house and submitting the test certificate complete as required. (For the 2nd year) | 2.00 | Set |  | 5000.00 | 10000.00 | 3500.00 | 7000.00 | 7500.00 | 15000.00 | 38000.00 | 76000.00 | 1000.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
9.00 | Overhauling and Servicing of L&T make ACB’S having Capacity 800 A by OEM or their authorized services dealer as per manufacturers reccomandation and job includes supply of maintenance kit consist of grease, cleanent, Dusters, Scrubbers, and hardware required to carry out correct maintenance of ACB’s etc. as required. (For the 1st year) | 5.00 | Each |  | 10000.00 | 50000.00 | 6000.00 | 30000.00 | 5000.00 | 25000.00 | 11800.00 | 59000.00 | 3000.00 | 15000.00 | 15000.00 | ABHISHEK INTEGRATIONS LIMITED
10.00 | Overhauling and Servicing of L&T make ACB’S having Capacity 800 A by OEM or their authorized services dealer as per manufacturers reccomandation and job includes supply of maintenance kit consist of grease, cleanent, Dusters, Scrubbers, and hardware required to carry out correct maintenance of ACB’s etc. as required. (For the 2nd year) | 5.00 | Each |  | 10000.00 | 50000.00 | 6500.00 | 32500.00 | 5500.00 | 27500.00 | 11800.00 | 59000.00 | 3000.00 | 15000.00 | 15000.00 | ABHISHEK INTEGRATIONS LIMITED
11.00 | Rewinding of 3 HP Submersible Pump moter with suitable gauge copper wire i.c varnishing, baking etc as required i.e. transportation from site to contractors workshop & back to site. Credit towards Dismaintled copper winding to be considered while quoting the tender. | 2.00 | Each |  | 5000.00 | 10000.00 | 4200.00 | 8400.00 | 4500.00 | 9000.00 | 3500.00 | 7000.00 | 500.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Rewinding of 5 HP Pump moter sets (submersible/ mono block ) with suitable gauge copper wire i.c varnishing, baking etc as required i.e. transportation from site to contractors workshop & back to site. Credit towards Dismaintled copper winding to be considered while quoting the tender. | 3.00 | Each |  | 10000.00 | 30000.00 | 6700.00 | 20100.00 | 5500.00 | 16500.00 | 4000.00 | 12000.00 | 750.00 | 2250.00 | 2250.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Rewinding of 7.5 HP Pump moter sets (submersible) with suitable gauge copper wire i.c varnishing, baking etc as required i.e. transportation from site to contractors workshop & back to site. Credit towards Dismaintled copper winding to be considered while quoting the tender. | 2.00 | Each |  | 15000.00 | 30000.00 | 9000.00 | 18000.00 | 6500.00 | 13000.00 | 4500.00 | 9000.00 | 1000.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Rewinding of 15 HP Pump moter sets (mono block ) with suitable gauge copper wire i.c varnishing, baking etc as required i.e. transportation from site to contractors workshop & back to site. Credit towards Dismaintled copper winding to be considered while quoting the tender. | 2.00 | Each |  | 17000.00 | 34000.00 | 12500.00 | 25000.00 | 7000.00 | 14000.00 | 5000.00 | 10000.00 | 1100.00 | 2200.00 | 2200.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Lowering & lifting of submersible pump sets from borewell (Depth 400 to 450 feet) upto 10 HP complete as required at site. | 9.00 | Job |  | 10000.00 | 90000.00 | 6000.00 | 54000.00 | 5000.00 | 45000.00 | 9500.00 | 85500.00 | 2500.00 | 22500.00 | 22500.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Lighting & decoration arrangement by LED (Pleasant colourfull) on Occasion of National Festival/ Deepawali /New Year /AAI Foundation day on Terminal building ,ATC Tower & Power House Including Loading ,Unloading ,Transporting & installation etc complete to the satisfaction of EIC (for the 1st year). | 11.00 | Job |  | 15000.00 | 165000.00 | 21000.00 | 231000.00 | 12500.00 | 137500.00 | 50000.00 | 550000.00 | 13000.00 | 143000.00 | 137500.00 | NATIONAL SAFETY ENGINEERS
17.00 | Lighting & decoration arrangement by LED (Pleasant colourfull) on Occasion of National Festival/ Deepawali /New Year /AAI Foundation day on Terminal building ,ATC Tower & Power House Including Loading ,Unloading ,Transporting & installation etc complete to the satisfaction of EIC (for the 2nd year). | 11.00 | Job |  | 15000.00 | 165000.00 | 23000.00 | 253000.00 | 12500.00 | 137500.00 | 50000.00 | 550000.00 | 13000.00 | 143000.00 | 137500.00 | NATIONAL SAFETY ENGINEERS
18.00 | Painting of 7 Meter height street light pole with 2 coats of aluminium paint complete as required. | 53.00 | Job |  | 500.00 | 26500.00 | 350.00 | 18550.00 | 850.00 | 45050.00 | 900.00 | 47700.00 | 650.00 | 34450.00 | 18550.00 | Manish Electricals
19.00 | To carry out the complete items of works of CPWD schedule of rates (Electrical) DSR-2018 as per CPWD specifications as required for an amount of Rs. 250000/- (For quoting please refer instructions given at SCC clause - 40.2 of tender document) | 250000.00 | Percentage |  | 1.00 | 250000.00 | .70 | 175000.00 | .85 | 212500.00 | 1.00 | 250000.00 | .85 | 212500.00 | 175000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 6013000.00 |  | 6016950.00 |  | 6157250.00 |  | 5951700.00 |  | 5702364.00
Lowest Amount Quoted BY: ABHISHEK INTEGRATIONS LIMITED(5702364.00)

## BOQ Summary
BOQ Summary Details Tender Title: Periodical Maintenance and Operation of Electrical Mechanical and Fire Fighting Installations at Jabalpur Airport For Year 2022 24 Tender ID: 2022_AAI_120766_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK INTEGRATIONS LIMITED | 5702364.00 | L1
| 2 | Unity Infrabuild | 5951700.00 | L2
| 3 | CENTRE TAP ENGINEERING | 6013000.00 | L3
| 4 | Manish Electricals | 6016950.00 | L4
| 5 | NATIONAL SAFETY ENGINEERS | 6157250.00 | L5