## BoQ1
Government eProcurement System Created By: NANDKUMAR KUNDALE Created Date/Time: 26-Aug-2022 04:47 PM Tender Title: Provision of Air Conditioners for Newly Renovated Guest Rooms, Gym and Community Centre, NAC, Mumbai Tender ID: 2022_AAI_120883_1
Tender Inviting Authority : AGM(EE)
Name of Work : Provision of Air-Conditioners for Newly renovated Guest rooms, Gym & Community Centre, NAC, Mumbai.
Contract No : 2022_AAI_120883_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Air-O-Mec Engineers(GSTN-27AABPC1357K1ZX) |  | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | Iceberg hvac pvt Ltd(GSTN-27AABCI0044G1Z1) |  | Aqua Cool Co.Pvt Ltd(GSTN-27AAICA1835E1ZX) |  | Anshutech Airconditioning Pvt Ltd(GSTN-27AAHCA4607R1Z7) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 5 star 1.5 TR inverter technology based Split type indoor wall mounted type Airconditioners fitted with Rotary compressor, copper tube condenser operating on 230 V, 50Hz power supply, including providing of copper refrigerant piping, interconnecting cable between outdoor and indoor units, complete with Remote control and thermostatic temperature control along with cordless as per manufacturer recommendation, capable of performing cooling, dehumidifying, air circulating and filtering, drain complete etc. as required as per Technical specifications and list of AAI approved makes. | 40.00 | Each | 47266.00 | 40000.00 | 1600000.00 | 34222.00 | 1368880.00 | 39900.00 | 1596000.00 | 40997.00 | 1639880.00 | 34836.00 | 1393440.00 | 34750.00 | 1390000.00 | 1368880.00 | Industrial Traders
2.00 | Supply and fixing of Water Cooler, fully stainless steel body (SS-304) ,having storage capacity of 80 liters and cooling capacity 40 liters per hour, high energy efficient compressor suitable to operate on 240V , 50 Hz AC power supply complete as required. | 2.00 | Each | 21102.00 | 38000.00 | 76000.00 | 32222.00 | 64444.00 | 31300.00 | 62600.00 | 30997.00 | 61994.00 | 30900.00 | 61800.00 | 30000.00 | 60000.00 | 60000.00 | VOLKS ENERGIE PVT LTD
3.00 | Supply and fixing of Water purifier having features of E-boiling, intelligent purity sensor, biotron cartridge and pre filter suitable to operate on 240V, 50 Hz, AC supply complete as required. (Make: Eureka Forbes ( Classis UV+ ) | 17.00 | Each | 8390.00 | 9500.00 | 161500.00 | 8999.00 | 152983.00 | 15300.00 | 260100.00 | 9777.00 | 166209.00 | 15990.00 | 271830.00 | 9500.00 | 161500.00 | 152983.00 | Industrial Traders
4.00 | Installation, testing and commissioning of 1.5 TR inverter technology based Split type indoor wall mounted type Airconditioners including fixing of indoor and out door unit with necessary supports, connection of refrigerant copper piping with suitable insulation, laying of required copper cable between indoor & outdoor unit, initial gas charging complete as required i/c drilling the hole on the wall, plastering complete etc as required. | 40.00 | Each | 1200.00 | 1500.00 | 60000.00 | 1222.00 | 48880.00 | 1750.00 | 70000.00 | 100.00 | 4000.00 | 1700.00 | 68000.00 | 1500.00 | 60000.00 | 4000.00 | Aqua Cool Co.Pvt Ltd
5.00 | Supply and fixing of MS stand suitable to fix the outdoor unit of 1.5 TR split type Air conditioners on wall/MS cabin by drilling/welding complete etc as required. | 40.00 | Each | 700.00 | 700.00 | 28000.00 | 922.00 | 36880.00 | 1800.00 | 72000.00 | 400.00 | 16000.00 | 650.00 | 26000.00 | 500.00 | 20000.00 | 16000.00 | Aqua Cool Co.Pvt Ltd
6.00 | Supply & laying of refrigerant copper piping (beyond standard length from manufacturer) for connection between indoor & outdoor units of 1.5 TR split type ACs including brazing, clamping & insulation complete etc as required. | 167.00 | Mtr | 950.00 | 1100.00 | 183700.00 | 575.00 | 96025.00 | 950.00 | 158650.00 | 550.00 | 91850.00 | 850.00 | 141950.00 | 850.00 | 141950.00 | 91850.00 | Aqua Cool Co.Pvt Ltd
7.00 | Supply & laying of suitable size 3 core/ 4 core/ 5 core copper conductor cable (beyond standard length from manufacturer) required for connection between indoor & outdoor units of 1.5 TR split type ACs complete etc. as required. | 167.00 | Mtr | 60.00 | 150.00 | 25050.00 | 175.00 | 29225.00 | 150.00 | 25050.00 | 42.06 | 7024.02 | 135.00 | 22545.00 | 108.00 | 18036.00 | 7024.02 | Aqua Cool Co.Pvt Ltd
8.00 | Supply & laying of PVC pipe (beyond standard length from manufacturer) for draining out water for 1.5 TR split type ACs with necessary saddles complete ect as required. | 167.00 | Mtr | 55.00 | 65.00 | 10855.00 | 55.00 | 9185.00 | 160.00 | 26720.00 | 10.00 | 1670.00 | 75.00 | 12525.00 | 45.00 | 7515.00 | 1670.00 | Aqua Cool Co.Pvt Ltd
9.00 | Dismantling of 1.5/2.0 TR Capacity, Single Phase Window/Split type Air Conditioner from different locations in NAC & ATC Sky tower including dismantling the indoor, outdoor unit, other accessories, piping etc. safely and shifting to AAI Store complete etc. as required. | 15.00 | Each | 700.00 | 800.00 | 12000.00 | 300.00 | 4500.00 | 900.00 | 13500.00 | 10.00 | 150.00 | 700.00 | 10500.00 | 700.00 | 10500.00 | 150.00 | Aqua Cool Co.Pvt Ltd
| Total in Figures |  |  |  |  | 2157105.00 |  | 1811002.00 |  | 2284620.00 |  | 1988777.02 |  | 2008590.00 |  | 1869501.00
Lowest Amount Quoted BY: Industrial Traders(1811002.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Air Conditioners for Newly Renovated Guest Rooms, Gym and Community Centre, NAC, Mumbai Tender ID: 2022_AAI_120883_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Industrial Traders | 1811002.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 1869501.00 | L2
| 3 | Aqua Cool Co.Pvt Ltd | 1988777.02 | L3
| 4 | Anshutech Airconditioning Pvt Ltd | 2008590.00 | L4
| 5 | Air-O-Mec Engineers | 2157105.00 | L5
| 6 | Iceberg hvac pvt Ltd | 2284620.00 | L6