## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 20-Jul-2022 05:05 PM Tender Title: Annual Maintenance Contract of Electrical Mechanical Installations for Operational TB Area at J P N I Airport Patna For the year 2022 2024 Tender ID: 2022_AAI_121176_1
Tender Inviting Authority: Airport Authority of India, JPNI Airport Patna
Name of Work: Annual Maintenance Contract of Electrical & Mechanical Installations for Operational/TB Area at J.P.N.I. Airport, Patna. (For the year 2022-2024).
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing maintenance Services of Electrical and Mechanical Installations including Fire Alarm & Fire Hydrant System for Operational area ,Terminal Building, GLF Systems, lightings etc including MT Pool, Fire Station, Nav-Aid Buildings, Perimeter lights, Apron Flood lights, Elevator, EMD Offices, Office Areas etc. covering the scope of operation, preventive and breakdown maintenance, ensuring serviceability, satisfactory working condition of the system, preventive maintenance on daily, weekly, monthly, quarterly, half yearly and yearly basis, maintenance of records, documents etc. by engaging manpower round the clock basis and as per details mentioned in Special Condition of Contract.
1.10 | For Period (Years 2022-24) | 24.00 | Month |  | 672305.00 | 16135320.00 | 628777.00 | 15090648.00 | 620488.00 | 14891712.00 | 14891712.00 | SAURABH ENTERPRISES
2.00 | Rewinding of the following with Cu-winding wires of required size including less for dismantled copper wire etc. as reqd. etc. as required (Dismantle cu-wire need not to return).
2.10 | Ceiling fans (1200mm/1400mm) | 40.00 | Nos. |  | 350.00 | 14000.00 | 350.00 | 14000.00 | 200.00 | 8000.00 | 8000.00 | SAURABH ENTERPRISES
2.20 | Exhaust fans 450 mm | 10.00 | Nos. |  | 450.00 | 4500.00 | 350.00 | 3500.00 | 100.00 | 1000.00 | 1000.00 | SAURABH ENTERPRISES
2.30 | Exhaust fans (225mm/300 mm) | 20.00 | Nos. |  | 350.00 | 7000.00 | 300.00 | 6000.00 | 10.00 | 200.00 | 200.00 | SAURABH ENTERPRISES
2.40 | wall fans/pedestal fans upto 450mm | 80.00 | Nos. |  | 350.00 | 28000.00 | 400.00 | 32000.00 | 10.00 | 800.00 | 800.00 | SAURABH ENTERPRISES
2.50 | Replacement of bearing for above fans | 100.00 | Nos. |  | 450.00 | 45000.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 10000.00 | SAURABH ENTERPRISES, ABHISHEK INTEGRATIONS LIMITED
3.00 | Lifting, repairing and lowering upto 2 H.P. submersible pump motor set i/c column pipe, cable, jointing of submersible cable and sealing of pump motor with sealant material, testing commissioning etc complete as reqd. | 3.00 | Job |  | 500.00 | 1500.00 | 3000.00 | 9000.00 | 10.00 | 30.00 | 30.00 | SAURABH ENTERPRISES
4.00 | Rewinding of burnt motor of submersible pump motor set upto 2 HP with suitable size of Cu-winding wires including sealing of pump motor with sealant material, testing etc. as required. ( Burnt Cu Wire need not to return ) | 3.00 | Job |  | 2400.00 | 7200.00 | 1800.00 | 5400.00 | 10.00 | 30.00 | 30.00 | SAURABH ENTERPRISES
5.00 | Rubbing, cleaning & painting of feeder pillars/ electrical Panels/DBs/Fire Hydrant Boxes etc with one coat of red oxide and one or more coat of high gloss synthetic enamel paint of any colour as approved by Engineer-in-charge .etc. complete as reqd. | 125.00 | sqmtr |  | 250.00 | 31250.00 | 70.00 | 8750.00 | 9.00 | 1125.00 | 1125.00 | SAURABH ENTERPRISES
6.00 | Painting of electrical Runway/Taxi/Approach light fittings including base plate with two coats of synthetic enamelled paint of approved make in yellow colour to give an even shade including numbering of fittings in black colour etc complete as required. | 350.00 | Each |  | 150.00 | 52500.00 | 80.00 | 28000.00 | 9.00 | 3150.00 | 3150.00 | SAURABH ENTERPRISES
7.00 | All inclusive Comprehensive maintenance upto length 5 feet Air-curtain available at different location of Terminal Building i/c replacement of required accessories such as bearing, bushes, fan blades etc. with rewinding of fan motors, servicing & cleaning of all air-curtains once in a month, testing, making ensure serviceability all the time etc complete as required.
7.10 | For 1st Year (Yr. 2022-23) | 15.00 | Job/Year |  | 2000.00 | 30000.00 | 7000.00 | 105000.00 | 100.00 | 1500.00 | 1500.00 | SAURABH ENTERPRISES
7.20 | For 2nd Year (Yr. 2023-24) | 15.00 | Job/Year |  | 2000.00 | 30000.00 | 7000.00 | 105000.00 | 100.00 | 1500.00 | 1500.00 | SAURABH ENTERPRISES
8.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required. Group B | 50.00 | Point |  | 650.00 | 32500.00 | 500.00 | 25000.00 | 10.00 | 500.00 | 500.00 | SAURABH ENTERPRISES
9.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required
9.10 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 100.00 | Metre |  | 135.00 | 13500.00 | 80.00 | 8000.00 | 10.00 | 1000.00 | 1000.00 | SAURABH ENTERPRISES
9.20 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 200.00 | Metre |  | 145.00 | 29000.00 | 100.00 | 20000.00 | 11.00 | 2200.00 | 2200.00 | SAURABH ENTERPRISES
9.30 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 200.00 | Metre |  | 195.00 | 39000.00 | 120.00 | 24000.00 | 10.00 | 2000.00 | 2000.00 | SAURABH ENTERPRISES
9.40 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 50.00 | Metre |  | 285.00 | 14250.00 | 130.00 | 6500.00 | 10.00 | 500.00 | 500.00 | SAURABH ENTERPRISES
9.50 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 50.00 | Metre |  | 225.00 | 11250.00 | 135.00 | 6750.00 | 11.00 | 550.00 | 550.00 | SAURABH ENTERPRISES
10.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
10.10 | 1 x 1.5 sq. mm | 100.00 | Mtr |  | 29.00 | 2900.00 | 17.00 | 1700.00 | 10.00 | 1000.00 | 1000.00 | SAURABH ENTERPRISES
10.20 | 3 x 1.5 sq. mm | 50.00 | Mtr |  | 48.00 | 2400.00 | 60.00 | 3000.00 | 9.00 | 450.00 | 450.00 | SAURABH ENTERPRISES
10.30 | 3 x 2.5 sq. mm | 50.00 | Mtr |  | 65.00 | 3250.00 | 96.00 | 4800.00 | 11.00 | 550.00 | 550.00 | SAURABH ENTERPRISES
10.40 | 3 x 4 sq. mm | 50.00 | Mtr |  | 95.00 | 4750.00 | 148.00 | 7400.00 | 10.00 | 500.00 | 500.00 | SAURABH ENTERPRISES
11.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
11.10 | 20 mm | 100.00 | Mtr |  | 74.00 | 7400.00 | 25.00 | 2500.00 | 10.00 | 1000.00 | 1000.00 | SAURABH ENTERPRISES
11.20 | 25 mm | 100.00 | Mtr |  | 85.00 | 8500.00 | 35.00 | 3500.00 | 11.00 | 1100.00 | 1100.00 | SAURABH ENTERPRISES
12.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
12.10 | 5/6 amps switch | 125.00 | Each |  | 75.00 | 9375.00 | 32.00 | 4000.00 | 10.00 | 1250.00 | 1250.00 | SAURABH ENTERPRISES
12.20 | 15/16 amp switch | 50.00 | Each |  | 125.00 | 6250.00 | 78.00 | 3900.00 | 11.00 | 550.00 | 550.00 | SAURABH ENTERPRISES
12.30 | 3 pin 5/6 amp socket outlet | 125.00 | Each |  | 95.00 | 11875.00 | 76.00 | 9500.00 | 10.00 | 1250.00 | 1250.00 | SAURABH ENTERPRISES
12.40 | 6 pin 15/16 amp socket outlet | 50.00 | Each |  | 155.00 | 7750.00 | 125.00 | 6250.00 | 11.00 | 550.00 | 550.00 | SAURABH ENTERPRISES
13.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
13.10 | 3 Module (100mmX75mm) | 25.00 | Each |  | 245.00 | 6125.00 | 102.00 | 2550.00 | 10.00 | 250.00 | 250.00 | SAURABH ENTERPRISES
13.20 | 6 Module (200mmX75mm) | 20.00 | Each |  | 325.00 | 6500.00 | 164.00 | 3280.00 | 8.00 | 160.00 | 160.00 | SAURABH ENTERPRISES
13.30 | 8 Module (125mmX125mm) | 10.00 | Each |  | 350.00 | 3500.00 | 212.00 | 2120.00 | 7.00 | 70.00 | 70.00 | SAURABH ENTERPRISES
13.40 | 12 Module (200mmX150mm) | 5.00 | Each |  | 425.00 | 2125.00 | 260.00 | 1300.00 | 9.00 | 45.00 | 45.00 | SAURABH ENTERPRISES
14.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
14.10 | 8 way, Double door | 6.00 | Each |  | 1500.00 | 9000.00 | 1400.00 | 8400.00 | 6.00 | 36.00 | 36.00 | SAURABH ENTERPRISES
14.20 | 12 way, Double door | 4.00 | Each |  | 1950.00 | 7800.00 | 2200.00 | 8800.00 | 10.00 | 40.00 | 40.00 | SAURABH ENTERPRISES
15.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
15.10 | 4 way (4 + 12), Double door | 3.00 | Each |  | 2500.00 | 7500.00 | 2000.00 | 6000.00 | 11.00 | 33.00 | 33.00 | SAURABH ENTERPRISES
15.20 | 8 way (4 + 24), Double door | 1.00 | Each |  | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 13.00 | 13.00 | 13.00 | SAURABH ENTERPRISES
16.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 5.00 | Set |  | 5500.00 | 27500.00 | 4500.00 | 22500.00 | 9.00 | 45.00 | 45.00 | SAURABH ENTERPRISES
17.00 | Providing and laying earth connections, from earth electrode with 6SWG dia, G.I wire in 15mm dia G.I pipe from earth electrode as required. | 50.00 | Mtr |  | 150.00 | 7500.00 | 100.00 | 5000.00 | 9.00 | 450.00 | 450.00 | SAURABH ENTERPRISES
18.00 | Providing and fixing 6 SWG dia G.I. wire along with UG cable in HDPE/GI/DWC Pipe etc complete as required. | 100.00 | Mtr |  | 30.00 | 3000.00 | 20.00 | 2000.00 | 11.00 | 1100.00 | 1100.00 | SAURABH ENTERPRISES
19.00 | Supplying and fixing following size/ modules, PVC box alongwith modular base & cover plate for modular switches in recess etc. as required.
19.10 | 3 Module | 25.00 | Each |  | 195.00 | 4875.00 | 100.00 | 2500.00 | 10.00 | 250.00 | 250.00 | SAURABH ENTERPRISES
19.20 | 6 Module | 30.00 | Each |  | 225.00 | 6750.00 | 165.00 | 4950.00 | 12.00 | 360.00 | 360.00 | SAURABH ENTERPRISES
20.00 | Laying of 1 no. PVC insulated and PVC sheathed stranded copper conductor airfield lighting cable of grade exceeding 1.1 KV but not exceeding 5 KV of size not exceeding 16 sqmm in the existing masonary open duct/pipe etc as required. | 1000.00 | Mtr |  | 85.00 | 85000.00 | 10.00 | 10000.00 | 10.00 | 10000.00 | 10000.00 | SAURABH ENTERPRISES, ABHISHEK INTEGRATIONS LIMITED
21.00 | Supply of one packet (25 kg) fosroc Conbextra GP2 Compound for filled up gap for inset fitting on runway. | 100.00 | Packet |  | 500.00 | 50000.00 | 575.00 | 57500.00 | 11.00 | 1100.00 | 1100.00 | SAURABH ENTERPRISES
22.00 | Supply and fixing 20 amps, 240 volts, SPN industrial Modular type, socket outlet with plug top along with 20 amps “C” curve, SP MCB, in sheet steel enclosure, on surface or in recess with connections, testing and commissioning etc. as required. | 10.00 | Each |  | 910.50 | 9105.00 | 702.00 | 7020.00 | 10.00 | 100.00 | 100.00 | SAURABH ENTERPRISES
23.00 | Excavation for cable trenches in soft soil, depth upto 1.2 m including refilling of soil, dressing of sides i/c ramming, watering and getting out of disposal of surplus excavated soil as directed, within a lead of 50 metres. | 100.00 | Cum |  | 250.00 | 25000.00 | 100.00 | 10000.00 | 11.00 | 1100.00 | 1100.00 | SAURABH ENTERPRISES
| Total in Figures |  |  |  |  | 16855500.00 |  | 15712518.00 |  | 14949149.00
Lowest Amount Quoted BY: SAURABH ENTERPRISES(14949149.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Electrical Mechanical Installations for Operational TB Area at J P N I Airport Patna For the year 2022 2024 Tender ID: 2022_AAI_121176_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAURABH ENTERPRISES | 14949149.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 15712518.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 16855500.00 | L3