## BoQ1
Government eProcurement System Created By: BIPIN PRAKASH Created Date/Time: 29-Jul-2022 11:49 AM Tender Title: Misc. Capital works in operational and non-operational area at Dehradun Airport. SH- Replacement of defective LT cable of different locations in operational area at Dehradun Airport. Tender ID: 2022_AAI_121321_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-Elect.), AAI, Jolly Grant Airport, Dehradun
Name of Work: Misc. Capital works in operational and non-operational area at Dehradun Airport. (SH:- Replacement of defective LT cable of different locations in operational area at Dehradun Airport.)
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1.1 KV grade XLPE insulated and PVC sheathed aluminium conductor, armoured LT cable, confirming to IS 7098 (Part-I) 1988 with upto date amendments and as specified of following sizes.
1.10 | (a) 3.5 Core x 120 Sq.mm | 500.00 | Meter | 0.00 | 590.00 | 295000.00 | 550.00 | 275000.00 | 275000.00 | Awasthi Electric Works
2.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size above 95 sqmm and upto 185 sqmm direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | 350.00 | Meter | 0.00 | 350.00 | 122500.00 | 250.00 | 87500.00 | 87500.00 | Awasthi Electric Works
3.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size above 95 sqmm and upto 185 sqmm in the existing RCC/ HUME/ METAL pipe as required. | 100.00 | Meter |  | 50.00 | 5000.00 | 40.00 | 4000.00 | 4000.00 | Awasthi Electric Works
4.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of size above 95 sqmm and upto 185 sqmm in the existing masonry open duct as required. | 50.00 | Meter | 0.00 | 50.00 | 2500.00 | 30.00 | 1500.00 | 1500.00 | Awasthi Electric Works
5.00 | Supplying & making of cable end termination with brass compression gland and aluminium lugs for following sizes of XLPE / PVC insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade as required.
5.10 | (a) 3.5 Core x 120 Sqmm | 4.00 | Set | 0.00 | 600.00 | 2400.00 | 350.00 | 1400.00 | 1400.00 | Awasthi Electric Works
6.00 | Supply of following size HDPE pipe lSI marked conforming to IS 14930, Part II.
6.10 | (a) 63 mm dia., 4 Kgf/cm² | 100.00 | Meter | 0.00 | 248.00 | 24800.00 | 160.00 | 16000.00 | 16000.00 | Awasthi Electric Works
7.00 | Laying of following size HDPE pipe complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
7.10 | (a) 63 mm dia. | 100.00 | Metre |  | 120.00 | 12000.00 | 150.00 | 15000.00 | 12000.00 | Manish Electricals
8.00 | Supply of 100 mm dia. G.I. pipe of "B" class (conforming to IS:1239 Part-I 2004) for road and concrete crossing. | 40.00 | Metre |  | 1570.00 | 62800.00 | 1100.00 | 44000.00 | 44000.00 | Awasthi Electric Works
9.00 | Laying of 100 mm dia. GI pipe of B class in hard soil/surface concrete upto a depth of 40 cms. including excavation and refilling it with 1:2:4 CC to make the surface good etc. as required & as per the direction of Engineer-in-charge. | 40.00 | Metre |  | 480.00 | 19200.00 | 300.00 | 12000.00 | 12000.00 | Awasthi Electric Works
10.00 | Supply of following capacity electric geysers of following capacity suitable for operation on 1 phase AC supply of 220 Volt,50 Hz complete with its all accessories like power cord, mounting stand etc. as required of reputated makes such as Havells, Bajaj, etc.
10.10 | (a) Geyser - 25 litre | 2.00 | Each |  | 18500.00 | 37000.00 | 12000.00 | 24000.00 | 24000.00 | Awasthi Electric Works
10.20 | (b) Geyser - 50 litre | 2.00 | Each |  | 23500.00 | 47000.00 | 15000.00 | 30000.00 | 30000.00 | Awasthi Electric Works
11.00 | Supply of National Flag of size 20' x 30' in 100% knitted Polyster (140gsm) with reinforced super-strong nylon webbing on all 3 sides (for withstanding strong winds) complete with rope/ toggle on the side sleeve as required at site. | 10.00 | Nos. |  | 13500.00 | 135000.00 | 25000.00 | 250000.00 | 135000.00 | Manish Electricals
12.00 | Supply of stool type folding ladder of following platform height made of rectangular Zig-Zag channel heavy duty Alumimum section of size 75x35x3.8 mm and upper corner thickness shall be 6.5 mm as per IS: 733-1983 temper T-6 and 63 mm wide Corrugated alumimum 01 piece steps having non slippery Corrugated flat section bottom end with non slippery rubber pad and all other accessories required for safeties etc as per original equipment manufacturer as per original equipment manufacturer as required. (Similar to model RELADS 2502, make RELADS) subject to Compliance of enclosed Technical Specification.
12.10 | (a) Height 20 feet | 1.00 | Each |  | 38500.00 | 38500.00 | 40000.00 | 40000.00 | 38500.00 | Manish Electricals
13.00 | Supply, Installation,Testing and Commissioning of 40 Watt LED street light with inbuilt 48Ah lithium ferro phosphate battery, 75 watt Solar Photo-Voltaic panel with inbuilt solar charger controller and PIR sensor, dusk to dawn with 12 hour battery backup of reputed make & reliable operation including 5 years Warranty period from the date of commissioning of above solar panel in different locations at Dehradun Airport. | 6.00 | Job |  | 39000.00 | 234000.00 | 35000.00 | 210000.00 | 210000.00 | Awasthi Electric Works
14.00 | Dismantling and Reinstalling of 500 ltrs solar water heater(with all enclosures) , dismantling from CISF Barracks and reinstallation on the roof of old substation building at Dehradun Airport. | 1.00 | Job |  | 30000.00 | 30000.00 | 19000.00 | 19000.00 | 19000.00 | Awasthi Electric Works
15.00 | Supply of following electrical equipments along with calibartion certificate report:
15.10 | (a) Digital Clamp meter (Motwane make, Model No. DCM-39 A) | 1.00 | Each |  | 23000.00 | 23000.00 | 26000.00 | 26000.00 | 23000.00 | Manish Electricals
15.20 | (b) Digital Earth Tester (Motwane make, Model No. DET-20) with complete kit | 1.00 | Each |  | 19000.00 | 19000.00 | 22000.00 | 22000.00 | 19000.00 | Manish Electricals
15.30 | (c) Digital Insulation Tester (Motwane make, Model No. i12) | 1.00 | Each |  | 18700.00 | 18700.00 | 16000.00 | 16000.00 | 16000.00 | Awasthi Electric Works
15.40 | (d) Extractor/Vacuum Cleaner having 15 Litre gross capacity with wet & Dry function & operation on single phase. (equivalent to Make: BOSCH, Model No.: GAS 15 Professional). | 1.00 | Each |  | 13900.00 | 13900.00 | 15000.00 | 15000.00 | 13900.00 | Manish Electricals
16.00 | Supply of 12V-7AH sealed lead acid battery for OMEGA make lift of exide or its equivalent make. | 15.00 | Each |  | 1700.00 | 25500.00 | 1100.00 | 16500.00 | 16500.00 | Awasthi Electric Works
17.00 | Supply of Dragon search light of 3-mm thick, tough, Shock-Proof & Water-proof High-Grade ABS Body,10 Watt LED lamp, beam range of 1 km, penetration range of 200 feet in fog and smoke, 4.5AH sealed maintenance free high performance battery with Dual Charging: AC/DC Wall Charger or through 6V DC SOLAR PANEL (3-5W only) and three mode of operation high beam low beam and Auto flasher equivalent to FOS protector. | 5.00 | Each |  | 4500.00 | 22500.00 | 5000.00 | 25000.00 | 22500.00 | Manish Electricals
| Total in Figures |  |  |  |  | 1190300.00 |  | 1149900.00
Lowest Amount Quoted BY: Awasthi Electric Works(1149900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. Capital works in operational and non-operational area at Dehradun Airport. SH- Replacement of defective LT cable of different locations in operational area at Dehradun Airport. Tender ID: 2022_AAI_121321_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works | 1149900.00 | L1
| 2 | Manish Electricals | 1190300.00 | L2