## BoQ1
Government eProcurement System Created By: Ganesh Bhiwapurkar Created Date/Time: 12-Aug-2022 06:33 PM Tender Title: Special repair of existing faulty fire alarm panel at Srinagar Intl Airport, Srinagar Tender ID: 2022_AAI_121359_1
Tender Inviting Authority: AGM (ENGG-ELECT), AAI, SRINAGAR INTERNATIONAL AIRPORT, SRINAGAR, J&K-190007.
Name of Work: Special repair of existing faulty fire alarm panel at Srinagar Int'l Airport, Srinagar.
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of addressable fire alarm panel (Make: HONEYWELL, MORLEY. Model No. ZX5SE) with 05 nos. loop cards, battery suitable for working on 230V, 50Hz AC supply and compatible with existing smoke detectors, manual call points and as per technical specifications etc complete as required. | 1.00 | Each |  | 242000.00 | 242000.00 | 242000.00 | CENTRE TAP ENGINEERING
2.00 | SITC of addressable multi criteria smoke detector with base (Make: HONEYWELL, Model No. HM-PTSE+B501) compatible with new fire alarm panel (ZX5SE) including dismantling of existing smoke/ heat dectector and submission of same to AAI store and as per technical specifications etc. complete as required. | 25.00 | Each |  | 3080.00 | 77000.00 | 77000.00 | CENTRE TAP ENGINEERING
3.00 | SITC of addressable sounder with base (Make: HONEYWELL, Model No. WSO-PRN+B501) compatible with new fire alarm panel (ZX5SE) including dismantling of existing sounder and submission of same to AAI store and as per technical specifications etc. complete as required. | 20.00 | Each |  | 5456.00 | 109120.00 | 109120.00 | CENTRE TAP ENGINEERING
4.00 | SITC of addressable manual call point (Make: HONEYWELL, Model No. MI-MCP-FLEX) with all mounting accessories required to install on surface compatible with new fire alarm panel (ZX5SE) including dismantling of existing MCP and submission of same to AAI store and as per technical specifications etc complete as required. | 5.00 | Each |  | 3696.00 | 18480.00 | 18480.00 | CENTRE TAP ENGINEERING
5.00 | Installation testing & commissioning of addressable fire alarm panel (Make: HONEYWELL, MORLEY. Model No. ZX5SE) with 05 nos. loop cards, battery including circuit fault identification and its rectification if any, dismantling of existing fire alarm panel and submission of same to AAI store etc. complete as required. | 1.00 | Job |  | 105600.00 | 105600.00 | 105600.00 | CENTRE TAP ENGINEERING
6.00 | Supply and fixing of 1.1 KV grade, 2C X 1.5 sqmm FRLS copper conductor armoured cable conforming to I.S: 7098 (Pt-1) 1988 specification with upto date ammendments on surface/ceiling etc. complete as required. | 1800.00 | Meter |  | 132.00 | 237600.00 | 237600.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 789800.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(789800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Special repair of existing faulty fire alarm panel at Srinagar Intl Airport, Srinagar Tender ID: 2022_AAI_121359_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 789800.00 | L1