## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 04-Aug-2022 01:43 PM Tender Title: ARMO of Electrical Works at Silchar Airport. SH- Special repair of 750KVA Indoor type distribution transformer at Silchar Airport Tender ID: 2022_AAI_121372_1
Tender Inviting Authority: Asstt. G.M. (Engg-Electrical), AAI, Silchar Airport.
Name of Work: ARMO of Electrical Works at Silchar Airport. SH: Special repair of 750KVA Indoor type distribution transformer at Silchar Airport.
Tender Id: 2022_AAI_121372_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GEETA ENGINEERING(GSTN-NA) |  | International Infrastructures(GSTN-NA) |  | KANIKA ELECTRICAL WORKS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Complete repair and overhauling, reinstallation, testing & commissioning of Kirloskar Make 750 KVA transformer Indoor type, ONAN Core type, transformer with copper winding, of ratings 750 KVA, 11KV/433 Volts, with off-LOAD tap change -7.5% to +7.5% in step of 2.5%, 3-PH, 50Hz, vector group of Dyn 11 with OTI (with Alarm & Trip Contacts), WTI (with Alarm & Trip Contacts) which has percent impedance not more than 5%, bucholz relay and replacement of all defective accessories with necessary spare parts. The transformer is to be repositioned and recommissioned in substation with all HT/LT cable termination complete as required i/c following works. (a) Complete repairing of the above mentioned 750 KVA Distribution Transformer and dismantling, core, coil assembly & reassembling of core coil, testing etc complete as required. | 1.00 | Job | 0.00 | 80000.00 | 80000.00 | 30000.00 | 30000.00 | 120000.00 | 120000.00 | 30000.00 | International Infrastructures
2.00 | Complete repair and overhauling, reinstallation, testing & commissioning of Kirloskar Make 750 KVA transformer Indoor type, ONAN Core type, transformer with copper winding, of ratings 750 KVA, 11KV/433 Volts, with off-LOAD tap change -7.5% to +7.5% in step of 2.5%, 3-PH, 50Hz, vector group of Dyn 11 with OTI (with Alarm & Trip Contacts), WTI (with Alarm & Trip Contacts) which has percent impedance not more than 5%, bucholz relay and replacement of all defective accessories with necessary spare parts. The transformer is to be repositioned and recommissioned in substation with all HT/LT cable termination complete as required i/c following works. (b) Complete DPC insulation varnishing (RYB) of HV leg coils complete as required. | 200.00 | Kg | 0.00 | 250.00 | 50000.00 | 1000.00 | 200000.00 | 340.00 | 68000.00 | 50000.00 | GEETA ENGINEERING
3.00 | Complete repair and overhauling, reinstallation, testing & commissioning of Kirloskar Make 750 KVA transformer Indoor type, ONAN Core type, transformer with copper winding, of ratings 750 KVA, 11KV/433 Volts, with off-LOAD tap change -7.5% to +7.5% in step of 2.5%, 3-PH, 50Hz, vector group of Dyn 11 with OTI (with Alarm & Trip Contacts), WTI (with Alarm & Trip Contacts) which has percent impedance not more than 5%, bucholz relay and replacement of all defective accessories with necessary spare parts. The transformer is to be repositioned and recommissioned in substation with all HT/LT cable termination complete as required i/c following works. (c) Supply and filling with fresh transformer oil of standard quantity as per IS including core, coil & tank washing. | 700.00 | Ltrs | 0.00 | 98.00 | 68600.00 | 140.00 | 98000.00 | 150.00 | 105000.00 | 68600.00 | GEETA ENGINEERING
4.00 | Complete repair and overhauling, reinstallation, testing & commissioning of Kirloskar Make 750 KVA transformer Indoor type, ONAN Core type, transformer with copper winding, of ratings 750 KVA, 11KV/433 Volts, with off-LOAD tap change -7.5% to +7.5% in step of 2.5%, 3-PH, 50Hz, vector group of Dyn 11 with OTI (with Alarm & Trip Contacts), WTI (with Alarm & Trip Contacts) which has percent impedance not more than 5%, bucholz relay and replacement of all defective accessories with necessary spare parts. The transformer is to be repositioned and recommissioned in substation with all HT/LT cable termination complete as required i/c following works. (d) Supply and Fixing of MS Nuts & Volts. | 5.00 | Kg | 0.00 | 120.00 | 600.00 | 100.00 | 500.00 | 160.00 | 800.00 | 500.00 | International Infrastructures
5.00 | Complete repair and overhauling, reinstallation, testing & commissioning of Kirloskar Make 750 KVA transformer Indoor type, ONAN Core type, transformer with copper winding, of ratings 750 KVA, 11KV/433 Volts, with off-LOAD tap change -7.5% to +7.5% in step of 2.5%, 3-PH, 50Hz, vector group of Dyn 11 with OTI (with Alarm & Trip Contacts), WTI (with Alarm & Trip Contacts) which has percent impedance not more than 5%, bucholz relay and replacement of all defective accessories with necessary spare parts. The transformer is to be repositioned and recommissioned in substation with all HT/LT cable termination complete as required i/c following works. (e) Supply and Fixing of Insulation materials | 8.00 | Kg | 0.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 3000.00 | 24000.00 | 4000.00 | GEETA ENGINEERING, International Infrastructures
6.00 | Complete repair and overhauling, reinstallation, testing & commissioning of Kirloskar Make 750 KVA transformer Indoor type, ONAN Core type, transformer with copper winding, of ratings 750 KVA, 11KV/433 Volts, with off-LOAD tap change -7.5% to +7.5% in step of 2.5%, 3-PH, 50Hz, vector group of Dyn 11 with OTI (with Alarm & Trip Contacts), WTI (with Alarm & Trip Contacts) which has percent impedance not more than 5%, bucholz relay and replacement of all defective accessories with necessary spare parts. The transformer is to be repositioned and recommissioned in substation with all HT/LT cable termination complete as required i/c following works. (f) Supply and provision of Silica gel breather with fresh silica gel. | 2.00 | Kg | 0.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 3000.00 | 6000.00 | 2000.00 | International Infrastructures
7.00 | Complete repair and overhauling, reinstallation, testing & commissioning of Kirloskar Make 750 KVA transformer Indoor type, ONAN Core type, transformer with copper winding, of ratings 750 KVA, 11KV/433 Volts, with off-LOAD tap change -7.5% to +7.5% in step of 2.5%, 3-PH, 50Hz, vector group of Dyn 11 with OTI (with Alarm & Trip Contacts), WTI (with Alarm & Trip Contacts) which has percent impedance not more than 5%, bucholz relay and replacement of all defective accessories with necessary spare parts. The transformer is to be repositioned and recommissioned in substation with all HT/LT cable termination complete as required i/c following works. (g) Supply and Fixing of Gasket Set (rubberized cork) 8 mm | 1.00 | Job | 0.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 3000.00 | GEETA ENGINEERING
8.00 | Complete repair and overhauling, reinstallation, testing & commissioning of Kirloskar Make 750 KVA transformer Indoor type, ONAN Core type, transformer with copper winding, of ratings 750 KVA, 11KV/433 Volts, with off-LOAD tap change -7.5% to +7.5% in step of 2.5%, 3-PH, 50Hz, vector group of Dyn 11 with OTI (with Alarm & Trip Contacts), WTI (with Alarm & Trip Contacts) which has percent impedance not more than 5%, bucholz relay and replacement of all defective accessories with necessary spare parts. The transformer is to be repositioned and recommissioned in substation with all HT/LT cable termination complete as required i/c following works. (h) Painting of above mentioned Transformer body with powder coating in approved shade complete as required. | 1.00 | Job | 0.00 | 13000.00 | 13000.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 4000.00 | KANIKA ELECTRICAL WORKS
9.00 | Complete repair and overhauling, reinstallation, testing & commissioning of Kirloskar Make 750 KVA transformer Indoor type, ONAN Core type, transformer with copper winding, of ratings 750 KVA, 11KV/433 Volts, with off-LOAD tap change -7.5% to +7.5% in step of 2.5%, 3-PH, 50Hz, vector group of Dyn 11 with OTI (with Alarm & Trip Contacts), WTI (with Alarm & Trip Contacts) which has percent impedance not more than 5%, bucholz relay and replacement of all defective accessories with necessary spare parts. The transformer is to be repositioned and recommissioned in substation with all HT/LT cable termination complete as required i/c following works. (i) Loading, Unloading & Transportation of the above mentioned transformer from site to workshop and back after repair complete as required. | 1.00 | Job | 0.00 | 120000.00 | 120000.00 | 23000.00 | 23000.00 | 16000.00 | 16000.00 | 16000.00 | KANIKA ELECTRICAL WORKS
10.00 | Complete repair and overhauling, reinstallation, testing & commissioning of Kirloskar Make 750 KVA transformer Indoor type, ONAN Core type, transformer with copper winding, of ratings 750 KVA, 11KV/433 Volts, with off-LOAD tap change -7.5% to +7.5% in step of 2.5%, 3-PH, 50Hz, vector group of Dyn 11 with OTI (with Alarm & Trip Contacts), WTI (with Alarm & Trip Contacts) which has percent impedance not more than 5%, bucholz relay and replacement of all defective accessories with necessary spare parts. The transformer is to be repositioned and recommissioned in substation with all HT/LT cable termination complete as required i/c following works. (j) Complete installation, testing & commissioning of the repaired transformer by deploying suitable Engineer / Technician & submission of all required test report complete as required. | 1.00 | Job | 0.00 | 40000.00 | 40000.00 | 5000.00 | 5000.00 | 33000.00 | 33000.00 | 5000.00 | International Infrastructures
11.00 | Complete repair and overhauling, reinstallation, testing & commissioning of Kirloskar Make 750 KVA transformer Indoor type, ONAN Core type, transformer with copper winding, of ratings 750 KVA, 11KV/433 Volts, with off-LOAD tap change -7.5% to +7.5% in step of 2.5%, 3-PH, 50Hz, vector group of Dyn 11 with OTI (with Alarm & Trip Contacts), WTI (with Alarm & Trip Contacts) which has percent impedance not more than 5%, bucholz relay and replacement of all defective accessories with necessary spare parts. The transformer is to be repositioned and recommissioned in substation with all HT/LT cable termination complete as required i/c following works. (k) Less rebate for old transformer oil | 580.00 | Ltrs | 0.00 | 40.00 | -23200.00 | 40.00 | -23200.00 | 30.00 | -17400.00 | -23200.00 | GEETA ENGINEERING, International Infrastructures
| Total in Figures |  |  |  |  | 360000.00 |  | 349300.00 |  | 364400.00
Lowest Amount Quoted BY: International Infrastructures(349300.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical Works at Silchar Airport. SH- Special repair of 750KVA Indoor type distribution transformer at Silchar Airport Tender ID: 2022_AAI_121372_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | International Infrastructures | 349300.00 | L1
| 2 | GEETA ENGINEERING | 360000.00 | L2
| 3 | KANIKA ELECTRICAL WORKS | 364400.00 | L3