## BoQ1
Government eProcurement System Created By: Ambrish Singh Created Date/Time: 08-Sep-2022 03:59 PM Tender Title: Replacement of Power Cable and Panels etc. of Colony and NAV AIDS installations at LBSI Airport Varanasi. SH- Laying of Standby Cable for NAV AIDS Tender ID: 2022_AAI_121540_1
Tender Inviting Authority: Asstt. General Manager (Engg.-E), LBSI Airport Varanasi.
Name of Work: Replacement of Power Cable & Panels etc. of Colony & NAV AIDS installations at LBSI Airport Varanasi. SH : Laying of Standby Cable for NAV AIDS.
Contract No: 2022_AAI_121540_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | Choubay And Co.(Agencies) Pvt.Ltd.(GSTN-09AAACC6073E1ZT) |  | NATIONAL ELECTRICAL AND ELECTRONICS SERVICES(GSTN-09AWZPM1299E1ZS) |  | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | Naagar Infrastructure Pvt Ltd(GSTN-07AACCN7477R1ZJ) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA) |  | Aditya Techno Products Private Limited(GSTN-NA) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size HDPE pipe suitable to lay in underground as per IIS:4984/95 duly ISI marked: 110 mm outer dia PE80, PN10 | 150.00 | Metre |  | 850.00 | 127500.00 | 450.00 | 67500.00 | 540.00 | 81000.00 | 600.00 | 90000.00 | 840.00 | 126000.00 | 650.00 | 97500.00 | 500.00 | 75000.00 | 702.00 | 105300.00 | 724.36 | 108654.00 | 67500.00 | Industrial Traders
2.00 | Supply of XLPE insulated, PVC innersheathed, armoured aluminium cable,1100 V as per IS 7098 (Part 1) 1988 with upto date amendments of following sizes: 3.5C X 400 sq. mm. | 1900.00 | Meter |  | 1570.00 | 2983000.00 | 1592.00 | 3024800.00 | 1500.00 | 2850000.00 | 1600.00 | 3040000.00 | 1518.00 | 2884200.00 | 1700.00 | 3230000.00 | 1600.00 | 3040000.00 | 1655.00 | 3144500.00 | 1500.00 | 2850000.00 | 2850000.00 | SAURABH ENTERPRISES, Choubay And Co.(Agencies) Pvt.Ltd.
3.00 | Supply of 3C x 95 Sqmm. size, 11 KV grade, XLPE insulated & PVC sheathed armoured aluminium conductor HT(E) cable generally conforming to IS 7098 Part II-1985 with up to date amendments as required. | 1700.00 | Meter |  | 747.00 | 1269900.00 | 720.00 | 1224000.00 | 700.00 | 1190000.00 | 700.00 | 1190000.00 | 713.00 | 1212100.00 | 856.00 | 1455200.00 | 700.00 | 1190000.00 | 745.00 | 1266500.00 | 700.00 | 1190000.00 | 1190000.00 | SAURABH ENTERPRISES, JCC ENGINEERS PRIVATE LIMITED, Choubay And Co.(Agencies) Pvt.Ltd., NATIONAL ELECTRICAL AND ELECTRONICS SERVICES
4.00 | Supply of following size DWC HDPE pipe ISI marked suitable to lay in ground conforming to IS 16205, Part 24 etc., complete as required. 90 mm dia (OD-90 mm & ID-76 mm nominal) | 1500.00 | Meter |  | 100.00 | 150000.00 | 102.00 | 153000.00 | 120.00 | 180000.00 | 120.00 | 180000.00 | 105.00 | 157500.00 | 125.00 | 187500.00 | 100.00 | 150000.00 | 134.00 | 201000.00 | 90.00 | 135000.00 | 135000.00 | SAURABH ENTERPRISES
5.00 | Supply of following size DWC HDPE pipe ISI marked suitable to lay in ground conforming to IS 16205, Part 24 etc., complete as required. 120 mm dia (OD-120 mm & ID-103 mm nominal) | 1650.00 | Meter |  | 135.00 | 222750.00 | 142.00 | 234300.00 | 160.00 | 264000.00 | 150.00 | 247500.00 | 150.00 | 247500.00 | 180.00 | 297000.00 | 160.00 | 264000.00 | 169.00 | 278850.00 | 120.00 | 198000.00 | 198000.00 | SAURABH ENTERPRISES
6.00 | Laying of various size HDPE Pipe in underground for laying of cable across taxi or runway/road at depth of upto 3 mtr through HDD Method etc complete as required. | 230.00 | Meter |  | 600.00 | 138000.00 | 1250.00 | 287500.00 | 800.00 | 184000.00 | 600.00 | 138000.00 | 1000.00 | 230000.00 | 1900.00 | 437000.00 | 600.00 | 138000.00 | 857.00 | 197110.00 | 900.00 | 207000.00 | 138000.00 | Techno Electricals, JCC ENGINEERS PRIVATE LIMITED, NATIONAL ELECTRICAL AND ELECTRONICS SERVICES
7.00 | Laying of following size DWC HDPE pipe ISI marked along with providing and fixing all accessories like socket, bend, couplers etc. conforming to IS 16205, Part 24 complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 90 mm dia (OD-90 mm & ID-76 mm nominal) | 1500.00 | Meter |  | 105.00 | 157500.00 | 60.00 | 90000.00 | 80.00 | 120000.00 | 120.00 | 180000.00 | 90.00 | 135000.00 | 100.00 | 150000.00 | 75.00 | 112500.00 | 105.00 | 157500.00 | 125.00 | 187500.00 | 90000.00 | Industrial Traders
8.00 | Laying of following size DWC HDPE pipe ISI marked along with providing and fixing all accessories like socket, bend, couplers etc. conforming to IS 16205, Part 24 complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 120 mm dia (OD-120 mm & ID-103 mm nominal) | 1650.00 | Meter |  | 105.00 | 173250.00 | 75.00 | 123750.00 | 80.00 | 132000.00 | 120.00 | 198000.00 | 95.00 | 156750.00 | 110.00 | 181500.00 | 75.00 | 123750.00 | 129.00 | 212850.00 | 128.00 | 211200.00 | 123750.00 | JCC ENGINEERS PRIVATE LIMITED, Industrial Traders
9.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing DWC/HDPE/RCC/ HUME/ METAL pipe as required. Above 185 sq. mm and upto 400 sq. mm | 1700.00 | Meter |  | 60.00 | 102000.00 | 50.00 | 85000.00 | 30.00 | 51000.00 | 100.00 | 170000.00 | 50.00 | 85000.00 | 100.00 | 170000.00 | 50.00 | 85000.00 | 110.00 | 187000.00 | 40.00 | 68000.00 | 51000.00 | Choubay And Co.(Agencies) Pvt.Ltd.
10.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing DWC/HDPE/RCC/ HUME/ METAL pipe as required Upto 95 sq. mm | 1500.00 | Meter |  | 40.00 | 60000.00 | 30.00 | 45000.00 | 30.00 | 45000.00 | 100.00 | 150000.00 | 40.00 | 60000.00 | 70.00 | 105000.00 | 30.00 | 45000.00 | 67.00 | 100500.00 | 30.00 | 45000.00 | 45000.00 | SAURABH ENTERPRISES, JCC ENGINEERS PRIVATE LIMITED, Industrial Traders, Choubay And Co.(Agencies) Pvt.Ltd.
11.00 | Providing and laying 6 SWG dia G.I. wire in HDPE/RCC/ HUME/ METAL pipe/existing trench or along with cable for loop earthing etc complete as required. | 3600.00 | Metre |  | 23.00 | 82800.00 | 28.00 | 100800.00 | 15.00 | 54000.00 | 25.00 | 90000.00 | 25.00 | 90000.00 | 40.00 | 144000.00 | 16.00 | 57600.00 | 34.00 | 122400.00 | 20.00 | 72000.00 | 54000.00 | Choubay And Co.(Agencies) Pvt.Ltd.
12.00 | Design, manufacture, supply, installation, testing and commissioning of outddoor type feeder pillar box of size 0.60 m X 0.75 m X 0.30 m with double door fabricated from 2 mm thick MS steel including TPN Bus bar of 415V, 400 Amp, 50 Hz with suitable equidistant arrangement for connection of 01 I/c and 02 Outgoing power cables, cable entry from bottom, arranegment for earth connection, totally enclosed type with free standing floor mounted, dust & vermin proof suitable to be used outside etc as per site requirement complete as required. | 10.00 | Each |  | 15000.00 | 150000.00 | 10000.00 | 100000.00 | 40000.00 | 400000.00 | 25000.00 | 250000.00 | 15000.00 | 150000.00 | 8500.00 | 85000.00 | 8000.00 | 80000.00 | 61214.00 | 612140.00 | 3500.00 | 35000.00 | 35000.00 | SAURABH ENTERPRISES
13.00 | Design, manufacture, supply, installation, testing and commissioning of outddoor type feeder pillar of size 0.75 m X 1.20 m X 0.50 m with double door fabricated from 2 mm thick MS steel with separate compartment for entry of cables and connection with bus bars including TPN Bus bar of 415V, 400 Amp, 50 Hz with suitable equidistant arrangement for connection of 03 Nos. power cables, cable entry from bottom, arranegment for earth connection, with 03 Nos. FP MCCB of rating 200 Amp connected between each set of bus bars(1-2, 2-3 1-3) using suitable connectors, totally enclosed type with free standing floor mounted, dust & vermin proof suitable to be used outside etc as per site requirement complete as required. | 2.00 | Each |  | 110000.00 | 220000.00 | 80000.00 | 160000.00 | 130000.00 | 260000.00 | 40000.00 | 80000.00 | 120000.00 | 240000.00 | 92000.00 | 184000.00 | 75000.00 | 150000.00 | 138547.00 | 277094.00 | 8000.00 | 16000.00 | 16000.00 | SAURABH ENTERPRISES
14.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 185 sq. mm (57mm) | 6.00 | Each |  | 650.00 | 3900.00 | 500.00 | 3000.00 | 1100.00 | 6600.00 | 2500.00 | 15000.00 | 600.00 | 3600.00 | 650.00 | 3900.00 | 500.00 | 3000.00 | 1626.00 | 9756.00 | 500.00 | 3000.00 | 3000.00 | SAURABH ENTERPRISES, JCC ENGINEERS PRIVATE LIMITED, Industrial Traders
15.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 400 sq. mm (82mm) | 2.00 | Each |  | 1000.00 | 2000.00 | 900.00 | 1800.00 | 1500.00 | 3000.00 | 3000.00 | 6000.00 | 800.00 | 1600.00 | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 2375.00 | 4750.00 | 600.00 | 1200.00 | 1200.00 | SAURABH ENTERPRISES
16.00 | Supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for 3 C X 95 sq. mm, XLPE aluminium conductor cable of 11 KV grade as required. | 2.00 | Each |  | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 560.00 | 1120.00 | 500.00 | 1000.00 | 7052.00 | 14104.00 | 4000.00 | 8000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
17.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 185 sq. mm. | 2.00 | Each |  | 3500.00 | 7000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 6000.00 | 12000.00 | 2800.00 | 5600.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 6924.00 | 13848.00 | 2000.00 | 4000.00 | 4000.00 | SAURABH ENTERPRISES, JCC ENGINEERS PRIVATE LIMITED
18.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 400 sq. mm. | 2.00 | Each |  | 4000.00 | 8000.00 | 9000.00 | 18000.00 | 3500.00 | 7000.00 | 6000.00 | 12000.00 | 3500.00 | 7000.00 | 8000.00 | 16000.00 | 3000.00 | 6000.00 | 9481.00 | 18962.00 | 2500.50 | 5001.00 | 5001.00 | SAURABH ENTERPRISES
19.00 | Supplying and making straight through cable jointing with heat shrinkable jointing kit complete with all accessories including ferrules suitable for 3 C X 95 Sq. mm., XLPE aluminium conductor cable of 11 KV grade as required. | 2.00 | Each |  | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 6500.00 | 13000.00 | 16900.00 | 33800.00 | 6000.00 | 12000.00 | 12038.00 | 24076.00 | 6000.00 | 12000.00 | 8000.00 | Industrial Traders
20.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 8.00 | Each |  | 7000.00 | 56000.00 | 8000.00 | 64000.00 | 7000.00 | 56000.00 | 4500.00 | 36000.00 | 7800.00 | 62400.00 | 6300.00 | 50400.00 | 5000.00 | 40000.00 | 5087.00 | 40696.00 | 5000.00 | 40000.00 | 36000.00 | NATIONAL ELECTRICAL AND ELECTRONICS SERVICES
21.00 | Carrying out the Ground Penetrating Radar(GPR ) Survey at LBSI Airport, Varanasi up to depth of 3 mtr and width of 5 mtr for identifying the route of Underground Cables on Hire Charge basis including carrying out the survey and submission of report with drawing complete as per site requirement. | 2000.00 | Meter |  | 125.00 | 250000.00 | 50.00 | 100000.00 | 30.00 | 60000.00 | 350.00 | 700000.00 | 50.00 | 100000.00 | 20.00 | 40000.00 | 40.00 | 80000.00 | 47.00 | 94000.00 | 37.50 | 75000.00 | 40000.00 | Naagar Infrastructure Pvt Ltd
22.00 | Supply, installation, testing and commisioning of timer along with 4 Pole contactor (32 Amp) of suitable size at various existing panels/feeder pillars including connection of timer and contactor and mounting arrangement etc complete as required for operation of perimeter lights. | 20.00 | Job |  | 7752.00 | 155040.00 | 3600.00 | 72000.00 | 3500.00 | 70000.00 | 10000.00 | 200000.00 | 5750.00 | 115000.00 | 5150.00 | 103000.00 | 2000.00 | 40000.00 | 10202.00 | 204040.00 | 4200.00 | 84000.00 | 40000.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 6348640.00 |  | 5978450.00 |  | 6037600.00 |  | 7006500.00 |  | 6088250.00 |  | 6982320.00 |  | 5698850.00 |  | 7286976.00 |  | 5555555.00
Lowest Amount Quoted BY: SAURABH ENTERPRISES(5555555.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Power Cable and Panels etc. of Colony and NAV AIDS installations at LBSI Airport Varanasi. SH- Laying of Standby Cable for NAV AIDS Tender ID: 2022_AAI_121540_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAURABH ENTERPRISES | 5555555.00 | L1
| 2 | JCC ENGINEERS PRIVATE LIMITED | 5698850.00 | L2
| 3 | Industrial Traders | 5978450.00 | L3
| 4 | Choubay And Co.(Agencies) Pvt.Ltd. | 6037600.00 | L4
| 5 | DOSHI ELECTRIC ENGG. CO. | 6088250.00 | L5
| 6 | Techno Electricals | 6348640.00 | L6
| 7 | Naagar Infrastructure Pvt Ltd | 6982320.00 | L7
| 8 | NATIONAL ELECTRICAL AND ELECTRONICS SERVICES | 7006500.00 | L8
| 9 | Aditya Techno Products Private Limited | 7286976.00 | L9