## BoQ1
Government eProcurement System Created By: Pradip Kumar Gupta Created Date/Time: 22-Aug-2022 11:33 AM Tender Title: Misc. Infrastructure works at C.E. Jamnagar during 2022-23 Tender ID: 2022_AAI_121551_1
Tender Inviting Authority: AGM (E-c), Jamnagar Airport
Name of Work: Misc. Infrastructure works at C.E. Jamnagar during 2022-23.
Tender ID : 2022_AAI_121551_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Nilkanth Construction.(GSTN-24AAGPO9984M1ZT) |  | Unicon Engineering Co(GSTN-24AAEFU0436A1ZU) |  | Parikh Kashyap Indulal(GSTN-24ADFPP9401N1Z9) |  | K B Patel Procon Pvt. Ltd.(GSTN-24AAECK4331K1ZN)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Description of Item
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, for all leads within AAI premises. a) All kinds of soil. | 143.99 | Cum | 100.00 | 90.00 | 12959.10 | 118.00 | 16990.82 | 170.00 | 24478.30 | 135.00 | 19438.65 | 12959.10 | Nilkanth Construction.
1.02 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, for all leads within AAI premises : Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia Note- Excavation for trench will be done manually by Labour. | 300.00 | Mtr | 100.00 | 200.00 | 60000.00 | 288.00 | 86400.00 | 125.00 | 37500.00 | 300.00 | 90000.00 | 37500.00 | Parikh Kashyap Indulal
1.03 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, for all leads within AAI premises. Ordinary rock | 61.80 | Cum | 10.00 | 400.00 | 24720.00 | 318.00 | 19652.40 | 240.00 | 14832.00 | 400.00 | 24720.00 | 14832.00 | Parikh Kashyap Indulal
1.04 | Boring with hydraulic piling rigs with power units, providing and installing cast in situ single under reamed piles of 300mm diameter and length below pile cap excluding the cost of steel reinforcement but including the cost of boring with bentonite solution and the length of the pile to be embedded in pile cap etc. all complete. (Length of pile for payment shall be measured upto to the bottom of pile cap) : 300 mm dia piles | 80.00 | Mtr | 10.00 | 1500.00 | 120000.00 | 528.00 | 42240.00 | 750.00 | 60000.00 | 2000.00 | 160000.00 | 42240.00 | Unicon Engineering Co
1.05 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 43.60 | Cum | 10.00 | 3500.00 | 152600.00 | 3980.00 | 173528.00 | 3500.00 | 152600.00 | 4400.00 | 191840.00 | 152600.00 | Nilkanth Construction., Parikh Kashyap Indulal
1.06 | CAST IN SITU Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 116.00 | Cum | 10.00 | 4750.00 | 551000.00 | 5080.00 | 589280.00 | 5700.00 | 661200.00 | 6100.00 | 707600.00 | 551000.00 | Nilkanth Construction.
1.07 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 5.00 | Cum | 10.00 | 6000.00 | 30000.00 | 5080.00 | 25400.00 | 6100.00 | 30500.00 | 7200.00 | 36000.00 | 25400.00 | Unicon Engineering Co
1.08 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five level in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 30.00 | Cum | 10.00 | 4000.00 | 120000.00 | 4680.00 | 140400.00 | 5500.00 | 165000.00 | 6500.00 | 195000.00 | 120000.00 | Nilkanth Construction.
1.09 | 12 mm cement plaster of mix : 1:4 (1 cement : 4 fine sand) | 276.00 | Sqm | 10.00 | 175.00 | 48300.00 | 280.00 | 77280.00 | 250.00 | 69000.00 | 250.00 | 69000.00 | 48300.00 | Nilkanth Construction.
1.10 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 276.00 | Sqm | 10.00 | 60.00 | 16560.00 | 88.00 | 24288.00 | 75.00 | 20700.00 | 95.00 | 26220.00 | 16560.00 | Nilkanth Construction.
1.11 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 106.00 | Kg | 10.00 | 75.00 | 7950.00 | 108.00 | 11448.00 | 93.00 | 9858.00 | 95.00 | 10070.00 | 7950.00 | Nilkanth Construction.
1.12 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron ‘Y’ shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 54.00 | Mtr | 10.00 | 375.00 | 20250.00 | 418.00 | 22572.00 | 490.00 | 26460.00 | 225.00 | 12150.00 | 12150.00 | K B Patel Procon Pvt. Ltd.
1.13 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 22.00 | Cum | 10.00 | 5000.00 | 110000.00 | 5080.00 | 111760.00 | 6000.00 | 132000.00 | 7200.00 | 158400.00 | 110000.00 | Nilkanth Construction.
1.14 | Centering and shuttering including strutting, propping etc. and removal of form for : a. Foundations, footings, bases of columns, etc. for mass concrete. | 453.00 | Sqm | 10.00 | 307.00 | 139071.00 | 180.00 | 81540.00 | 400.00 | 181200.00 | 200.00 | 90600.00 | 81540.00 | Unicon Engineering Co
1.15 | Centering and shuttering including strutting, propping etc. and removal of form for : b. Suspended floors, roofs, landings, balconies and access platform. | 73.00 | Sqm | 10.00 | 550.00 | 40150.00 | 180.00 | 13140.00 | 500.00 | 36500.00 | 400.00 | 29200.00 | 13140.00 | Unicon Engineering Co
1.16 | Centering and shuttering including strutting, propping etc. and removal of form for : c. Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 114.00 | Sqm | 10.00 | 550.00 | 62700.00 | 180.00 | 20520.00 | 550.00 | 62700.00 | 400.00 | 45600.00 | 20520.00 | Unicon Engineering Co
1.17 | Centering and shuttering including strutting, propping etc. and removal of form for : d. Columns, Pillars, Piers, Abutments, Posts and Struts | 70.00 | Sqm | 10.00 | 550.00 | 38500.00 | 180.00 | 12600.00 | 550.00 | 38500.00 | 450.00 | 31500.00 | 12600.00 | Unicon Engineering Co
1.18 | Centering and shuttering including strutting, propping etc. and removal of form for : e. Stairs, (excluding landings) except spiral-staircases | 2.00 | Sqm | 10.00 | 550.00 | 1100.00 | 180.00 | 360.00 | 550.00 | 1100.00 | 500.00 | 1000.00 | 360.00 | Unicon Engineering Co
1.19 | Centering and shuttering including strutting, propping etc. and removal of form for : f. Edges of slabs and breaks in floors and walls Under 20 cm wide | 46.00 | Mtr | 10.00 | 181.00 | 8326.00 | 180.00 | 8280.00 | 500.00 | 23000.00 | 150.00 | 6900.00 | 6900.00 | K B Patel Procon Pvt. Ltd.
1.20 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. : a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 19759.00 | Kg | 10.00 | 60.00 | 1185540.00 | 76.18 | 1505240.62 | 76.00 | 1501684.00 | 75.00 | 1481925.00 | 1185540.00 | Nilkanth Construction.
1.21 | Providing and fixing stainless steel ( Grade 304) STATIC BOLLARDS of Hollow tubes, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing bollards with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., as required and of required size, on location as decided by Engineer-in-charge, (for payment purpose only weight of stainless steel Static bollards, and base plate shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 5900.00 | Kg | 10.00 | 380.00 | 2242000.00 | 438.00 | 2584200.00 | 535.00 | 3156500.00 | 500.00 | 2950000.00 | 2242000.00 | Nilkanth Construction.
1.22 | Providing and fixing 15mm thick Super glossy premoulded vitrified tiles for platforms, vanity counters, window sills , wall facias and similar locations of required size of approved shade, colour and texture laid over 20 mm thick base cement mortar 1:3 (1 cement : 3 coarse sand) or high polymer modified quick tiles adhesive with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Full body exterior vitrifed tiles of any colour and shade of size 240x80cm. (Basic price of Full body vitrifed shall not be less than Rs 115/Sqft for any size without GST, freight upto destination, loading and unloading etc. Purchase voucher shall have to be submitted for price verification before bill payment of this bill ) | 65.00 | Sqm | 10.00 | 1600.00 | 104000.00 | 2180.00 | 141700.00 | 1450.00 | 94250.00 | 1650.00 | 107250.00 | 94250.00 | Parikh Kashyap Indulal
1.23 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 51.00 | Cum | 10.00 | 350.00 | 17850.00 | 980.00 | 49980.00 | 700.00 | 35700.00 | 900.00 | 45900.00 | 17850.00 | Nilkanth Construction.
1.24 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.: Hot finished seamless type tubes. | 433.00 | Kg | 10.00 | 100.00 | 43300.00 | 128.00 | 55424.00 | 130.00 | 56290.00 | 95.00 | 41135.00 | 41135.00 | K B Patel Procon Pvt. Ltd.
1.25 | Providing and fixing precoated galvanised iron profile sheets (size,shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 27.00 | Sqm | 10.00 | 750.00 | 20250.00 | 580.00 | 15660.00 | 625.00 | 16875.00 | 500.00 | 13500.00 | 13500.00 | K B Patel Procon Pvt. Ltd.
1.26 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 64.00 | Kg | 10.00 | 430.00 | 27520.00 | 680.00 | 43520.00 | 475.00 | 30400.00 | 500.00 | 32000.00 | 27520.00 | Nilkanth Construction.
1.27 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : b) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 64.00 | Kg | 10.00 | 500.00 | 32000.00 | 680.00 | 43520.00 | 475.00 | 30400.00 | 500.00 | 32000.00 | 30400.00 | Parikh Kashyap Indulal
1.28 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item) | 17.00 | Sqm | 10.00 | 800.00 | 13600.00 | 648.00 | 11016.00 | 650.00 | 11050.00 | 900.00 | 15300.00 | 11016.00 | Unicon Engineering Co
1.29 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer.: M.S. tube. | 67.00 | Kg | 10.00 | 115.00 | 7705.00 | 118.00 | 7906.00 | 150.00 | 10050.00 | 100.00 | 6700.00 | 6700.00 | K B Patel Procon Pvt. Ltd.
1.30 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 250.00 | Kg | 10.00 | 115.00 | 28750.00 | 118.00 | 29500.00 | 95.00 | 23750.00 | 85.00 | 21250.00 | 21250.00 | K B Patel Procon Pvt. Ltd.
1.31 | Providing and laying non-pressure DWC (Double wall corrugated) pipes of approved make conforming to IS 16098 P2 : 2013 with socket and spigot arrangement with rubber ring and fittings i/c necessary bends, tees, etc. manually or with the help of jointing jack or back hoe method including testing of joints etc. all complete : 250 mm internal dia. DWC pipe of SN 8 class | 330.00 | Mtr | 10.00 | 600.00 | 198000.00 | 380.00 | 125400.00 | 250.00 | 82500.00 | 900.00 | 297000.00 | 82500.00 | Parikh Kashyap Indulal
1.32 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone- III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone- III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 10.00 | Each | 10.00 | 12000.00 | 120000.00 | 6800.00 | 68000.00 | 12000.00 | 120000.00 | 18000.00 | 180000.00 | 68000.00 | Unicon Engineering Co
1.33 | Providing, fabricating and fixing panels of aluminium composite panel cladding in required shape in colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR class "O' grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. complete as per instructions of Engineering In Charge. (Base frame work for ACP cladding is payable under the relevant aluminium item) | 30.00 | Sqm | 10.00 | 3500.00 | 105000.00 | 980.00 | 29400.00 | 2700.00 | 81000.00 | 2000.00 | 60000.00 | 29400.00 | Unicon Engineering Co
1.34 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., and stacking of serviceable material within AAI premises as per direction of Engineer-in-Charge. | 39.00 | Sqm | 10.00 | 50.00 | 1950.00 | 280.00 | 10920.00 | 90.00 | 3510.00 | 50.00 | 1950.00 | 1950.00 | Nilkanth Construction., K B Patel Procon Pvt. Ltd.
1.35 | Laying old cement concrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineerin- charge. (Old CC paver blocks shall be supplied by the department free of cost). | 38.00 | Sqm | 10.00 | 400.00 | 15200.00 | 280.00 | 10640.00 | 150.00 | 5700.00 | 300.00 | 11400.00 | 5700.00 | Parikh Kashyap Indulal
1.36 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 5.00 | Cum | 10.00 | 200.00 | 1000.00 | 450.00 | 2250.00 | 450.00 | 2250.00 | 1000.00 | 5000.00 | 1000.00 | Nilkanth Construction.
1.37 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 2.00 | Cum | 10.00 | 1000.00 | 2000.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 1500.00 | 3000.00 | 1000.00 | Unicon Engineering Co, Parikh Kashyap Indulal
1.38 | Cement concrete 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. Note - Compaction shall be done with needle vibrator and screed vibrator. The panel shall be made with C-Channel of the full height of concrete to be laid and floater will be applied thereupon and proper texture will be made with brooming. Groove cutting as per dummy/construction/expansion joints will be done as per satisfaction of Engineer-In-Charge and Nothing extra shall be paid for these. | 12.00 | Cum | 10.00 | 5000.00 | 60000.00 | 4800.00 | 57600.00 | 5000.00 | 60000.00 | 7200.00 | 86400.00 | 57600.00 | Unicon Engineering Co
| Total in Figures |  |  |  |  | 5789851.10 |  | 6270555.84 |  | 7070037.30 |  | 7296948.65
Lowest Amount Quoted BY: Nilkanth Construction.(5789851.10)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. Infrastructure works at C.E. Jamnagar during 2022-23 Tender ID: 2022_AAI_121551_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Nilkanth Construction. | 5789851.10 | L1
| 2 | Unicon Engineering Co | 6270555.84 | L2
| 3 | Parikh Kashyap Indulal | 7070037.30 | L3
| 4 | K B Patel Procon Pvt. Ltd. | 7296948.65 | L4