## BoQ1
Government eProcurement System Created By: Ganesh Bhiwapurkar Created Date/Time: 03-Oct-2022 03:07 PM Tender Title: Operation and maintenance of EandM installations, 11 KV substation, DG Sets, Int. and Ext. EI etc in Non Operational Area at Srinagar International Airport, Srinagar. (For the year 2022-23 and 2023-24) Tender ID: 2022_AAI_121557_1
Tender Inviting Authority: AGM (ENGG-ELECT), AAI, SRINAGAR INTERNATIONAL AIRPORT, SRINAGAR, J&K-190007.
Name of Work: peration and maintenance of E&M installations, 11 KV substation, DG Sets, Int. & Ext. EI etc in Non Operational Area at Srinagar International Airport, Srinagar. (For the year 2022-23 & 2023-24).
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | SWASTIK ELECTROTECH PRIVATE LIMITED(GSTN-07AANCS9215R1ZF) |  | ANAND AND COMPANTY(GSTN-07ABSFA7035P1ZP) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | M/s AL-HUDA ELECTRICAL AND MAINTENANCE(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: Operation & Maintenance Running, operation and day to day maintenance of various E&M Installations of 11/0.433 KV main sub-station, Residential area Sub-Station like HT & LT Panels, transformers, DG sets (different capacities) with AMF Panel, Car parking Flood Lights & street lights, feeder pillars, main and residential area, water Pump house (i/c Cargo, powerhouse & AAI colony), AAI residential quarters, CRPF/CISF barracks, Drop gate, CISF Barracks at STC BSF googoland & The Hotel Legend etc on all days i/c Saturdays, Sundays, Gazetted holidays & National holidays i/c record keeping etc to the entire satisfaction of the Engineer-in-Charge by deploying the following minimum man power as per specification, terms & conditions of tender document complete as required . (i) Supervisor (Highly Skilled) :- 02 nos. (i/c reliever ) (ii) Electrician/ DG Operator (Skilled) :- 14 no. (i/c reliever ) (iii) Pump Operator (Skilled)- 07 nos (i/c reliever (iv) Khallasi/ Helper (Un-Skilled) :- 11 nos. (i/c reliever | 24.00 | Month |  | 677641.25 | 16263390.00 | 707272.00 | 16974528.00 | 665000.00 | 15960000.00 | 782422.00 | 18778128.00 | 742000.00 | 17808000.00 | 669000.00 | 16056000.00 | 730500.00 | 17532000.00 | 575432.00 | 13810368.00 | 714135.00 | 17139240.00 | 590000.00 | 14160000.00 | 13810368.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
2.00 | (SH:II. Repair & maintenance works) Dehydration of transformer oil in order to improve the BDV upto 60 KV for 1 minute by deploying the filtration plant at site i/c testing of BDV of oil before and after filtration. | 14400.00 | Ltr |  | 10.00 | 144000.00 | 25.00 | 360000.00 | 50.00 | 720000.00 | 14.00 | 201600.00 | 14.00 | 201600.00 | 9.00 | 129600.00 | 10.00 | 144000.00 | 3.00 | 43200.00 | 25.00 | 360000.00 | 4.00 | 57600.00 | 43200.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
3.00 | Testing & Calibiration of protective relays by secondary current injection method & checking the tripping of breakers on actuation of the relay and submission of reports thorugh specialised agency / authorized service dealer.
3.10 | Earthfault protection digital relay.(L&T/ ABB make) | 8.00 | Nos |  | 450.00 | 3600.00 | 8500.00 | 68000.00 | 1000.00 | 8000.00 | 2000.00 | 16000.00 | 1400.00 | 11200.00 | 750.00 | 6000.00 | 5000.00 | 40000.00 | 500.00 | 4000.00 | 350.00 | 2800.00 | 500.00 | 4000.00 | 2800.00 | ABHISHEK INTEGRATIONS LIMITED
3.20 | IDMT earth fault protection relay. | 4.00 | Nos |  | 750.00 | 3000.00 | 8500.00 | 34000.00 | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 2200.00 | 8800.00 | 750.00 | 3000.00 | 5000.00 | 20000.00 | 500.00 | 2000.00 | 2000.00 | 8000.00 | 500.00 | 2000.00 | 2000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, JCC ENGINEERS PRIVATE LIMITED
3.30 | Auxilary relays. | 34.00 | Nos |  | 450.00 | 15300.00 | 1000.00 | 34000.00 | 750.00 | 25500.00 | 500.00 | 17000.00 | 1400.00 | 47600.00 | 750.00 | 25500.00 | 3500.00 | 119000.00 | 500.00 | 17000.00 | 300.00 | 10200.00 | 500.00 | 17000.00 | 10200.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Servicing of HT 11 KV 800 Amps VCB (ABB/Crompton make) i/c cleaning of dust removing of oxidation layers from the exposed auxilary controls, closing & opening by electrical / manual operations checking CT & PT control & meeting circuit & making minor adjustements if required, lubricating the moving mechanisim like spring charging & raking IN & OUT of breaker trolley and submission of reports thorugh specialised agency / authorized service center. (excluding cost of spares) | 10.00 | Each |  | 750.00 | 7500.00 | 12500.00 | 125000.00 | 5000.00 | 50000.00 | 10000.00 | 100000.00 | 3800.00 | 38000.00 | 3000.00 | 30000.00 | 12500.00 | 125000.00 | 500.00 | 5000.00 | 2500.00 | 25000.00 | 2000.00 | 20000.00 | 5000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
5.00 | Checking & servicing of LT ACB's of following makes & rating at site by dismantling the breaker, cleaning & degreasing, & lubrication of various moving mechanism checking of control circuit of the breaker etc and recommissioning of same and submission of reports thorugh specialised agency / authorized service dealer. (excluding cost of spares).
5.10 | 800 Amp, 4 pole ACB of Merlin Gerin make. | 6.00 | Each |  | 350.00 | 2100.00 | 2500.00 | 15000.00 | 2500.00 | 15000.00 | 2000.00 | 12000.00 | 2800.00 | 16800.00 | 2000.00 | 12000.00 | 7000.00 | 42000.00 | 500.00 | 3000.00 | 2000.00 | 12000.00 | 1000.00 | 6000.00 | 2100.00 | INTEGER INFRATECH PRIVATE LIMITED
5.20 | 1600 Amp, 4 pole ACB of Merlin Gerin make. | 2.00 | Each |  | 1000.00 | 2000.00 | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 2800.00 | 5600.00 | 2000.00 | 4000.00 | 6500.00 | 13000.00 | 500.00 | 1000.00 | 2500.00 | 5000.00 | 1000.00 | 2000.00 | 1000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
5.30 | 800 Amp, 4 pole ACB of GE make. | 12.00 | Each |  | 450.00 | 5400.00 | 2500.00 | 30000.00 | 2500.00 | 30000.00 | 2000.00 | 24000.00 | 2800.00 | 33600.00 | 2000.00 | 24000.00 | 6500.00 | 78000.00 | 500.00 | 6000.00 | 2000.00 | 24000.00 | 1000.00 | 12000.00 | 5400.00 | INTEGER INFRATECH PRIVATE LIMITED
5.40 | 1000 Amp, 4 pole ACB of GE make. | 6.00 | Each |  | 500.00 | 3000.00 | 3000.00 | 18000.00 | 3500.00 | 21000.00 | 2000.00 | 12000.00 | 2800.00 | 16800.00 | 2000.00 | 12000.00 | 6500.00 | 39000.00 | 500.00 | 3000.00 | 2000.00 | 12000.00 | 1000.00 | 6000.00 | 3000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, INTEGER INFRATECH PRIVATE LIMITED
5.50 | 1600 Amp, 4 pole ACB of GE make. | 2.00 | Each |  | 750.00 | 1500.00 | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 2800.00 | 5600.00 | 2000.00 | 4000.00 | 6500.00 | 13000.00 | 500.00 | 1000.00 | 2500.00 | 5000.00 | 1000.00 | 2000.00 | 1000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
5.60 | 2500 Amp, 4 pole ACB of GE make. | 6.00 | Each |  | 750.00 | 4500.00 | 3500.00 | 21000.00 | 5000.00 | 30000.00 | 2000.00 | 12000.00 | 2800.00 | 16800.00 | 2000.00 | 12000.00 | 6500.00 | 39000.00 | 500.00 | 3000.00 | 3000.00 | 18000.00 | 1000.00 | 6000.00 | 3000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
5.70 | 1600 Amp, 4 pole ACB of ABB make. | 10.00 | Each |  | 750.00 | 7500.00 | 3000.00 | 30000.00 | 4000.00 | 40000.00 | 2000.00 | 20000.00 | 2800.00 | 28000.00 | 2000.00 | 20000.00 | 6500.00 | 65000.00 | 500.00 | 5000.00 | 2500.00 | 25000.00 | 1000.00 | 10000.00 | 5000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
5.80 | 1600 Amp, 4 pole ACB of L&T make. | 4.00 | Each |  | 750.00 | 3000.00 | 3000.00 | 12000.00 | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 2800.00 | 11200.00 | 2000.00 | 8000.00 | 6500.00 | 26000.00 | 500.00 | 2000.00 | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 2000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
5.90 | 800 Amp, 4 pole ACB of L&T make. | 12.00 | Each |  | 350.00 | 4200.00 | 2500.00 | 30000.00 | 2500.00 | 30000.00 | 2000.00 | 24000.00 | 2800.00 | 33600.00 | 2000.00 | 24000.00 | 6500.00 | 78000.00 | 500.00 | 6000.00 | 3000.00 | 36000.00 | 1000.00 | 12000.00 | 4200.00 | INTEGER INFRATECH PRIVATE LIMITED
6.00 | Rewinding of the following type of fans i/c replacement of bearing / bush by dismantling, transportation to workshop & back and reinstallation of fan at the existing location i/c connection, testing & commissioning etc complete as required. (Dismantled replaced material shall be the property of tenderer)
6.10 | Ceiling fan of all makes and models. | 50.00 | Each |  | 300.00 | 15000.00 | 250.00 | 12500.00 | 250.00 | 12500.00 | 450.00 | 22500.00 | 285.00 | 14250.00 | 500.00 | 25000.00 | 600.00 | 30000.00 | 50.00 | 2500.00 | 400.00 | 20000.00 | 100.00 | 5000.00 | 2500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
6.20 | Exhaust Fan of all makes and models. | 50.00 | Each |  | 500.00 | 25000.00 | 250.00 | 12500.00 | 250.00 | 12500.00 | 650.00 | 32500.00 | 285.00 | 14250.00 | 500.00 | 25000.00 | 900.00 | 45000.00 | 50.00 | 2500.00 | 450.00 | 22500.00 | 100.00 | 5000.00 | 2500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
7.00 | Painting of following installations in installed position with synthetic enamell paint by spray/ brush painting with one or more coats to give an even finish i/c scraping, cleaning & preparing the surface etc complete as required.
7.10 | Distribution boards /electrical panels/ Feedar piller etc. | 50.00 | Sqmm |  | 50.00 | 2500.00 | 250.00 | 12500.00 | 150.00 | 7500.00 | 90.00 | 4500.00 | 95.00 | 4750.00 | 150.00 | 7500.00 | 250.00 | 12500.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 2500.00 | INTEGER INFRATECH PRIVATE LIMITED
7.20 | Street light poles with single /double Arms, height upto 4 mtrs. | 90.00 | Each |  | 50.00 | 4500.00 | 150.00 | 13500.00 | 150.00 | 13500.00 | 1000.00 | 90000.00 | 185.00 | 16650.00 | 200.00 | 18000.00 | 300.00 | 27000.00 | 100.00 | 9000.00 | 450.00 | 40500.00 | 50.00 | 4500.00 | 4500.00 | INTEGER INFRATECH PRIVATE LIMITED, JCC ENGINEERS PRIVATE LIMITED
7.30 | Street light poles with single/double arms of height above 7 mtr to 9 mtrs | 80.00 | Each |  | 50.00 | 4000.00 | 200.00 | 16000.00 | 250.00 | 20000.00 | 1200.00 | 96000.00 | 485.00 | 38800.00 | 300.00 | 24000.00 | 400.00 | 32000.00 | 100.00 | 8000.00 | 850.00 | 68000.00 | 100.00 | 8000.00 | 4000.00 | INTEGER INFRATECH PRIVATE LIMITED
8.00 | Lifitng & Lowering the submersible water pump upto 10 HP for repair/replacement in the exisitng borewell by using chain pully block & tripod etc. i/c replacement of the gaskets and worn out nut, bolt etc. complete as required. | 8.00 | Job |  | 2000.00 | 16000.00 | 10000.00 | 80000.00 | 5000.00 | 40000.00 | 12000.00 | 96000.00 | 11000.00 | 88000.00 | 3500.00 | 28000.00 | 12000.00 | 96000.00 | 1000.00 | 8000.00 | 4500.00 | 36000.00 | 500.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
9.00 | SH-II DSR Items Carrying out the works covered under DSR (Electrical) 2018, of value upto Rs 4,00,000/-- (Four Lakh Only) The payment of DSR items shall be released on the basis of perctange above/below quoted on Rs 4,00,000/- NOTE: Guiidline for quoting %age rate for the bidder. 1. The bidder has to quote the rates in the rates column aganist the works of Rs. 400000/-of DSR 2018 (electrical) and same shall be converted into %age above/below on the DSR 2018 (considering the rates of DSR 2018 as base rates). 2. For Example if bidder quotes Rs. 420000/- in rates column then same shall be converted into %age of DSR 2018 as under ((420000 - 400000) / 400000) i.e. 5% above on DSR 2018 and accordingly payment shall be made by applying the %age i.e. 5% above on DSR 2018 rates for items covered in DSR 2018. | 1.00 | Job |  | 240000.00 | 240000.00 | 300000.00 | 300000.00 | 400000.00 | 400000.00 | 320000.00 | 320000.00 | 450000.00 | 450000.00 | 240000.00 | 240000.00 | 370000.00 | 370000.00 | 150218.00 | 150218.00 | 400000.00 | 400000.00 | 283455.00 | 283455.00 | 150218.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
| Total in Figures |  |  |  |  | 16776990.00 |  | 18210528.00 |  | 17470500.00 |  | 19902228.00 |  | 18909900.00 |  | 16737600.00 |  | 18985500.00 |  | 14096786.00 |  | 18282240.00 |  | 14635555.00
Lowest Amount Quoted BY: M/s AL-HUDA ELECTRICAL AND MAINTENANCE(14096786.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and maintenance of EandM installations, 11 KV substation, DG Sets, Int. and Ext. EI etc in Non Operational Area at Srinagar International Airport, Srinagar. (For the year 2022-23 and 2023-24) Tender ID: 2022_AAI_121557_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE | 14096786.00 | L1
| 2 | JCC ENGINEERS PRIVATE LIMITED | 14635555.00 | L2
| 3 | ANAND AND COMPANTY | 16737600.00 | L3
| 4 | INTEGER INFRATECH PRIVATE LIMITED | 16776990.00 | L4
| 5 | CENTRE TAP ENGINEERING | 17470500.00 | L5
| 6 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 18210528.00 | L6
| 7 | ABHISHEK INTEGRATIONS LIMITED | 18282240.00 | L7
| 8 | SWASTIK ELECTROTECH PRIVATE LIMITED | 18909900.00 | L8
| 9 | Manish Electricals | 18985500.00 | L9
| 10 | Sew Engineering Works Pvt Ltd | 19902228.00 | L10