## BoQ1
Government eProcurement System Created By: Mayank Gaur Created Date/Time: 26-Sep-2022 12:19 PM Tender Title: ARMO of 11KV Sub station, Electrical Installation, DG sets and lifts at ARSR Bijwasan, New Delhi 2022-23. Sub Head Annual Upkeep of E and M Installations Tender ID: 2022_AAI_121619_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg.-E), AAI, DATS Complex, IGI Airport, New Delhi.
Name of Work: ARMO of 11KV Sub-station, Electrical Installation, DG sets and lifts at ARSR Bijwasan, New Delhi.(2022-23). SH:Annual Upkeep of E&M Installations
Contract No: AAI/DATS/E-E/ARMO-11KV-Bij/2022-23/ENIT-02
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANAND AND COMPANTY(GSTN-07ABSFA7035P1ZP) |  | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I Annual upkeeping of 11 KV Sub-station, 2x250 KVA DG Sets i/c AMF panel and other electrical installations at ARSR Bijwasan on all working days i/c Sunday & holidays including provision of engaging manpower as specified in the Special Conditions of Contract. Note : Contractor has to re-engage all 16 nos. workmen categorized as per the special conditions of contract who are protected by the stay / Status Quo order by Hon'ble high Court of Delhi and subject to outcome of WPC 4564/2019 and WPC 1462/2020. | 1.00 | Job | 4618716.00 | 4270000.00 | 4270000.00 | 4394022.78 | 4394022.78 | 4200000.00 | 4200000.00 | 4562760.00 | 4562760.00 | 4200000.00 | NATIONAL SAFETY ENGINEERS
2.00 | Annual Comprehensive maintenance of package AC Unit (2x3.75 ton) installed at L- Band RADAR tower complete i/c repairing / replacement of compressors (Make-Kirloskar) with new one, refrigerant Gas (R-22) charging, Cleaning agent, Exhaust fan/ Condenser fan rewinding etc. for one year as per scope of work complete as required. | 4.00 | Job | 5858.00 | 12000.00 | 48000.00 | 3499.00 | 13996.00 | 25000.00 | 100000.00 | 5000.00 | 20000.00 | 13996.00 | INTEGER INFRATECH PRIVATE LIMITED
3.00 | Annual Comprehensive maintenance of Water Cooler (Make:Conway Waterpurifier) floor mounted having 80 L Storage Capacity & Cooling capacity of 60 L per hour with inbuilt 7 stage RO and UV purification including replacing of filters as and when required and shifting and positioning of the water cooler & RO at the specified location (if required), inlet/outlet connections and adjustment of TDS etc. complete as required. | 2.00 | Job | 7404.00 | 20000.00 | 40000.00 | 699.00 | 1398.00 | 25000.00 | 50000.00 | 8000.00 | 16000.00 | 1398.00 | INTEGER INFRATECH PRIVATE LIMITED
4.00 | Annual Comprehensive maintenance of RO(Make : KENT),wall mounted having 8 L storage capacity & purification production rate 15 L per hour including replacing of filters as and when required and shifting and positioning of the RO at the specified location, inlet/outlet connections and adjustment of RO and its TDS etc. complete as required. | 2.00 | Job | 4545.00 | 4000.00 | 8000.00 | 1199.00 | 2398.00 | 15000.00 | 30000.00 | 5500.00 | 11000.00 | 2398.00 | INTEGER INFRATECH PRIVATE LIMITED
5.00 | Annual comprehensive maintenance of 1.5 / 2 TR split type Air-conditioning unit (Make- Hitachi/Voltas) comprising of compressor, condensing coil unit, cooling coil unit etc. complete as per scope of work. | 8.00 | Job | 3131.00 | 3000.00 | 24000.00 | 2499.00 | 19992.00 | 3500.00 | 28000.00 | 4000.00 | 32000.00 | 19992.00 | INTEGER INFRATECH PRIVATE LIMITED
6.00 | SH-II Execution of works as per CPWD schedule of rates and specification for amount of Rs. 1,00,000/- as and when required during contract period. Rates for the items under DSR shall be taken as under: Item rate as per DSR-2018 = X Basic rate (on which percentage above or below to be quoted)= Y = X / 1.1405 (ex. GST) Example: if rate of an item as per DSR-2018 = 114.05 Basic rate (on which percentage above or below to be quoted) = 114.05/ 1.1405 = 100 If contractor is quoting Rs. 70,000/- againts Rs. 1,00,000 i.e. 30 % below it means Rs. 70.00 (ex GST) shall be paid for that item against Rs. 114.05 (as per DSR-2018) | 1.00 | Job | 100000.00 | 60000.00 | 60000.00 | 50000.00 | 50000.00 | 110000.00 | 110000.00 | 50000.00 | 50000.00 | 50000.00 | INTEGER INFRATECH PRIVATE LIMITED, SRS ENGINEERS
7.00 | SH-III Replacement of following Faulty Electrical items with new one complete as required at site.
7.10 | 3 pin Plug top 6 Amp, 230 V AC | 10.00 | Nos. | 89.00 | 50.00 | 500.00 | 50.00 | 500.00 | 30.00 | 300.00 | 55.00 | 550.00 | 300.00 | NATIONAL SAFETY ENGINEERS
7.20 | 3 Pin Plug top 16 Amp, 230 V AC | 10.00 | Nos. | 137.00 | 70.00 | 700.00 | 100.00 | 1000.00 | 55.00 | 550.00 | 75.00 | 750.00 | 550.00 | NATIONAL SAFETY ENGINEERS
8.00 | Replacement of faulty desert cooler pump with new one of ISI marked suitable for 220 volt AC. | 2.00 | Each | 287.00 | 480.00 | 960.00 | 1000.00 | 2000.00 | 400.00 | 800.00 | 130.00 | 260.00 | 260.00 | SRS ENGINEERS
9.00 | Replacement of faulty HRC fuse link with new one of 2 to 32 Amp rating, 80 KA breaking capacity 415 V suitable for existing panels. | 20.00 | Each | 132.00 | 95.00 | 1900.00 | 99.00 | 1980.00 | 50.00 | 1000.00 | 82.00 | 1640.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
10.00 | Replacement of damaged desert cooler wood wool pads with new one having suitable for standard size desert cooler pads as installed at site. | 5.00 | Set | 297.00 | 250.00 | 1250.00 | 449.00 | 2245.00 | 300.00 | 1500.00 | 150.00 | 750.00 | 750.00 | SRS ENGINEERS
11.00 | Replacement of following faulty digital measuring meters with new one having accuracy operated on 5 Amp. CT secondary.
11.10 | AC voltmeter 3-Phase (Digital), (with built in selector switch) with measuring range 0-500 V, size 96 x 96 mm, accuracy Class-1, | 2.00 | Each | 1385.00 | 1300.00 | 2600.00 | 500.00 | 1000.00 | 800.00 | 1600.00 | 650.00 | 1300.00 | 1000.00 | INTEGER INFRATECH PRIVATE LIMITED
11.20 | AC ammeter 3-Phase (Digital) (with built in selector switch) size 96 x 96 mm, accuracy Class-1. | 2.00 | Each | 1385.00 | 1300.00 | 2600.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 700.00 | 1400.00 | 1000.00 | INTEGER INFRATECH PRIVATE LIMITED
11.30 | Frequency meter 1-Phase (Digital), 4 digit with range 30-99.99 Hz with built in transducer, size 96 x 96 mm, accuracy Class-0.2 | 2.00 | Each | 918.00 | 1000.00 | 2000.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 700.00 | 1400.00 | 1000.00 | INTEGER INFRATECH PRIVATE LIMITED
12.00 | Replacement of Silica gel for breather for 500 KVA Transformer. | 2.00 | Kg. | 297.00 | 380.00 | 760.00 | 99.00 | 198.00 | 500.00 | 1000.00 | 250.00 | 500.00 | 198.00 | INTEGER INFRATECH PRIVATE LIMITED
13.00 | SH-IV Re-painting of L.T. panels, chequered plate, electrical installations etc. with approved quality enamel paint of required colour in one or more coat with spray gun i/c scrapping & cleaning the surface complete as per site requirement and direction of E-I-C. | 50.00 | Sq. Mtr. | 222.20 | 175.00 | 8750.00 | 100.00 | 5000.00 | 90.00 | 4500.00 | 165.00 | 8250.00 | 4500.00 | NATIONAL SAFETY ENGINEERS
14.00 | Re-painting of street light poles of height upto 8 mtr. i/c loop in loop out box with 2 coat of approved quality synthetic enamel silver paint i/c scraping, applying primer paint, foundation painting, cleaning & numbering the poles complete etc. as reqd. | 150.00 | Each | 429.25 | 300.00 | 45000.00 | 150.00 | 22500.00 | 500.00 | 75000.00 | 300.00 | 45000.00 | 22500.00 | INTEGER INFRATECH PRIVATE LIMITED
15.00 | Replacement of following faulty digital measuring meters with new one having accuracy operated on 5 Amp. CT secondary.
15.10 | Exhaust fan | 10.00 | Each | 505.00 | 800.00 | 8000.00 | 800.00 | 8000.00 | 400.00 | 4000.00 | 650.00 | 6500.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
15.20 | Ceiling fan/kit fan | 4.00 | Each | 404.00 | 450.00 | 1800.00 | 800.00 | 3200.00 | 350.00 | 1400.00 | 450.00 | 1800.00 | 1400.00 | NATIONAL SAFETY ENGINEERS
15.30 | Wall mounted fan | 4.00 | Each | 404.00 | 350.00 | 1400.00 | 800.00 | 3200.00 | 400.00 | 1600.00 | 450.00 | 1800.00 | 1400.00 | ANAND AND COMPANTY
16.00 | Repairing & Rewinding of 3-phase,415 V, 50 Hz submersible pump motors of following capacity by replacement of rewinding kit, defective bushes, impeller, seal, gasket etc. i/c transportation from site to workshop & back as and when reqd. at site. (Note: Dismantled winding shall be retained by the agency)
16.10 | 5 HP | 1.00 | Nos. | 5050.00 | 8500.00 | 8500.00 | 3000.00 | 3000.00 | 8000.00 | 8000.00 | 4500.00 | 4500.00 | 3000.00 | INTEGER INFRATECH PRIVATE LIMITED
16.20 | 1.5/1.67 HP | 3.00 | Nos. | 3030.00 | 4500.00 | 13500.00 | 1800.00 | 5400.00 | 3000.00 | 9000.00 | 2000.00 | 6000.00 | 5400.00 | INTEGER INFRATECH PRIVATE LIMITED
17.00 | Charges for removal/ lifting of different size & capacity submersible pump set, from the existing borewell along with pipe lines, cable etc. and fixing the same after repairing. The job is to be carried out as and when reqd. at site. (Depth of borewell is approx. 75 Mtrs) | 2.00 | Job | 4040.00 | 5500.00 | 11000.00 | 250.00 | 500.00 | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 500.00 | INTEGER INFRATECH PRIVATE LIMITED
18.00 | Dehydration / centrifuging of transformer oil of 500 KVA kirloskar make and checking its di-electric strength before and after the test inclusive of submission of BDV test report before and after the test as per relevant IS standards as at site up to the satisfaction of EIC.( At the time of dehydration of transformer oil, calibration certificate by NABL approved lab of the machine have to be submit by the agency.) | 2.00 | Job | 9090.00 | 7500.00 | 15000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 8000.00 | 16000.00 | 10000.00 | INTEGER INFRATECH PRIVATE LIMITED
19.00 | Complete servicing of Air Circuit Breaker of rating 800 Amp. installed in LT panel by authorised service dealer of L & T /Schneider /Cromton Greves and submission of service reports in triplicate etc as reqd. | 10.00 | Job | 3535.00 | 3800.00 | 38000.00 | 3000.00 | 30000.00 | 3500.00 | 35000.00 | 5000.00 | 50000.00 | 30000.00 | INTEGER INFRATECH PRIVATE LIMITED
20.00 | Calibration of electromechanical type relay set consistig 2 nos Over Current relay and 1 no Earth fault relay (IOC type,Make: Universal Electrics ltd.) by the specialized agency and submission of service reports in triplicate etc as reqd. At the time of calibration of relays, calibration certificate by NABL approved lab of the machines/equipment used for calibration have to be submit by the agency. | 8.00 | Job | 3181.50 | 4500.00 | 36000.00 | 1250.00 | 10000.00 | 1500.00 | 12000.00 | 1500.00 | 12000.00 | 10000.00 | INTEGER INFRATECH PRIVATE LIMITED
21.00 | Reparing of existing APFC Panel including replacement of following faulty spare parts with new one, final testing and make the system servicable etc. as required. (a) APFC Controller 8 STAGE-1 no, (b) Indicating Light RED 220 VAC-6 no, (c) MCB 6A SP-3 no, (d) Rotary Switch(on,off,on) 10 A -2 no, (e) 5.0, 8.5, 10.0, 12.5, 15.0 KVAR CAPACITOR DUTY CONTACTOR each 1 no, (f) 10 KVAR 440 VAC standard DUTY CAPACITOR 1 no, (g) Digital AMMETERING SET-1 no, (h) Digital Volt METERING SET 1 no, (i) 16 Sqmm s/c Copper wire approx- 10 mtr, (j) 2.5 Sqmm s/c copper wire approx- 30 mtr, (k) 1.5 Sqmm s/c Copper wire & its fixing items approx-100 mtr, (l) Current transformer class 1.0 800/5A 15 VA resin cast-1 no, (m) Current transformer class 1.0 250/5 A 15 VA resin cast-3 no etc. | 1.00 | Job | 63741.00 | 60000.00 | 60000.00 | 5000.00 | 5000.00 | 30000.00 | 30000.00 | 75000.00 | 75000.00 | 5000.00 | INTEGER INFRATECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 4710220.00 |  | 4598529.78 |  | 4737250.00 |  | 4939160.00
Lowest Amount Quoted BY: INTEGER INFRATECH PRIVATE LIMITED(4598529.78)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of 11KV Sub station, Electrical Installation, DG sets and lifts at ARSR Bijwasan, New Delhi 2022-23. Sub Head Annual Upkeep of E and M Installations Tender ID: 2022_AAI_121619_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | INTEGER INFRATECH PRIVATE LIMITED | 4598529.78 | L1
| 2 | ANAND AND COMPANTY | 4710220.00 | L2
| 3 | NATIONAL SAFETY ENGINEERS | 4737250.00 | L3
| 4 | SRS ENGINEERS | 4939160.00 | L4