## BoQ1
Government eProcurement System Created By: Mayank Gaur Created Date/Time: 29-Aug-2022 11:34 AM Tender Title: Annual operation and maintenance of Sub-station, power house, internal and external electrical installations etc at DATS Complex, IGI Airport, New Delhi for two years i.e. (2022-2024) Tender ID: 2022_AAI_121620_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg.-E), AAI, DATS Complex, IGI Airport, New Delhi.
Name of Work: Annual operation and maintenance of Sub-station, power house, internal & external electrical installations etc at DATS Complex, IGI Airport, New Delhi for two years i.e. (2022-2024).
Contract No: AAI/DATS/E-E/AMC-E&I/2022-23/ENIT-01
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANAND AND COMPANTY(GSTN-07ABSFA7035P1ZP) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | SWASTIK ELECTROTECH PRIVATE LIMITED(GSTN-07AANCS9215R1ZF)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:-I Annual Operation & maintenance of sub-station installations comprising 11 KV/ 415 Volt substation equipments, 11 KV HT panels, Battery bank in HT Room, Battery Charging Panel, Transformers, LT Panels, UPS panels, DG Battery Banks, DG Battery charging panels, exhaust fan starter panels, pressurization fan starter panels, Distribution Boards installed in the switch rooms, various internal, external and other associated installations, operation of DG Sets, operation of SCADA system etc. i/c attending complaints of all the above said installations as and when required by providing / deploying specified man power as per the Special Conditions Of Contract.
1.10 | For 1st year | 1.00 | Job | 9064896.00 | 5650000.00 | 5650000.00 | 5844864.00 | 5844864.00 | 8137230.82 | 8137230.82 | 8500000.00 | 8500000.00 | 5650000.00 | ANAND AND COMPANTY
1.20 | For 2nd year | 1.00 | Job | 9064896.00 | 5700000.00 | 5700000.00 | 5844864.00 | 5844864.00 | 8214360.98 | 8214360.98 | 10000000.00 | 10000000.00 | 5700000.00 | ANAND AND COMPANTY
2.00 | SH-II Execution of works as per CPWD schedule of rates and specification for amount of Rs. 4,00,000/- as and when required during contract period. Rates for the items under DSR shall be taken as under: Item rate as per DSR-2018 = X Basic rate (on which percentage above or below to be quoted)= Y = X / 1.1405 (ex. GST) Example: if rate of an item as per DSR-2018 = 114.05 Basic rate (on which percentage above or below to be quoted) = 114.05/ 1.1405 = 100 If contractor is quoting Rs. 2,40,000/- againts Rs. 3,00,000 i.e. 20 % below it means Rs. 80.00 (ex GST) shall be paid for that item against Rs. 114.05 (as per DSR-2018) (Note : Agency will quote % above/below in "Rate Column" and accordingly will derive amount in ''Amount Column" against Rs. 4,00,000/-) | 1.00 | Job | 400000.00 | 150000.00 | 150000.00 | 240000.00 | 240000.00 | 280000.00 | 280000.00 | 240000.00 | 240000.00 | 150000.00 | ANAND AND COMPANTY
3.00 | SUB HEAD - III Replacement of faulty LED Indicators (240 V AC / 110 V DC) with new one for LT / HT Panels installed at various locations as and when required.
3.10 | LED Indicators for Panels Colour :- Red, Yellow & Green | 100.00 | Nos | 101.00 | 125.00 | 12500.00 | 74.00 | 7400.00 | 40.00 | 4000.00 | 200.00 | 20000.00 | 4000.00 | INTEGER INFRATECH PRIVATE LIMITED
3.20 | LED Indicators for Panels Colour :- Light Blue | 50.00 | Nos | 174.00 | 150.00 | 7500.00 | 127.00 | 6350.00 | 40.00 | 2000.00 | 200.00 | 10000.00 | 2000.00 | INTEGER INFRATECH PRIVATE LIMITED
4.00 | Painting & marking numbers of street light poles installed at DATS Complex, IGIA complete as required.
4.10 | Painting with aluminium paint of street light poles along with its arms complete as required. | 125.00 | Sqm. | 113.00 | 250.00 | 31250.00 | 250.00 | 31250.00 | 75.00 | 9375.00 | 60.00 | 7500.00 | 7500.00 | SWASTIK ELECTROTECH PRIVATE LIMITED
4.20 | Marking of street light poles with black enamel paint on a circular yellow painted background of desired size complete as required. | 85.00 | job | 89.00 | 100.00 | 8500.00 | 50.00 | 4250.00 | 25.00 | 2125.00 | 5.00 | 425.00 | 425.00 | SWASTIK ELECTROTECH PRIVATE LIMITED
5.00 | Provision of temporary decorative lighting in tri-colors of National Flag with LED series lighting having uniform spacing of rows not more than 0.75 mtr for 02 days as and when required for various occasions.The lighting should be enhanced with tri-color flood lights complete all as required i/c cabling etc. | 50000.00 | Sqm. | 10.00 | 5.00 | 250000.00 | 5.25 | 262500.00 | 2.00 | 100000.00 | 40.00 | 2000000.00 | 100000.00 | INTEGER INFRATECH PRIVATE LIMITED
6.00 | Provision of temporary decorative spot/flood lighting system in tri-colors of National Flag on the Facia of newly constructed control Tower i.e. Delhi Air Traffic control tower of height approx. 100 mtrs. Tower will be illuminated from 6 landing floors on both the sides as reqd. with the provision of sufficient numbers of spot/flood lights along with necessary wiring/fixing/switching system etc. at DATS complex, IGI Airport, New Delhi for 02 days as and when required for various occasions i/c cabling etc. | 4.00 | Job | 15150.00 | 32000.00 | 128000.00 | 20000.00 | 80000.00 | 2500.00 | 10000.00 | 12000.00 | 48000.00 | 10000.00 | INTEGER INFRATECH PRIVATE LIMITED
8.00 | Annual Servicing / Health Check-Up of ACB's of various ratings from 1000 A to 4000 A by the authorized service dealers of ABB make as per the Inventory List attached complete as required including submission of report in triplicate. | 108.00 | Job | 4065.00 | 1250.00 | 135000.00 | 2500.00 | 270000.00 | 150.00 | 16200.00 | 2500.00 | 270000.00 | 16200.00 | INTEGER INFRATECH PRIVATE LIMITED
9.00 | Chemical analysis of drinking water in compliance to essential tests as per IS 10500 from the empanelled laboratories as mentioned in Special conditions of contract and submission of laboratory reports thereafter as directed by EIC. Note :- 01 job to be treated as testing of one (01) no. sample of drinking water. | 12.00 | Job | 6194.67 | 3800.00 | 45600.00 | 2400.00 | 28800.00 | 100.00 | 1200.00 | 6000.00 | 72000.00 | 1200.00 | INTEGER INFRATECH PRIVATE LIMITED
10.00 | Annual comprehensive maintenance contract of water dispensers having function of Hot, Normal & Cold, cabinet capacity 20 Ltrs, Floor Mounted, Model:- Minimagic Pure F, Make:- Voltas complete as per the Inventory List attached as required.
10.10 | For 1st year | 24.00 | Job | 606.00 | 500.00 | 12000.00 | 1000.00 | 24000.00 | 140.00 | 3360.00 | 1500.00 | 36000.00 | 3360.00 | INTEGER INFRATECH PRIVATE LIMITED
10.20 | For 2nd year | 24.00 | Job | 606.00 | 500.00 | 12000.00 | 1500.00 | 36000.00 | 150.00 | 3600.00 | 2500.00 | 60000.00 | 3600.00 | INTEGER INFRATECH PRIVATE LIMITED
11.00 | Annual Comprehensive Maintenance Contract of Water Coolers having 80 L Storage Capacity & Cooling capacity of 60 L per hour with inbuilt 7 stage RO and UV purification (Make:- Sidwal) including periodic changing of the filters, cleaning of the water storage tanks etc. complete as per the Inventory List attached as required.
11.10 | For 1st year | 8.00 | Job | 2273.00 | 1200.00 | 9600.00 | 3000.00 | 24000.00 | 140.00 | 1120.00 | 5000.00 | 40000.00 | 1120.00 | INTEGER INFRATECH PRIVATE LIMITED
11.20 | For 2nd year | 8.00 | Job | 2273.00 | 1200.00 | 9600.00 | 3000.00 | 24000.00 | 150.00 | 1200.00 | 6000.00 | 48000.00 | 1200.00 | INTEGER INFRATECH PRIVATE LIMITED
12.00 | Annual Comprehensive Maintenance Contract of Kent Make Water Cooler having 20 L Storage Capacity with inbuilt RO and UV purification including periodic changing of the filters, cleaning of the water storage tanks etc. complete as per the Inventory List attached as required.
12.10 | For 1st year | 2.00 | Job | 7272.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 150.00 | 300.00 | 4000.00 | 8000.00 | 300.00 | INTEGER INFRATECH PRIVATE LIMITED
12.20 | For 2nd year | 2.00 | Job | 7272.00 | 3700.00 | 7400.00 | 2500.00 | 5000.00 | 175.00 | 350.00 | 5000.00 | 10000.00 | 350.00 | INTEGER INFRATECH PRIVATE LIMITED
13.00 | Annual Comprehensive Maintenance Contract of Voltas Make Water coolers alongwith externally connected RO Plants (Make of RO :- Kent) i/c periodic changing of filters, cleaning of water tanks of coolers etc. complete as per the Inventory List attached as required.
13.10 | For 1st year | 2.00 | Job | 7272.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 150.00 | 300.00 | 5000.00 | 10000.00 | 300.00 | INTEGER INFRATECH PRIVATE LIMITED
13.20 | For 2nd year | 2.00 | Job | 7272.00 | 3700.00 | 7400.00 | 2500.00 | 5000.00 | 175.00 | 350.00 | 6000.00 | 12000.00 | 350.00 | INTEGER INFRATECH PRIVATE LIMITED
14.00 | Periodic inspection/ preventive maintenance of Obstruction Light installed at 26th Floor ATC Tower of Make:-Avaids Technovators Pvt. Ltd. once in every six months by the visit of OEM's representative and providing the report for the same as directed by EIC. Note:- Refer the Special conditions of contract for further details. | 4.00 | Job | 9873.00 | 8500.00 | 34000.00 | 15000.00 | 60000.00 | 250.00 | 1000.00 | 75000.00 | 300000.00 | 1000.00 | INTEGER INFRATECH PRIVATE LIMITED
15.00 | Repairing, Servicing, Callibration & Transportation (to and fro from DATS, IGIA to SS Appliances Pvt. Ltd., Noida) of Kent Oil Meter (80 mm size) installed in the HSD storage tank at DATS, IGIA. | 1.00 | Job | 6969.00 | 6500.00 | 6500.00 | 12500.00 | 12500.00 | 100.00 | 100.00 | 4000.00 | 4000.00 | 100.00 | INTEGER INFRATECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 12230850.00 |  | 12820778.00 |  | 16788171.80 |  | 21695925.00
Lowest Amount Quoted BY: ANAND AND COMPANTY(12230850.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual operation and maintenance of Sub-station, power house, internal and external electrical installations etc at DATS Complex, IGI Airport, New Delhi for two years i.e. (2022-2024) Tender ID: 2022_AAI_121620_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANAND AND COMPANTY | 12230850.00 | L1
| 2 | SRS ENGINEERS | 12820778.00 | L2
| 3 | INTEGER INFRATECH PRIVATE LIMITED | 16788171.80 | L3
| 4 | SWASTIK ELECTROTECH PRIVATE LIMITED | 21695925.00 | L4