## BoQ1
Government eProcurement System Created By: DOMA JAWALEKAR Created Date/Time: 23-Aug-2022 06:02 PM Tender Title: Annual Maintenance Contract of Fire Detection, Alarm and Fire Hydrant system at Aurangabad Airport. Tender ID: 2022_AAI_121779_1
Tender Inviting Authority: Asstt. Gen.Manager (Engg.-Electrical), Airports Authority of India, Aurangabad Airport, Aurangabad - 431007 (Maharashtra).
Name of Work: Annual Maintenance Contract of Fire Detection, Alarm & Fire Hydrant System at Aurangabad Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | SATHVIKA FIRE SERVICES(GSTN-NA) |  | D D ELECTRONIC EQUIPMENTS PVT LTD PUNE(GSTN-NA) |  | Luminosity Infra Projects Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Maintenance Contract of Fire Hydrant including all pumps, panels, cables, piping , Hydrants etc. , intelligent type analogue addressable Fire Alarm system and Sprinkler system including all pumps, panels, cables, piping, sprinklers etc. at Aurangabad Airport for all preventive maintenance and checks as per manufacturers manual including attending to complaints/ Faults/ break down and taking rectification action, ensuring serviceability/ satisfactory working conditions of the system, maintenance of all records, documentation etc. as per the detailed specifications, terms & conditions covered under this contract on all days including sundays and holidays as per requirements of AAI. | 24.00 | Month |  | 139000.00 | 3336000.00 | 143000.00 | 3432000.00 | 133860.00 | 3212640.00 | 117000.00 | 2808000.00 | 161892.00 | 3885408.00 | 150500.00 | 3612000.00 | 2808000.00 | SATHVIKA FIRE SERVICES
2.00 | SITC of GSM SIM based Autodialer having mobile number and ladline number (minimum 8 entries) dialing facility compatible with conventional / addressable fire alarm panel complete as required. | 6.00 | Job |  | 10000.00 | 60000.00 | 15000.00 | 90000.00 | 6000.00 | 36000.00 | 25000.00 | 150000.00 | 7845.00 | 47070.00 | 22500.00 | 135000.00 | 36000.00 | Manish Electricals
3.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) Conventional Smoke detector with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) | 6.00 | Job |  | 2000.00 | 12000.00 | 3300.00 | 19800.00 | 1000.00 | 6000.00 | 25000.00 | 150000.00 | 1210.00 | 7260.00 | 2500.00 | 15000.00 | 6000.00 | Manish Electricals
4.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable Smoke detector with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) | 6.00 | Job |  | 3500.00 | 21000.00 | 3300.00 | 19800.00 | 1500.00 | 9000.00 | 35000.00 | 210000.00 | 3540.00 | 21240.00 | 3400.00 | 20400.00 | 9000.00 | Manish Electricals
5.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) Conventional multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) | 4.00 | Job |  | 2200.00 | 8800.00 | 4000.00 | 16000.00 | 1800.00 | 7200.00 | 30000.00 | 120000.00 | 1570.00 | 6280.00 | 5200.00 | 20800.00 | 6280.00 | D D ELECTRONIC EQUIPMENTS PVT LTD PUNE
6.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) | 4.00 | Job |  | 4000.00 | 16000.00 | 4000.00 | 16000.00 | 4000.00 | 16000.00 | 25000.00 | 100000.00 | 3540.00 | 14160.00 | 5200.00 | 20800.00 | 14160.00 | D D ELECTRONIC EQUIPMENTS PVT LTD PUNE
7.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) loop powered addressable Hooter-cum- flasher strobe with inbuilt fault isolator / isolator module with adjustable sound level in the range of min. 90 db to Max. 120 db at 1M distance complete with termination etc. as required and as per enclosed specification. | 2.00 | Job |  | 5500.00 | 11000.00 | 6500.00 | 13000.00 | 3000.00 | 6000.00 | 35000.00 | 70000.00 | 5250.00 | 10500.00 | 6400.00 | 12800.00 | 6000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 3464800.00 |  | 3606600.00 |  | 3292840.00 |  | 3608000.00 |  | 3991918.00 |  | 3836800.00
Lowest Amount Quoted BY: Manish Electricals(3292840.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Fire Detection, Alarm and Fire Hydrant system at Aurangabad Airport. Tender ID: 2022_AAI_121779_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 3292840.00 | L1
| 2 | CENTRE TAP ENGINEERING | 3464800.00 | L2
| 3 | Techno Electricals | 3606600.00 | L3
| 4 | SATHVIKA FIRE SERVICES | 3608000.00 | L4
| 5 | Luminosity Infra Projects Pvt Ltd | 3836800.00 | L5
| 6 | D D ELECTRONIC EQUIPMENTS PVT LTD PUNE | 3991918.00 | L6