## BoQ1
Government eProcurement System Created By: Ganesh Bhiwapurkar Created Date/Time: 26-Aug-2022 10:45 AM Tender Title: Operation and maintenance of HVAC system, VRF System, Fire Alarm and Fire Fighting system, Split/Window ACs, Water Coolers etc. at Srinagar Intl Airport, Srinagar (For the year 2022-23 and 2023-24). Tender ID: 2022_AAI_122049_1
Tender Inviting Authority: AGM (ENGG-ELECT), AAI, SRINAGAR INTERNATIONAL AIRPORT, SRINAGAR, J&K-190007.
Name of Work: Annual Operation and maintenance of HVAC system, VRF System, Fire Alarm & Fire Fighting system, Split/Window AC’s, Water Coolers & Water fountains etc. at Srinagar Int'l Airport, Srinagar (FOR 02 years).
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | SWASTIK ELECTROTECH PRIVATE LIMITED(GSTN-07AANCS9215R1ZF) |  | M/s AL-HUDA ELECTRICAL AND MAINTENANCE(GSTN-NA) |  | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-A: Operation & Maintenance. Operation and maintenance of HVAC system of terminal building comprising of HSD oil fired Hot brine generators of capacity (4 nos X 10 Lac K cal / Hr), central chiller plant of capacity 3x200 TR , 26 nos of AHU's of different capacities, brine make up pump, primary and secondary brine circulating pump, handling of HSD oil in under ground storage tank and Automatic Addressable Fire Alarm & Detection system, Fire Hydrant & Fire Fighting system and automatic sprinkler system installed in Terminal Building and new cargo building including monitoring of fire alarm panel, smoke/heat detectors, RI, manual call point, hooters, Isolator, etc. on all working days i/c Saturdays, Sundays, Gazetted holidays & National holidays as per special conditions of contract etc. complete as required. The contractor has to deploy the following minimum man power in the work to the entire satisfaction of the Engineer-in-Charge. (i) Supervisor (Highly Skilled) :- 01 nos. (ii) HVAC/ Fire system- Operator (Skilled) :- 13 nos. (i/c reliever) (iii) HVAC/ Fire system- Helper (un-skilled):- 09 nos (i/c reliever) | 24.00 | Month |  | 435968.00 | 10463232.00 | 485000.00 | 11640000.00 | 411952.00 | 9886848.00 | 419000.00 | 10056000.00 | 9886848.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
2.00 | Complete overhauling/servicing and preventive maintenance of central heating plant once in a year comprising of 04 nos. HSD oil fired 10 lakh K. Cal./ hour capacity hot brine generator, 1No. Heat Exchanger installed in heating plant room including arrangement of necessary scaffolding and cleaning material by carring out following minimum works at site : (i). Complete cleaning including removal of any soot/deposits/scaling/metal corrosion from wire/nylon brushes on water side as well as fire side surfaces of boiler drum. (ii). Cleaning and servicing of fire nozzle, circulating pump, oil preheaters, oil storage tanks etc. (iii). Cleaning and checking of all electrical terminals. Checking of electronic controls. (iv). Replacement of all gaskets to provide tight seal. (v).Inspection and repairing of all boiler insulation and casings. (vi). Servicing of safety valves, expansion joints, isolating valves. (vii). Servicing and re-calibration of all pressure, temperature controllers/switches/meters/gauges etc. (viii).Inspection and servicing of heat exchanger fins including combing out any bents and removing of dirt etc. | 2.00 | Job |  | 120000.00 | 240000.00 | 200000.00 | 400000.00 | 70243.00 | 140486.00 | 35000.00 | 70000.00 | 70000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
3.00 | Repairing & Rewinding of following Hot/ Chilled Water circulating Centrifugal Pump set including, dismantling, repairing of shaft, replacing of defective mechanical seals, bearing, nuts, bolts, gaskets, gland etc. complete as required. a) 3 Phase Induction motor, Make Crompton greaves/ ABB 20/15HP Motor, 1460RPM, 415V, +/- 10%, Frame ND160M,Centrifugal pump, Make Beacon Weir Ltd, Type BWC 80-100, Total Head 28 Meter, Capacity 25 lps, speed 1450rpm, Input 8.79BKW,EFF 79%. | 6.00 | Job |  | 5500.00 | 33000.00 | 40000.00 | 240000.00 | 6000.00 | 36000.00 | 5000.00 | 30000.00 | 30000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
4.00 | Repairing of following sizes of 3 Phase Induction motor, set including, rewinding of motor, dismantling, repairing of shaft, replacing of defective mechanical seals, bearing, nuts, bolts, gaskets, gland etc. complete as required. (Rates also includes transportation charges of motor upto workshop & taking back & fixing of motor in AHU Room).
4.10 | 25HP Motor | 2.00 | Job |  | 2000.00 | 4000.00 | 40000.00 | 80000.00 | 7000.00 | 14000.00 | 4000.00 | 8000.00 | 4000.00 | Anoop Refrigeration
4.20 | 20HP Motor | 2.00 | Job |  | 2000.00 | 4000.00 | 35000.00 | 70000.00 | 7000.00 | 14000.00 | 4000.00 | 8000.00 | 4000.00 | Anoop Refrigeration
4.30 | 15HP Motor | 2.00 | Job |  | 2000.00 | 4000.00 | 35000.00 | 70000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 4000.00 | Anoop Refrigeration
4.40 | 10HP Motor | 2.00 | Job |  | 2000.00 | 4000.00 | 30000.00 | 60000.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 4000.00 | Anoop Refrigeration
4.50 | 7.5HP Motor | 2.00 | Job |  | 2000.00 | 4000.00 | 20000.00 | 40000.00 | 3500.00 | 7000.00 | 4000.00 | 8000.00 | 4000.00 | Anoop Refrigeration
5.00 | Carrying out of "B-check" maintenance of Kirloskar make Diesel engine pump set half yearly of 53 KW/ 72 HP capacity including supply and fixing of element fuel/oil filter, kit air cleaner, by pass filter including supply & replacement of lub oil etc. for the DG set as required. (B-check will be carried out by Authorized dealer of Kirloskar company or by OEM). | 4.00 | Job |  | 34200.00 | 136800.00 | 20000.00 | 80000.00 | 7000.00 | 28000.00 | 5000.00 | 20000.00 | 20000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
6.00 | Carrying out quarterly inspection / service visit for Kirloskar make Diesel engine pump DG set of 53 KW/72 HP capacity by authorized dealer of Kirloskar company or by OEM including carrying out performance check as per OEM practices and submission of report etc complete as required. | 8.00 | Job |  | 11800.00 | 94400.00 | 2500.00 | 20000.00 | 1000.00 | 8000.00 | 1500.00 | 12000.00 | 8000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
7.00 | SH-B: ACMC of A/C's / Water coolers/Water fountains Annual all inclusive comprehensive maintenance of 1.0/1.5 /2.0 ton split type Air conditioner unit by carrying out weekly/monthly/annual preventive service maintenance and unlimited breakdown maintenance including repairing/replacement(if required) of all defective components like PCB, control circuit, fan motor, compressor, fuses, relays, contactors , control wiring, condensor coil , supply and topping up of refrigerant gas etc. complete as required.
7.10 | FIRST YEAR OF CONTRACT PERIOD | 62.00 | Each |  | 2100.00 | 130200.00 | 3000.00 | 186000.00 | 2500.00 | 155000.00 | 2500.00 | 155000.00 | 130200.00 | Anoop Refrigeration
7.20 | SECOND YEAR OF CONTRACT PERIOD | 62.00 | Each |  | 2800.00 | 173600.00 | 3000.00 | 186000.00 | 3000.00 | 186000.00 | 3000.00 | 186000.00 | 173600.00 | Anoop Refrigeration
8.00 | Annual all inclusive comprehensive maintenance of 3.0/4.0 /4.5/4.6 ton tower type Air conditioner unit by carrying out weekly/monthly/annual preventive service maintenance and unlimited breakdown maintenance including repairing/replacement(if required) of all defective components like PCB, control circuit, fan motor, compressor, fuses, relays, contactors, control wiring, condenser coil , supply and topping up of refrigerant gas etc. complete as required.
8.10 | FIRST YEAR OF CONTRACT PERIOD | 7.00 | Each |  | 6024.00 | 42168.00 | 7000.00 | 49000.00 | 4000.00 | 28000.00 | 3000.00 | 21000.00 | 21000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
8.20 | SECOND YEAR OF CONTRACT PERIOD | 7.00 | Each |  | 8032.00 | 56224.00 | 7000.00 | 49000.00 | 5000.00 | 35000.00 | 3500.00 | 24500.00 | 24500.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
9.00 | Annual all inclusive comprehensive maintenance of 3.0 ton cassette type Air conditioner unit by carrying out weekly/monthly/annual preventive service maintenance and unlimited breakdown maintenance including repairing/replacement(if required) of all defective components like PCB, control circuit, fan motor, compressor, fuses, relays, contactors, control wiring, condensor coil , supply and topping up of refrigerant gas etc. complete as required.
9.10 | FIRST YEAR OF CONTRACT PERIOD | 2.00 | Each |  | 3600.00 | 7200.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 6000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
9.20 | SECOND YEAR OF CONTRACT PERIOD | 2.00 | Each |  | 4800.00 | 9600.00 | 8000.00 | 16000.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 6000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
10.00 | Annual all inclusive comprehensive maintenance of water coolers of different capacity by carrying out weekly/monthly/annual preventive service maintenance and unlimited breakdown maintenance including repairing/replacement(if required) of all defective components like PCB, control circuit, fan motor, compressor, fuses, relays, contactors, control wiring, condensor coil , supply and topping up of refrigerant gas etc. complete as required.
10.10 | FIRST YEAR OF CONTRACT PERIOD | 8.00 | Each |  | 3600.00 | 28800.00 | 6500.00 | 52000.00 | 2000.00 | 16000.00 | 900.00 | 7200.00 | 7200.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
10.20 | SECOND YEAR OF CONTRACT PERIOD | 8.00 | Each |  | 4800.00 | 38400.00 | 6500.00 | 52000.00 | 3000.00 | 24000.00 | 900.00 | 7200.00 | 7200.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
11.00 | Dismantling of 1.0/1.5/2.0 TR split air conditioning unit by dismantling it from existing location and submission of same to AAI store etc. complete as required. | 8.00 | Each |  | 1000.00 | 8000.00 | 450.00 | 3600.00 | 500.00 | 4000.00 | 400.00 | 3200.00 | 3200.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
12.00 | Installation, testing and commissioning of 1.0/1.5/2.0 TR split air conditioning unit including fixing of copper piping, drain piping, insulation, charging of refrigerant gas, pressure testing etc. complete as required. | 8.00 | Each |  | 2000.00 | 16000.00 | 1350.00 | 10800.00 | 494.00 | 3952.00 | 800.00 | 6400.00 | 3952.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
13.00 | Supply of refrigerant gas suitable for air conditioners and water cooler units of different capacities installed at airport premises as and when required. | 20.00 | Kg |  | 950.00 | 19000.00 | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 800.00 | 16000.00 | 16000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
14.00 | Supply and fixing of suction and discharge copper piping with suitable insulation and of suitable size for 1.0/1.5/2.0 Ton split air conditioner etc. complete as required. | 30.00 | Mtr |  | 950.00 | 28500.00 | 1000.00 | 30000.00 | 300.00 | 9000.00 | 400.00 | 12000.00 | 9000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
15.00 | Supply and fixing of suction and discharge copper piping with suitable insulation and of suitable size for 3.0/3.5/4.0/4.5/4.6 Ton tower/cassette type air conditioner etc. complete as required. | 30.00 | Mtr |  | 1150.00 | 34500.00 | 1500.00 | 45000.00 | 300.00 | 9000.00 | 400.00 | 12000.00 | 9000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
16.00 | Supply and fixing of 25mm hard PVC drain pipe complete as required . | 30.00 | Mtr |  | 60.00 | 1800.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 70.00 | 2100.00 | 1800.00 | Anoop Refrigeration
17.00 | Painting of exposed water pipe lines/metal surfaces in HVAC plant/AHU room with synthetic enamelled paint by spray/ brush painting by applying one or more coats including scraping, cleaning of surfaces etc. complete as required as per direction of Engineer-in-charge. | 250.00 | Sqm |  | 180.00 | 45000.00 | 95.00 | 23750.00 | 80.00 | 20000.00 | 300.00 | 75000.00 | 20000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
18.00 | Annual all inclusive comprehensive maintenance of voltage stabilizers of different capacity and makes suitable for 1.0/1.5/2.0 TR air conditioners by carrying out preventive service maintenance and unlimited breakdown maintenance including repairing/replacement(if required) of all defective components like PCB, control circuit, regulator, fuses, relays, contactors, control wiring etc. complete as required.
18.10 | FIRST YEAR OF CONTRACT PERIOD | 45.00 | Each |  | 1800.00 | 81000.00 | 1000.00 | 45000.00 | 500.00 | 22500.00 | 300.00 | 13500.00 | 13500.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
18.20 | SECOND YEAR OF CONTRACT PERIOD | 45.00 | Each |  | 2400.00 | 108000.00 | 1000.00 | 45000.00 | 600.00 | 27000.00 | 300.00 | 13500.00 | 13500.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
19.00 | Annual all inclusive comprehensive maintenance of wall hanging, non refrigerated, barrier free, drinking water fountain unit ( Make: WAE, Model No.-WAE-HTHB-OVLEBP-I) with booster/ pressurizing unit, front side mechanical push button to activate the flow of water ,and bottle filling station by carrying out preventive maintenance and unlimited breakdown maintenance including repairing/replacement(if required) of all defective components like PCB, control circuit, SMPS, photo/electric sensor, push button , control/electric wiring etc. complete as required.
19.10 | FIRST YEAR OF CONTRACT PERIOD | 8.00 | Job |  | 1080.00 | 8640.00 | 9500.00 | 76000.00 | 10000.00 | 80000.00 | 4000.00 | 32000.00 | 8640.00 | Anoop Refrigeration
19.20 | SECOND YEAR OF CONTRACT PERIOD | 8.00 | Job |  | 1520.00 | 12160.00 | 9500.00 | 76000.00 | 11000.00 | 88000.00 | 4500.00 | 36000.00 | 12160.00 | Anoop Refrigeration
20.00 | SH-C: AICMC OF VRF System Annual all inclusive comprehensive maintenance of VRF modular type air-conditioning system of make-Toshiba having outdoor units (03 nos of 8 HP capacity each) and indoor units (06 nos. cooling mounted cassette unit of 3.2 TR cooling capacity each) including remote controller complete refrigerant piping between indoor & outdoor units, wiring by carrying out preventive maintenance and unlimited breakdown maintenance etc. complete as required.
20.10 | FIRST YEAR OF CONTRACT PERIOD | 1.00 | Job |  | 23760.00 | 23760.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | 35000.00 | 35000.00 | 23760.00 | Anoop Refrigeration
20.20 | SECOND YEAR OF CONTRACT PERIOD | 1.00 | Job |  | 32640.00 | 32640.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | 35000.00 | 35000.00 | 32640.00 | Anoop Refrigeration
| Total in Figures |  |  |  |  | 11892624.00 |  | 13755650.00 |  | 11004786.00 |  | 10932600.00
Lowest Amount Quoted BY: M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS(10932600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and maintenance of HVAC system, VRF System, Fire Alarm and Fire Fighting system, Split/Window ACs, Water Coolers etc. at Srinagar Intl Airport, Srinagar (For the year 2022-23 and 2023-24). Tender ID: 2022_AAI_122049_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS | 10932600.00 | L1
| 2 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE | 11004786.00 | L2
| 3 | Anoop Refrigeration | 11892624.00 | L3
| 4 | SWASTIK ELECTROTECH PRIVATE LIMITED | 13755650.00 | L4