## BoQ1
Government eProcurement System Created By: Ravindra Nandurkar Created Date/Time: 12-Aug-2022 05:58 PM Tender Title: Annual Maintenance Contract of HT installations at ATS Complex and Operational Area, C.S.M.I.Airport, Mumbai for the year 2022-23 to 2023-24. Tender ID: 2022_AAI_122053_1
Tender Inviting Authority: Asstt.Gen.Manager (Engg.-Elect.),ATS Complex, Mumbai.
Name of Work: "Annual Maintenance Contract of HT installations at ATS Complex and Operational Area, C.S.M.I.Airport, Mumbai for the year 2022-23 to 2023-24”
Contract No: MUM/ATS/ENGG-E/eNIT-05/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SARASWAT ENGINEERING SERVICES(GSTN-27AAZFS6239C1ZO) |  | Power And Instrumentation Guj Ltd(GSTN-24AACCP4292Q1ZW) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets, washers and rectification of leakage of oil complete as required. (Transformers oil for topping up will be supplied by AAI.) a) First year i) Transformer 11KV/ 433Volts, 2 MVA ( Make: Volt Amp) | 2.00 | Each |  | 22000.00 | 44000.00 | 20000.00 | 40000.00 | 35000.00 | 70000.00 | 40000.00 | Power And Instrumentation Guj Ltd
1.02 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets, washers and rectification of leakage of oil complete as required. (Transformers oil for topping up will be supplied by AAI.) a) First year ii) Transformer 3.3KV/ 433Volts, 250 KVA (Make: Nissan) | 1.00 | Each |  | 12100.00 | 12100.00 | 10000.00 | 10000.00 | 20000.00 | 20000.00 | 10000.00 | Power And Instrumentation Guj Ltd
1.03 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets, washers and rectification of leakage of oil complete as required. (Transformers oil for topping up will be supplied by AAI.) a) First year iii) Transformer 3.3KV/ 433Volts, 100 KVA (Make: Nissan) | 1.00 | Each |  | 6600.00 | 6600.00 | 7000.00 | 7000.00 | 15000.00 | 15000.00 | 6600.00 | SARASWAT ENGINEERING SERVICES
1.04 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets, washers and rectification of leakage of oil complete as required. (Transformers oil for topping up will be supplied by AAI.) a) First year iv) 3.3 KV HT extensible oil switch fuse unit/ Isolator (Make: Mysore Electricals) | 2.00 | Each |  | 6050.00 | 12100.00 | 7000.00 | 14000.00 | 15000.00 | 30000.00 | 12100.00 | SARASWAT ENGINEERING SERVICES
1.05 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets, washers and rectification of leakage of oil complete as required. (Transformers oil for topping up will be supplied by AAI.) a) First year v) 3.3KV, Oil immersed Ring Main Units of 200 -400 Amps capacity consisting of one incomer and two outgoings. (Make:Mysore Electricals) | 2.00 | Each |  | 6050.00 | 12100.00 | 8000.00 | 16000.00 | 15000.00 | 30000.00 | 12100.00 | SARASWAT ENGINEERING SERVICES
1.06 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets, washers and rectification of leakage of oil complete as required. (Transformers oil for topping up will be supplied by AAI.) b) Second year i) Transformer 11KV/ 433Volts, 2 MVA ( Make: Volt Amp) | 2.00 | Each |  | 23100.00 | 46200.00 | 22000.00 | 44000.00 | 40000.00 | 80000.00 | 44000.00 | Power And Instrumentation Guj Ltd
1.07 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets, washers and rectification of leakage of oil complete as required. (Transformers oil for topping up will be supplied by AAI.) b) Second year ii) Transformer 3.3KV/ 433Volts, 250 KVA (Make: Nissan) | 1.00 | Each |  | 12100.00 | 12100.00 | 4000.00 | 4000.00 | 25000.00 | 25000.00 | 4000.00 | Power And Instrumentation Guj Ltd
1.08 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets, washers and rectification of leakage of oil complete as required. (Transformers oil for topping up will be supplied by AAI.) b) Second year iii) Transformer 3.3KV/ 433Volts, 100 KVA (Make: Nissan) | 1.00 | Each |  | 6600.00 | 6600.00 | 4000.00 | 4000.00 | 20000.00 | 20000.00 | 4000.00 | Power And Instrumentation Guj Ltd
1.09 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets, washers and rectification of leakage of oil complete as required. (Transformers oil for topping up will be supplied by AAI.) b) Second year iv) 3.3 KV HT extensible oil switch fuse unit/ Isolator (Make:Mysore Electricals) | 2.00 | Each |  | 6050.00 | 12100.00 | 4000.00 | 8000.00 | 20000.00 | 40000.00 | 8000.00 | Power And Instrumentation Guj Ltd
1.10 | Filtration and dehydration of oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets, washers and rectification of leakage of oil complete as required. (Transformers oil for topping up will be supplied by AAI.) b) Second year v) 3.3KV, Oil immersed Ring Main Units of 200 -400 Amps capacity consisting of one incomer and two outgoings. (Make:Mysore Electricals) | 2.00 | Each |  | 6050.00 | 12100.00 | 400.00 | 800.00 | 20000.00 | 40000.00 | 800.00 | Power And Instrumentation Guj Ltd
2.01 | Filtration and dehydration of oil for the 11 KV, 1600 Amp. HT MOCB of Eswaran & Sons make including co-ordination with M/s. Adani Electricity for taking shutdown of the supply, disconnecting the control supply, racking out the MOCB, cleaning the bus bar fingers and insulators, racking in the MOCB after filtration and dehydration of the oil, checking leakage of oil if any & rectification including repacing of gaskets, tightining of screws/nut bolts complete as required and connecting the control supply properly and charging the HT panel in co-ordination with M/s. Adani Electricity and testing the supply and controling etc. (Transformer oil for topping up will be supplied by AAI.) a) First year | 5.00 | Each |  | 3300.00 | 16500.00 | 7000.00 | 35000.00 | 10500.00 | 52500.00 | 16500.00 | SARASWAT ENGINEERING SERVICES
2.02 | Filtration and dehydration of oil for the 11 KV, 1600 Amp. HT MOCB of Eswaran & Sons make including co-ordination with M/s. Adani Electricity for taking shutdown of the supply, disconnecting the control supply, racking out the MOCB, cleaning the bus bar fingers and insulators, racking in the MOCB after filtration and dehydration of the oil, checking leakage of oil if any & rectification including repacing of gaskets, tightining of screws/nut bolts complete as required and connecting the control supply properly and charging the HT panel in co-ordination with M/s. Adani Electricity and testing the supply and controling etc. (Transformer oil for topping up will be supplied by AAI.) b) Second year | 5.00 | Each |  | 363.00 | 1815.00 | 800.00 | 4000.00 | 12500.00 | 62500.00 | 1815.00 | SARASWAT ENGINEERING SERVICES
3.01 | Maintenance , Servicing & Overhaling of L&T make Air Circuit Breakers from OEM or authorized service dealer by providing trolley for servicing (preventive maintenance every six months) installed at LT Ess. and Non-Ess. Panels as Main incommers, DG incommers (Substation) and Bus Couplers, DG Syn.Panel and Incoming feeders of AC Panel of the following rating:- a) First year i) 3200 Amp, 4 Pole, U Power Series ACB | 9.00 | Rate/Year |  | 19800.00 | 178200.00 | 18000.00 | 162000.00 | 10500.00 | 94500.00 | 94500.00 | Manish Electricals
3.02 | Maintenance , Servicing & Overhaling of L&T make Air Circuit Breakers from OEM or authorized service dealer by providing trolley for servicing (preventive maintenance every six months) installed at LT Ess. and Non-Ess. Panels as Main incommers, DG incommers (Substation) and Bus Couplers, DG Syn.Panel and Incoming feeders of AC Panel of the following rating:- a) First year ii) 1600 Amp, 4 Pole, U Power series ACB | 3.00 | Rate/Year |  | 15400.00 | 46200.00 | 17000.00 | 51000.00 | 9500.00 | 28500.00 | 28500.00 | Manish Electricals
3.03 | Maintenance , Servicing & Overhaling of L&T make Air Circuit Breakers from OEM or authorized service dealer by providing trolley for servicing (preventive maintenance every six months) installed at LT Ess. and Non-Ess. Panels as Main incommers, DG incommers (Substation) and Bus Couplers, DG Syn.Panel and Incoming feeders of AC Panel of the following rating:- a) First year iii) 800 Amp, 4 Pole, C Power Series ACB | 2.00 | Rate/Year |  | 13200.00 | 26400.00 | 15000.00 | 30000.00 | 8500.00 | 17000.00 | 17000.00 | Manish Electricals
3.04 | Maintenance , Servicing & Overhaling of L&T make Air Circuit Breakers from OEM or authorized service dealer by providing trolley for servicing (preventive maintenance every six months) installed at LT Ess. and Non-Ess. Panels as Main incommers, DG incommers (Substation) and Bus Couplers, DG Syn.Panel and Incoming feeders of AC Panel of the following rating:- a) First year iv) 1250 Amp, 4 pole, U Power series ACB | 6.00 | Rate/Year |  | 15400.00 | 92400.00 | 500.00 | 3000.00 | 9000.00 | 54000.00 | 3000.00 | Power And Instrumentation Guj Ltd
3.05 | Maintenance , Servicing & Overhaling of L&T make Air Circuit Breakers from OEM or authorized service dealer by providing trolley for servicing (preventive maintenance every six months) installed at LT Ess. and Non-Ess. Panels as Main incommers, DG incommers (Substation) and Bus Couplers, DG Syn.Panel and Incoming feeders of AC Panel of the following rating:- b) Second year i) 3200 Amp, 4 Pole, U Power Series ACB | 9.00 | Rate/Year |  | 19800.00 | 178200.00 | 19000.00 | 171000.00 | 12500.00 | 112500.00 | 112500.00 | Manish Electricals
3.06 | Maintenance , Servicing & Overhaling of L&T make Air Circuit Breakers from OEM or authorized service dealer by providing trolley for servicing (preventive maintenance every six months) installed at LT Ess. and Non-Ess. Panels as Main incommers, DG incommers (Substation) and Bus Couplers, DG Syn.Panel and Incoming feeders of AC Panel of the following rating:- b) Second year ii) 1600 Amp, 4 Pole, U Power series ACB | 3.00 | Rate/Year |  | 15400.00 | 46200.00 | 17000.00 | 51000.00 | 11500.00 | 34500.00 | 34500.00 | Manish Electricals
3.07 | Maintenance , Servicing & Overhaling of L&T make Air Circuit Breakers from OEM or authorized service dealer by providing trolley for servicing (preventive maintenance every six months) installed at LT Ess. and Non-Ess. Panels as Main incommers, DG incommers (Substation) and Bus Couplers, DG Syn.Panel and Incoming feeders of AC Panel of the following rating:- b) Second year iii) 800 Amp, 4 Pole, C Power Series ACB | 2.00 | Rate/Year |  | 13200.00 | 26400.00 | 15000.00 | 30000.00 | 10500.00 | 21000.00 | 21000.00 | Manish Electricals
3.08 | Maintenance , Servicing & Overhaling of L&T make Air Circuit Breakers from OEM or authorized service dealer by providing trolley for servicing (preventive maintenance every six months) installed at LT Ess. and Non-Ess. Panels as Main incommers, DG incommers (Substation) and Bus Couplers, DG Syn.Panel and Incoming feeders of AC Panel of the following rating:- b) Second year iv) 1250 Amp, 4 pole, U Power series ACB | 6.00 | Rate/Year |  | 15400.00 | 92400.00 | 14000.00 | 84000.00 | 9500.00 | 57000.00 | 57000.00 | Manish Electricals
4.01 | AMC of 800 Amp SIEMENS make Vacuum Circuit Breakers from OEM or authorized service dealer(preventive maintenance once a year) installed at ELDIS-II (New RADAR) in operational area, Mumbai airport. a) First year | 6.00 | Rate/Year |  | 30250.00 | 181500.00 | 22000.00 | 132000.00 | 25000.00 | 150000.00 | 132000.00 | Power And Instrumentation Guj Ltd
4.02 | AMC of 800 Amp SIEMENS make Vacuum Circuit Breakers from OEM or authorized service dealer(preventive maintenance once a year) installed at ELDIS-II (New RADAR) in operational area, Mumbai airport. b) Second year | 6.00 | Rate/Year |  | 31350.00 | 188100.00 | 24000.00 | 144000.00 | 30000.00 | 180000.00 | 144000.00 | Power And Instrumentation Guj Ltd
5.00 | Visiting charges towards inspecting, checking, taking parameters and rectification of the faults if require for ACB from OEM or authorized service dealer. (Beyond 4 nos. preventive maintenance and 8 nos. breakdown complaints.) | 5.00 | Visit |  | 4400.00 | 22000.00 | 700.00 | 3500.00 | 7000.00 | 35000.00 | 3500.00 | Power And Instrumentation Guj Ltd
6.01 | Testing and calibration of Voltage and current operated relays as per Annex -III including secondary injection testing and settings once in a year, submitting test reports etc complete as required. Job includes checking proper co-ordination of relays, testing of tripping, checking all the control systems, checking and testing electrical interlocking, checking of control wiring, tightening of the wiring etc. complete as required. a) First year | 130.00 | Each |  | 1540.00 | 200200.00 | 1325.00 | 172250.00 | 1500.00 | 195000.00 | 172250.00 | Power And Instrumentation Guj Ltd
6.02 | Testing and calibration of Voltage and current operated relays as per Annex -III including secondary injection testing and settings once in a year, submitting test reports etc complete as required. Job includes checking proper co-ordination of relays, testing of tripping, checking all the control systems, checking and testing electrical interlocking, checking of control wiring, tightening of the wiring etc. complete as required. b) Second year | 130.00 | Each |  | 1650.00 | 214500.00 | 1325.00 | 172250.00 | 1800.00 | 234000.00 | 172250.00 | Power And Instrumentation Guj Ltd
7.00 | Cable fault detection of HT / LT underground power cables of the 1.1 KV grade of any size with the cable fault finding machine complete etc. as required. | 6.00 | Each |  | 19250.00 | 115500.00 | 5000.00 | 30000.00 | 15500.00 | 93000.00 | 30000.00 | Power And Instrumentation Guj Ltd
8.00 | Supply of transformer oil of IS: 335/1980 ammended upto date with test report as required. | 420.00 | Litre |  | 121.00 | 50820.00 | 145.00 | 60900.00 | 230.00 | 96600.00 | 50820.00 | SARASWAT ENGINEERING SERVICES
9.01 | Repainting of following equipments including scrapping by sand/emery paper to get even surface and applying metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint including writing etc. complete as required. a) Transformer 11KV/ 433Volts, 2 MVA | 2.00 | Each |  | 8800.00 | 17600.00 | 3500.00 | 7000.00 | 10000.00 | 20000.00 | 7000.00 | Power And Instrumentation Guj Ltd
9.02 | Repainting of following equipments including scrapping by sand/emery paper to get even surface and applying metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint including writing etc. complete as required. b) Transformer 3.3KV/ 433Volts, 250 KVA | 1.00 | Each |  | 3300.00 | 3300.00 | 1000.00 | 1000.00 | 10000.00 | 10000.00 | 1000.00 | Power And Instrumentation Guj Ltd
9.03 | Repainting of following equipments including scrapping by sand/emery paper to get even surface and applying metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint including writing etc. complete as required. c) Transformer 3.3KV/ 433Volts, 100 KVA | 1.00 | Each |  | 3300.00 | 3300.00 | 1000.00 | 1000.00 | 10000.00 | 10000.00 | 1000.00 | Power And Instrumentation Guj Ltd
9.04 | Repainting of following equipments including scrapping by sand/emery paper to get even surface and applying metal primer on corroded surface and painting with two coat of approved brand synthetic enamel/Aluminum paint including writing etc. complete as required. d) 3.3 KV, 200/400 Amp Ring Main Units and Isolating switch | 2.00 | Each |  | 2200.00 | 4400.00 | 1000.00 | 2000.00 | 10000.00 | 20000.00 | 2000.00 | Power And Instrumentation Guj Ltd
10.00 | Execution of works as per CPWD schedule of work and specifications as and when required. Schedule of rates (CPWD) 2018 Electrical (For Rs;50000/=). Agency should be mentioned % above or below of the rates of DSR 2018 in Rate column. NOTE: EXAMPLE FOR QUOTING RATES BELOW 5% OF DSR ITEM RATES, CONTRACTOR SHOULD QUOTE 0.95 IN RATE COLUMN AND FOR QUOTING RATES ABOVE 5% OF DSR ITEM RATES, CONTRACTOR SHOULD QUOTE 1.05 IN RATE COLUMN. | 50000.00 | Lumsum |  | 1.15 | 57500.00 | .80 | 40000.00 | 1.00 | 50000.00 | 40000.00 | Power And Instrumentation Guj Ltd
| Total in Figures |  |  |  |  | 1939435.00 |  | 1534700.00 |  | 1997600.00
Lowest Amount Quoted BY: Power And Instrumentation Guj Ltd(1534700.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of HT installations at ATS Complex and Operational Area, C.S.M.I.Airport, Mumbai for the year 2022-23 to 2023-24. Tender ID: 2022_AAI_122053_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Power And Instrumentation Guj Ltd | 1534700.00 | L1
| 2 | SARASWAT ENGINEERING SERVICES | 1939435.00 | L2
| 3 | Manish Electricals | 1997600.00 | L3