## BoQ1
Government eProcurement System Created By: K SANTHOSH KUMAR Created Date/Time: 23-Aug-2022 11:46 AM Tender Title: Annual Maintenance and Servicing Contract of L.T. Panels, ACBs and Protective Relays Tender ID: 2022_AAI_122853_1
Tender Inviting Authority: Asstt. Gen. Mgr. (E-E), NATS Complex, IGI Airport, New Delhi
Name of Work : Annual Maintenance & Servicing Contract of L.T. Panels, ACBs & Protective Relays for 02 years at NATS Sub-Stations, IGI Airport, and CATFM Building, Vasant Kunj, New Delhi (2022-24)
Contract No/Tender ID : 2022_AAI_122853_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | shiva engineering company(GSTN-07AAZFS6813Q1Z1) |  | Ring Enterprises(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : NATS COMPLEX
2.00 | 1. Annual Maintenance and servicing of MV/LT panel consisting of Non-Essential panel and double side Essential panel, capacitor bank i/c control wiring, relays etc. at sub-station as per maintenance schedule /scope of work including attending complaints/breakdown whenever required and scheduled visit by deputing the manpower including the submission of servicing report, etc. excluding circuit breaker service complete as required & as per specification for 2 years. (Remarks : The spares & electrical parts shall be supplied separately by the agency as and when required on payment basis). (service two times in a year).
2.01 | (a) LT panel L&T make : Non essential with 2 nos. Incomer, 2 nos. O/G feeder to Essential panel, 01 buscoupler, 09 O/G feeder i/c control relays , ammeter, voltmer, Indication lamps etc. Essential panel with 2 nos. Incomer, 2 nos. Buscoupler, 03 nos. incomer from DG, 30 O/G feeder i/c control relays , ammeter, voltmer, indication lamps etc. | 1.00 | Job | 100.00 | 243768.00 | 243768.00 | 248644.00 | 248644.00 | 243768.00 | shiva engineering company
3.00 | 2. Annual Servicing of Air Circuit breaker of 1600A, Make L&T, LT panel as per scope of work including attending the complaints whenever required and normal visit and submission of servicing report for 2 years (service two times in a year). | 3.00 | Nos | 10.00 | 20900.00 | 62700.00 | 21500.00 | 64500.00 | 62700.00 | shiva engineering company
4.00 | 3. Annual Servicing Air Circuit Breaker 3200A, Make L & T,of LT panel as per scope of work including attending the complaints whenever required, normal visit and submission of service report for 2 years (service two times in a year). | 10.00 | Nos | 10.00 | 34590.00 | 345900.00 | 35190.00 | 351900.00 | 345900.00 | shiva engineering company
5.00 | 4. Testing and calibration of following type of relays installed in HT panel, LT distribution panel at NATS Bldg., as per the approved relay testing format ( The calibration report of relay testing equipment shall be submitted by Agency before start of calibration) and submission of the testing report for 2 years to Engineer-In-Charge etc complete as required and as per specificatios.
5.01 | (a) Over current inverse type relay ( 1 set comprises -3 Nos. Over current relay) complete in One set treated as One Job. (CDG type, Make -English Electric). | 4.00 | Job | 10.00 | 1385.00 | 5540.00 | 1450.00 | 5800.00 | 5540.00 | shiva engineering company
5.02 | (b) Over current inverse type and earth fault relay ( 1 set comprises -2 Nos. Over current relay+ 1 No. Earth fault relay) complete in One set treated as One Job. (CDG type, make -English Electric). | 4.00 | Job | 10.00 | 1385.00 | 5540.00 | 1450.00 | 5800.00 | 5540.00 | shiva engineering company
5.03 | (c) Trip circuit supervisory relay/ control relay/definite time relay/tripping relay ( Type- VAXMK-II/VAJC/VTT/VAJ, Make -English Electric). | 36.00 | Job | 10.00 | 1384.00 | 49824.00 | 1450.00 | 52200.00 | 49824.00 | shiva engineering company
5.04 | (d) Instentenious Under Voltage relay ( Type VAG/VAGM, Make - English Electric/ Alstom). | 21.00 | Job | 10.00 | 1385.00 | 29085.00 | 1450.00 | 30450.00 | 29085.00 | shiva engineering company
5.05 | (e) Earth fault relay, Type -CDG,Make -Alstom | 4.00 | Job | 10.00 | 1385.00 | 5540.00 | 1450.00 | 5800.00 | 5540.00 | shiva engineering company
6.00 | SH-II : CATFM Building
7.00 | 1. Annual Maintenance and servicing of MV/LT panel consisting i/c control wiring, relays etc. installed at CATFM as per maintenance schedule / scope of work including attending complaints / breakdown whenever required and scheduled visit by deputing the manpower including the submission of servicing report etc excluding circuit breaker service complete as required & as per specification for 2 years (Remarks : The spares & electrical parts shall be supplied separately by the agency as and when required on payment basis). (service two times in a year) LT Panel L&T make 5 sections | 1.00 | Job | 10.00 | 61657.00 | 61657.00 | 62890.00 | 62890.00 | 61657.00 | shiva engineering company
8.00 | 2. Annual Servicing of LT Panel Air Circuit breaker of 800A make L&T as per scope of work including attending the complaints whenever required and normal visit and subnmission of servicing report for 2 years (Service two time in a year) | 3.00 | Nos | 10.00 | 20920.00 | 62760.00 | 21500.00 | 64500.00 | 62760.00 | shiva engineering company
9.00 | 3. Annual Servicing & Testing Change over panel 400 Amp, ATS as per scope of work including attending the complaints whenever required normal visit and submission of service report for 2 years (service two in a year). | 2.00 | Nos | 10.00 | 11000.00 | 22000.00 | 11220.00 | 22440.00 | 22000.00 | shiva engineering company
| Total in Figures |  |  |  |  | 894314.00 |  | 914924.00
Lowest Amount Quoted BY: shiva engineering company(894314.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance and Servicing Contract of L.T. Panels, ACBs and Protective Relays Tender ID: 2022_AAI_122853_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | shiva engineering company | 894314.00 | L1
| 2 | Ring Enterprises | 914924.00 | L2