## BoQ1
Government eProcurement System Created By: PRASHANT FULMARE Created Date/Time: 12-Aug-2022 05:18 PM Tender Title: A.C.M.C. of Airconditioning (15 TR and 11.0 TR package units, 8.0 TR Ductable, 3.0 TR,2.0 TR and 1.5 TR Split ACs) at various locations in the Operational Area of C.S.M.I.Airport, Mumbai during 2022-23 to 2023-24. Tender ID: 2022_AAI_122950_1
Tender Inviting Authority: Asstt.Gen.Manager (Engg.-Elect.),ATS Complex, Mumbai.
Name of Work: "A.C.M.C. of Airconditioning (15 TR and 11.0 TR package units, 8.0 TR Ductable, 3.0 TR,2.0 TR and 1.5 TR Split ACs) at various locations in the Operational Area of C.S.M.I.Airport, Mumbai during 2022-23 to 2023-24.”
Contract No: MUM/ATS/ENGG-E/eNIT-06/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHAITANYA SERVICES(GSTN-27AHFPK3638N1ZX) |  | VEERABABU COMFORT COOL SYSTEM(GSTN-37BKKPM2510E1ZF) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual comprehensive maintenance of 15 TR air cooled package precession AC units at (ELDIS-II RADAR Model No.PDX0062, Make: Emerson) including replacement of faulty compressor and providing all necessary consumables and spares parts like PCB card, bearings, belts, and also includes replacement of damage insulation, ducting, taping, etc., carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - 2 ) complete, etc. as required. The ACMC also includes Quarterly maintenance / health checkup by O.E.M. M/s.Emerson Precision Air Conditioners (Vertiv). a) First Year | 3.00 | Job |  | 63300.00 | 189900.00 | 60000.00 | 180000.00 | 75000.00 | 225000.00 | 180000.00 | VEERABABU COMFORT COOL SYSTEM
2.00 | Annual comprehensive maintenance of 15 TR air cooled package precession AC units at (ELDIS-II RADAR Model No.PDX0062, Make: Emerson) including replacement of faulty compressor and providing all necessary consumables and spares parts like PCB card, bearings, belts, and also includes replacement of damage insulation, ducting, taping, etc., carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - 2 ) complete, etc. as required. The ACMC also includes Quarterly maintenance / health checkup by O.E.M. M/s.Emerson Precision Air Conditioners (Vertiv). b) Second Year | 3.00 | Job |  | 65300.00 | 195900.00 | 60000.00 | 180000.00 | 80000.00 | 240000.00 | 180000.00 | VEERABABU COMFORT COOL SYSTEM
3.00 | Annual Comprehensive Maintenance of 11 TR Ductable package Air-conditioners of M/s. Blue Star make, located at new ASR/MSSR, Kalina including replacement of faulty compressor and providing all necessary consumables and spares parts like PCB card, bearings, belts and also includes replacement of damage insulation, ducting, taping, etc., carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - 2 ) complete, etc. as required. a) First Year | 3.00 | Job |  | 36600.00 | 109800.00 | 13000.00 | 39000.00 | 45000.00 | 135000.00 | 39000.00 | VEERABABU COMFORT COOL SYSTEM
4.00 | Annual Comprehensive Maintenance of 11 TR Ductable package Air-conditioners of M/s. Blue Star make, located at new ASR/MSSR, Kalina including replacement of faulty compressor and providing all necessary consumables and spares parts like PCB card, bearings, belts and also includes replacement of damage insulation, ducting, taping, etc., carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - 2 ) complete, etc. as required. b) Second Year | 3.00 | Job |  | 39000.00 | 117000.00 | 15000.00 | 45000.00 | 55000.00 | 165000.00 | 45000.00 | VEERABABU COMFORT COOL SYSTEM
5.00 | Annual Comprehensive Maintenance of 8.0 TR Ductable package inverter type Air-conditioners of M/s. Blue Star make, located at ELDIS - II RADAR including replacement of faulty compressor and providing all necessary consumables and spares parts like PCB card, bearings, belts and also includes replacement of damage insulation, ducting, taping, etc., carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - 2 ) complete, etc. as required. a) First Year | 2.00 | Job |  | 27300.00 | 54600.00 | 10000.00 | 20000.00 | 30000.00 | 60000.00 | 20000.00 | VEERABABU COMFORT COOL SYSTEM
6.00 | Annual Comprehensive Maintenance of 8.0 TR Ductable package inverter type Air-conditioners of M/s. Blue Star make, located at ELDIS - II RADAR including replacement of faulty compressor and providing all necessary consumables and spares parts like PCB card, bearings, belts and also includes replacement of damage insulation, ducting, taping, etc., carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - 2 ) complete, etc. as required. b) Second Year | 2.00 | Job |  | 30600.00 | 61200.00 | 10000.00 | 20000.00 | 35000.00 | 70000.00 | 20000.00 | VEERABABU COMFORT COOL SYSTEM
7.00 | Annual comprehensive maintenance of 3.0 TR Mega split/High wall airconditioners of M/s. Blue Star make located at Operational area including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out monthly servicing and also includes replacement of damage insulation, taping, etc., painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - 2 ) complete, etc. as required. a) First Year | 12.00 | Job |  | 8900.00 | 106800.00 | 9000.00 | 108000.00 | 10500.00 | 126000.00 | 106800.00 | CHAITANYA SERVICES
8.00 | Annual comprehensive maintenance of 3.0 TR Mega split/High wall airconditioners of M/s. Blue Star make located at Operational area including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out monthly servicing and also includes replacement of damage insulation, taping, etc., painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - 2 ) complete, etc. as required. b) Second Year | 12.00 | Job |  | 12300.00 | 147600.00 | 9000.00 | 108000.00 | 12500.00 | 150000.00 | 108000.00 | VEERABABU COMFORT COOL SYSTEM
9.00 | Annual comprehensive maintenance of 1.5 TR and 2.0 TR split airconditioners ( Inverter and Non Inverter Type) of Voltas/Carrier/Blue star make at different locations ( Annexure - 1 ) including replacement of faulty compressor and providing all necessary consumables and spares parts and also includes replacement of damage insulation, taping etc.carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - 2 ) complete, etc. as required. a) First Year | 51.00 | Job |  | 5100.00 | 260100.00 | 6000.00 | 306000.00 | 4800.00 | 244800.00 | 244800.00 | Manish Electricals
10.00 | Annual comprehensive maintenance of 1.5 TR and 2.0 TR split airconditioners ( Inverter and Non Inverter Type) of Voltas/Carrier/Blue star make at different locations ( Annexure - 1 ) including replacement of faulty compressor and providing all necessary consumables and spares parts and also includes replacement of damage insulation, taping etc.carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions ( Annexure - 2 ) complete, etc. as required. b) Second Year | 51.00 | Job |  | 5400.00 | 275400.00 | 6000.00 | 306000.00 | 5500.00 | 280500.00 | 275400.00 | CHAITANYA SERVICES
11.00 | Shifting and Re-Installation of Split type Airconditioners of capacity of 1.5 TR / 2.0 TR including Gas changing, Pressure Testing and Commissioning, etc. complete as required. | 5.00 | Job |  | 3640.00 | 18200.00 | 5000.00 | 25000.00 | 5000.00 | 25000.00 | 18200.00 | CHAITANYA SERVICES
12.00 | Shifting and Re-Installation of Split type Airconditioners of capacity of 3.0 TR including Gas changing, Pressure Testing and Commissioning, etc. complete as required. | 2.00 | Job |  | 4050.00 | 8100.00 | 5000.00 | 10000.00 | 6000.00 | 12000.00 | 8100.00 | CHAITANYA SERVICES
13.00 | Supply and fixing 20mm dia rigid PVC pipes along with necessary accessories & insulation on surface / recess for drain water outlets of AC units, etc. complete as required | 25.00 | Metre |  | 120.00 | 3000.00 | 150.00 | 3750.00 | 250.00 | 6250.00 | 3000.00 | CHAITANYA SERVICES
14.00 | Supply and fixing of copper refrigerant piping of size 1/2" and 1/4" comprising suction and discharge pipes complete with nitrile rubber insulation sleeves, brazing including providing of clamps, etc. complete as required. | 30.00 | Metre |  | 800.00 | 24000.00 | 1250.00 | 37500.00 | 650.00 | 19500.00 | 19500.00 | Manish Electricals
15.00 | Supply and fixing of copper refrigerant piping of size 5/8" and 3/8" comprising suction and discharge pipes complete with nitrile rubber insulation sleeves, brazing including providing of clamps, etc. complete as required. | 30.00 | Metre |  | 950.00 | 28500.00 | 1250.00 | 37500.00 | 750.00 | 22500.00 | 22500.00 | Manish Electricals
16.00 | Dismantling of existing 3.0/2.0/1.5 TR Split AC Units with acceerious including loading and un loading complete, etc. as required upto AAI store. | 5.00 | Job |  | 1360.00 | 6800.00 | 4000.00 | 20000.00 | 1000.00 | 5000.00 | 5000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 1606900.00 |  | 1445750.00 |  | 1786550.00
Lowest Amount Quoted BY: VEERABABU COMFORT COOL SYSTEM(1445750.00)

## BOQ Summary
BOQ Summary Details Tender Title: A.C.M.C. of Airconditioning (15 TR and 11.0 TR package units, 8.0 TR Ductable, 3.0 TR,2.0 TR and 1.5 TR Split ACs) at various locations in the Operational Area of C.S.M.I.Airport, Mumbai during 2022-23 to 2023-24. Tender ID: 2022_AAI_122950_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VEERABABU COMFORT COOL SYSTEM | 1445750.00 | L1
| 2 | CHAITANYA SERVICES | 1606900.00 | L2
| 3 | Manish Electricals | 1786550.00 | L3