## BoQ1
Government eProcurement System Created By: md ansari Created Date/Time: 01-Sep-2022 10:57 AM Tender Title: ARMO of E and M installations at civil airport pantnagar for year 2022-24 Tender ID: 2022_AAI_123094_1
Tender Inviting Authority: Airports Authority of India, Civil Airport, Pantnagar
Name of Work:ARMO of Electrical & Mechanical installations at Civil Airport Pantnagar for year 2022-2024.
Contract No: AAI/PNT/ELECT/ARMO/22-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | 180 DEGREE STRAIGHT(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I:Operation & Maintenance
1.10 | Annual operation & daily maintenance of various Electrical & Mechanical Installations involving repairs & maintenance and attending to complaints /faults/breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, preventive maintenance, maintenance of records/documents etc.of Residential area i/c power house, pump house, Residential Quarters, Terminal Building,Fire & MT Building, panels,street lights and other ancillary Buildings etc. as per the detailed specifications, terms & conditions covered under this contract on all days including sundays & holidays etc as required (Excluding weekly Off). a) Wireman/Electrician(Skilled) -02 Nos. b) DG Set Operator(Semi-skilled) -04 Nos. c) Office Assistant cum Data Entry Operator (skilled) -01 Nos. d) Helper (Un-skilled)- 05 Nos. | 24.00 | Month | 191957.57 | 178690.68 | 4288576.32 | 176913.00 | 4245912.00 | 168332.00 | 4039968.00 | 175000.00 | 4200000.00 | 168500.00 | 4044000.00 | 169000.00 | 4056000.00 | 182111.00 | 4370664.00 | 193000.00 | 4632000.00 | 4039968.00 | Anoop Refrigeration
1.20 | Provision of additional manpower required for emergency / major maintenance works at Airport area beyond the scope of item No.1 on daily basis. (A) Skilled workmen | 20.00 | Days | 726.19 | 631.64 | 12632.80 | 650.00 | 13000.00 | 300.00 | 6000.00 | 680.00 | 13600.00 | 625.00 | 12500.00 | 700.00 | 14000.00 | 656.00 | 13120.00 | 625.00 | 12500.00 | 6000.00 | Anoop Refrigeration
1.30 | Provision of additional manpower required for emergency / major maintenance works at Airport area beyond the scope of item No.1 on daily basis. (B) Un-Skilled workmen | 20.00 | Days | 514.09 | 703.54 | 14070.80 | 465.00 | 9300.00 | 200.00 | 4000.00 | 480.00 | 9600.00 | 443.00 | 8860.00 | 500.00 | 10000.00 | 466.00 | 9320.00 | 443.00 | 8860.00 | 4000.00 | Anoop Refrigeration
2.00 | SH-II:Repairing & Rewinding
2.10 | Dismantling, removal, lowering, reinstalling, testing and commissioning of submersible pumps of different makes & capacities including arranging of tripod stand, chain pulley block etc. as required. | 2.00 | Each | 2020.00 | 1500.00 | 3000.00 | 6000.00 | 12000.00 | 2800.00 | 5600.00 | 2000.00 | 4000.00 | 4000.00 | 8000.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 6000.00 | 12000.00 | 3000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.20 | Rewinding of 10/15 HP motor of submersible pump of (different stages ) different makes as per original size of insulated copper wire, sleeves complete with connection ,interconnection etc as required. (Dismantle cu-wire need not to be returned) | 2.00 | Nos | 5050.00 | 5800.00 | 11600.00 | 9000.00 | 18000.00 | 2700.00 | 5400.00 | 5000.00 | 10000.00 | 8500.00 | 17000.00 | 12500.00 | 25000.00 | 8000.00 | 16000.00 | 8500.00 | 17000.00 | 5400.00 | Anoop Refrigeration
2.30 | Rewinding of 750 Watt , fractional horse power motor of single phase, 230 volt supply (drinking water motor) with suitable gauge copper wire i/c varnishing, baking etc as required i/c transportation from site to workshop & back to site.(Dismantle cu-wire need not to be returned) . | 2.00 | Nos | 555.50 | 1250.00 | 2500.00 | 1000.00 | 2000.00 | 500.00 | 1000.00 | 700.00 | 1400.00 | 1200.00 | 2400.00 | 5100.00 | 10200.00 | 1200.00 | 2400.00 | 900.00 | 1800.00 | 1000.00 | Anoop Refrigeration
2.40 | Rewinding of following sizes ceiling /exhaust fans of all makes as per original size and specifications with suitable copper winding wires (Dismantle cu-wire need not to be returned) complete as required. (A) Ceiling fan upto 1400 mm Sweep. | 20.00 | Job | 393.90 | 250.00 | 5000.00 | 450.00 | 9000.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 700.00 | 14000.00 | 325.00 | 6500.00 | 400.00 | 8000.00 | 500.00 | 10000.00 | 5000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.50 | Rewinding of following sizes ceiling /exhaust fans of all makes as per original size and specifications with suitable copper winding wires (Dismantle cu-wire need not to be returned) complete as required. (B) Exhaust/Wall fan upto 450 mm sweep. | 10.00 | Job | 252.50 | 250.00 | 2500.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 450.00 | 4500.00 | 600.00 | 6000.00 | 625.00 | 6250.00 | 350.00 | 3500.00 | 600.00 | 6000.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.60 | Replacement of ball bearings /bushes of exhaust/wall/ceiling fans etc complete as required.(Dismantle ball bearing/bushes need not to be returned) . | 20.00 | Job | 252.50 | 75.00 | 1500.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 300.00 | 6000.00 | 225.00 | 4500.00 | 100.00 | 2000.00 | 300.00 | 6000.00 | 1500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.70 | Providing,fixing and lowering in existing borewell of 50 mm dia. Heavy(C Class) GI pipe with 10 mm thick MS flange, nut bolts and gasket including welding etc. complete as required. Note:01 pc. Pipe Length : 3mtr with both end of pipe 10 mm thick MS Flange welded. | 12.00 | Mtr | 1111.00 | 850.00 | 10200.00 | 748.00 | 8976.00 | 1200.00 | 14400.00 | 400.00 | 4800.00 | 1150.00 | 13800.00 | 790.00 | 9480.00 | 1956.00 | 23472.00 | 1200.00 | 14400.00 | 4800.00 | NATIONAL SAFETY ENGINEERS
2.80 | Replacement of Pump & Grass Pad of Desert Coolers of different make as per the installations with new as required as per EIC. | 5.00 | Job | 303.00 | 450.00 | 2250.00 | 300.00 | 1500.00 | 100.00 | 500.00 | 600.00 | 3000.00 | 1000.00 | 5000.00 | 220.00 | 1100.00 | 600.00 | 3000.00 | 600.00 | 3000.00 | 500.00 | Anoop Refrigeration
2.90 | Reparing of Oil Type Room Heater including replacement of Oil, Thermostat etc complete as required as per EIC | 10.00 | Each | 1010.00 | 350.00 | 3500.00 | 1480.00 | 14800.00 | 500.00 | 5000.00 | 700.00 | 7000.00 | 1000.00 | 10000.00 | 400.00 | 4000.00 | 1500.00 | 15000.00 | 660.00 | 6600.00 | 3500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.00 | Reparing of blower Room Heater including replacement of element, motor,thermostat etc complete as required as per EIC | 10.00 | Each | 303.00 | 350.00 | 3500.00 | 800.00 | 8000.00 | 500.00 | 5000.00 | 400.00 | 4000.00 | 1000.00 | 10000.00 | 300.00 | 3000.00 | 1500.00 | 15000.00 | 700.00 | 7000.00 | 3000.00 | Awasthi Electric Works
4.00 | SH-III:Supply of Spares
4.10 | Supply of following sizes & type of switch suitable for operation on 230 volt single phase AC supply a) 06 Amp one way. (Piano type). | 80.00 | Each | 20.20 | 35.00 | 2800.00 | 20.00 | 1600.00 | 15.00 | 1200.00 | 15.00 | 1200.00 | 80.00 | 6400.00 | 25.00 | 2000.00 | 16.00 | 1280.00 | 90.00 | 7200.00 | 1200.00 | Anoop Refrigeration, NATIONAL SAFETY ENGINEERS
4.20 | Supply of Capacitor/Condenser for Ceiling fan,Exhaust fan,etc suitable for 230 volt, 50Hz single phase A.C. Supply. a) 2.5 mfd. | 20.00 | Each | 30.30 | 35.00 | 700.00 | 30.00 | 600.00 | 25.00 | 500.00 | 20.00 | 400.00 | 150.00 | 3000.00 | 40.00 | 800.00 | 26.00 | 520.00 | 70.00 | 1400.00 | 400.00 | NATIONAL SAFETY ENGINEERS
4.30 | Supply of 1200mm sweep, white colour ceiling fans suitable for 230 volt AC Supply, with 30 cm down rod and other accessories with out regulator etc as required. | 20.00 | Each | 1515.00 | 2250.00 | 45000.00 | 2200.00 | 44000.00 | 1000.00 | 20000.00 | 1400.00 | 28000.00 | 1800.00 | 36000.00 | 1200.00 | 24000.00 | 1208.00 | 24160.00 | 990.00 | 19800.00 | 19800.00 | 180 DEGREE STRAIGHT
5.00 | SH-IV:Supply of GLF Spares
5.10 | Supply of following rating Bi-Pin Halogen Lamp suitable for THORN/AMA make Elevated type HIRL/PAPI Fittings complete as required as per EIC (A) 150 W,6.6A | 50.00 | Each | 305.02 | 850.00 | 42500.00 | 530.00 | 26500.00 | 500.00 | 25000.00 | 450.00 | 22500.00 | 600.00 | 30000.00 | 600.00 | 30000.00 | 969.00 | 48450.00 | 489.00 | 24450.00 | 22500.00 | NATIONAL SAFETY ENGINEERS
5.20 | Supply of following rating Bi-Pin Halogen Lamp suitable for THORN/AMA make Elevated type HIRL/PAPI Fittings complete as required as per EIC (B) 200 W,6.6A | 30.00 | Each | 305.02 | 950.00 | 28500.00 | 530.00 | 15900.00 | 450.00 | 13500.00 | 380.00 | 11400.00 | 550.00 | 16500.00 | 800.00 | 24000.00 | 1071.00 | 32130.00 | 450.00 | 13500.00 | 11400.00 | NATIONAL SAFETY ENGINEERS
5.30 | Supply of 150/200W Bi-Pin Halogen Lamp holder suitable for THORN/AMA make Elevated type HIRL/PAPI Fittings complete as required as per EIC | 80.00 | Each | 345.42 | 450.00 | 36000.00 | 250.00 | 20000.00 | 300.00 | 24000.00 | 400.00 | 32000.00 | 1150.00 | 92000.00 | 750.00 | 60000.00 | 255.00 | 20400.00 | 280.00 | 22400.00 | 20000.00 | Manish Electricals
6.00 | SH-V:Miscelleneous Works
6.10 | Execution of works as per CPWD DSR (E&M) 2018 items of total value for Rs.10,000.00 as and when required. Note for contractor: For 10% above contractor shall quote 10000+10%= 11000. Similarly for 10% below contractor shall quote 10000-10%= 9000. | 1.00 | Job | 10100.00 | 2500.00 | 2500.00 | 9000.00 | 9000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 7500.00 | 7500.00 | 65000.00 | 65000.00 | 8000.00 | 8000.00 | 3000.00 | 3000.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
6.20 | Decoration , Illumination of Terminal Building facia along the city side including Entry & Exit gate with LED Strip/String Lights with provision of adhesion on the existing surface /wall complete as required as per EIC . | 3.00 | Job | 25250.00 | 15000.00 | 45000.00 | 25000.00 | 75000.00 | 4000.00 | 12000.00 | 20000.00 | 60000.00 | 40000.00 | 120000.00 | 27500.00 | 82500.00 | 15000.00 | 45000.00 | 4000.00 | 12000.00 | 12000.00 | 180 DEGREE STRAIGHT, Anoop Refrigeration
| Total in Figures |  |  |  |  | 4563829.92 |  | 4544088.00 |  | 4204068.00 |  | 4438400.00 |  | 4468960.00 |  | 4444330.00 |  | 4667416.00 |  | 4840910.00
Lowest Amount Quoted BY: Anoop Refrigeration(4204068.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M installations at civil airport pantnagar for year 2022-24 Tender ID: 2022_AAI_123094_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Anoop Refrigeration | 4204068.00 | L1
| 2 | NATIONAL SAFETY ENGINEERS | 4438400.00 | L2
| 3 | Awasthi Electric Works | 4444330.00 | L3
| 4 | M K ENTERPRISES | 4468960.00 | L4
| 5 | Manish Electricals | 4544088.00 | L5
| 6 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 4563829.92 | L6
| 7 | ABHISHEK INTEGRATIONS LIMITED | 4667416.00 | L7
| 8 | 180 DEGREE STRAIGHT | 4840910.00 | L8