## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 25-Aug-2022 12:26 PM Tender Title: RMO AC Equipment at Silchar Airport dg. 2022-24 Tender ID: 2022_AAI_123216_1
Tender Inviting Authority: Asstt. G.M. (Engg-Electrical), AAI, Silchar Airport.
Name of Work: RMO AC Equipment at Silchar Airport dg. 2022-24. SH: All inclusive Comprehensive maintenance contract of window type ACs, Split ACs, Ductable split ACs, AHU & VRV /VRF based HVAC system, water coolers, water purifiers and drinking water fountains for 2 years.
Tender Id: 2022_AAI_123216_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RS COOLING APPLIANCES(GSTN-18AALFR2502H3Z8) |  | sudarshnacoolingcentre andelectricals(GSTN-18AAJFM8760E1ZZ) |  | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS(GSTN-NA) |  | Zamzam Refrigeration and airconditioning(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | All inclusive Comprehensive maintenance of 1.5 TR window type AC units of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables and spares etc. as and when required basis including attending breakdown calls complete as required. For 1st Year | 3.00 | 12 Month | 0.00 | 500.00 | 18000.00 | 350.00 | 12600.00 | 3000.00 | 108000.00 | 550.00 | 19800.00 | 12600.00 | sudarshnacoolingcentre andelectricals
2.00 | All inclusive Comprehensive maintenance of 1.5 TR window type AC units of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables and spares etc. as and when required basis including attending breakdown calls complete as required. For 2nd Year | 3.00 | 12 Month | 0.00 | 500.00 | 18000.00 | 360.00 | 12960.00 | 3000.00 | 108000.00 | 550.00 | 19800.00 | 12960.00 | sudarshnacoolingcentre andelectricals
3.00 | All inclusive Comprehensive maintenance of 1.5 TR split type AC units of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables and spares etc. as and when required basis including attending breakdown calls complete as required. For 1st Year | 42.00 | 12 Month | 0.00 | 600.00 | 302400.00 | 350.00 | 176400.00 | 800.00 | 403200.00 | 550.00 | 277200.00 | 176400.00 | sudarshnacoolingcentre andelectricals
4.00 | All inclusive Comprehensive maintenance of 1.5 TR split type AC units of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables and spares etc. as and when required basis including attending breakdown calls complete as required. For 2nd Year | 42.00 | 12 Month | 0.00 | 600.00 | 302400.00 | 360.00 | 181440.00 | 1000.00 | 504000.00 | 550.00 | 277200.00 | 181440.00 | sudarshnacoolingcentre andelectricals
5.00 | All inclusive Comprehensive maintenance of 2 TR split type AC units of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables and spares etc. as and when required basis including attending breakdown calls complete as required. For 1st Year | 3.00 | 12 Month | 0.00 | 700.00 | 25200.00 | 499.00 | 17964.00 | 1000.00 | 36000.00 | 550.00 | 19800.00 | 17964.00 | sudarshnacoolingcentre andelectricals
6.00 | All inclusive Comprehensive maintenance of 2 TR split type AC units of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables and spares etc. as and when required basis including attending breakdown calls complete as required. For 2nd Year | 3.00 | 12 Month | 0.00 | 700.00 | 25200.00 | 499.00 | 17964.00 | 1000.00 | 36000.00 | 550.00 | 19800.00 | 17964.00 | sudarshnacoolingcentre andelectricals
7.00 | All inclusive Comprehensive maintenance of 4 TR Floor monted split type AC units of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables and spares etc. as and when required basis including attending breakdown calls complete as required. For 1st Year | 8.00 | 12 Month | 0.00 | 1100.00 | 105600.00 | 999.00 | 95904.00 | 1500.00 | 144000.00 | 550.00 | 52800.00 | 52800.00 | Zamzam Refrigeration and airconditioning
8.00 | All inclusive Comprehensive maintenance of 4 TR Floor monted split type AC units of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables and spares etc. as and when required basis including attending breakdown calls complete as required. For 2nd Year | 8.00 | 12 Month | 0.00 | 1150.00 | 110400.00 | 999.00 | 95904.00 | 1500.00 | 144000.00 | 550.00 | 52800.00 | 52800.00 | Zamzam Refrigeration and airconditioning
9.00 | All inclusive Comprehensive maintenance of 3 TR DUCTABLE split type AC units of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables and spares etc. as and when required basis including attending breakdown calls complete as required. For 1st Year | 2.00 | 12 Month | 0.00 | 1350.00 | 32400.00 | 1200.00 | 28800.00 | 1000.00 | 24000.00 | 550.00 | 13200.00 | 13200.00 | Zamzam Refrigeration and airconditioning
10.00 | All inclusive Comprehensive maintenance of 3 TR DUCTABLE split type AC units of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables and spares etc. as and when required basis including attending breakdown calls complete as required. For 2nd Year | 2.00 | 12 Month | 0.00 | 1500.00 | 36000.00 | 1250.00 | 30000.00 | 1000.00 | 24000.00 | 550.00 | 13200.00 | 13200.00 | Zamzam Refrigeration and airconditioning
11.00 | All inclusive Comprehensive maintenance of 8.5 TR DUCTABLE split type AC units of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables and spares etc. as and when required basis including attending breakdown calls complete as required. For 1st Year | 4.00 | 12 Month | 0.00 | 2500.00 | 120000.00 | 2299.00 | 110352.00 | 1500.00 | 72000.00 | 550.00 | 26400.00 | 26400.00 | Zamzam Refrigeration and airconditioning
12.00 | All inclusive Comprehensive maintenance of 8.5 TR DUCTABLE split type AC units of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables and spares etc. as and when required basis including attending breakdown calls complete as required. For 2nd Year | 4.00 | 12 Month | 0.00 | 2500.00 | 120000.00 | 2299.00 | 110352.00 | 1500.00 | 72000.00 | 550.00 | 26400.00 | 26400.00 | Zamzam Refrigeration and airconditioning
13.00 | All inclusive Comprehensive maintenance of 40/60 Ltrs. Water Cooler of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables etc. as and when required basis including attending breakdown calls complete as required. For 1st Year | 3.00 | 12 Month | 0.00 | 900.00 | 32400.00 | 750.00 | 27000.00 | 1000.00 | 36000.00 | 550.00 | 19800.00 | 19800.00 | Zamzam Refrigeration and airconditioning
14.00 | All inclusive Comprehensive maintenance of 40/60 Ltrs. Water Cooler of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables etc. as and when required basis including attending breakdown calls complete as required. For 2nd Year | 3.00 | 12 Month | 0.00 | 900.00 | 32400.00 | 750.00 | 27000.00 | 1000.00 | 36000.00 | 550.00 | 19800.00 | 19800.00 | Zamzam Refrigeration and airconditioning
15.00 | All inclusive Comprehensive maintenance of 60/80 Ltrs. Water Cooler of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables etc. as and when required basis including attending breakdown calls complete as required. For 1st Year | 2.00 | 12 Month | 0.00 | 900.00 | 21600.00 | 920.00 | 22080.00 | 1000.00 | 24000.00 | 550.00 | 13200.00 | 13200.00 | Zamzam Refrigeration and airconditioning
16.00 | All inclusive Comprehensive maintenance of 60/80 Ltrs. Water Cooler of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables etc. as and when required basis including attending breakdown calls complete as required. For 2nd Year | 2.00 | 12 Month | 0.00 | 900.00 | 21600.00 | 920.00 | 22080.00 | 1000.00 | 24000.00 | 550.00 | 13200.00 | 13200.00 | Zamzam Refrigeration and airconditioning
17.00 | All inclusive Comprehensive maintenance of 150 Ltrs. storage capacity Water Cooler of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables etc. as and when required basis including attending breakdown calls complete as required. For 1st Year | 2.00 | 12 Month | 0.00 | 1000.00 | 24000.00 | 999.00 | 23976.00 | 1000.00 | 24000.00 | 550.00 | 13200.00 | 13200.00 | Zamzam Refrigeration and airconditioning
18.00 | All inclusive Comprehensive maintenance of 150 Ltrs. storage capacity Water Cooler of various makes including replacement of capacitors, Compressors, Gas charging along with all necessary consumables etc. as and when required basis including attending breakdown calls complete as required. For 2nd Year | 2.00 | 12 Month | 0.00 | 1000.00 | 24000.00 | 999.00 | 23976.00 | 1000.00 | 24000.00 | 550.00 | 13200.00 | 13200.00 | Zamzam Refrigeration and airconditioning
19.00 | All inclusive comprehensive maintenance of RO purifiers of make KENT and of capacity 10LPH installed at various locations i/c providing and replacing all necessary consumabales, spares complete as required. The scope of CMC also covers replacement of prefilter, membrane once in a year & upto the satisfaction of EIC. For 1st Year | 2.00 | 12 Month | 0.00 | 1100.00 | 26400.00 | 930.00 | 22320.00 | 500.00 | 12000.00 | 550.00 | 13200.00 | 12000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
20.00 | All inclusive comprehensive maintenance of RO purifiers of make KENT and of capacity 10LPH installed at various locations i/c providing and replacing all necessary consumabales, spares complete as required. The scope of CMC also covers replacement of prefilter, membrane once in a year & upto the satisfaction of EIC. For 2nd Year | 2.00 | 12 Month | 0.00 | 1100.00 | 26400.00 | 930.00 | 22320.00 | 500.00 | 12000.00 | 550.00 | 13200.00 | 12000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
21.00 | All inclusive comprehensive maintenance of RO purifiers of make KENT and of capacity 25LPH installed at various locations i/c providing and replacing all necessary consumabales, spares complete as required. The scope of CMC also covers replacement of prefilter, membrane once in a year & upto the satisfaction of EIC. For 1st Year | 3.00 | 12 Month | 0.00 | 1150.00 | 41400.00 | 950.00 | 34200.00 | 500.00 | 18000.00 | 850.00 | 30600.00 | 18000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
22.00 | All inclusive comprehensive maintenance of RO purifiers of make KENT and of capacity 25LPH installed at various locations i/c providing and replacing all necessary consumabales, spares complete as required. The scope of CMC also covers replacement of prefilter, membrane once in a year & upto the satisfaction of EIC. For 2nd Year | 3.00 | 12 Month | 0.00 | 1150.00 | 41400.00 | 950.00 | 34200.00 | 500.00 | 18000.00 | 850.00 | 30600.00 | 18000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
23.00 | All inclusive comprehensive maintenance of RO purifiers of make KENT and of capacity 50LPH installed at various locations i/c providing and replacing all necessary consumabales, spares complete as required. The scope of CMC also covers replacement of prefilter, membrane once in a year & upto the satisfaction of EIC. For 1st Year | 6.00 | 12 Month | 0.00 | 1200.00 | 86400.00 | 1072.00 | 77184.00 | 700.00 | 50400.00 | 850.00 | 61200.00 | 50400.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
24.00 | All inclusive comprehensive maintenance of RO purifiers of make KENT and of capacity 50LPH installed at various locations i/c providing and replacing all necessary consumabales, spares complete as required. The scope of CMC also covers replacement of prefilter, membrane once in a year & upto the satisfaction of EIC. For 2nd Year | 6.00 | 12 Month | 0.00 | 1200.00 | 86400.00 | 1072.00 | 77184.00 | 700.00 | 50400.00 | 850.00 | 61200.00 | 50400.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
25.00 | All inclusive comprehensive maintenance of RO purifiers of make AQUAGUARD and of capacity 10LPH installed at various locations i/c providing and replacing all necessary consumabales, spares complete as required. The scope of CMC also covers replacement of prefilter, membrane once in a year & upto the satisfaction of EIC. For 1st Year | 1.00 | 12 Month | 0.00 | 1200.00 | 14400.00 | 900.00 | 10800.00 | 700.00 | 8400.00 | 850.00 | 10200.00 | 8400.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
26.00 | All inclusive comprehensive maintenance of RO purifiers of make AQUAGUARD and of capacity 10LPH installed at various locations i/c providing and replacing all necessary consumabales, spares complete as required. The scope of CMC also covers replacement of prefilter, membrane once in a year & upto the satisfaction of EIC. For 2nd Year | 1.00 | 12 Month | 0.00 | 1200.00 | 14400.00 | 900.00 | 10800.00 | 700.00 | 8400.00 | 850.00 | 10200.00 | 8400.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
27.00 | All inclusive comprehensive maintenance of water fountain with single bubbler of make WFS OASIS comprising of preventive maintenance,breakdown maintenance,attending emergency calls etc.and including all necessary spares and consumables to keep the water fountain in perfect working condition as required. For 1st Year | 4.00 | 12 Month | 0.00 | 1500.00 | 72000.00 | 1329.00 | 63792.00 | 500.00 | 24000.00 | 850.00 | 40800.00 | 24000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
28.00 | All inclusive comprehensive maintenance of water fountain with single bubbler of make WFS OASIS comprising of preventive maintenance,breakdown maintenance,attending emergency calls etc.and including all necessary spares and consumables to keep the water fountain in perfect working condition as required. For 2nd Year | 4.00 | 12 Month | 0.00 | 1500.00 | 72000.00 | 1329.00 | 63792.00 | 500.00 | 24000.00 | 850.00 | 40800.00 | 24000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
29.00 | All inclusive comprehensive maintenance of RO+UV based 80 Ltr. Storage with cooling capacity 60LPH Integrated Water cooler cum purifier installed at various locations i/c providing and replacing all necessary consumabales, spares complete as required. The scope of CMC also covers replacement of prefilter, membrane once in a year & upto the satisfaction of EIC. For 1st Year | 1.00 | 12 Month | 0.00 | 1050.00 | 12600.00 | 900.00 | 10800.00 | 600.00 | 7200.00 | 850.00 | 10200.00 | 7200.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
30.00 | All inclusive comprehensive maintenance of RO+UV based 80 Ltr. Storage with cooling capacity 60LPH Integrated Water cooler cum purifier installed at various locations i/c providing and replacing all necessary consumabales, spares complete as required. The scope of CMC also covers replacement of prefilter, membrane once in a year & upto the satisfaction of EIC. For 2nd Year | 1.00 | 12 Month | 0.00 | 1050.00 | 12600.00 | 900.00 | 10800.00 | 600.00 | 7200.00 | 850.00 | 10200.00 | 7200.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
31.00 | All inclusive comprehensive maintenance of air cooled modular type VRV/VRF OUTDOOR UNITS of 20 HP capacity including condensing units, each comprising of multiple scroll compressors all inverter driven including full charge with refrigerant gas (R-410a) when ever required including AICMC of AHU kit and all related accessories complete as required (Date of commencement of AICMC will be notified). For 2nd Year | 4.00 | 12 Month | 0.00 | 5000.00 | 240000.00 | 3500.00 | 168000.00 | 1500.00 | 72000.00 | 15000.00 | 720000.00 | 72000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
32.00 | All inclusive comprehensive maintenance of air cooled modular type VRV/VRF OUTDOOR UNITS of 16 HP capacity including condensing units, each comprising of multiple scroll compressors all inverter driven including full charge with refrigerant gas (R-410a) when ever required including AICMC of AHU kit and all related accessories complete as required (Date of commencement of AICMC will be notified). For 2nd Year | 3.00 | 12 Month | 0.00 | 5000.00 | 180000.00 | 2900.00 | 104400.00 | 1500.00 | 54000.00 | 15000.00 | 540000.00 | 54000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
33.00 | All inclusive comprehensive maintenance of floor mounted sheet metal sectionalised construction air handling unit of 13000 CFM capacity alongwith all related accessories complete as required. (Date of commencement of AICMC will be notified). For 2nd Year | 2.00 | 12 Month | 0.00 | 2000.00 | 48000.00 | 1250.00 | 30000.00 | 1000.00 | 24000.00 | 5000.00 | 120000.00 | 24000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
34.00 | All inclusive comprehensive maintenance of floor mounted sheet metal sectionalised construction air handling unit of 15000 CFM capacity alongwith all related accessories complete as required. (Date of commencement of AICMC will be notified). For 2nd Year | 1.00 | 12 Month | 0.00 | 2000.00 | 24000.00 | 1550.00 | 18600.00 | 1000.00 | 12000.00 | 5000.00 | 60000.00 | 12000.00 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS
35.00 | Shifting, reinstallation, testing & commissioning of Window /1.5 TR/2 TR /split AC (Indoor & Outdoor) including supply and fixing of required copper pipe, drain pipe, power supply cable, fresh gas charging (if required) with suitable refrigerent gas complete as required. | 12.00 | Job | 0.00 | 2000.00 | 24000.00 | 1399.00 | 16788.00 | 5000.00 | 60000.00 | 1500.00 | 18000.00 | 16788.00 | sudarshnacoolingcentre andelectricals
36.00 | Dismantling/Uninstallation of Window /1.5 TR/2 TR /split AC (Indoor & Outdoor) including removal of copper pipe, drain pipe, power supply cable etc and transporting and storing at desired location upto the satisfication of EIC complete as required. | 12.00 | Job | 0.00 | 400.00 | 4800.00 | 350.00 | 4200.00 | 1500.00 | 18000.00 | 500.00 | 6000.00 | 4200.00 | sudarshnacoolingcentre andelectricals
37.00 | Day to day operation of all types of Window/split/ductable split & VRV/VRF type Airconditioning system and all types of water cooler cum purifiers installed at various locations on daily basis i/c attending the complaints/faults/breakdowns and taking prompt action to report the concerned personnel for rectification action ensuring serviceability/satisfactory working condition & maintenance of record/documentations etc complete as required by engaging one skilled and one unskilled manpower in one shift i/c sundays & holidays & as per the direction of EIC. For 1st Year | 12.00 | Month | 0.00 | 40000.00 | 480000.00 | 41694.00 | 500328.00 | 32000.00 | 384000.00 | 20000.00 | 240000.00 | 240000.00 | Zamzam Refrigeration and airconditioning
38.00 | Day to day operation of all types of Window/split/ductable split & VRV/VRF type Airconditioning system and all types of water cooler cum purifiers installed at various locations on daily basis i/c attending the complaints/faults/breakdowns and taking prompt action to report the concerned personnel for rectification action ensuring serviceability/satisfactory working condition & maintenance of record/documentations etc complete as required by engaging one skilled and one unskilled manpower in one shift i/c sundays & holidays & as per the direction of EIC. For 2nd Year | 12.00 | Month | 0.00 | 41500.00 | 498000.00 | 41694.00 | 500328.00 | 35000.00 | 420000.00 | 20000.00 | 240000.00 | 240000.00 | Zamzam Refrigeration and airconditioning
| Total in Figures |  |  |  |  | 3376800.00 |  | 2817588.00 |  | 3127200.00 |  | 3187200.00
Lowest Amount Quoted BY: sudarshnacoolingcentre andelectricals(2817588.00)

## BOQ Summary
BOQ Summary Details Tender Title: RMO AC Equipment at Silchar Airport dg. 2022-24 Tender ID: 2022_AAI_123216_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | sudarshnacoolingcentre andelectricals | 2817588.00 | L1
| 2 | M/S ALFA MECHANICAL AND ELECTRICAL ENGINEERING WORKS | 3127200.00 | L2
| 3 | Zamzam Refrigeration and airconditioning | 3187200.00 | L3
| 4 | RS COOLING APPLIANCES | 3376800.00 | L4