## BoQ1
Government eProcurement System Created By: Pushkar Pagnis Created Date/Time: 30-Aug-2022 11:06 AM Tender Title: Provision of LED Luminaires in place of Conventional Luminaires in NITB VIP Room at DABH Airport, Indore. Tender ID: 2022_AAI_123248_1
Tender Inviting Authority: <SM (Engg.-E), AAI, DABH Airport, Indore.>
Name of Work: <Provision of LED Luminaries in place of Conventional Luminaries in NITB VIP Room at DABH Airport, Indore.>
Contract No: <2022_AAI_123248_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Messers Rajesh Gawde(GSTN-23AFHPG7133A1Z4) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Taral Electricals(GSTN-24ACMPR0280M1Z9) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 40watt (max.) digital addressable lighting interface (DALI) dimmable recessed mounted 2x2 LED luminaire of colour temperature of 4000 K with inner edge light & white back plate, made of single piece molded polycarbonate diffuser. Luminaire should be suitable for retrofit to the existing opening etc. complete as required. Ref : Philips cat. no.RC740B LED36S/840 W60L60 PSD WH and as per attached technical specifications. | 36.00 | Each | 100.00 | 8550.00 | 307800.00 | 12520.00 | 450720.00 | 8300.00 | 298800.00 | 16918.00 | 609048.00 | 11800.00 | 424800.00 | 11250.00 | 405000.00 | 298800.00 | Manish Electricals
2.00 | Supply of 18 watt (max.) digital addressable lighting interface (DALI) dimmable deep recessed LED down lighter with deep recessed reflector of colour temperature of 4000 K, made of pressure die cast aluminium having a wide beem angle of 65 degree. Luminaire should be suitable for retrofit to the existing opening with minor cutting of Gypsum false celling including making good of the same etc. complete as required. Refer: Philips cat.no DN590B M LED20S-4000 PSD WH WB and as per attached technical specifications. | 43.00 | Each | 100.00 | 5450.00 | 234350.00 | 5530.00 | 237790.00 | 5400.00 | 232200.00 | 6209.00 | 266987.00 | 4840.00 | 208120.00 | 2250.00 | 96750.00 | 96750.00 | Awasthi Electric Works
3.00 | Supply of suspended type 66 watt (max.) digital addressable lighting interface (DALI) dimmable decorative linear hexagon luminaire made of extruded aluminium, having colour temperature of 4000 K with each arm of minimum 2 ft length and 50mm width along with necessary arrangement for ceiling suspension etc. complete as required. Refer Philips cat.no. SP780P LED66S-4000 PSD W5 OD WH HX CONN and as per attached technical specifications. | 1.00 | Each | 10.00 | 15840.00 | 15840.00 | 23450.00 | 23450.00 | 15500.00 | 15500.00 | 22675.00 | 22675.00 | 78500.00 | 78500.00 | 11000.00 | 11000.00 | 11000.00 | Awasthi Electric Works
4.00 | Supply of suspended type 36 watt (max.) digital addressable lighting interface (DALI) dimmable decorative "Y" shape linear luminaire made of extruded aluminium, having colour temperature of 4000 K with each arm of minimum 2 ft length and 50mm width along with necessary arrangement for ceiling suspension complete as required. Refer : SP780P LED36S-4000 PSD W5 OD WH Y CONN and as per attached technical specifications. | 2.00 | Each | 10.00 | 10000.00 | 20000.00 | 11700.00 | 23400.00 | 9850.00 | 19700.00 | 19220.00 | 38440.00 | 49800.00 | 99600.00 | 7250.00 | 14500.00 | 14500.00 | Awasthi Electric Works
5.00 | Supply Installation Testing and Commissioning of 28 watt (max.) LED strip of minimum 5 mtr length with integral driver having colour temperature of 3000 K. LED strip should have deep recessed light source with low glare for eye comfort complete as required. Refer : Philips Model: LED strio skycove 5M WW with driver and as per attached technical specifications. | 22.00 | Each | 10.00 | 1500.00 | 33000.00 | 1830.00 | 40260.00 | 1320.00 | 29040.00 | 2555.00 | 56210.00 | 2565.00 | 56430.00 | 1950.00 | 42900.00 | 29040.00 | Manish Electricals
6.00 | Supply of 40 w (max.) LED shed luminaire made of pressure die cast aluminium, with 360 degree diffuser. The luminaire should have a color temperature of 6500K. The luminaire shall meet IP 65 & IK8 rating with powder coated CRCA sheet steel housing. Luminaire should have short circuit & over voltage cut off type protection complete as required. Refer : Philips Cat no.BY300P LED37 757 PSU PC IN S2 LILO and as per attached technical specifications. | 23.00 | Each | 10.00 | 2800.00 | 64400.00 | 3600.00 | 82800.00 | 2750.00 | 63250.00 | 2788.00 | 64124.00 | 3750.00 | 86250.00 | 7050.00 | 162150.00 | 63250.00 | Manish Electricals
7.00 | Supply, Installation, Testing , Commissioning of Touch Screen lighting control system including of all components i.e., suitable channel DALI controller to control max 64 device, having inbuilt diagnostic function, driver failure reporting , driver run time tracking , device online/offline status indication , SMPS, DC power supply , to control all luminaries ON/OFF individually with dimming option, surge protection, MCBs complete as required. | 2.00 | JOB | 10.00 | 175000.00 | 350000.00 | 41100.00 | 82200.00 | 168000.00 | 336000.00 | 130543.00 | 261086.00 | 87000.00 | 174000.00 | 175000.00 | 350000.00 | 82200.00 | BR Power Control and Automation Services
8.00 | Supply of 54W T5 Fluorescent Tubular Lamp (FTL) of color temperature of 6500K, as suitable for existing 4 X 54 W Lumio Fixtures complete as required. Make: Osram, Model : HO 54 W/830 and as per attached technical specifications. | 540.00 | Each | 10.00 | 180.00 | 97200.00 | 170.00 | 91800.00 | 128.00 | 69120.00 | 279.00 | 150660.00 | 415.00 | 224100.00 | 220.00 | 118800.00 | 69120.00 | Manish Electricals
9.00 | Installation, Testing and commissioning of following mentioned recess mounted type LED luminaires with minor cutting of Gypsum false celling to accommodate new LED Luminiaries and making good of the same, connection etc. complete as required.
9.01 | 2 X 2,40 W LED Luminaire | 36.00 | Each | 10.00 | 200.00 | 7200.00 | 635.00 | 22860.00 | 350.00 | 12600.00 | 290.00 | 10440.00 | 100.00 | 3600.00 | 200.00 | 7200.00 | 3600.00 | jaydeep agency corporation
9.02 | 18 W LED Down lighter fitting | 38.00 | Each | 10.00 | 300.00 | 11400.00 | 570.00 | 21660.00 | 380.00 | 14440.00 | 128.00 | 4864.00 | 50.00 | 1900.00 | 200.00 | 7600.00 | 1900.00 | jaydeep agency corporation
10.00 | Installation, Testing and commissioning of following mentioned ceiling suspended LED Linear luminaires in gypsum false ceiling with necessary arrangement and making good of the same if any damages ,connection etc. complete as required.
10.01 | 66 watt decorative linear hexagon luminaire | 1.00 | Each | 10.00 | 1000.00 | 1000.00 | 630.00 | 630.00 | 600.00 | 600.00 | 337.00 | 337.00 | 1850.00 | 1850.00 | 200.00 | 200.00 | 200.00 | Awasthi Electric Works
10.02 | 36 watt decorative "Y" shape linear luminaire | 2.00 | Each | 10.00 | 3000.00 | 6000.00 | 760.00 | 1520.00 | 600.00 | 1200.00 | 697.00 | 1394.00 | 1450.00 | 2900.00 | 200.00 | 400.00 | 400.00 | Awasthi Electric Works
10.03 | 40 w LED shed luminaire | 18.00 | Each | 10.00 | 250.00 | 4500.00 | 635.00 | 11430.00 | 400.00 | 7200.00 | 261.00 | 4698.00 | 150.00 | 2700.00 | 200.00 | 3600.00 | 2700.00 | jaydeep agency corporation
11.00 | Dismantling of existing conventional light fixtures installed on ceiling of VIP Rooms of terminal building including removing connections, and safe shifting to AAI stores etc. complete as required. | 47.00 | Each | 10.00 | 450.00 | 21150.00 | 850.00 | 39950.00 | 100.00 | 4700.00 | 116.00 | 5452.00 | 25.00 | 1175.00 | 150.00 | 7050.00 | 1175.00 | jaydeep agency corporation
12.00 | Supply of metal body Decorative Floor stand fitting having wattage of 40 W LED lamp of color temperature of 6500K suitable for 230 V,50Hz AC power supply complete etc. as required. Make: Philips, Model : 581874 and as per attached technical specifications. | 5.00 | Each | 10.00 | 5500.00 | 27500.00 | 7640.00 | 38200.00 | 7850.00 | 39250.00 | 7850.00 | 39250.00 | 18750.00 | 93750.00 | 7750.00 | 38750.00 | 27500.00 | Messers Rajesh Gawde
13.00 | Supplying and fixing of 25 mm dia MS flexible conduit as required for laying of CAT 6 cable etc. complete as required. Make:- As per AAI approved makes and as per attached technical specifications. | 200.00 | Mtr | 10.00 | 70.00 | 14000.00 | 155.00 | 31000.00 | 160.00 | 32000.00 | 58.00 | 11600.00 | 32.00 | 6400.00 | 85.00 | 17000.00 | 6400.00 | jaydeep agency corporation
14.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed steel/ PVC conduit complete as required. Make:- As per AAI approved makes and as per attached technical specifications. | 200.00 | Mtr | 10.00 | 40.00 | 8000.00 | 110.00 | 22000.00 | 54.00 | 10800.00 | 38.00 | 7600.00 | 22.00 | 4400.00 | 38.00 | 7600.00 | 4400.00 | jaydeep agency corporation
| Total in Figures |  |  |  |  | 1223340.00 |  | 1221670.00 |  | 1186400.00 |  | 1554865.00 |  | 1470475.00 |  | 1290500.00
Lowest Amount Quoted BY: Manish Electricals(1186400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of LED Luminaires in place of Conventional Luminaires in NITB VIP Room at DABH Airport, Indore. Tender ID: 2022_AAI_123248_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 1186400.00 | L1
| 2 | BR Power Control and Automation Services | 1221670.00 | L2
| 3 | Messers Rajesh Gawde | 1223340.00 | L3
| 4 | Awasthi Electric Works | 1290500.00 | L4
| 5 | jaydeep agency corporation | 1470475.00 | L5
| 6 | Taral Electricals | 1554865.00 | L6