## BoQ1
Government eProcurement System Created By: JITENDRA KUMAR SOYAL Created Date/Time: 12-Sep-2022 01:54 PM Tender Title: Provision of Conference Hall and Other Office Area at First Floor of Terminal Building at Silchar Airport Tender ID: 2022_AAI_123256_1
Tender Inviting Authority: Airports Authority of India , Silchar Airport, Engg (Civil)
Name of Work: Provision of Conference Hall and Other Office Area at First Floor of Terminal Building at Silchar Airport.
Contract No: 2022_AAI_123256_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Samarendra Das(GSTN-NA) |  | N.N. Enterprise(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | CIVIL WORKS: Providing and laying damp-proof course 40 mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III): 4 graded stone aggregate 12.5 mm nominal size). | 11.00 | Sqm | 0.00 | 800.00 | 8800.00 | 600.00 | 6600.00 | 6600.00 | N.N. Enterprise
2.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 7.00 | Cum | 0.00 | 12500.00 | 87500.00 | 11000.00 | 77000.00 | 77000.00 | N.N. Enterprise
3.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1005.00 | Kg | 0.00 | 200.00 | 201000.00 | 110.00 | 110550.00 | 110550.00 | N.N. Enterprise
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 54.00 | Sqm | 0.00 | 450.00 | 24300.00 | 400.00 | 21600.00 | 21600.00 | N.N. Enterprise
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts. | 11.00 | Sqm | 0.00 | 650.00 | 7150.00 | 600.00 | 6600.00 | 6600.00 | N.N. Enterprise
6.00 | Providing and laying autoclaved aerated cement blocks masonry with 150mm/ 230mm/ 300 mm thick AAC blocks in super structure above plinth level up to floor V level with RCC band at sill level and lintel level with approved block laying polymer modified adhesive mortar all complete as per direction of Engineer-in-Charge. (The payment of RCC band and reinforcement shall be made for seperately). | 42.00 | Cum | 0.00 | 11200.00 | 470400.00 | 10000.00 | 420000.00 | 420000.00 | N.N. Enterprise
7.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 8.00 | Each | 0.00 | 1900.00 | 15200.00 | 1800.00 | 14400.00 | 14400.00 | N.N. Enterprise
8.00 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 125x75x4 mm. | 20.00 | Each | 0.00 | 200.00 | 4000.00 | 150.00 | 3000.00 | 3000.00 | N.N. Enterprise
9.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm. | 7.00 | Each | 0.00 | 200.00 | 1400.00 | 100.00 | 700.00 | 700.00 | N.N. Enterprise
10.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm. | 7.00 | Each | 0.00 | 100.00 | 700.00 | 80.00 | 560.00 | 560.00 | N.N. Enterprise
11.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm. | 23.00 | Each | 0.00 | 90.00 | 2070.00 | 60.00 | 1380.00 | 1380.00 | N.N. Enterprise
12.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | 8.00 | Each | 0.00 | 120.00 | 960.00 | 100.00 | 800.00 | 800.00 | N.N. Enterprise
13.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer- in-charge. | 7.00 | Each | 0.00 | 1190.00 | 8330.00 | 1200.00 | 8400.00 | 8330.00 | Samarendra Das
14.00 | Providing and fixing to existing door frames. (a) 30 mm thick factory made Polyvinyl Chloride (PVC) door shutter made of styles and rails of a uPVC hollow section of size 60x30 mm and wall thickness 2 mm (± 0.2 mm), with inbuilt decorative moulding edging on one side. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 25x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x30 mm and 2 mm (± 0.2 mm) wall thickness fixed to the shutter styles by means of plastic/ galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. | 2.00 | Sqm | 0.00 | 1600.00 | 3200.00 | 1800.00 | 3600.00 | 3200.00 | Samarendra Das
15.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes. | 2326.00 | Kg | 0.00 | 100.00 | 232600.00 | 125.00 | 290750.00 | 232600.00 | Samarendra Das
16.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. (a) Size of Tile 800 x 800 mm. | 142.00 | Sqm | 0.00 | 2000.00 | 284000.00 | 1800.00 | 255600.00 | 255600.00 | N.N. Enterprise
17.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1cement : 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. (a) Size of Tile 800 x 800 mm. | 114.00 | Sqm | 0.00 | 2000.00 | 228000.00 | 1800.00 | 205200.00 | 205200.00 | N.N. Enterprise
18.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 186.00 | Sqm | 0.00 | 1000.00 | 186000.00 | 800.00 | 148800.00 | 148800.00 | N.N. Enterprise
19.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : (a) Ridges plain (500 - 600 mm). | 26.70 | Mtr. | 0.00 | 500.00 | 13350.00 | 300.00 | 8010.00 | 8010.00 | N.N. Enterprise
20.00 | Providing and fixing Gl Clip in Metal Ceiling System of 600x600 mm module which includes providing and fixing 'C' wall angle of size 20x30x20 mm made of 0.5 mm thick pre painted steel along the perimeter of the room with help of nylon sleeves and wooden screws at 300 mm center to centre, suspending the main C carrier of size 10x38x10 mm made of G.I steel 0.7 mm thick from the soffit with help of soffit cleat 37x27x25x1.6 mm, rawl plugs of size 38x12 mm and C carrier suspension clip and main carrier bracket at 1000 mm c/c. Inverted triangle shaped Spring Tee having height of 24 mm and width of 34 mm made of Gl steel 0.45 mm thick is then fixed to the main C carrier and in direction perpendicular to it at 600 mm centers with help of suspension brackets. Wherever the main C carrier and spring T have to join, C carrier and spring T connectors have to be used. All sections to be galvanized @ 120 gms/sqm (both side inclusive), fixing with clip in tiles into spring T with : GI Metal Ceiling Clip in plain Beveled edge global white color tiles of size 600x600 and 0.5 mm thick with 25 mm height, made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation. | 149.00 | Sqm | 0.00 | 1600.00 | 238400.00 | 1800.00 | 268200.00 | 238400.00 | Samarendra Das
21.00 | 6 mm plaster on cement concrete or reinforced cement concrete work with white cement based polymer modified self curing mortar of approved make as per the direction of Engineer-In-Charge. | 343.00 | Sqm | 0.00 | 650.00 | 222950.00 | 500.00 | 171500.00 | 171500.00 | N.N. Enterprise
22.00 | Dismantling wood work in frames, trusses, purlins and rafters up to 10 metres span and 5 metres height including stacking the material within 50 metres lead : Of sectional area below 40 square centimetres. | 80.00 | Mtr. | 0.00 | 120.00 | 9600.00 | 100.00 | 8000.00 | 8000.00 | N.N. Enterprise
23.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 1745.00 | Kg | 0.00 | 50.00 | 87250.00 | 25.00 | 43625.00 | 43625.00 | N.N. Enterprise
24.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: (a) Asbestos cement sheet. | 302.00 | Sqm | 0.00 | 60.00 | 18120.00 | 40.00 | 12080.00 | 12080.00 | N.N. Enterprise
25.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid. | 4.00 | Each | 0.00 | 10350.00 | 41400.00 | 10000.00 | 40000.00 | 40000.00 | N.N. Enterprise
26.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : 510x1040 mm bowl depth 225 mm. | 1.00 | Each | 0.00 | 5600.00 | 5600.00 | 5000.00 | 5000.00 | 5000.00 | N.N. Enterprise
27.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 3.00 | Each | 0.00 | 2500.00 | 7500.00 | 2700.00 | 8100.00 | 7500.00 | Samarendra Das
28.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe: 32 mm dia | 2.00 | Each | 0.00 | 100.00 | 200.00 | 80.00 | 160.00 | 160.00 | N.N. Enterprise
29.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length, 15 mm nominal bore. | 5.00 | Each | 0.00 | 130.00 | 650.00 | 120.00 | 600.00 | 600.00 | N.N. Enterprise
30.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931. 15mm nominal bore. | 11.00 | Each | 0.00 | 1650.00 | 18150.00 | 1500.00 | 16500.00 | 16500.00 | N.N. Enterprise
31.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately): For fixed portion. Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15). | 450.00 | Kg | 0.00 | 1000.00 | 450000.00 | 800.00 | 360000.00 | 360000.00 | N.N. Enterprise
32.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately): For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15). | 195.00 | Kg | 0.00 | 600.00 | 117000.00 | 800.00 | 156000.00 | 117000.00 | Samarendra Das
33.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides. | 6.50 | Sqm | 0.00 | 650.00 | 4225.00 | 800.00 | 5200.00 | 4225.00 | Samarendra Das
34.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm). | 22.50 | Sqm | 0.00 | 150.00 | 3375.00 | 160.00 | 3600.00 | 3375.00 | Samarendra Das
35.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness. | 2.00 | Each | 0.00 | 3100.00 | 6200.00 | 3000.00 | 6000.00 | 6000.00 | N.N. Enterprise
36.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade. Area of slab over 0.50 sqm. | 2.10 | Sqm | 0.00 | 5200.00 | 10920.00 | 5000.00 | 10500.00 | 10500.00 | N.N. Enterprise
37.00 | Providing & Fixing of wall paper of excel, artisan, gratex or approved equivalent make intended to cover plastered walls and fixing as per manufacturer specifications including adhesives etc all complete as per satisfaction and direction of Engineer in charge. | 42.00 | Sqm | 0.00 | 300.00 | 12600.00 | 250.00 | 10500.00 | 10500.00 | N.N. Enterprise
38.00 | Providing & Fixing of Vertical Venetion blinds of vista or approved equivalent make and fixing as per manufacturer specifications including fixing arrangement etc all complete as per satisfaction and direction of Engineer in charge. | 6.00 | Sqm | 0.00 | 2100.00 | 12600.00 | 2000.00 | 12000.00 | 12000.00 | N.N. Enterprise
39.00 | Providing & Fixing of sun control film of garware, suntech or approved equivalent make intended to cover glass surfaces and fixing as per manufacturer specifications and direction of Engineer in charge. | 15.00 | Sqm | 0.00 | 110.00 | 1650.00 | 100.00 | 1500.00 | 1500.00 | N.N. Enterprise
40.00 | Providing and Fixing in position PVC Wall Panelling of approved make, size and colour in all locations etc complete as per direction and satisfaction of Engineer in charge. (Size 250*08 mm) | 32.00 | Sqm | 0.00 | 850.00 | 27200.00 | 800.00 | 25600.00 | 25600.00 | N.N. Enterprise
41.00 | Providing and fixing of approved colour vitreous china wash basin with R.S. or C.I. brackets painted white, C.P. brass waste of standard pattern etc. complete as per satisfaction of EIC. (a) Approved colour oval shape under the counter mounting wash basin of size 56 x 45 cm. | 3.00 | Each | 0.00 | 5200.00 | 15600.00 | 5000.00 | 15000.00 | 15000.00 | N.N. Enterprise
42.00 | Providing & fixing modular toilet cubicles (model, type ZMS series of Marino/Green Sturdo Classique-Evergreen Series Model of Greenlam or equivalent), consisting of high pressure 12mm thick compact laminate board as per IS 2046 and as per fire retardent BS-476/96 standard with phenolic core panels for partitions of intermediate divider, doors and pilasters (The cubicle shall have dimensions of 1250mm x 1800mm,2025mm (including bottom gap 150 mm, but the panel area required for one cabin shall be one longer and the one shorter side of the cabin including one door) with a door size of 600-650 mm width, the assembly shall be supported by black satin finish stainless steel head rail on top of panels and panels shall fixed on the floor with a clearance of maximum 150mm using stainless steel alloy satin finish adjustable legs screwed to the floor included accessories with standard - Besco make aluminium, nylon polyamide accessories, gravity hinges,SS top rail,Privacy thumb turn c/w occupancy indicator,coat hook, door knob,Adjustable pedestal, SS "U" channel,SS door stopper channel,rubber door stopper lining,screws & wall plug etc complete as per manufacturers specification and as directed by Engineer in charge. The rate is Inclusive of cost,carriage of all materials, labour charge, lead & lift, all taxes etc complete. (L shaped panels matching the two dimensions of a cabin is only required to make one cubicle). | 3.00 | Each | 0.00 | 50000.00 | 150000.00 | 53000.00 | 159000.00 | 150000.00 | Samarendra Das
43.00 | Providing and fixing 32 mm dia C.P. brass bottle trap make Jaquar catelogue no. ALD-769L300x190 or equivalent with C.P. brass screws etc. complete as per direction and satisfaction of Engineer-in-charge. | 3.00 | Each | 0.00 | 2530.00 | 7590.00 | 2500.00 | 7500.00 | 7500.00 | N.N. Enterprise
44.00 | Providing and fixing 6 mm thick bevelled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board fixed at the back with 3" x 1.5" teak wood beading all around, CP brass screws and washers in the toilet. The expose wooden surface shall be polished with a coat of mellamine etc. complete as per direction of Engineer-in-charge. | 3.00 | Sqm | 0.00 | 3200.00 | 9600.00 | 3000.00 | 9000.00 | 9000.00 | N.N. Enterprise
45.00 | Providing and fixing C.P. brass bib cock of make (Jaquar model no. FON 40037) or equivalent. (a) 15 mm nominal bore. | 4.00 | Each | 0.00 | 2600.00 | 10400.00 | 2500.00 | 10000.00 | 10000.00 | N.N. Enterprise
46.00 | Providing & fixing C.P. brass pillar cock of make Jaquar model no. ARI-39011 or equivalent fixed i/c making necessary hole in granite slab etc. complete. | 4.00 | Each | 0.00 | 2100.00 | 8400.00 | 2000.00 | 8000.00 | 8000.00 | N.N. Enterprise
47.00 | Providing and fixing C.P. brass hand shower (Healthfaucet) with 8 mm dia, 1 meter long flexible tube with wall hook of Jaquar model no. ALD-573 or equivalent etc.complete with all fittings as per direction of Engineer-in-charge. | 4.00 | Each | 0.00 | 2100.00 | 8400.00 | 1500.00 | 6000.00 | 6000.00 | N.N. Enterprise
48.00 | Providing and fixing S.S. soap dispenser 800ML (LIGHT TRAFFIC) of Euroniocs model no. ES-05 equivalent fixed with necessary brass screws etc. completete as per direction of Engineer-in-charge. | 3.00 | Each | 0.00 | 1750.00 | 5250.00 | 1500.00 | 4500.00 | 4500.00 | N.N. Enterprise
49.00 | Providing and fixing C.P. brass toilet paper holder of make Jaquar model no.- ACN-1151N or equivalent fixed with necessary CP brass screws etc. complete as per direction of Engineer-in-charge. | 3.00 | Each | 0.00 | 1000.00 | 3000.00 | 800.00 | 2400.00 | 2400.00 | N.N. Enterprise
50.00 | Providing and placing of Conference Table Item Code MINGLE ELEGANCE Godrej Make Plan of size having 14 seater capacity having unitized member size of 4200 X 1500 X 740 mm as per manufacturer layout and specifications complete as per direction by E.I.C. | 1.00 | Each | 0.00 | 152600.00 | 152600.00 | 150000.00 | 150000.00 | 150000.00 | N.N. Enterprise
51.00 | Providing and placing of Office Storage Minor Plain. Item Code STMNR010XXX Godrej Make Plan of size 1270H X 765 W X 440D complete as per direction by E.I.C. | 1.00 | Each | 0.00 | 36200.00 | 36200.00 | 35000.00 | 35000.00 | 35000.00 | N.N. Enterprise
52.00 | Providing and placing of 4 Door Book Case (with DL Top)Item Code ST4BC100XXX Godrej Make Plan of size 1742 H X 914 W X 320D complete as per direction by E.I.C. | 1.00 | Each | 0.00 | 41960.00 | 41960.00 | 42000.00 | 42000.00 | 41960.00 | Samarendra Das
53.00 | Providing and placing at site Bravo Chair High Back model No. FU9U01RGV0ISXXXX of make Godrej with centre tilt synchro, adjustable height, Nylon pedetal, PP fixed arms as per manufacture specification and as per direction and satisfaction of Engineer-in-charge. | 1.00 | Each | 0.00 | 19000.00 | 19000.00 | 20000.00 | 20000.00 | 19000.00 | Samarendra Das
54.00 | Providing and placing at site Bravo visitor Chair model No. FU9U12RGV0ISXXXX of make Godrej with centre tilt synchro, Nylon pedetal, PP fixed arms as per manufacture specification and as per direction and satisfaction of Engineer-in-charge. | 15.00 | Each | 0.00 | 11600.00 | 174000.00 | 12500.00 | 187500.00 | 174000.00 | Samarendra Das
55.00 | ELECTRICAL WORKS: Supply of 12-18W reccessed type LED DOWNLIGHTER Luminaires having minimum system lumen output of 1200 lumens, single piece, integral, powder coated pressure die-cast aluminimum housing with sufficient nos. of high power LEDs with suitable lens to ensure uniform distribution of light, integral electronics power driver suitable for 230 V + 10%, 50Hz AC supply, minimum ingress protection of IP20, thermal management with heat sinks, etc as required. | 15.00 | Nos. | 0.00 | 1250.00 | 18750.00 | 1000.00 | 15000.00 | 15000.00 | N.N. Enterprise
56.00 | Supply of reccessed mounting type LED Lumanaires of size 600x600 mm having minimum system lumen output of 3200 lumens, maximum 36 watt input power, single piece, integral, powder coated pressure die-cast aluminium housing with sufficient nos. of high power LEDs with suitable lens to ensure uniform distribution of light, integral electronics power driver suitable for 230V+ 10%, 50Hz AC Supply, minimum ingress protection of IP20, thermal management with heat sinks complete as required as per technical specification of the item. | 20.00 | Nos. | 0.00 | 2960.00 | 59200.00 | 2800.00 | 56000.00 | 56000.00 | N.N. Enterprise
57.00 | Supply of 9-12W reccessed type LED DOWNLIGHTER Luminaires having minimum system lumen output of 1200 lumens, single piece, integral, powder coated pressure die-cast aluminimum housing with sufficient nos. of high power LEDs with suitable lens to ensure uniform distribution of light, integral electronics power driver suitable for 230 V + 10%, 50Hz AC supply, minimum ingress protection of IP20, thermal management with heat sinks, etc as required. | 25.00 | Nos. | 0.00 | 850.00 | 21250.00 | 800.00 | 20000.00 | 20000.00 | N.N. Enterprise
58.00 | Installation,testing and commisioning of pre wired LED fitting/downlighter/lowbay LED etc of all types(Surface/reccessed), complete with all accessories and tube/lense eyc directly on ceiling/wall including connection with 1.5sq FRLS PVC insulated,stranded copper conducter,single core cable with flexible conduits and coupler and earthings etc as required. | 60.00 | Nos. | 0.00 | 400.00 | 24000.00 | 360.00 | 21600.00 | 21600.00 | N.N. Enterprise
59.00 | Supply of 300mm sweep 900rpm,double ball bearing metal frame & metal blade exhaust fan (heavy duty) suitable for 230v, 50Hz, AC supply with bird screen protection. | 5.00 | Nos. | 0.00 | 2100.00 | 10500.00 | 2000.00 | 10000.00 | 10000.00 | N.N. Enterprise
60.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. (As per DSR 2018 Item Code No. 1.50.1) | 5.00 | Nos. | 0.00 | 1650.00 | 8250.00 | 1500.00 | 7500.00 | 7500.00 | N.N. Enterprise
61.00 | Supply of 1200mm sweep ceiling fan complete with double ball bearing motor, blades, down rods, canopy, capacitor etc as required (Decorative). | 5.00 | Nos. | 0.00 | 3300.00 | 16500.00 | 3200.00 | 16000.00 | 16000.00 | N.N. Enterprise
62.00 | Supply of 1200mm sweep ceiling fan complete with double ball bearing motor, blades, down rods, canopy, capacitor etc as required. | 5.00 | Nos. | 0.00 | 2500.00 | 12500.00 | 2000.00 | 10000.00 | 10000.00 | N.N. Enterprise
63.00 | Installation, testing and commissioning of all types of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. (As per DSR 2018 Item Code No. 1.44) | 10.00 | Nos. | 0.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 2000.00 | N.N. Enterprise
64.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.(Group C) (As per DSR 2018 Item Code No. 1.3.3). | 60.00 | Point | 0.00 | 1200.00 | 72000.00 | 1300.00 | 78000.00 | 72000.00 | Samarendra Das
65.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch,connections etc. as required. (As per DSR 2018 Item Code No. 1.32). | 30.00 | Nos. | 0.00 | 500.00 | 15000.00 | 600.00 | 18000.00 | 15000.00 | Samarendra Das
66.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required: (i) 20mm (As per DSR 2018 Item Code No. 1.20.1). | 200.00 | Mtr. | 0.00 | 150.00 | 30000.00 | 180.00 | 36000.00 | 30000.00 | Samarendra Das
67.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required: (ii) 25mm (As per DSR 2018 Item Code No. 1.20.2). | 300.00 | Mtr. | 0.00 | 150.00 | 45000.00 | 200.00 | 60000.00 | 45000.00 | Samarendra Das
68.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. (i) 3 x 1.5 sq. mm (As per DSR 2018 Item Code No. 1.17.3). | 150.00 | Mtr. | 0.00 | 120.00 | 18000.00 | 100.00 | 15000.00 | 15000.00 | N.N. Enterprise
69.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. (ii) 3 x 2.5 sq. mm (As per DSR 2018 Item Code No. 1.17.12) | 150.00 | Mtr. | 0.00 | 150.00 | 22500.00 | 130.00 | 19500.00 | 19500.00 | N.N. Enterprise
70.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. (iii) 3 x 4 sq. mm (As per DSR 2018 Item Code No. 1.17.21) | 200.00 | Mtr. | 0.00 | 200.00 | 40000.00 | 180.00 | 36000.00 | 36000.00 | N.N. Enterprise
71.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. (As per DSR 2018 Item Code No. 1.25). | 10.00 | Nos. | 0.00 | 450.00 | 4500.00 | 400.00 | 4000.00 | 4000.00 | N.N. Enterprise
72.00 | Supplying and fixing two module 25A AC starter on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 4.00 | Nos. | 0.00 | 100.00 | 400.00 | 120.00 | 480.00 | 400.00 | Samarendra Das
73.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. (As per DSR 2018 Item Code No. 1.26). | 30.00 | Nos. | 0.00 | 50.00 | 1500.00 | 40.00 | 1200.00 | 1200.00 | N.N. Enterprise
74.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required: (i)1 or 2 Module (75mmX75mm) (As per DSR 2018 Item Code No. 1.27.1). | 5.00 | Nos. | 0.00 | 400.00 | 2000.00 | 300.00 | 1500.00 | 1500.00 | N.N. Enterprise
75.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required: (ii)3 Module (100mmX75mm) (As per DSR 2018 Item Code No. 1.27.2). | 5.00 | Nos. | 0.00 | 450.00 | 2250.00 | 400.00 | 2000.00 | 2000.00 | N.N. Enterprise
76.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required: (iii)4 Module (125mmX75mm) (As per DSR 2018 Item Code No. 1.27.3). | 5.00 | Nos. | 0.00 | 500.00 | 2500.00 | 450.00 | 2250.00 | 2250.00 | N.N. Enterprise
77.00 | Supply & fixing of 12 way, TPN, vertical type, double door, MCB DB with provision to mount MCCB as incomer. | 1.00 | No. | 0.00 | 16000.00 | 16000.00 | 15000.00 | 15000.00 | 15000.00 | N.N. Enterprise
78.00 | Providing and fixing 125 A,36KA,FPMCCB rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc as required. (As per DSR 2018 Item Code No. 2.2.14). | 1.00 | No. | 0.00 | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 9000.00 | N.N. Enterprise
79.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required:6 A to 32 A ratings , SP MCB,“C” curve, 10 KA breaking capacity. (As per DSR 2018 Item Code No. 1706). | 40.00 | Nos. | 0.00 | 130.00 | 5200.00 | 200.00 | 8000.00 | 5200.00 | Samarendra Das
80.00 | Supplying of following size of 1.1kv grade multistand aluminium conductor XLPE insulated PVC sheathed armoured Heavy duty power cable (as per IS: 7098:1988 with upto date amendments) complete as required as per specifications. (a) 3.5 core, 50 sqmm. | 100.00 | Mtr. | 0.00 | 350.00 | 35000.00 | 300.00 | 30000.00 | 30000.00 | N.N. Enterprise
81.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. (i) Above 35 sq. mm and upto 95 sq. mm (As per DSR 2018 Item Code No. 7.1.2). | 15.00 | Mtr. | 0.00 | 200.00 | 3000.00 | 230.00 | 3450.00 | 3000.00 | Samarendra Das
82.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (i)Above 35 sq. mm and upto 95 sq. mm (As per DSR 2018 Item Code No. 7.5.2). | 20.00 | Mtr. | 0.00 | 50.00 | 1000.00 | 80.00 | 1600.00 | 1000.00 | Samarendra Das
83.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. (i) Above 35 sq. mm and upto 95 sq. mm (As per DSR 2018 Item Code No. 7.7.2). | 25.00 | Mtr. | 0.00 | 200.00 | 5000.00 | 100.00 | 2500.00 | 2500.00 | N.N. Enterprise
84.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required: (i)Above 35 sq. mm and upto 95 sq. mm (As per DSR 2018 Item Code No. 7.6.2). | 10.00 | Mtr. | 0.00 | 100.00 | 1000.00 | 50.00 | 500.00 | 500.00 | N.N. Enterprise
85.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3½ X 50 sq. mm (28mm) size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required (As per DSR 2018 Item Code No. 9.1.22). | 2.00 | Set | 0.00 | 600.00 | 1200.00 | 500.00 | 1000.00 | 1000.00 | N.N. Enterprise
86.00 | Supply and fixing of LED STRIP light (standard length 5 metre) suitable for operation on 230V,50Hz,AC system as required. | 10.00 | Nos. | 0.00 | 1500.00 | 15000.00 | 2000.00 | 20000.00 | 15000.00 | Samarendra Das
| Total in Figures |  |  |  |  | 4238050.00 |  | 3927195.00
Lowest Amount Quoted BY: N.N. Enterprise(3927195.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Conference Hall and Other Office Area at First Floor of Terminal Building at Silchar Airport Tender ID: 2022_AAI_123256_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | N.N. Enterprise | 3927195.00 | L1
| 2 | Samarendra Das | 4238050.00 | L2