## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 23-Sep-2022 11:29 AM Tender Title: Annual Operation and Comprehensive Maintenance of Centralized AC Plant Package ACs and Unitary ACs units at JPNI Airport Patna For year 2022 24 Tender ID: 2022_AAI_123549_1
Tender Inviting Authority: Airports Authority of India, JPNI Airport Patna
Name of Work: Annual Operation & Comprehensive Maintenance of Centralized AC Plant,Package AC's & Unitary AC's units at JPNI Airport, Patna. (For year 2022-24).
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | V Save Electronics Pvt Ltd(GSTN-09AADCV5572A1ZD) |  | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation of different Capacities of microprocessor based Centralized AC Plants ,Water Cooled Package airconditioning units & ductable air cooled split AC uints etc installed at Patna Airport by engaging manpower in three shifts on all days i/c sundays & holidays as per detailed specifications, terms & conditions covered under this contract.
1.01 | For Two Years(2022-24) | 24.00 | Month |  | 524850.00 | 12596400.00 | 357000.00 | 8568000.00 | 414442.00 | 9946608.00 | 403500.00 | 9684000.00 | 358700.00 | 8608800.00 | 8568000.00 | Supertech Engineers
2.00 | All-inclusive Comprehensive maintenance of following Capacity microprocessor based centralized AC Plants comprising of all machineries, equipments installed in the A/C plant Room i/c Cooling Tower, AHU's, electrical control panel, PCB, fan motor, compressors, starters etc. with arresting of leakage, toping up of refrigerant ,insulation, spares parts, lubrication, rewinding/ replacing of all type of motors, valves/strainer and electrical components etc to keep the air-conditioning units in serviceable condition all the time. 2x60 TR (Make:Batliboi)
2.01 | For 1st Year(2022-23) | 12.00 | Month |  | 4000.00 | 48000.00 | 13000.00 | 156000.00 | 6500.00 | 78000.00 | 12000.00 | 144000.00 | 17240.00 | 206880.00 | 48000.00 | SNOWMEX ENGINEERS LIMITED
2.02 | For 2nd Year( 2023-24) | 12.00 | Month |  | 4200.00 | 50400.00 | 13000.00 | 156000.00 | 8000.00 | 96000.00 | 12000.00 | 144000.00 | 17240.00 | 206880.00 | 50400.00 | SNOWMEX ENGINEERS LIMITED
3.00 | All-inclusive Comprehensive maintenance of following Capacity microprocessor based centralized AC Plants comprising of all machineries, equipments installed in the A/C plant Room i/c Cooling Tower, AHU's, electrical control panel, PCB, fan motor, compressors, starters etc. with arresting of leakage, toping up of refrigerant ,insulation, spares parts, lubrication, rewinding/ replacing of all type of motors, valves/strainer and electrical components etc to keep the air-conditioning units in serviceable condition all the time. 2x40 TR (Make:Voltas)
3.01 | For 1st Year(2022-23) | 12.00 | Month |  | 3000.00 | 36000.00 | 8000.00 | 96000.00 | 4333.00 | 51996.00 | 8000.00 | 96000.00 | 11495.00 | 137940.00 | 36000.00 | SNOWMEX ENGINEERS LIMITED
3.02 | For 2nd Year( 2023-24) | 12.00 | Month |  | 4000.00 | 48000.00 | 8000.00 | 96000.00 | 5333.00 | 63996.00 | 8000.00 | 96000.00 | 11495.00 | 137940.00 | 48000.00 | SNOWMEX ENGINEERS LIMITED
4.00 | All-inclusive Comprehensive maintenance of following Capacity microprocessor based centralized AC Plants comprising of all machineries, equipments installed in the A/C plant Room i/c Cooling Tower, AHU's, electrical control panel, PCB, fan motor, compressors, starters etc. with arresting of leakage, toping up of refrigerant ,insulation, spares parts, lubrication, rewinding/ replacing of all type of motors, valves/strainer and electrical components etc to keep the air-conditioning units in serviceable condition all the time. 1x80 TR (Make:Daikin)
4.01 | For 1st Year(2022-23) | 12.00 | Month |  | 4000.00 | 48000.00 | 5000.00 | 60000.00 | 4333.00 | 51996.00 | 8000.00 | 96000.00 | 11495.00 | 137940.00 | 48000.00 | SNOWMEX ENGINEERS LIMITED
4.02 | For 2nd Year( 2023-24) | 12.00 | Month |  | 4000.00 | 48000.00 | 5000.00 | 60000.00 | 5333.00 | 63996.00 | 8000.00 | 96000.00 | 11495.00 | 137940.00 | 48000.00 | SNOWMEX ENGINEERS LIMITED
5.00 | All-inclusive Comprehensive maintenance of 3x22 TR(Make: Voltas) water cooled package air-conditioning units comprising of all machineries, equipments installed in the A/C plant Room i/c Cooling Tower, electrical control panel, starter etc. with arresting of leakage, toping up of refrigerant gas, lubrication, rewinding/ replacing of all type of motors, compressors and electrical components etc to keep the air-conditioning units in serviceable condition all the time.
5.01 | For 1st Year(2022-23) | 12.00 | Month |  | 4000.00 | 48000.00 | 10000.00 | 120000.00 | 3575.00 | 42900.00 | 6600.00 | 79200.00 | 9485.00 | 113820.00 | 42900.00 | Anoop Refrigeration
5.02 | For 2nd Year( 2023-24) | 12.00 | Month |  | 4000.00 | 48000.00 | 10000.00 | 120000.00 | 4400.00 | 52800.00 | 6600.00 | 79200.00 | 9485.00 | 113820.00 | 48000.00 | SNOWMEX ENGINEERS LIMITED
6.00 | All-inclusive Comprehensive maintenance of following capacity ductable air cooled package air-conditioning units and comprising of all machineries, equipments installed i/c AHU's, electrical control panel, starters etc. with arresting of leakage, toping up of refrigerant gas, lubrication, rewinding/ replacing of all type of motors, compressors and electrical components etc to keep the air conditioning units in serviceable condition all the time. 2x22 TR(Make:Blue Star)
6.01 | For 1st Year(2022-23) | 12.00 | Month |  | 3000.00 | 36000.00 | 9000.00 | 108000.00 | 2383.00 | 28596.00 | 4400.00 | 52800.00 | 6325.00 | 75900.00 | 28596.00 | Anoop Refrigeration
6.02 | For 2nd Year( 2023-24) | 12.00 | Month |  | 3200.00 | 38400.00 | 9000.00 | 108000.00 | 2933.00 | 35196.00 | 4400.00 | 52800.00 | 6325.00 | 75900.00 | 35196.00 | Anoop Refrigeration
7.00 | All-inclusive Comprehensive maintenance of following capacity ductable air cooled package air-conditioning units and comprising of all machineries, equipments installed i/c AHU's, electrical control panel, starters etc. with arresting of leakage, toping up of refrigerant gas, lubrication, rewinding/ replacing of all type of motors, compressors and electrical components etc to keep the air conditioning units in serviceable condition all the time. 2x17 TR(Make:Carrier)
7.01 | For 1st Year(2022-23) | 12.00 | Month |  | 3000.00 | 36000.00 | 4500.00 | 54000.00 | 1842.00 | 22104.00 | 4000.00 | 48000.00 | 4885.00 | 58620.00 | 22104.00 | Anoop Refrigeration
7.02 | For 2nd Year( 2023-24) | 12.00 | Month |  | 3000.00 | 36000.00 | 4500.00 | 54000.00 | 2267.00 | 27204.00 | 4000.00 | 48000.00 | 4885.00 | 58620.00 | 27204.00 | Anoop Refrigeration
8.00 | All-inclusive Comprehensive maintenance of following capacity ductable air cooled package air-conditioning units and comprising of all machineries, equipments installed i/c AHU's, electrical control panel, starters etc. with arresting of leakage, toping up of refrigerant gas, lubrication, rewinding/ replacing of all type of motors, compressors and electrical components etc to keep the air conditioning units in serviceable condition all the time. 1x17 TR(Make:Voltas)
8.01 | For 1st Year(2022-23) | 12.00 | Month |  | 1500.00 | 18000.00 | 3500.00 | 42000.00 | 921.00 | 11052.00 | 1700.00 | 20400.00 | 2442.00 | 29304.00 | 11052.00 | Anoop Refrigeration
8.02 | For 2nd Year( 2023-24) | 12.00 | Month |  | 1600.00 | 19200.00 | 3500.00 | 42000.00 | 1133.00 | 13596.00 | 1700.00 | 20400.00 | 2442.00 | 29304.00 | 13596.00 | Anoop Refrigeration
9.00 | All-inclusive Comprehensive maintenance of capacity 2x50HP Set (Make: Bluestar) microprocessor based modular ductable type variable refrigerant flow(VRF) AC units and comprising of all machineries, equipments installed i/c AHU's,electrical Control panel, starters, fan motor, interconnecting refrigerant piping, cabling, insulations, spares etc. with arresting of leakage, toping up of refrigerant gas, lubrication, rewinding/ replacing of all type of motors, inverter compressor’s, filters and electrical components etc to keep the air conditioning units in serviceable condition all the time.
9.01 | For 1st Year(2022-23) | 12.00 | Month |  | 5000.00 | 60000.00 | 9000.00 | 108000.00 | 4388.00 | 52656.00 | 17916.67 | 215000.04 | 3700.00 | 44400.00 | 44400.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
9.02 | For 2nd Year( 2023-24) | 12.00 | Month |  | 5000.00 | 60000.00 | 9000.00 | 108000.00 | 5400.00 | 64800.00 | 17916.00 | 214992.00 | 3700.00 | 44400.00 | 44400.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
10.00 | All-inclusive Comprehensive maintenance of VRV AC units(Make:Daikin) and comprising of all machineries of various capacities ceiling mounted cassette type indoor & vertical standing outdoor units, equipments installed in Terminal Building i/c replacement of required accessories i.e compressor, fan motor,heat exchanger, PCB, magnetic switch,transformer,remote control,sensor,Air Filters,valves,thermistor,condensor & evaporator coils and electrical components etc. along with arresting of leakage, refrigerant gas charging ,attending the breakdown to keep in seviceable condition all the time.(Note:Total capacities of outdoor of VRV AC unit is 210 HP)
10.01 | For 1st Year(2022-23) | 210.00 | HP/Year |  | 1000.00 | 210000.00 | 500.00 | 105000.00 | 527.00 | 110670.00 | 2150.00 | 451500.00 | 400.00 | 84000.00 | 84000.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
10.02 | For 2nd Year( 2023-24) | 210.00 | HP/Year |  | 1000.00 | 210000.00 | 500.00 | 105000.00 | 648.00 | 136080.00 | 2150.00 | 451500.00 | 400.00 | 84000.00 | 84000.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
11.00 | All-inclusive Comprehensive Maintenance of the following capacity and type of all makes of air conditioner/inverter type AC units installed at different locations of airport including providing and replacing all necessary consumables, spares, compressors, refrigerant and all accessories including servicing etc complete to keep the serviceable condition all the time. For 1st Year(2022-23)
11.01 | 1.0 TR Split type AC | 2.00 | Job/Year |  | 1000.00 | 2000.00 | 5500.00 | 11000.00 | 650.00 | 1300.00 | 1499.00 | 2998.00 | 1725.00 | 3450.00 | 1300.00 | Anoop Refrigeration
11.02 | 1.5 TR Split type AC | 84.00 | Job/Year |  | 1200.00 | 100800.00 | 5500.00 | 462000.00 | 975.00 | 81900.00 | 1499.00 | 125916.00 | 2588.00 | 217392.00 | 81900.00 | Anoop Refrigeration
11.03 | 2.0 TR Cassette/Split type AC | 119.00 | Job/Year |  | 2000.00 | 238000.00 | 5700.00 | 678300.00 | 1300.00 | 154700.00 | 2299.00 | 273581.00 | 3450.00 | 410550.00 | 154700.00 | Anoop Refrigeration
11.04 | 3.0 TR Cassette/Tower/Split type AC | 15.00 | Job/Year |  | 2200.00 | 33000.00 | 7100.00 | 106500.00 | 1950.00 | 29250.00 | 2999.00 | 44985.00 | 5175.00 | 77625.00 | 29250.00 | Anoop Refrigeration
11.05 | 4 to 4.5 TR Cassette/Tower/Ductable Split type AC | 14.00 | Job/Year |  | 2500.00 | 35000.00 | 7500.00 | 105000.00 | 2763.00 | 38682.00 | 2999.00 | 41986.00 | 6900.00 | 96600.00 | 35000.00 | SNOWMEX ENGINEERS LIMITED
12.00 | All-inclusive Comprehensive Maintenance of the following capacity and type of all makes of air conditioner/inverter type AC units installed at different locations of airport including providing and replacing all necessary consumables, spares, compressors, refrigerant and all accessories including servicing etc complete to keep the serviceable condition all the time. For 2nd Year(2023-24)
12.01 | 1.0 TR Split type AC | 2.00 | Job/Year |  | 1200.00 | 2400.00 | 5500.00 | 11000.00 | 800.00 | 1600.00 | 1499.00 | 2998.00 | 2000.00 | 4000.00 | 1600.00 | Anoop Refrigeration
12.02 | 1.5 TR Split type AC | 84.00 | Job/Year |  | 1500.00 | 126000.00 | 5500.00 | 462000.00 | 1200.00 | 100800.00 | 1499.00 | 125916.00 | 3000.00 | 252000.00 | 100800.00 | Anoop Refrigeration
12.03 | 2.0 TR Cassette/Split type AC | 131.00 | Job/Year |  | 2000.00 | 262000.00 | 5700.00 | 746700.00 | 1600.00 | 209600.00 | 2299.00 | 301169.00 | 4000.00 | 524000.00 | 209600.00 | Anoop Refrigeration
12.04 | 3.0 TR Cassette/Tower/Split type AC | 15.00 | Job/Year |  | 2200.00 | 33000.00 | 7100.00 | 106500.00 | 2400.00 | 36000.00 | 2999.00 | 44985.00 | 6000.00 | 90000.00 | 33000.00 | SNOWMEX ENGINEERS LIMITED
12.05 | 4 to 4.5 TR Cassette/Tower/Ductable Split type AC | 14.00 | Job/Year |  | 2400.00 | 33600.00 | 7500.00 | 105000.00 | 3400.00 | 47600.00 | 2999.00 | 41986.00 | 8000.00 | 112000.00 | 33600.00 | SNOWMEX ENGINEERS LIMITED
13.00 | All-inclusive Comprehensive Maintenance of the all type capacity & makes of S.S. body water cooler inbuilt Reverse Osmosis(RO)+UV water purifier having storage capacity up to 80 Litres & cooling capacity up to 60 litres per hour installed at different locations of airport including providing/replacing all necessary accessories,consumables,spares,compressors,refrigerant,touchless sensor, taps, all filters & pre-filters etc. as required for dispenser water shall be suitable for drinking including cleaning & making ensure the serviceability all the time etc complete as required
13.01 | For 1st Year(2022-23) | 19.00 | Job/Year |  | 1500.00 | 28500.00 | 7700.00 | 146300.00 | 1463.00 | 27797.00 | 2500.00 | 47500.00 | 1800.00 | 34200.00 | 27797.00 | Anoop Refrigeration
13.02 | For 2nd Year( 2023-24) | 19.00 | Job/Year |  | 1600.00 | 30400.00 | 8150.00 | 154850.00 | 1600.00 | 30400.00 | 2500.00 | 47500.00 | 1800.00 | 34200.00 | 30400.00 | SNOWMEX ENGINEERS LIMITED, Anoop Refrigeration
14.00 | All-inclusive Comprehensive maintenance all type & make duct mounted metallic In-Line fans upto capacity 3000 CFM for exhaust & fresh air of toilets available at different location of Terminal Building i/c replacement of all required accessories such as bearing, bushes, fan blades, regulator etc. i/c rewinding of fan motors, cleaning & making ensure serviceability all the time etc complete as required.
14.01 | For the Year(2023-24) | 15.00 | Job/Year |  | 100.00 | 1500.00 | 500.00 | 7500.00 | 1000.00 | 15000.00 | 1500.00 | 22500.00 | 800.00 | 12000.00 | 1500.00 | SNOWMEX ENGINEERS LIMITED
15.00 | Supply & fixing of extra refrigerant copper tubing of suitable size for both suction and discharge along with nitrile/polythene foam insulation for tubing covering and electrical cable of suitable size copper conductor from indoor to outdoor suitable for 1.5 TR to 2.0 TR Air conditioner laying/clamping on surface, chiselling & making good of wall etc connection complete as per requirement of site. | 300.00 | Mtrs. |  | 50.00 | 15000.00 | 1000.00 | 300000.00 | 600.00 | 180000.00 | 250.00 | 75000.00 | 10.00 | 3000.00 | 3000.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
16.00 | Supply & fixing of extra refrigerant copper tubing of suitable size for both suction and discharge along with nitrile rubber/polythene foam insulation for tubing covering and suitable size copper conductor electrical power and communication cable from indoor to outdoor for 3.0 to 4.5 TR Air conditioner i/c laying/clamping on surface, chiselling & making good of wall etc connection complete as per requirement of site. | 150.00 | Mtrs. |  | 50.00 | 7500.00 | 1450.00 | 217500.00 | 660.00 | 99000.00 | 250.00 | 37500.00 | 10.00 | 1500.00 | 1500.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
17.00 | Supply and installation of following size hard PVC drain pipe with all accessories like bends, couplers, tees i/c chiselling, making good of wall or laying on surface etc as per site requirement complete as required
17.01 | 20mm dia | 200.00 | Mtrs. |  | 50.00 | 10000.00 | 100.00 | 20000.00 | 120.00 | 24000.00 | 90.00 | 18000.00 | 10.00 | 2000.00 | 2000.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
17.02 | 25mm dia | 100.00 | Mtrs. |  | 50.00 | 5000.00 | 125.00 | 12500.00 | 162.00 | 16200.00 | 90.00 | 9000.00 | 10.00 | 1000.00 | 1000.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
18.00 | Dismantling, shifting, re-installation, testing and commissioning of capacity upto 2.0 TR for all make & type (Cassette/Tower/High wall) split air-conditioner unit including topping up refrigerant, supply of suitable MS/GI stand etc complete as required as per direction of EIC. | 30.00 | Job |  | 100.00 | 3000.00 | 1900.00 | 57000.00 | 1500.00 | 45000.00 | 2600.00 | 78000.00 | 10.00 | 300.00 | 300.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
19.00 | Dismantling, shifting, re-installation, testing and commissioning of capacity 3.0 TR to 4.5 TR for all make & type (Cassette/Tower/Ductable) split air-conditioner unit including topping up refrigerant, supply of suitable MS/GI stand etc complete as required as per direction of EIC. | 10.00 | Job |  | 100.00 | 1000.00 | 2350.00 | 23500.00 | 2000.00 | 20000.00 | 2600.00 | 26000.00 | 10.00 | 100.00 | 100.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
20.00 | Supply, installation, balancing and commissioning of 24G(0.63mm) thick fabricated at the site of Galvanised Sheet Steel (GSS) conforming to IS: 277 in rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports i/c design etc. complete as required as directed by EIC | 60.00 | Sqmtr. |  | 150.00 | 9000.00 | 500.00 | 30000.00 | 1511.00 | 90660.00 | 1500.00 | 90000.00 | 10.00 | 600.00 | 600.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
21.00 | Supply & fixing of 13 mm thick Class 'Ó' Nitrile rubber Thermal / Acoustic Insulation for the GI duct/pipe with suitable adhesive etc complete as required as directed by EIC. | 100.00 | Sqmtr. |  | 100.00 | 10000.00 | 450.00 | 45000.00 | 831.00 | 83100.00 | 600.00 | 60000.00 | 10.00 | 1000.00 | 1000.00 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.
| Total in Figures |  |  |  |  | 14681100.00 |  | 14074150.00 |  | 12282835.00 |  | 13607312.04 |  | 12263925.00
Lowest Amount Quoted BY: SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD.(12263925.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Comprehensive Maintenance of Centralized AC Plant Package ACs and Unitary ACs units at JPNI Airport Patna For year 2022 24 Tender ID: 2022_AAI_123549_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHINRYO SUVIDHA ENGINEERS INDIA PVT. LTD. | 12263925.00 | L1
| 2 | Anoop Refrigeration | 12282835.00 | L2
| 3 | V Save Electronics Pvt Ltd | 13607312.04 | L3
| 4 | Supertech Engineers | 14074150.00 | L4
| 5 | SNOWMEX ENGINEERS LIMITED | 14681100.00 | L5