## BoQ1
Government eProcurement System Created By: Nirad Patra Created Date/Time: 06-Sep-2022 05:20 PM Tender Title: Misc Electrical works SH Ground Light Facilities/runway lighting system Tender ID: 2022_AAI_123627_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-Elect), VSS Airport, Jharsuguda.
Name of Work: - Misc Electrical works SH:-Ground Light Facilities/runway lighting system and other associated works.
Contract No: - AAI/JSG/AGM(EE)/eNIT-3/2022 ( Tender Id : 2022_AAI_123627_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Balaji Engineering(GSTN-33ADGPV2628A1ZV) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 5 KV grade, multi stranded tinned copper conductor, XLPE insulated, Polyethylene sheathed, single core and with inner and outer semi conductor, underground cable for airfield lighting generally as specified in tender specification of the following sizes as required. a) 6 sq mm | 3000.00 | Mtr. | 3933950.00 | 95.00 | 285000.00 | 115.00 | 345000.00 | 110.00 | 330000.00 | 110.00 | 330000.00 | 95.00 | 285000.00 | 285000.00 | Youngmen Traders, Manish Electricals
2.00 | Supply of Uni-directional elevated type high intensity Runway Edge Light fitting with GREEN lens suitable for use with 150W, 6.6A halogen lamp, holder complete with all accessories including lamp and lenses or filters,C.I.Base plate etc. complete as required for runway lights as mention in technical specification, as per site condition & direction of Engineering In-Charge. | 60.00 | Set. | 3933950.00 | 7000.00 | 420000.00 | 6500.00 | 390000.00 | 9000.00 | 540000.00 | 7500.00 | 450000.00 | 8000.00 | 480000.00 | 390000.00 | Techno Electricals
3.00 | Supply of Uni-directional elevated type high intensity Runway Edge Light fitting with RED lens suitable for use with 150W, 6.6A halogen lamp, holder complete with all accessories including lamp and lenses or filters,C.I.Base plate with two nos of hole for installation of two nos fittings in one CI box etc. complete as required for runway lights as mention in technical specification, as per site condition & direction of Engineering In-Charge. | 30.00 | Set. | 3933950.00 | 7000.00 | 210000.00 | 6500.00 | 195000.00 | 9000.00 | 270000.00 | 7500.00 | 225000.00 | 8000.00 | 240000.00 | 195000.00 | Techno Electricals
4.00 | Supply of Bi directional inset type high intensity runway edge light fitting with clear and clear lens for aviation visual aids complete with shallow base, side cable entry and matching body of the fitting with 2 x 100W/105W, 6.6 A, pre focused reflector halogen lamps with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal pressure relief test plug, gasket cover complete with all other accessories as per ICAO specifications, as per site condition & direction of Engineering In-Charge. | 4.00 | Set. | 3933950.00 | 60000.00 | 240000.00 | 52500.00 | 210000.00 | 9000.00 | 36000.00 | 49000.00 | 196000.00 | 64000.00 | 256000.00 | 36000.00 | Balaji Engineering
5.00 | Supply of elevated type LED Taxiway Edge light fitting (MIRL fitting) for use as Taxiway / Apron Edge /Turning Pad lights suitable for operation at 2.8 Amps to 6.6 Amps series circuit supply current complete with suitable LEDs, omni-directional lens, lens clamping mechanism, breakable coupling, rings /gaskets, base plate with 06 nos. M-10 stainless steel bolts and including an integrated encapsulated suitable electronic converter with standard secondary lead etc. complete fitting confirming to latest ICAO standards /requirement complete as required. | 67.00 | Set | 3933950.00 | 3500.00 | 234500.00 | 4400.00 | 294800.00 | 4500.00 | 301500.00 | 4200.00 | 281400.00 | 3600.00 | 241200.00 | 234500.00 | Youngmen Traders
6.00 | Supply of 150 Watt 6.6 Amps /6.6 Amps, 5 KV grade 50 Hz Isolating transformer series type encapsulated in neoprene type rubber with primary and secondary two pin leads as specified in technical specification as per site condition & direction of Engineering In-Charge. | 90.00 | Each | 3933950.00 | 4300.00 | 387000.00 | 4250.00 | 382500.00 | 4500.00 | 405000.00 | 4800.00 | 432000.00 | 4500.00 | 405000.00 | 382500.00 | Techno Electricals
7.00 | Supply of 100 Watt 6.6 Amps /6.6 Amps, 5 KV grade 50 Hz Isolating transformer series type encapsulated in neoprene type rubber with primary and secondary two pin leads as specified in technical specification as per site condition & direction of Engineering In-Charge. | 18.00 | Each | 3933950.00 | 3900.00 | 70200.00 | 4000.00 | 72000.00 | 4500.00 | 81000.00 | 4200.00 | 75600.00 | 4200.00 | 75600.00 | 70200.00 | Youngmen Traders
8.00 | Supply of 15Watt 6.6 Amps /6.6 Amps, 5 KV grade 50 Hz Isolating transformer series type encapsulated in neoprene type rubber with primary and secondary two pin leads as specified in technical specification as per site condition & direction of Engineering In-Charge. | 77.00 | Each | 3933950.00 | 2600.00 | 200200.00 | 3100.00 | 238700.00 | 3000.00 | 231000.00 | 3000.00 | 231000.00 | 2950.00 | 227150.00 | 200200.00 | Youngmen Traders
9.00 | Supply of following size copper conductor two pin secondary leads with one side male connector and other side female connector suitable for airfield lighting system and conforming to particular technical specifications etc. complete as required, as per site condition & direction of Engineering In-Charge. Size:-2 X 2.5 Sqmm & of 0.3 meter long as per site condition. | 161.00 | Each | 3933950.00 | 400.00 | 64400.00 | 350.00 | 56350.00 | 700.00 | 112700.00 | 180.00 | 28980.00 | 180.00 | 28980.00 | 28980.00 | Vardhman Airport Solutions Pvt Ltd, Manish Electricals
10.00 | Supplying of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS with upto date amendments ,complete as per site condition & direction of Engineering In-Charge.
10.10 | 63 mm dia (OD),PN-8,PE-100 | 2800.00 | Mtrs. | 3933950.00 | 135.00 | 378000.00 | 135.00 | 378000.00 | 150.00 | 420000.00 | 120.00 | 336000.00 | 145.00 | 406000.00 | 336000.00 | Vardhman Airport Solutions Pvt Ltd
10.20 | 25 mm (OD), PN-10, PE 100 | 940.00 | Mtrs. | 3933950.00 | 36.00 | 33840.00 | 95.00 | 89300.00 | 100.00 | 94000.00 | 75.00 | 70500.00 | 85.00 | 79900.00 | 33840.00 | Youngmen Traders
11.00 | Laying of following size HDPE pipe at a depth of 0.8Mtr along with all accessories like socket, bend, couplers etc. Complete with fitting and cutting, jointing etc. direct in ground including excavation and making good surface as per site condition & direction of Engineering In-Charge. Size 63 mm dia (OD),PN-8,PE-100 | 2800.00 | Mtrs. | 3933950.00 | 85.00 | 238000.00 | 120.00 | 336000.00 | 60.00 | 168000.00 | 95.00 | 266000.00 | 160.00 | 448000.00 | 168000.00 | Balaji Engineering
12.00 | Laying of following size HDPE pipe at a depth of 80 mm along with all accessories like socket, bend, couplers etc. ,complete with fitting and cutting, jointing etc. direct in ground/bituminous surface/PCC Surface including excavation and making good surface by suitable compound etc. as required complete as required as per site condition & direction of Engineering In-Charge. Size :25 mm (OD), PN-10, PE 100 | 940.00 | Mtrs. | 3933950.00 | 85.00 | 79900.00 | 250.00 | 235000.00 | 100.00 | 94000.00 | 90.00 | 84600.00 | 225.00 | 211500.00 | 79900.00 | Youngmen Traders
13.00 | Supply and drawing of following Size of FRLS PVC insulated multistand Copper Conductor cable in the existing Steel/PVC Conduits/HDPE Pipe for secondary supply of GLF fitting from isolating transformer and making jointing with both end two pin secondary leads as per tender specification, site condition & direction of Engineering In-Charge.(a) Size: 3 x 2.5 sq mm copper conductor cable (3 runs of 2.5 sqmm) | 940.00 | Mtrs. | 3933950.00 | 95.00 | 89300.00 | 125.00 | 117500.00 | 450.00 | 423000.00 | 320.00 | 300800.00 | 120.00 | 112800.00 | 89300.00 | Youngmen Traders
14.00 | Installation, Testing, and Commissioning of inset type high intensity runway edge light fitting including core cutting in the bitumen/ runway surface fixing with suitable compound & hardener and all other accessories complete as required as per site condition & direction of Engineering In-Charge. | 12.00 | Each | 3933950.00 | 11000.00 | 132000.00 | 6500.00 | 78000.00 | 7000.00 | 84000.00 | 9000.00 | 108000.00 | 7000.00 | 84000.00 | 78000.00 | Techno Electricals
15.00 | Installation, Testing, and Commissioning of elevated type runway edge /approach light/Taxi light fitting all other accessories complete as required as per site condition & direction of Engineering In-Charge. | 90.00 | Each | 3933950.00 | 200.00 | 18000.00 | 200.00 | 18000.00 | 200.00 | 18000.00 | 150.00 | 13500.00 | 250.00 | 22500.00 | 13500.00 | Vardhman Airport Solutions Pvt Ltd
16.00 | Supply of C.I isolating transformer housing box, water tight round type, metal container of outside size 330 mm height 450 mm made of 10 mm thick cast iron moulding all round, except the top surface, which is 15 mm thick, cast iron moulding suitable to receive a light fitting base plate on the top and underground housing associated with transformer power cable and having a clear hole at three side surface centre 75 mm above bottom surface suitable to receive of 63 mm dia (outer dia) HDPE/G. I. pipe and including check nuts as required and another hole at 175 mm from the bottom of the CI box to receive one no. 15 mm dia, "B" class, GI pipe and check nut as required. The box should have two SS earth bolts of M10 x 30 mm tapped inside near the hole away from the hole centre and having a drain hole at the bottom suitably tapped to receive 15 mm dia, "B" class GI pipe and having clear opening of 220 mm at the top surface and 6 nos. M10 tapped hole at the hole centre 260 mm to receive fitting base plate and bolts as required as per the drawings.(triple Hole type). | 126.00 | Each | 3933950.00 | 4800.00 | 604800.00 | 5500.00 | 693000.00 | 5000.00 | 630000.00 | 5200.00 | 655200.00 | 5250.00 | 661500.00 | 604800.00 | Youngmen Traders
17.00 | supply of CI collars of 50 mm height ,330mm dia,10mm thick CI moulding all around except top surface which is 15mm thick with 220mm opening on top & bottom, with 6nos. m-10 tapped hole on top and 6nos. through holes at bottom to pass m-10 bolts with three holes suitable to receive 50 mm dia (outer dia) HDPE/G. I. pipe | 50.00 | Each | 3933950.00 | 2700.00 | 135000.00 | 2400.00 | 120000.00 | 3500.00 | 175000.00 | 2400.00 | 120000.00 | 3000.00 | 150000.00 | 120000.00 | Techno Electricals, Vardhman Airport Solutions Pvt Ltd
18.00 | Installation of transformer housing box / collar as per site with a 100mm thick base concrete of 1:3:6 & all round concrete of 1:2:4 of 150mm thick along with top sloped as specified i/c providing & fixing 250 mm long 15mm dia "B" class G.l Pipe with check nuts at the bottom surface for drainage of water i/c excavation, alignment & refilling as reqd & as per drawing and specifications, as per site condition as per direction of Engineering In-Charge. | 176.00 | Each | 3933950.00 | 1600.00 | 281600.00 | 2500.00 | 440000.00 | 2500.00 | 440000.00 | 1800.00 | 316800.00 | 2400.00 | 422400.00 | 281600.00 | Youngmen Traders
19.00 | Making field connections by crimping 6/16 sq. mm plug and receptacle with existing 6/16 sq. mm single core PVC copper conductor cable including filling the gap with water sealant material and applying PVC insulated tape etc. complete as required, as per site condition & direction of Engineering In-Charge. | 161.00 | Set | 3933950.00 | 100.00 | 16100.00 | 80.00 | 12880.00 | 100.00 | 16100.00 | 150.00 | 24150.00 | 250.00 | 40250.00 | 12880.00 | Techno Electricals
20.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 5 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required, as per site condition & direction of Engineering In-Charge.
20.10 | up to 25 Sq mm | 2800.00 | Mtrs. | 3933950.00 | 20.00 | 56000.00 | 15.00 | 42000.00 | 20.00 | 56000.00 | 30.00 | 84000.00 | 20.00 | 56000.00 | 42000.00 | Techno Electricals
21.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required, as per site condition & direction of Engineering In-Charge.
21.10 | up to 25 Sq mm | 25.00 | Mtrs. | 3933950.00 | 35.00 | 875.00 | 35.00 | 875.00 | 20.00 | 500.00 | 20.00 | 500.00 | 20.00 | 500.00 | 500.00 | Balaji Engineering, Vardhman Airport Solutions Pvt Ltd, Manish Electricals
22.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required, as per site condition & direction of Engineering In-Charge. | 4.00 | Nos. | 3933950.00 | 7000.00 | 28000.00 | 6800.00 | 27200.00 | 6500.00 | 26000.00 | 7500.00 | 30000.00 | 7500.00 | 30000.00 | 26000.00 | Balaji Engineering
23.00 | Supply and laying of 6 SWG dia G.I. wire on surface/pipe/ground for loop earthing as required, as per site condition & direction of Engineering In-Charge. | 2800.00 | Mtrs. | 3933950.00 | 16.00 | 44800.00 | 23.00 | 64400.00 | 25.00 | 70000.00 | 20.00 | 56000.00 | 25.00 | 70000.00 | 44800.00 | Youngmen Traders
24.00 | SITC of Air Curtain (low noise type) operating on 230 volts 50 Hz supply with suitable fixing arrangement with suitable angle iron frame including supply of one no infra red sensor for AUTO ON/OFF system such that whenever the sliding gate door is opened the Air curtain is ON and when the door is closed the Air Curtain is OFF, including necessary power connection from the nearest power point upto 1.5 Mtr and connection and interconnection with door for auto on and off operation as per site etc, as required as per direction of Engg In Charge. (Air Curtain with 1.2Mtr Width). | 5.00 | Nos. | 3933950.00 | 23000.00 | 115000.00 | 25000.00 | 125000.00 | 35000.00 | 175000.00 | 45000.00 | 225000.00 | 18500.00 | 92500.00 | 92500.00 | Manish Electricals
25.00 | Supply, Installation, testing and commissioning of 240 kA 3 phase 4 wire Digital Portable Low Impedance equipment Grounding & bonding system with built in 100% Lightning and Surges suppressor, static charge, Noises, ESD, EPR and abnormal electrical characteristics eliminator which enter from power and other service lines and ensuring clear bonding potential (earth to Neutral voltage) less than 1.0V, a digital 6 digit lightening surge counter, self health visual status indicator and ON-LINE remote monitoring facility of Earth-Neutral voltage in a Pre-wired pulverulent body painted metal enclosure to be connected in parallel to the power supply circuit, Conforming to IEC , CE Marked, CPRI tested as per site condition etc, as required as per direction of Engineering In-Charge. | 5.00 | Nos. | 3933950.00 | 155000.00 | 775000.00 | 170000.00 | 850000.00 | 150000.00 | 750000.00 | 165000.00 | 825000.00 | 75000.00 | 375000.00 | 375000.00 | Manish Electricals
26.00 | SITC of 1.5 Ton(4500kCal/Hr capacity),5 star rating Inverter split Air conditioner (YEAR 2022 MODEL for indoor and out door unit) with all the internal component of indoor unit shall be fire retardant , cordless remote & fitted with rotary /scroll /semi-hermetic compressor operating on refrigerant R-32/410a or as per latest norms suitable for high wall mounting & suitable for operation on 230V, 50Hz, single phase AC supply capable of performing following functions; (i) Cooling (ii) Dehumidifying, (iii) Air Circulating, & (iv) Filtering.. (Minimum five or more star rating) including 3 mtrs refrigerant piping and 3 mtrs hard drain pipe as per site as direction of Engineering In-Charge. | 4.00 | Each | 3933950.00 | 35000.00 | 140000.00 | 40000.00 | 160000.00 | 50000.00 | 200000.00 | 42000.00 | 168000.00 | 41000.00 | 164000.00 | 140000.00 | Youngmen Traders
27.00 | Supply & fixing of Iron Angle stand suitable for installation of outdoor unit of above mentioned 1.5 TR split air-conditioners including paining etc. complete as required and as per direction of Engineering In-Charge.. | 4.00 | Job | 3933950.00 | 1500.00 | 6000.00 | 2500.00 | 10000.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 1200.00 | 4800.00 | 4800.00 | Manish Electricals
28.00 | Supply and fixing of Extra Refrigerant copper piping of suitable size for both suction and discharge along with suitable Nitrile Insulation and Electrical Cable of size 4 Core x 4 Sq. mm copper conductor for connection from indoor to outdoor unit and suitable necessary accessories for connection complete as required. (Two length of suction and discharge piping and one length of copper wire shall be measured one meter for this item) | 60.00 | Mtrs. | 3933950.00 | 1200.00 | 72000.00 | 850.00 | 51000.00 | 1500.00 | 90000.00 | 450.00 | 27000.00 | 850.00 | 51000.00 | 27000.00 | Vardhman Airport Solutions Pvt Ltd
29.00 | Supply and fixing of hard PVC drain pipe connection from indoor to outside of wall including bends necessary accessories for connection etc. complete as required. | 60.00 | Mtrs. | 3933950.00 | 105.00 | 6300.00 | 225.00 | 13500.00 | 100.00 | 6000.00 | 90.00 | 5400.00 | 150.00 | 9000.00 | 5400.00 | Vardhman Airport Solutions Pvt Ltd
30.00 | Supply of Dragon LED light( minimum 15Watt rechargeable type) with suitable lithium ion battery for running time of 8 to 10 hrs effective distance coverage in dark minimum 800 mtr with high,low,flashing,facilities with IP65 rating suitable to operate on 230V AC supply and termeparetue 4 Degree to 50 Degree . | 6.00 | Each | 3933950.00 | 3500.00 | 21000.00 | 3900.00 | 23400.00 | 4000.00 | 24000.00 | 25000.00 | 150000.00 | 6500.00 | 39000.00 | 21000.00 | Youngmen Traders
31.00 | Dismantling of approach light fittings with pipe by excavation and refilling the earth and re installation of fittings on CI Box including necessary connection as per ICAO specification, annextuer 14 in line with runway centreline by checking the site elevation and as per site condition along with breakable coupling as per direction of Engineering In-Charge. | 16.00 | Job | 3933950.00 | 150.00 | 2400.00 | 300.00 | 4800.00 | 400.00 | 6400.00 | 300.00 | 4800.00 | 750.00 | 12000.00 | 2400.00 | Youngmen Traders
32.00 | Cutting of Runway concrete surface for laying of suitable size of HDPE Pipe upto 63 MM dia for runway lighting connection and making good with suitable compound as per site requirement and as per direction of Engineering In-Charge. | 10.00 | Cub. Mtr. | 3933950.00 | 10000.00 | 100000.00 | 200000.00 | 2000000.00 | 5000.00 | 50000.00 | 18000.00 | 180000.00 | 35000.00 | 350000.00 | 50000.00 | Balaji Engineering
33.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as per direction of Engineering In-Charge. | 40.00 | Cub. Mtr. | 3933950.00 | 300.00 | 12000.00 | 1000.00 | 40000.00 | 200.00 | 8000.00 | 700.00 | 28000.00 | 1000.00 | 40000.00 | 8000.00 | Balaji Engineering
34.00 | SITC of Havey duty wall mounting fan suitable to oprate on 230V 50Hz AC supply and Sweep Size of 600mm with 1400 RPM as per site condition. | 4.00 | Each | 3933950.00 | 6500.00 | 26000.00 | 3750.00 | 15000.00 | 6000.00 | 24000.00 | 5500.00 | 22000.00 | 9000.00 | 36000.00 | 15000.00 | Techno Electricals
| Total in Figures |  |  |  |  | 5523215.00 |  | 8129205.00 |  | 6361200.00 |  | 6357230.00 |  | 6207580.00
Lowest Amount Quoted BY: Youngmen Traders(5523215.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc Electrical works SH Ground Light Facilities/runway lighting system Tender ID: 2022_AAI_123627_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders | 5523215.00 | L1
| 2 | Manish Electricals | 6207580.00 | L2
| 3 | Vardhman Airport Solutions Pvt Ltd | 6357230.00 | L3
| 4 | Balaji Engineering | 6361200.00 | L4
| 5 | Techno Electricals | 8129205.00 | L5