## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 06-Sep-2022 04:28 PM Tender Title: ARMO of E and M Installations at Vijayawada Airport. SH Operation and Maintenance of E and M Installations at NITB and 33KV Substation for Two Years (2022-24) Tender ID: 2022_AAI_124039_1
Tender Inviting Authority: Senior Manager (Engg-E), AAI, Vijayawada International Airport.
Name of Work: ARMO E&M Installations at Vijayawada Airport. SH: Operation & Maintenance of E&M Installations at NITB and 33KV Substation for Two Years 2022-24
Contract No: 2022_AAI_124039_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | M/s AL-HUDA ELECTRICAL AND MAINTENANCE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job Contract for Operatin and Maintenance of various Electrical and Mechanical Installations as detailed in the tender document at 33KV substation, New Passenger Terminal building , Car parking area, Pump room , water treatment plant , Sewage treatment plant, Operational area, office buildings and non Operational area etc . Job includes operation, repairs and maintenance, attending faults / breakdown rectifications, ensuring serviceability / satisfactory working conditions of the system, attending complaints, preventive maintenance on daily / weekly / monthly / quarterly / half yearly / yearly basis maintenance of records / documentation etc., as per scope of work given in special conditions of contract in all days including Sunday and holidays. The services of all E&M Installations shall be ensured round the clock basis for three shifts (each of 8 hours) daily as required by engaging qualified manpowers (As per Annexure-A) as stipulated in the techno commercial spesification of the contract.
1.01 | (a) 1st Year | 12.00 | Months | 608590.00 | 608193.36 | 7298320.32 | 550000.00 | 6600000.00 | 541786.00 | 6501432.00 | 547777.00 | 6573324.00 | 550000.00 | 6600000.00 | 6501432.00 | Manish Electricals
1.02 | (b) 2nd Year | 12.00 | Months | 608590.00 | 611009.07 | 7332108.84 | 561000.00 | 6732000.00 | 544864.00 | 6538368.00 | 547777.00 | 6573324.00 | 550000.00 | 6600000.00 | 6538368.00 | Manish Electricals
2.00 | Job Contract for Operatin of water cooled 3 X 300 TR chiller plant with all associated equipments as detailed in the tender document ( Annexure-J) at HVAC plant, New Passenger Terminal building and all office buildings . Job includes operation, , attending faults / breakdown rectifications, ensuring serviceability / satisfactory working conditions of the system, attending complaints on daily / weekly / monthly / quarterly / half yearly / yearly basis maintenance of records / documentation etc., as per scope of work given in special conditions of contract in all days including Sunday and holidays. The services of HVAC Installations shall be ensured round the clock basis for three shifts (each of 8 hours) daily as required by engaging qualified manpowers (As per Annexure-B) as stipulated in the techno commercial spesification of the contract
2.01 | (a) 1st Year | 12.00 | Months | 323031.00 | 317882.88 | 3814594.56 | 280000.00 | 3360000.00 | 278600.00 | 3343200.00 | 290000.00 | 3480000.00 | 351000.00 | 4212000.00 | 3343200.00 | Manish Electricals
2.02 | (b) 2nd Year | 12.00 | Months | 323031.00 | 319354.56 | 3832254.72 | 290000.00 | 3480000.00 | 281251.00 | 3375012.00 | 290000.00 | 3480000.00 | 351000.00 | 4212000.00 | 3375012.00 | Manish Electricals
3.00 | Supply of following Consumbles/ Chemicals for Day to Day Operation of Sewage Treatment Plant and Water Treatment Plant as an when required basis.
3.10 | 1st Year - [2022-23]
3.10 | (a) Crystal Salt | 20000.00 | Kg | 10.00 | 4.00 | 80000.00 | 8.00 | 160000.00 | 12.00 | 240000.00 | 8.00 | 160000.00 | 8.00 | 160000.00 | 80000.00 | INTEGER INFRATECH PRIVATE LIMITED
3.10 | (b) Chlorine Granules | 60.00 | Kg | 41.00 | 650.00 | 39000.00 | 170.00 | 10200.00 | 46.00 | 2760.00 | 284.00 | 17040.00 | 50.00 | 3000.00 | 2760.00 | Manish Electricals
3.10 | (c ) Molasses | 100.00 | Kg | 77.00 | 550.00 | 55000.00 | 170.00 | 17000.00 | 48.00 | 4800.00 | 84.00 | 8400.00 | 80.00 | 8000.00 | 4800.00 | Manish Electricals
3.10 | (d) Bio-Liquid Culture (EM) | 60.00 | Ltr | 587.00 | 400.00 | 24000.00 | 250.00 | 15000.00 | 3500.00 | 210000.00 | 683.00 | 40980.00 | 500.00 | 30000.00 | 15000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.10 | (e) Di-Ammonium Phosphate (DAP) | 600.00 | Kg | 39.00 | 35.00 | 21000.00 | 40.00 | 24000.00 | 35.00 | 21000.00 | 42.00 | 25200.00 | 40.00 | 24000.00 | 21000.00 | INTEGER INFRATECH PRIVATE LIMITED, Manish Electricals
3.11 | (f) EDTA Solutions N150 (0.02N) | 6.00 | Ltr | 323.00 | 660.00 | 3960.00 | 450.00 | 2700.00 | 900.00 | 5400.00 | 368.00 | 2208.00 | 1000.00 | 6000.00 | 2208.00 | ABHISHEK INTEGRATIONS LIMITED
3.11 | (g) Ammonia Buffer Solution | 6.00 | Ltr | 895.00 | 200.00 | 1200.00 | 700.00 | 4200.00 | 1250.00 | 7500.00 | 903.00 | 5418.00 | 1000.00 | 6000.00 | 1200.00 | INTEGER INFRATECH PRIVATE LIMITED
3.20 | 2nd Year - [2022-23]
3.20 | (a) Crystal Salt | 20000.00 | Kg | 10.00 | 4.00 | 80000.00 | 10.00 | 200000.00 | 12.00 | 240000.00 | 8.00 | 160000.00 | 8.00 | 160000.00 | 80000.00 | INTEGER INFRATECH PRIVATE LIMITED
3.20 | (b) Chlorine Granules | 60.00 | Kg | 41.00 | 650.00 | 39000.00 | 190.00 | 11400.00 | 48.00 | 2880.00 | 284.00 | 17040.00 | 50.00 | 3000.00 | 2880.00 | Manish Electricals
3.20 | (c ) Molasses | 100.00 | Kg | 77.00 | 550.00 | 55000.00 | 190.00 | 19000.00 | 52.00 | 5200.00 | 84.00 | 8400.00 | 80.00 | 8000.00 | 5200.00 | Manish Electricals
3.20 | (d) Bio-Liquid Culture (EM) | 60.00 | Ltr | 587.00 | 400.00 | 24000.00 | 250.00 | 15000.00 | 3800.00 | 228000.00 | 683.00 | 40980.00 | 500.00 | 30000.00 | 15000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.21 | (e) Di-Ammonium Phosphate (DAP) | 600.00 | Kg | 39.00 | 35.00 | 21000.00 | 40.00 | 24000.00 | 38.00 | 22800.00 | 42.00 | 25200.00 | 40.00 | 24000.00 | 21000.00 | INTEGER INFRATECH PRIVATE LIMITED
3.21 | (f) EDTA Solutions N150 (0.02N) | 6.00 | Ltr | 323.00 | 660.00 | 3960.00 | 500.00 | 3000.00 | 980.00 | 5880.00 | 368.00 | 2208.00 | 1000.00 | 6000.00 | 2208.00 | ABHISHEK INTEGRATIONS LIMITED
3.21 | (g) Ammonia Buffer Solution | 6.00 | Ltr | 895.00 | 200.00 | 1200.00 | 800.00 | 4800.00 | 1400.00 | 8400.00 | 903.00 | 5418.00 | 1000.00 | 6000.00 | 1200.00 | INTEGER INFRATECH PRIVATE LIMITED
4.00 | Testing and Calibration of Voltage and Current Operated Relays including Secondary Injection Testing and Settings Once in a Year, submitting Test Reports etc complete as required. Job includes checking proper co-ordination of Relays, Testing of Tripping, Checking all the Control Systems, Checking and Testing Electrical Interlocking, Checking of Control Wiring, Tighterning of the Wiring etc. Complete as required. [as per Annex-G]
4.01 | 1st Year - [2022-23] | 59.00 | Job | 1742.00 | 450.00 | 26550.00 | 6500.00 | 383500.00 | 2000.00 | 118000.00 | 800.00 | 47200.00 | 1000.00 | 59000.00 | 26550.00 | INTEGER INFRATECH PRIVATE LIMITED
4.02 | 2nd Year - [2023-24] | 59.00 | Job | 1742.00 | 450.00 | 26550.00 | 6500.00 | 383500.00 | 2000.00 | 118000.00 | 880.00 | 51920.00 | 1000.00 | 59000.00 | 26550.00 | INTEGER INFRATECH PRIVATE LIMITED
5.00 | Inspection/Overhauling/Servicing of ACBs of L&T/ C&S/ABB Make of Various Capacities provided in the various LT Panels at Utility Building at NITB as per Annexure-H by Deploying Authorised Service Personnel of Manufacturer/ Service Dealer/ Specialised Agencies experienced in Servicing of ACBs including cleaning of ACBs, opening the same, inspection, servicing, cleaning of contact surfaces, arc chutes, overhauling of operating mechanism, lubrication of moving parts, Checking of UV Coils, Trip Circuits, Checking of Control Circuits, replacement of minor defective spares supplied by AAI (excluding supply of spares), testing and commissioning etc., as required. [as per Annex-H]
5.01 | 1st Year - [2022-23] | 31.00 | Job | 6969.00 | 900.00 | 27900.00 | 8500.00 | 263500.00 | 3500.00 | 108500.00 | 2500.00 | 77500.00 | 2000.00 | 62000.00 | 27900.00 | INTEGER INFRATECH PRIVATE LIMITED
5.02 | 2nd Year - [2023-24] | 31.00 | Job | 6969.00 | 900.00 | 27900.00 | 9500.00 | 294500.00 | 3500.00 | 108500.00 | 2500.00 | 77500.00 | 2000.00 | 62000.00 | 27900.00 | INTEGER INFRATECH PRIVATE LIMITED
6.00 | Servicing of 33 KV, 630A VCBs Installed at Utility Building of NITB Once in a Year through OEM/OEM Authorised Dealers/Specalized agency including Overhauling, Testing, Checking of Contract Resistence, Contract Condition of Poles including Testing of Close and Trip Timing, submitting test reports complete as required. [as per Annex-I]
6.01 | 1st Year - [2022-23] | 7.00 | Job | 22069.00 | 2500.00 | 17500.00 | 22500.00 | 157500.00 | 7000.00 | 49000.00 | 3500.00 | 24500.00 | 7500.00 | 52500.00 | 17500.00 | INTEGER INFRATECH PRIVATE LIMITED
6.02 | 2nd Year - [2023-24] | 7.00 | Job | 22069.00 | 2500.00 | 17500.00 | 28500.00 | 199500.00 | 7500.00 | 52500.00 | 3500.00 | 24500.00 | 7500.00 | 52500.00 | 17500.00 | INTEGER INFRATECH PRIVATE LIMITED
7.00 | Carrying out CPWD DSR Schedule Items (Rate Based on DSR 2018 (Electrical) Which is i/c of GST) as and when required during contract period up to Rs. 2,50,000.00 Per Year The Rate quoted shall be exclusive GST and GST shall be paid extra as applicable. (1 Job =Rs.2,50,000.00) Per Year (Example: The base amount for one year is Rs.2,50,000.00 for this item rate if the contract wants to quote the above 10% than (Rs. 2,50,000.00 + 10% = Rs. 2,75,000.00), If contractor want to quote below 10% than (Rs. 2,50,000.00 - 10% = Rs. 2,25,000.00/-).
7.01 | 1st Year - [2022-23] | 1.00 | Job | 250000.00 | 200000.00 | 200000.00 | 280000.00 | 280000.00 | 200000.00 | 200000.00 | 225000.00 | 225000.00 | 125000.00 | 125000.00 | 125000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
7.02 | 2nd Year - [2023-24] | 1.00 | Job | 250000.00 | 200000.00 | 200000.00 | 300000.00 | 300000.00 | 225000.00 | 225000.00 | 225000.00 | 225000.00 | 125000.00 | 125000.00 | 125000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
8.00 | Lifting & lowering of up to 5 HP submersible pump motor set from Borewells by mechanical means or by dedicated manpower etc. as and when required | 12.00 | Job | 4646.00 | 500.00 | 6000.00 | 5000.00 | 60000.00 | 8000.00 | 96000.00 | 4500.00 | 54000.00 | 2000.00 | 24000.00 | 6000.00 | INTEGER INFRATECH PRIVATE LIMITED
9.00 | Lifting of 5 HP submersible pump motor set by specalized agency with machinary, operators which are fallen/struck by mud/dirt/broken pipe etc. as and when required | 6.00 | Job | 13938.00 | 500.00 | 3000.00 | 7000.00 | 42000.00 | 8000.00 | 48000.00 | 6500.00 | 39000.00 | 3000.00 | 18000.00 | 3000.00 | INTEGER INFRATECH PRIVATE LIMITED
10.00 | Pick up of 5 HP submersible pumpset from AAI site to repair shop near, reapairing/overhauling faulty parts such as impellers/ check valves/ sleeves,bowl/ base/bearings/shaft and bring back in good position etc. as required | 10.00 | Job | 9292.00 | 2500.00 | 25000.00 | 7000.00 | 70000.00 | 4000.00 | 40000.00 | 4500.00 | 45000.00 | 1000.00 | 10000.00 | 10000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
11.00 | Pick up of 5 HP submersible motor from AAI site to repair shop near, reapairing/overhauling faulty parts such as termination/brushes/ base/bearings/shaft and bring back in good position etc. as required (except rewinding) | 10.00 | Job | 9292.00 | 2000.00 | 20000.00 | 8000.00 | 80000.00 | 3400.00 | 34000.00 | 4500.00 | 45000.00 | 500.00 | 5000.00 | 5000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
12.00 | Pick up of 5 HP submersible motor from AAI site to repair shop near, rewinding and bring back in good position etc. as required (i/c buyback of old copper) | 10.00 | Job | 9873.00 | 3500.00 | 35000.00 | 9500.00 | 95000.00 | 4800.00 | 48000.00 | 4500.00 | 45000.00 | 1000.00 | 10000.00 | 10000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
13.00 | Painting of Stret light poles i/c removing of old paint/rust by embry paper, providing new aluminium paint,thinner with double coat, numbering of poles, including T&P, ladders,safety gear etc. as required (single arm - 43, double arm - 69, height of poles-7m) | 112.00 | Job | 1684.00 | 200.00 | 22400.00 | 500.00 | 56000.00 | 370.00 | 41440.00 | 850.00 | 95200.00 | 300.00 | 33600.00 | 22400.00 | INTEGER INFRATECH PRIVATE LIMITED
14.00 | Painting of Feeder pillars/panels/DBs etc i/c removing of old paint/rust by embry paper, providing new paint,thinner with double coat, numbering of poles etc. as required | 200.00 | Sq.mtr | 1394.00 | 65.00 | 13000.00 | 290.00 | 58000.00 | 240.00 | 48000.00 | 80.00 | 16000.00 | 50.00 | 10000.00 | 10000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
15.00 | Conducting Stack emission and particulate matter such as PM10, PM2.5, SO2,CO,CO2, NOX in ambient air & noise level monitoring of following
15.01 | a) 1500 KVA DG | 6.00 | Job | 4646.00 | 1200.00 | 7200.00 | 25000.00 | 150000.00 | 25000.00 | 150000.00 | 5177.00 | 31062.00 | 2000.00 | 12000.00 | 7200.00 | INTEGER INFRATECH PRIVATE LIMITED
15.02 | b) 320 KVA DG & 120 Bhp Fire DG | 4.00 | Job | 4646.00 | 1000.00 | 4000.00 | 1800.00 | 7200.00 | 15000.00 | 60000.00 | 5177.00 | 20708.00 | 1000.00 | 4000.00 | 4000.00 | INTEGER INFRATECH PRIVATE LIMITED, M/s AL-HUDA ELECTRICAL AND MAINTENANCE
15.03 | c) 63/30 KVA DG | 4.00 | Job | 4646.00 | 800.00 | 3200.00 | 2000.00 | 8000.00 | 5000.00 | 20000.00 | 5177.00 | 20708.00 | 500.00 | 2000.00 | 2000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
15.04 | d) Only Noise level at other open areas As required by E-I-C | 20.00 | Job | 1742.00 | 200.00 | 4000.00 | 2000.00 | 40000.00 | 3500.00 | 70000.00 | 242.00 | 4840.00 | 500.00 | 10000.00 | 4000.00 | INTEGER INFRATECH PRIVATE LIMITED
16.00 | Over hauling of HT metering panel by removing of all doors in presense of M/s APCPDCL, replacing of old nut bolts, cleaning all CTs,PTS, thermostat and bushes, check for cracks along with HT cable terminatios etc.as required and refixing the same etc. as required | 4.00 | Job | 40653.00 | 1500.00 | 6000.00 | 30000.00 | 120000.00 | 10000.00 | 40000.00 | 35000.00 | 140000.00 | 1000.00 | 4000.00 | 4000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
17.00 | Testing of RO/WTP/STP water sources for microbiological and chemical analysis at Govt. water lab etc as required (5 smaples/month) abd submit the report etc. as required.
17.01 | 1st Year - [2022-23] | 60.00 | Job | 1162.00 | 250.00 | 15000.00 | 3000.00 | 180000.00 | 6000.00 | 360000.00 | 1313.00 | 78780.00 | 2500.00 | 150000.00 | 15000.00 | INTEGER INFRATECH PRIVATE LIMITED
17.02 | 2nd Year - [2023-24] | 60.00 | Job | 1162.00 | 250.00 | 15000.00 | 4000.00 | 240000.00 | 7500.00 | 450000.00 | 1313.00 | 78780.00 | 2500.00 | 150000.00 | 15000.00 | INTEGER INFRATECH PRIVATE LIMITED
18.00 | Annual Maintenance of RO cum Water coolers (Make: Eureka Forbes/Aquaguard/Bluestar/Wae corp/Kent) installed at different locations including providing all necessary consumables complete as required as per special conditions. (Maintenance should be done through OEM's Authorized dealer/ local specalized agency ){blue star- 6 numbers with 80 ltrs capacity, aquaguard-2 numbers with 80 ltrs capacity,kent RO-7 numbers with 20 ltrs capacity and fountain type -4 numbers with 25 ltrs capacity} ( Spares excluding) | 19.00 | Machine/year | 9873.00 | 2000.00 | 38000.00 | 5500.00 | 104500.00 | 5600.00 | 106400.00 | 16756.00 | 318364.00 | 3000.00 | 57000.00 | 38000.00 | INTEGER INFRATECH PRIVATE LIMITED
19.00 | Supply of Spares (as and when required) for existing water coolers Make: Eureka Forbes/Aquaguard/luestar/Wae
19.01 | 100 GPD membrane | 16.00 | Each | 674.00 | 1800.00 | 28800.00 | 1000.00 | 16000.00 | 1200.00 | 19200.00 | 2205.00 | 35280.00 | 800.00 | 12800.00 | 12800.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
19.02 | PP filter | 20.00 | Each | 167.00 | 70.00 | 1400.00 | 1500.00 | 30000.00 | 600.00 | 12000.00 | 893.00 | 17860.00 | 100.00 | 2000.00 | 1400.00 | INTEGER INFRATECH PRIVATE LIMITED
19.03 | Carbon filter | 32.00 | Each | 70.00 | 250.00 | 8000.00 | 1500.00 | 48000.00 | 3500.00 | 112000.00 | 893.00 | 28576.00 | 600.00 | 19200.00 | 8000.00 | INTEGER INFRATECH PRIVATE LIMITED
19.04 | Sediment filter | 32.00 | Each | 107.00 | 300.00 | 9600.00 | 1200.00 | 38400.00 | 400.00 | 12800.00 | 683.00 | 21856.00 | 500.00 | 16000.00 | 9600.00 | INTEGER INFRATECH PRIVATE LIMITED
19.05 | post carbon filter | 32.00 | Each | 177.00 | 325.00 | 10400.00 | 1400.00 | 44800.00 | 400.00 | 12800.00 | 756.00 | 24192.00 | 500.00 | 16000.00 | 10400.00 | INTEGER INFRATECH PRIVATE LIMITED
19.06 | Pre carbon filter | 32.00 | Each | 345.00 | 325.00 | 10400.00 | 1000.00 | 32000.00 | 400.00 | 12800.00 | 756.00 | 24192.00 | 300.00 | 9600.00 | 9600.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
19.07 | External filter 10" | 32.00 | Each | 125.00 | 125.00 | 4000.00 | 2000.00 | 64000.00 | 600.00 | 19200.00 | 1155.00 | 36960.00 | 400.00 | 12800.00 | 4000.00 | INTEGER INFRATECH PRIVATE LIMITED
19.08 | Power adaptor | 10.00 | Each | 348.00 | 650.00 | 6500.00 | 500.00 | 5000.00 | 900.00 | 9000.00 | 683.00 | 6830.00 | 200.00 | 2000.00 | 2000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
19.09 | float valve | 15.00 | Each | 75.00 | 275.00 | 4125.00 | 600.00 | 9000.00 | 400.00 | 6000.00 | 3255.00 | 48825.00 | 100.00 | 1500.00 | 1500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
20.00 | Supply of KENT genuine Spares (as and when required) for existing Kent perk watercoolers
20.01 | INLINE SEDIMENT FILTER 8" (20010) | 12.00 | Each | 541.00 | 550.00 | 6600.00 | 1500.00 | 18000.00 | 1200.00 | 14400.00 | 578.00 | 6936.00 | 800.00 | 9600.00 | 6600.00 | INTEGER INFRATECH PRIVATE LIMITED
20.02 | POWP-SOLENOID VALVE 24VDC (20028) | 20.00 | Each | 320.00 | 775.00 | 15500.00 | 1000.00 | 20000.00 | 1800.00 | 36000.00 | 341.00 | 6820.00 | 100.00 | 2000.00 | 2000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
20.03 | INLINE CARBON FILTER 8" (20009) | 20.00 | Each | 541.00 | 675.00 | 13500.00 | 1500.00 | 30000.00 | 700.00 | 14000.00 | 578.00 | 11560.00 | 600.00 | 12000.00 | 11560.00 | ABHISHEK INTEGRATIONS LIMITED
20.04 | RO Membrane (20529) | 20.00 | Each | 2904.00 | 2000.00 | 40000.00 | 1000.00 | 20000.00 | 1500.00 | 30000.00 | 3098.00 | 61960.00 | 500.00 | 10000.00 | 10000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
20.05 | UF MEM WELDED 8" (20004) | 20.00 | Each | 1058.00 | 800.00 | 16000.00 | 1100.00 | 22000.00 | 1200.00 | 24000.00 | 1129.00 | 22580.00 | 500.00 | 10000.00 | 10000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
20.06 | POWP-PREFILTER CARBON 10" (20199) | 20.00 | Each | 763.00 | 700.00 | 14000.00 | 1500.00 | 30000.00 | 2000.00 | 40000.00 | 814.00 | 16280.00 | 300.00 | 6000.00 | 6000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
20.07 | POWP-SMPS 2.5 A 24VDC (20016) | 8.00 | Each | 984.00 | 900.00 | 7200.00 | 1500.00 | 12000.00 | 1000.00 | 8000.00 | 1050.00 | 8400.00 | 400.00 | 3200.00 | 3200.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
20.08 | POWP-ELECTRIC FLOAT VALVE G (20029) | 8.00 | Each | 197.00 | 225.00 | 1800.00 | 2000.00 | 16000.00 | 1500.00 | 12000.00 | 210.00 | 1680.00 | 200.00 | 1600.00 | 1600.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
20.09 | POST CARBON FILTER-BLUE (20015) | 12.00 | Each | 443.00 | 700.00 | 8400.00 | 1400.00 | 16800.00 | 1000.00 | 12000.00 | 473.00 | 5676.00 | 100.00 | 1200.00 | 1200.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
21.00 | Providing of welder with welding machine, welding rods/gas for reparing of panels/feeder pillars/metal doors/poles or any other MS/iron equipment etc. complete as required.
21.01 | 1st Year - [2022-23] | 15.00 | days | 1742.00 | 900.00 | 13500.00 | 3000.00 | 45000.00 | 3000.00 | 45000.00 | 1890.00 | 28350.00 | 1000.00 | 15000.00 | 13500.00 | INTEGER INFRATECH PRIVATE LIMITED
21.02 | 2nd Year - [2023-24] | 15.00 | days | 2323.00 | 900.00 | 13500.00 | 4000.00 | 60000.00 | 3000.00 | 45000.00 | 1890.00 | 28350.00 | 1000.00 | 15000.00 | 13500.00 | INTEGER INFRATECH PRIVATE LIMITED
22.00 | Providing of earth excavator( JCB) minimum 8 hours along with operator, helper and fuel etc. complete as required.
22.01 | 1st Year - [2022-23] | 15.00 | days | 11615.00 | 4000.00 | 60000.00 | 1400.00 | 21000.00 | 11000.00 | 165000.00 | 14280.00 | 214200.00 | 8000.00 | 120000.00 | 21000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.02 | 2nd Year - [2023-24] | 15.00 | days | 13938.00 | 4000.00 | 60000.00 | 1400.00 | 21000.00 | 12000.00 | 180000.00 | 14280.00 | 214200.00 | 8000.00 | 120000.00 | 21000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
23.00 | Hiring of Multi color LED set for different occasions during the contract period for decorating NITB, ITB and city side area with control unit, all accessories, men and materials,wiring and connections etc. complete as required [100 Mtrs LED Strip per Occasion upto 5 days = 1 Job]. The quantity and colour of LEDs will be decided by Engineer- In - Charge on every occassion. | 360.00 | Job | 3485.00 | 350.00 | 126000.00 | 4000.00 | 1440000.00 | 3200.00 | 1152000.00 | 3500.00 | 1260000.00 | 600.00 | 216000.00 | 126000.00 | INTEGER INFRATECH PRIVATE LIMITED
24.00 | Hiring of Multicolor LED serial sets for different occasions during the contract period for decorating Garden area infront of NITB, ITB and city side area with all accessories,men and materials, wiring and connections etc. complete as required . [100 Mtrs LED Strip per Occasion upto 5 days = 1 Job].The quantity and colour of LEds will be decided by Engineer- In - Charge on every occassion. | 180.00 | Job | 581.00 | 350.00 | 63000.00 | 4000.00 | 720000.00 | 560.00 | 100800.00 | 1200.00 | 216000.00 | 600.00 | 108000.00 | 63000.00 | INTEGER INFRATECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 24028523.44 |  | 27034000.00 |  | 25447972.00 |  | 24758265.00 |  | 23936100.00
Lowest Amount Quoted BY: M/s AL-HUDA ELECTRICAL AND MAINTENANCE(23936100.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Vijayawada Airport. SH Operation and Maintenance of E and M Installations at NITB and 33KV Substation for Two Years (2022-24) Tender ID: 2022_AAI_124039_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE | 23936100.00 | L1
| 2 | INTEGER INFRATECH PRIVATE LIMITED | 24028523.44 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 24758265.00 | L3
| 4 | Manish Electricals | 25447972.00 | L4
| 5 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 27034000.00 | L5