## BoQ1
Government eProcurement System Created By: NARENDRA P Created Date/Time: 29-Aug-2022 04:34 PM Tender Title: Annual Maintenance contract (2022-24) for Electrical and Mechanical Installations at GAGAN Tender ID: 2022_AAI_124415_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work:Annual Maintenance Contract (2022-24) of Electrical & Mechanical installations at GAGAN, Bangalore.
Contract No: ­2022_AAI_124415_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GLOBAL TECH SERVICES(GSTN-29BFQPD1799R2Z9) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head-1
1.10 | Job Contract for round the clock Operation and maintenance of electrical & mechanical installations at GAGAN, Bangalore with min. Man power, as per the deployment mentioned in the special conditions of contract , detailed scope of work, and AAI requirement on all days including sundays and holidays etc. complete as required. | 24.00 | Months |  | 240000.00 | 5760000.00 | 236000.00 | 5664000.00 | 248614.09 | 5966738.13 | 5664000.00 | KALKI ELECTRICALS
2.00 | Sub Head-II Painting of Panel, Poles and Fire Hydrant Boxes, Rewinding
2.10 | PPainting of electrical LT indoor,Outdoor panels,Fire hydrant boxes,Exposed Fire hydrant pipe line, Diesel pipe line,Exposed Water ,pumps , earth pit covers etc located in powerhouse, AC Plant, switch rooms ,fire pump room, pump room etc., with one or more coats of spray painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with detergent etc , of required color to give an even shade complete as required. | 500.00 | Sqmeter |  | 20.00 | 10000.00 | 150.00 | 75000.00 | 200.00 | 100000.00 | 10000.00 | GLOBAL TECH SERVICES
2.20 | Painting of Street Light poles of 7.5 mtr height and approx with one or more coats of spray painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with detergent etc , of required color to give an even shade complete as required. | 34.00 | Jobs |  | 500.00 | 17000.00 | 400.00 | 13600.00 | 175.00 | 5950.00 | 5950.00 | INTEGER INFRATECH PRIVATE LIMITED
2.30 | Following Servicing of of 5.5KW, Kirloskar Monoblock pump 1430 RPM, 7.5A, 400V pump,motor etc as and when required including removing and fixing of motor etc. as required.
2.40 | Rewinding of Motor | 2.00 | Job |  | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 2000.00 | 4000.00 | 4000.00 | INTEGER INFRATECH PRIVATE LIMITED
2.50 | Servicing of pumps including replacement of all associated accessories like bearing, shaft work etc complete as required. | 2.00 | Job |  | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 2000.00 | INTEGER INFRATECH PRIVATE LIMITED
2.60 | Following Servicing of submersible 7.5 HP bore well motor, pump etc as and when required
2.70 | Rewinding of Submersible Motor | 3.00 | Job |  | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 2000.00 | 6000.00 | 6000.00 | INTEGER INFRATECH PRIVATE LIMITED
2.80 | Servicing of pumps including replacement of all associated accessories like bearing, shaft work etc complete as required. | 3.00 | Job |  | 5000.00 | 15000.00 | 3000.00 | 9000.00 | 1000.00 | 3000.00 | 3000.00 | INTEGER INFRATECH PRIVATE LIMITED
2.90 | Lifting of Borewell motor pump and Reinstallation by lowering pump etc.as required. | 3.00 | Nos |  | 5000.00 | 15000.00 | 6000.00 | 18000.00 | 250.00 | 750.00 | 750.00 | INTEGER INFRATECH PRIVATE LIMITED
3.00 | Following Servicing of 3.7KW, Mono block pump of make ELGI 1430 RPM, 7.5A, 400V etc. as required
3.10 | Rewinding of Motor | 1.00 | Job |  | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 1500.00 | 1500.00 | 1500.00 | INTEGER INFRATECH PRIVATE LIMITED
3.20 | Servicing of pumps including replacement of all associated accessories like bearing, shaft work etc complete as required. | 1.00 | Job |  | 5000.00 | 5000.00 | 1800.00 | 1800.00 | 750.00 | 750.00 | 750.00 | INTEGER INFRATECH PRIVATE LIMITED
4.00 | Sub Head-III : Supply of spares as and when required
4.10 | FUSES
4.20 | Supply of cyllindrical Type of 2 Amps HRC Fuses suitable for operation on 230 Volts,50 Hz, AC System as requireds. ( As per sample or equivalent) | 2.00 | Each |  | 1500.00 | 3000.00 | 200.00 | 400.00 | 35.00 | 70.00 | 70.00 | INTEGER INFRATECH PRIVATE LIMITED
5.00 | Supply of following rating HRC Fuses suitable for operation on 230 Volts,50 Hz, AC System as required.( As per sample or equivalent)
5.10 | 4 Amps | 2.00 | Each |  | 700.00 | 1400.00 | 80.00 | 160.00 | 8.00 | 16.00 | 16.00 | INTEGER INFRATECH PRIVATE LIMITED
5.20 | 10 Amps | 5.00 | Each |  | 700.00 | 3500.00 | 120.00 | 600.00 | 15.00 | 75.00 | 75.00 | INTEGER INFRATECH PRIVATE LIMITED
6.00 | SWITCH ,SOCKET , PVC BOXES & PLATES
6.10 | 5/6/10 Amps one way switch | 15.00 | Each |  | 50.00 | 750.00 | 36.00 | 540.00 | 35.00 | 525.00 | 525.00 | INTEGER INFRATECH PRIVATE LIMITED
6.20 | 15/16/20Amps One switch | 15.00 | Each |  | 50.00 | 750.00 | 100.00 | 1500.00 | 100.00 | 1500.00 | 750.00 | GLOBAL TECH SERVICES
6.30 | 5/6/10 Amps Socket | 15.00 | Each |  | 50.00 | 750.00 | 80.00 | 1200.00 | 50.00 | 750.00 | 750.00 | GLOBAL TECH SERVICES, INTEGER INFRATECH PRIVATE LIMITED
6.40 | 15/16/20 Amps Socket | 15.00 | Each |  | 50.00 | 750.00 | 120.00 | 1800.00 | 100.00 | 1500.00 | 750.00 | GLOBAL TECH SERVICES
6.50 | 6 Module PVC Box | 2.00 | Each |  | 50.00 | 100.00 | 66.00 | 132.00 | 50.00 | 100.00 | 100.00 | GLOBAL TECH SERVICES, INTEGER INFRATECH PRIVATE LIMITED
7.00 | Supplying of following sizes ISI marked PVC insulated, single core, FRLS grade strandard copper cables of 1100 volts grade confirming to relevant IS of standard length etc as required
7.10 | 1.5 Sq. mm (90Mtr Roll) | 1.00 | Roll |  | 1500.00 | 1500.00 | 1360.00 | 1360.00 | 1200.00 | 1200.00 | 1200.00 | INTEGER INFRATECH PRIVATE LIMITED
7.20 | 2.5 Sq. mm (90Mtr Roll) | 2.00 | Roll |  | 200.00 | 400.00 | 2020.00 | 4040.00 | 1500.00 | 3000.00 | 400.00 | GLOBAL TECH SERVICES
7.30 | 25 x 15mm Casing capping | 30.00 | Meter |  | 12.00 | 360.00 | 32.00 | 960.00 | 15.00 | 450.00 | 360.00 | GLOBAL TECH SERVICES
7.40 | Supply of Starter panel (DOL) suitable for 7.5HP Submersible borewell pump | 2.00 | Each |  | 1500.00 | 3000.00 | 3800.00 | 7600.00 | 1800.00 | 3600.00 | 3000.00 | GLOBAL TECH SERVICES
8.00 | SH-IV Annual Maintenance of Water Purifier
8.10 | All Inclusive Comprehensive Maintenance for 24 months through manufacturers/authorized service dealers/water purifier agencies of Following capacity RO purifier inlusive of adding antiscalant chemicals to avoid scaling of pipelines and when required replacement of prefilter cattridge once in three months, any other components such as membrane or any kind of filter complete, maintaining the required taste and required TDS level (30 to 120) and including providing test reports for the same, etc complete as required.
8.20 | 50LPH | 4.00 | Each |  | 10000.00 | 40000.00 | 22000.00 | 88000.00 | 2000.00 | 8000.00 | 8000.00 | INTEGER INFRATECH PRIVATE LIMITED
8.30 | 15 LPH | 9.00 | Each |  | 10000.00 | 90000.00 | 16000.00 | 144000.00 | 1500.00 | 13500.00 | 13500.00 | INTEGER INFRATECH PRIVATE LIMITED
9.00 | SH-V DSR Item
9.10 | Percentage above or below on the rates of Electrical DSR-2022 (CPWD) items worth totaling to Rs. 100000 for execution of misc.items on requirement basis. The Rates quoted shall be without GST.(Note: the firm has to quote/upload the percentage above/below(+/-)% on the quantity mentioned against this item directly in the form multipying factor in the rate column, as clarified below. For expample: if desired to quote 5% above on DSR-2022 rates, the rate column shall be filled as 1.05 or 5 % below on DSR 2022 shall be filled as 0.95)) | 100000.00 | % |  | .80 | 80000.00 | .90 | 90000.00 | .70 | 70000.00 | 70000.00 | INTEGER INFRATECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 6084260.00 |  | 6167692.00 |  | 6194974.13
Lowest Amount Quoted BY: GLOBAL TECH SERVICES(6084260.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance contract (2022-24) for Electrical and Mechanical Installations at GAGAN Tender ID: 2022_AAI_124415_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GLOBAL TECH SERVICES | 6084260.00 | L1
| 2 | KALKI ELECTRICALS | 6167692.00 | L2
| 3 | INTEGER INFRATECH PRIVATE LIMITED | 6194974.13 | L3